## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108059 | 2021-04-28 11:32 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.7669 | μmol/L | 29.3548 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.553 | 115146.7914 | 268393.2122 | 32.55 | 27.7
108069 | 2021-04-28 11:32 | 0.34048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6177 | μmol/L | 29.3793 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.553 | 115189.9754 | 268396.24 | 32.55 | 27.7
108079 | 2021-04-28 11:33 | 0.67429 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.4691 | μmol/L | 29.3977 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.555 | 115226.0364 | 268382.7197 | 32.55 | 27.7
108089 | 2021-04-28 11:33 | 1.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.4887 | μmol/L | 29.3854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.558 | 115303.7738 | 268378.3037 | 32.55 | 27.7
108099 | 2021-04-28 11:33 | 1.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2487 | μmol/L | 29.4038 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.565 | 115397.6182 | 268369.3892 | 32.55 | 27.7
108109 | 2021-04-28 11:34 | 1.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.0259 | μmol/L | 29.4345 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.567 | 115439.0002 | 268364.9459 | 32.55 | 27.7
108119 | 2021-04-28 11:34 | 2.0079 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.0449 | μmol/L | 29.4284 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.568 | 115464.8297 | 268381.255 | 32.55 | 27.7
108129 | 2021-04-28 11:34 | 2.341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.8601 | μmol/L | 29.4468 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.572 | 115493.8099 | 268373.0929 | 32.55 | 27.7
108139 | 2021-04-28 11:35 | 2.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.6573 | μmol/L | 29.4652 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.577 | 115552.757 | 268371.1359 | 32.55 | 27.7
108149 | 2021-04-28 11:35 | 3.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4925 | μmol/L | 29.4713 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.584 | 115623.737 | 268372.41 | 32.55 | 27.7
108159 | 2021-04-28 11:35 | 3.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4384 | μmol/L | 29.4652 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.589 | 115836.3407 | 268374.2261 | 32.55 | 27.7
108169 | 2021-04-28 11:36 | 3.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1983 | μmol/L | 29.4959 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.592 | 115894.8523 | 268378.4374 | 32.55 | 27.7
108179 | 2021-04-28 11:36 | 4.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1605 | μmol/L | 29.5081 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.59 | 115895.6312 | 268389.4562 | 32.55 | 27.7
108189 | 2021-04-28 11:36 | 4.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1773 | μmol/L | 29.5204 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.585 | 115893.4421 | 268380.6346 | 32.55 | 27.7
108199 | 2021-04-28 11:37 | 4.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1227 | μmol/L | 29.5204 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.588 | 115906.1905 | 268387.353 | 32.55 | 27.7
108209 | 2021-04-28 11:37 | 5.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0492 | μmol/L | 29.5265 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.59 | 116005.3153 | 268389.3802 | 32.55 | 27.7
108219 | 2021-04-28 11:37 | 5.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.9387 | μmol/L | 29.5388 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.592 | 116045.788 | 268387.4406 | 32.55 | 27.7
108229 | 2021-04-28 11:38 | 5.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7912 | μmol/L | 29.5572 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.594 | 116079.7053 | 268397.3032 | 32.55 | 27.7
108239 | 2021-04-28 11:38 | 6.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7186 | μmol/L | 29.5572 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.598 | 116126.5747 | 268398.3548 | 32.55 | 27.7
108249 | 2021-04-28 11:38 | 6.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6837 | μmol/L | 29.5449 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.604 | 116227.2688 | 268406.9768 | 32.55 | 27.7
108259 | 2021-04-28 11:39 | 6.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4087 | μmol/L | 29.5695 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.611 | 116823.992 | 268398.623 | 32.55 | 27.7
108269 | 2021-04-28 11:39 | 7.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.153 | μmol/L | 29.5879 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.619 | 116906.8083 | 268411.1037 | 32.55 | 27.7
108279 | 2021-04-28 11:39 | 7.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9525 | μmol/L | 29.6001 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.626 | 116958.2935 | 268398.6283 | 32.55 | 27.7
108289 | 2021-04-28 11:40 | 7.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8103 | μmol/L | 29.5817 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.64 | 117039.4802 | 268394.526 | 32.55 | 27.7
108299 | 2021-04-28 11:40 | 8.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.9978 | μmol/L | 29.5265 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.648 | 117106.396 | 268406.117 | 32.55 | 27.7
108309 | 2021-04-28 11:40 | 8.3409 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8352 | μmol/L | 29.5265 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.657 | 117173.9998 | 268407.0582 | 32.55 | 27.7
108319 | 2021-04-28 11:41 | 8.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5624 | μmol/L | 29.5449 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.666 | 118555.6128 | 268398.2693 | 32.55 | 27.7
108329 | 2021-04-28 11:41 | 9.0076 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.196 | μmol/L | 29.594 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.67 | 118661.7639 | 268416.2041 | 32.55 | 27.7
108339 | 2021-04-28 11:41 | 9.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7934 | μmol/L | 29.6492 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.674 | 118748.2912 | 268417.172 | 32.55 | 27.7
108349 | 2021-04-28 11:42 | 9.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.4459 | μmol/L | 29.6983 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.677 | 118831.2268 | 268397.8535 | 32.55 | 27.7
108359 | 2021-04-28 11:42 | 10.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.4289 | μmol/L | 29.6922 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.68 | 118884.2941 | 268417.4919 | 32.55 | 27.7
108369 | 2021-04-28 11:42 | 10.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3402 | μmol/L | 29.686 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.687 | 118984.2173 | 268408.6097 | 32.55 | 27.7
108379 | 2021-04-28 11:43 | 10.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2677 | μmol/L | 29.6922 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.689 | 119018.2208 | 268414.6198 | 32.55 | 27.7
108389 | 2021-04-28 11:43 | 11.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2115 | μmol/L | 29.7106 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.686 | 119022.5151 | 268405.8762 | 32.55 | 27.7
108399 | 2021-04-28 11:43 | 11.3412 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1382 | μmol/L | 29.7229 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.686 | 119048.6532 | 268403.6707 | 32.55 | 27.7
108409 | 2021-04-28 11:44 | 11.6742 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.8496 | μmol/L | 29.7413 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.696 | 119110.4308 | 268418.4714 | 32.55 | 27.7