## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108411 | 2021-04-28 11:52 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 203.3192 | μmol/L | 29.3733 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.497 | 121372.7665 | 293022.3869 | 59.9307 | 38.1
108421 | 2021-04-28 11:53 | 0.33528 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.6958 | μmol/L | 29.3795 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.529 | 121567.4451 | 293026.7344 | 59.9307 | 38.1
108431 | 2021-04-28 11:53 | 0.66914 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.221 | μmol/L | 29.3795 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.555 | 121741.1522 | 293003.0068 | 59.9307 | 38.1
108441 | 2021-04-28 11:53 | 1.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.7648 | μmol/L | 29.3917 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.576 | 121903.0209 | 293004.6374 | 59.9307 | 38.1
108451 | 2021-04-28 11:54 | 1.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.401 | μmol/L | 29.3978 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.594 | 122036.5195 | 292979.5029 | 59.9307 | 38.1
108461 | 2021-04-28 11:54 | 1.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.8199 | μmol/L | 29.4162 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.62 | 122180.3409 | 292990.8437 | 59.9307 | 38.1
108471 | 2021-04-28 11:54 | 2.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3675 | μmol/L | 29.4285 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.641 | 122316.5095 | 292996.7925 | 59.9307 | 38.1
108481 | 2021-04-28 11:55 | 2.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1315 | μmol/L | 29.4468 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.648 | 122400.6154 | 292983.1217 | 59.9307 | 38.1
108491 | 2021-04-28 11:55 | 2.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8431 | μmol/L | 29.453 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.662 | 122462.4943 | 292973.377 | 59.9307 | 38.1
108501 | 2021-04-28 11:55 | 3.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6994 | μmol/L | 29.453 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.67 | 122536.6123 | 292985.5994 | 59.9307 | 38.1
108511 | 2021-04-28 11:56 | 3.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3944 | μmol/L | 29.453 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.687 | 122601.8167 | 292974.4347 | 59.9307 | 38.1
108521 | 2021-04-28 11:56 | 3.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1245 | μmol/L | 29.4652 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.698 | 122733.2867 | 292972.3682 | 59.9307 | 38.1
108531 | 2021-04-28 11:56 | 4.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9081 | μmol/L | 29.4836 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.704 | 122764.2177 | 292965.3809 | 59.9307 | 38.1
108541 | 2021-04-28 11:57 | 4.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9074 | μmol/L | 29.4897 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.702 | 122772.285 | 292959.6964 | 59.9307 | 38.1
108551 | 2021-04-28 11:57 | 4.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7288 | μmol/L | 29.4897 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.712 | 122827.3006 | 292962.8825 | 59.9307 | 38.1
108561 | 2021-04-28 11:57 | 5.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5828 | μmol/L | 29.5203 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.71 | 122844.8036 | 292959.9592 | 59.9307 | 38.1
108571 | 2021-04-28 11:58 | 5.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2784 | μmol/L | 29.5326 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.723 | 122916.2576 | 292949.2766 | 59.9307 | 38.1
108581 | 2021-04-28 11:58 | 5.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.3339 | μmol/L | 29.5142 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.726 | 122925.8171 | 292957.7565 | 59.9307 | 38.1
108591 | 2021-04-28 11:58 | 6.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.1565 | μmol/L | 29.5081 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.738 | 123000.8887 | 292948.0478 | 59.9307 | 38.1
108601 | 2021-04-28 11:59 | 6.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2264 | μmol/L | 29.5203 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.73 | 123006.9509 | 292962.948 | 59.9307 | 38.1
108611 | 2021-04-28 11:59 | 6.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8871 | μmol/L | 29.5326 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.745 | 123063.5064 | 292955.6233 | 59.9307 | 38.1
108621 | 2021-04-28 11:59 | 7.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9042 | μmol/L | 29.5387 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.742 | 123070.3677 | 292945.8516 | 59.9307 | 38.1
108631 | 2021-04-28 12:00 | 7.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.976 | μmol/L | 29.5326 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.74 | 123059.1311 | 292947.2659 | 59.9307 | 38.1
108641 | 2021-04-28 12:00 | 7.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7607 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.746 | 123112.6719 | 292951.9396 | 59.9307 | 38.1
108651 | 2021-04-28 12:00 | 8.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7252 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.748 | 123122.0542 | 292940.3344 | 59.9307 | 38.1
108661 | 2021-04-28 12:01 | 8.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8495 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.741 | 123095.9413 | 292925.7646 | 59.9307 | 38.1
108671 | 2021-04-28 12:01 | 8.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6898 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.75 | 123129.3872 | 292932.8876 | 59.9307 | 38.1
108681 | 2021-04-28 12:01 | 9.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3862 | μmol/L | 29.5694 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.761 | 123188.8461 | 292927.2639 | 59.9307 | 38.1
108691 | 2021-04-28 12:02 | 9.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2085 | μmol/L | 29.5755 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.769 | 123222.4595 | 292932.0025 | 59.9307 | 38.1
108701 | 2021-04-28 12:02 | 9.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3855 | μmol/L | 29.5755 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.759 | 123200.4662 | 292924.4259 | 59.9307 | 38.1
108711 | 2021-04-28 12:02 | 10.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1731 | μmol/L | 29.5755 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.771 | 123276.3476 | 292930.116 | 59.9307 | 38.1
108721 | 2021-04-28 12:03 | 10.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9757 | μmol/L | 29.6 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.774 | 123314.1466 | 292929.4683 | 59.9307 | 38.1
108731 | 2021-04-28 12:03 | 10.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9234 | μmol/L | 29.5939 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.779 | 123323.0064 | 292911.505 | 59.9307 | 38.1
108741 | 2021-04-28 12:03 | 11.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9956 | μmol/L | 29.5816 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.779 | 123345.1028 | 292916.0646 | 59.9307 | 38.1
108751 | 2021-04-28 12:04 | 11.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8881 | μmol/L | 29.5939 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.781 | 123365.1385 | 292907.0177 | 59.9307 | 38.1
108761 | 2021-04-28 12:04 | 11.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8351 | μmol/L | 29.5939 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.784 | 123380.6796 | 292907.6177 | 59.9307 | 38.1
108771 | 2021-04-28 12:04 | 12.002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.7277 | μmol/L | 29.6061 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.786 | 123398.4012 | 292893.4575 | 59.9307 | 38.1
108781 | 2021-04-28 12:05 | 12.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.7285 | μmol/L | 29.6 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.788 | 123425.3793 | 292910.6444 | 59.9307 | 38.1
108791 | 2021-04-28 12:05 | 12.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.816 | μmol/L | 29.6061 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.781 | 123391.1158 | 292888.2211 | 59.9307 | 38.1
108801 | 2021-04-28 12:05 | 13.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6204 | μmol/L | 29.6184 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.788 | 123421.9566 | 292884.2091 | 59.9307 | 38.1
108811 | 2021-04-28 12:06 | 13.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5675 | μmol/L | 29.6184 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.791 | 123432.0299 | 292893.0497 | 59.9307 | 38.1
108821 | 2021-04-28 12:06 | 13.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2674 | μmol/L | 29.6245 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.806 | 123540.9063 | 292880.6535 | 59.9307 | 38.1
108831 | 2021-04-28 12:06 | 14.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1075 | μmol/L | 29.6367 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.811 | 123557.0104 | 292873.8449 | 59.9307 | 38.1
108841 | 2021-04-28 12:07 | 14.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0356 | μmol/L | 29.649 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.811 | 123545.9313 | 292879.5123 | 59.9307 | 38.1
108851 | 2021-04-28 12:07 | 14.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1052 | μmol/L | 29.6551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.805 | 123521.9956 | 292859.6172 | 59.9307 | 38.1
108861 | 2021-04-28 12:07 | 15.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8217 | μmol/L | 29.6735 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.815 | 123575.7742 | 292853.7467 | 59.9307 | 38.1
108871 | 2021-04-28 12:08 | 15.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7866 | μmol/L | 29.6735 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.817 | 123596.79 | 292853.7598 | 59.9307 | 38.1
108881 | 2021-04-28 12:08 | 15.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7324 | μmol/L | 29.6858 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.816 | 123588.38 | 292854.8587 | 59.9307 | 38.1
108891 | 2021-04-28 12:08 | 16.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7499 | μmol/L | 29.6858 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.815 | 123567.6715 | 292861.1885 | 59.9307 | 38.1
108901 | 2021-04-28 12:09 | 16.3353 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9774 | μmol/L | 29.6919 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.8 | 123502.3478 | 292839.867 | 59.9307 | 38.1
108911 | 2021-04-28 12:09 | 16.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3419 | μmol/L | 29.7225 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.826 | 123620.9841 | 292838.0548 | 59.9307 | 38.1