## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108413 | 2021-04-28 11:52 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.2665 | μmol/L | 29.6122 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.404 | 87675.0217 | 289438.0451 | 28.7 | 67.6
108423 | 2021-04-28 11:53 | 0.34011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.5486 | μmol/L | 29.5939 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.449 | 87903.4097 | 289447.4077 | 28.7 | 67.6
108433 | 2021-04-28 11:53 | 0.67308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.4774 | μmol/L | 29.5511 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.467 | 87998.3654 | 289451.6494 | 28.7 | 67.6
108443 | 2021-04-28 11:53 | 1.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.2625 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.501 | 88152.0543 | 289451.5644 | 28.7 | 67.6
108453 | 2021-04-28 11:54 | 1.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1729 | μmol/L | 29.6244 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.514 | 88231.5028 | 289455.241 | 28.7 | 67.6
108463 | 2021-04-28 11:54 | 1.6729 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.955 | μmol/L | 29.6122 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.53 | 88312.2516 | 289458.9586 | 28.7 | 67.6
108473 | 2021-04-28 11:54 | 2.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.4925 | μmol/L | 29.7159 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.521 | 88294.7335 | 289442.9719 | 28.7 | 67.6
108483 | 2021-04-28 11:55 | 2.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.0693 | μmol/L | 29.5389 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.548 | 88417.6683 | 289454.1769 | 28.7 | 67.6
108493 | 2021-04-28 11:55 | 2.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9507 | μmol/L | 29.6854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.561 | 88460.7074 | 289441.2017 | 28.7 | 67.6
108503 | 2021-04-28 11:55 | 3.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9017 | μmol/L | 29.6183 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.586 | 88582.1875 | 289456.286 | 28.7 | 67.6
108513 | 2021-04-28 11:56 | 3.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1373 | μmol/L | 29.6915 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.604 | 88611.2279 | 289444.3329 | 28.7 | 67.6
108523 | 2021-04-28 11:56 | 3.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4865 | μmol/L | 29.6122 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.611 | 88650.3439 | 289466.1221 | 28.7 | 67.6
108533 | 2021-04-28 11:56 | 4.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9127 | μmol/L | 29.5817 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.653 | 88816.1882 | 289453.1612 | 28.7 | 67.6
108543 | 2021-04-28 11:57 | 4.3395 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9265 | μmol/L | 29.6305 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.636 | 88760.6045 | 289452.0414 | 28.7 | 67.6
108553 | 2021-04-28 11:57 | 4.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1219 | μmol/L | 29.661 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.615 | 88696.9027 | 289450.7171 | 28.7 | 67.6
108563 | 2021-04-28 11:57 | 5.0064 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.7206 | μmol/L | 29.722 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.617 | 88718.3834 | 289466.5591 | 28.7 | 67.6
108573 | 2021-04-28 11:58 | 5.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3686 | μmol/L | 29.7281 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.579 | 88582.9844 | 289454.3765 | 28.7 | 67.6
108583 | 2021-04-28 11:58 | 5.6729 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.596 | μmol/L | 29.7098 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.628 | 88756.0288 | 289445.8169 | 28.7 | 67.6
108593 | 2021-04-28 11:58 | 6.0065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.4159 | μmol/L | 29.7159 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.636 | 88785.9361 | 289450.7733 | 28.7 | 67.6
108603 | 2021-04-28 11:59 | 6.3401 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3694 | μmol/L | 29.6366 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.665 | 88924.3939 | 289452.544 | 28.7 | 67.6
108613 | 2021-04-28 11:59 | 6.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2574 | μmol/L | 29.6854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.655 | 88867.6564 | 289460.8986 | 28.7 | 67.6
108623 | 2021-04-28 11:59 | 7.0062 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2781 | μmol/L | 29.6549 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.664 | 88929.1445 | 289450.6535 | 28.7 | 67.6
108633 | 2021-04-28 12:00 | 7.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3548 | μmol/L | 29.6 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.678 | 88975.4869 | 289448.8246 | 28.7 | 67.6
108643 | 2021-04-28 12:00 | 7.6727 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.4444 | μmol/L | 29.6 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.673 | 88940.7634 | 289451.2932 | 28.7 | 67.6
108653 | 2021-04-28 12:00 | 8.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3324 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.663 | 88936.933 | 289444.7799 | 28.7 | 67.6
108663 | 2021-04-28 12:01 | 8.3396 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.5514 | μmol/L | 29.6061 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.665 | 88957.5698 | 289443.338 | 28.7 | 67.6
108673 | 2021-04-28 12:01 | 8.6733 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7583 | μmol/L | 29.6671 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.689 | 89024.5147 | 289432.8903 | 28.7 | 67.6
108683 | 2021-04-28 12:01 | 9.0063 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.8482 | μmol/L | 29.661 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.686 | 89016.5814 | 289433.3723 | 28.7 | 67.6
108693 | 2021-04-28 12:02 | 9.34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.6618 | μmol/L | 29.5756 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.669 | 88965.2543 | 289434.3925 | 28.7 | 67.6
108703 | 2021-04-28 12:02 | 9.6729 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.4818 | μmol/L | 29.5817 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.677 | 89003.1291 | 289443.7327 | 28.7 | 67.6
108713 | 2021-04-28 12:02 | 10.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.515 | μmol/L | 29.6 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.725 | 89155.13 | 289437.1442 | 28.7 | 67.6
108723 | 2021-04-28 12:03 | 10.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0505 | μmol/L | 29.6 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.695 | 89051.6587 | 289415.6545 | 28.7 | 67.6
108733 | 2021-04-28 12:03 | 10.6735 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.8851 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.688 | 89053.8058 | 289438.0113 | 28.7 | 67.6
108743 | 2021-04-28 12:03 | 11.0064 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.1936 | μmol/L | 29.6 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.687 | 89032.4203 | 289432.1064 | 28.7 | 67.6
108753 | 2021-04-28 12:04 | 11.3394 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3781 | μmol/L | 29.5389 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.697 | 89086.6851 | 289414.7979 | 28.7 | 67.6
108763 | 2021-04-28 12:04 | 11.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5233 | μmol/L | 29.6976 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.692 | 89074.8459 | 289408.3083 | 28.7 | 67.6
108773 | 2021-04-28 12:04 | 12.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2479 | μmol/L | 29.5939 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.686 | 89066.5261 | 289400.4826 | 28.7 | 67.6
108783 | 2021-04-28 12:05 | 12.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.3665 | μmol/L | 29.661 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.713 | 89144.7622 | 289405.8037 | 28.7 | 67.6
108793 | 2021-04-28 12:05 | 12.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0096 | μmol/L | 29.6549 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.679 | 89040.972 | 289420.8628 | 28.7 | 67.6
108803 | 2021-04-28 12:05 | 13.0066 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8382 | μmol/L | 29.6122 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.647 | 88922.1872 | 289393.8054 | 28.7 | 67.6
108813 | 2021-04-28 12:06 | 13.3396 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.647 | μmol/L | 29.5389 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.682 | 89037.068 | 289399.626 | 28.7 | 67.6
108823 | 2021-04-28 12:06 | 13.6732 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.1438 | μmol/L | 29.5572 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.704 | 89097.8855 | 289394.2062 | 28.7 | 67.6
108833 | 2021-04-28 12:06 | 14.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2363 | μmol/L | 29.7159 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.702 | 89113.1326 | 289375.2716 | 28.7 | 67.6
108843 | 2021-04-28 12:07 | 14.3399 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.9174 | μmol/L | 29.7037 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.724 | 89193.6593 | 289384.2863 | 28.7 | 67.6
108853 | 2021-04-28 12:07 | 14.6731 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2406 | μmol/L | 29.6732 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.716 | 89186.0881 | 289377.3044 | 28.7 | 67.6
108863 | 2021-04-28 12:07 | 15.0068 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.4568 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.712 | 89161.7598 | 289367.768 | 28.7 | 67.6
108873 | 2021-04-28 12:08 | 15.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.695 | μmol/L | 29.5817 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.721 | 89186.8832 | 289366.2915 | 28.7 | 67.6
108883 | 2021-04-28 12:08 | 15.6728 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5926 | μmol/L | 29.5328 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.743 | 89278.1092 | 289377.2698 | 28.7 | 67.6
108893 | 2021-04-28 12:08 | 16.0061 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2026 | μmol/L | 29.6976 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.71 | 89151.8934 | 289350.561 | 28.7 | 67.6
108903 | 2021-04-28 12:09 | 16.3398 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3078 | μmol/L | 29.7647 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.738 | 89247.422 | 289347.4021 | 28.7 | 67.6
108913 | 2021-04-28 12:09 | 16.6731 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.9586 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.74 | 89249.4302 | 289354.0589 | 28.7 | 67.6