## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108414 | 2021-04-28 11:52 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.899 | μmol/L | 29.5717 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.103 | 126096.1245 | 266949.7379 | 36.4 | 83.1
108424 | 2021-04-28 11:53 | 0.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.2778 | μmol/L | 29.6147 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.17 | 126535.0245 | 266945.5267 | 36.4 | 83.1
108434 | 2021-04-28 11:53 | 0.66844 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.9566 | μmol/L | 29.6885 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.212 | 126871.9883 | 266950.3258 | 36.4 | 83.1
108444 | 2021-04-28 11:53 | 1.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.153 | μmol/L | 29.6885 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.253 | 127167.6268 | 266954.3109 | 36.4 | 83.1
108454 | 2021-04-28 11:54 | 1.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.8774 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.285 | 127369.5813 | 266944.2151 | 36.4 | 83.1
108464 | 2021-04-28 11:54 | 1.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5354 | μmol/L | 29.7622 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.311 | 127560.0826 | 266942.1069 | 36.4 | 83.1
108474 | 2021-04-28 11:54 | 2.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0112 | μmol/L | 29.7683 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.336 | 127733.6228 | 266948.0727 | 36.4 | 83.1
108484 | 2021-04-28 11:55 | 2.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.4345 | μmol/L | 29.7622 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.368 | 127924.2611 | 266930.1677 | 36.4 | 83.1
108494 | 2021-04-28 11:55 | 2.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3036 | μmol/L | 29.7499 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.379 | 128017.3283 | 266934.6652 | 36.4 | 83.1
108504 | 2021-04-28 11:55 | 3.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.0691 | μmol/L | 29.7622 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.387 | 128071.4495 | 266922.4258 | 36.4 | 83.1
108514 | 2021-04-28 11:56 | 3.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.4958 | μmol/L | 29.8175 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.398 | 128164.7835 | 266925.7152 | 36.4 | 83.1
108524 | 2021-04-28 11:56 | 3.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.314 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.418 | 128286.3455 | 266928.1883 | 36.4 | 83.1
108534 | 2021-04-28 11:56 | 4.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.8385 | μmol/L | 29.7806 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.445 | 128493.3798 | 266932.4362 | 36.4 | 83.1
108544 | 2021-04-28 11:57 | 4.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.4575 | μmol/L | 29.7806 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.465 | 128615.7485 | 266925.4196 | 36.4 | 83.1
108554 | 2021-04-28 11:57 | 4.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1744 | μmol/L | 29.7745 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.482 | 128732.0992 | 266916.586 | 36.4 | 83.1
108564 | 2021-04-28 11:57 | 5.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.4391 | μmol/L | 29.7192 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.487 | 128750.9446 | 266933.7625 | 36.4 | 83.1
108574 | 2021-04-28 11:58 | 5.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8688 | μmol/L | 29.7806 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.496 | 128820.7223 | 266916.6478 | 36.4 | 83.1
108584 | 2021-04-28 11:58 | 5.6689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0814 | μmol/L | 29.7683 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.489 | 128788.7292 | 266923.1173 | 36.4 | 83.1
108594 | 2021-04-28 11:58 | 6.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9426 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.49 | 128775.0604 | 266927.4161 | 36.4 | 83.1
108604 | 2021-04-28 11:59 | 6.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8438 | μmol/L | 29.7991 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.491 | 128812.3562 | 266933.2268 | 36.4 | 83.1
108614 | 2021-04-28 11:59 | 6.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0494 | μmol/L | 29.7499 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.497 | 128802.7301 | 266939.6899 | 36.4 | 83.1
108624 | 2021-04-28 11:59 | 7.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8818 | μmol/L | 29.7991 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.489 | 128782.1647 | 266923.4929 | 36.4 | 83.1
108634 | 2021-04-28 12:00 | 7.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9806 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.488 | 128777.9008 | 266918.7611 | 36.4 | 83.1
108644 | 2021-04-28 12:00 | 7.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8648 | μmol/L | 29.7929 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.492 | 128798.719 | 266917.6145 | 36.4 | 83.1
108654 | 2021-04-28 12:00 | 8.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8289 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.496 | 128816.9208 | 266911.5384 | 36.4 | 83.1
108664 | 2021-04-28 12:01 | 8.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7551 | μmol/L | 29.7806 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.502 | 128858.619 | 266905.6077 | 36.4 | 83.1
108674 | 2021-04-28 12:01 | 8.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3854 | μmol/L | 29.8114 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.511 | 128908.7642 | 266913.7671 | 36.4 | 83.1
108684 | 2021-04-28 12:01 | 9.0023 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.5179 | μmol/L | 29.8114 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.504 | 128873.4825 | 266916.1968 | 36.4 | 83.1
108694 | 2021-04-28 12:02 | 9.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4611 | μmol/L | 29.8114 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.507 | 128881.7531 | 266908.4897 | 36.4 | 83.1
108704 | 2021-04-28 12:02 | 9.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3895 | μmol/L | 29.7991 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.515 | 128951.2079 | 266904.1105 | 36.4 | 83.1
108714 | 2021-04-28 12:02 | 10.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0037 | μmol/L | 29.8236 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.527 | 129037.6654 | 266903.8054 | 36.4 | 83.1
108724 | 2021-04-28 12:03 | 10.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2592 | μmol/L | 29.7929 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.524 | 129003.0012 | 266909.073 | 36.4 | 83.1
108734 | 2021-04-28 12:03 | 10.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2343 | μmol/L | 29.8114 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.519 | 128979.4033 | 266892.8998 | 36.4 | 83.1
108744 | 2021-04-28 12:03 | 11.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7351 | μmol/L | 29.7253 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.522 | 129012.4711 | 266896.3173 | 36.4 | 83.1
108754 | 2021-04-28 12:04 | 11.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3617 | μmol/L | 29.7683 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.527 | 129044.0835 | 266879.1589 | 36.4 | 83.1
108764 | 2021-04-28 12:04 | 11.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8778 | μmol/L | 29.8052 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.54 | 129112.9978 | 266878.3719 | 36.4 | 83.1
108774 | 2021-04-28 12:04 | 12.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0179 | μmol/L | 29.7806 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.541 | 129151.1371 | 266867.7291 | 36.4 | 83.1
108784 | 2021-04-28 12:05 | 12.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0724 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.536 | 129094.3674 | 266876.1373 | 36.4 | 83.1
108794 | 2021-04-28 12:05 | 12.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7795 | μmol/L | 29.8175 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.541 | 129128.3814 | 266876.8126 | 36.4 | 83.1
108804 | 2021-04-28 12:05 | 13.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7856 | μmol/L | 29.7991 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.547 | 129159.2107 | 266855.8087 | 36.4 | 83.1
108814 | 2021-04-28 12:06 | 13.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.6477 | μmol/L | 29.8175 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.548 | 129174.6286 | 266856.3362 | 36.4 | 83.1
108824 | 2021-04-28 12:06 | 13.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.6853 | μmol/L | 29.8175 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.546 | 129166.2887 | 266845.0368 | 36.4 | 83.1
108834 | 2021-04-28 12:06 | 14.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.152 | μmol/L | 29.7745 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.536 | 129101.6104 | 266848.8175 | 36.4 | 83.1
108844 | 2021-04-28 12:07 | 14.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2585 | μmol/L | 29.7376 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.543 | 129158.6121 | 266851.2336 | 36.4 | 83.1
108854 | 2021-04-28 12:07 | 14.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.4325 | μmol/L | 29.8421 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.551 | 129215.15 | 266845.3329 | 36.4 | 83.1
108864 | 2021-04-28 12:07 | 15.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.4448 | μmol/L | 29.8052 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.563 | 129274.7373 | 266835.0498 | 36.4 | 83.1
108874 | 2021-04-28 12:08 | 15.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.9964 | μmol/L | 29.8544 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.57 | 129321.5696 | 266828.4725 | 36.4 | 83.1
108884 | 2021-04-28 12:08 | 15.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.8964 | μmol/L | 29.8175 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.588 | 129446.977 | 266821.6029 | 36.4 | 83.1
108894 | 2021-04-28 12:08 | 16.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6177 | μmol/L | 29.8114 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.605 | 129579.0573 | 266815.3299 | 36.4 | 83.1
108904 | 2021-04-28 12:09 | 16.3356 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.6616 | μmol/L | 29.8789 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.633 | 129781.1776 | 266818.4833 | 36.4 | 83.1
108914 | 2021-04-28 12:09 | 16.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.5522 | μmol/L | 29.8728 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.641 | 129837.7228 | 266804.3653 | 36.4 | 83.1