## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108415 | 2021-04-28 11:52 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1311 | μmol/L | 29.7111 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.712 | 93123.8733 | 292260.5613 | 30.45 | 114.2
108425 | 2021-04-28 11:53 | 0.32818 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5209 | μmol/L | 29.6063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.725 | 93218.7746 | 292257.5458 | 30.45 | 114.2
108435 | 2021-04-28 11:53 | 0.66179 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2669 | μmol/L | 29.7912 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.734 | 93263.014 | 292255.0528 | 30.45 | 114.2
108445 | 2021-04-28 11:53 | 0.99542 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2008 | μmol/L | 29.6063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.743 | 93300.9334 | 292248.8929 | 30.45 | 114.2
108455 | 2021-04-28 11:54 | 1.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6578 | μmol/L | 29.6741 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.751 | 93342.548 | 292244.8705 | 30.45 | 114.2
108465 | 2021-04-28 11:54 | 1.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7523 | μmol/L | 29.6371 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.758 | 93363.1502 | 292248.5584 | 30.45 | 114.2
108475 | 2021-04-28 11:54 | 1.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8626 | μmol/L | 29.7789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.761 | 93390.1229 | 292260.5599 | 30.45 | 114.2
108485 | 2021-04-28 11:55 | 2.3286 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8284 | μmol/L | 29.7727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.765 | 93418.9652 | 292249.3684 | 30.45 | 114.2
108495 | 2021-04-28 11:55 | 2.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2882 | μmol/L | 29.6618 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.776 | 93469.9457 | 292255.2275 | 30.45 | 114.2
108505 | 2021-04-28 11:55 | 2.9953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4543 | μmol/L | 29.6186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.781 | 93502.277 | 292254.9419 | 30.45 | 114.2
108515 | 2021-04-28 11:56 | 3.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6519 | μmol/L | 29.6001 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.776 | 93458.3514 | 292258.0652 | 30.45 | 114.2
108525 | 2021-04-28 11:56 | 3.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2352 | μmol/L | 29.6618 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.779 | 93500.8678 | 292253.257 | 30.45 | 114.2
108535 | 2021-04-28 11:56 | 3.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1615 | μmol/L | 29.6803 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.777 | 93500.9801 | 292256.1801 | 30.45 | 114.2
108545 | 2021-04-28 11:57 | 4.3288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9479 | μmol/L | 29.8775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.78 | 93506.419 | 292236.405 | 30.45 | 114.2
108555 | 2021-04-28 11:57 | 4.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8471 | μmol/L | 29.8528 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.794 | 93551.2352 | 292240.0699 | 30.45 | 114.2
108565 | 2021-04-28 11:57 | 4.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1409 | μmol/L | 29.7789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.802 | 93578.2443 | 292245.4814 | 30.45 | 114.2
108575 | 2021-04-28 11:58 | 5.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.7755 | μmol/L | 29.6679 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.803 | 93593.6374 | 292236.0441 | 30.45 | 114.2
108585 | 2021-04-28 11:58 | 5.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.7931 | μmol/L | 29.6679 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.802 | 93614.1986 | 292249.5433 | 30.45 | 114.2
108595 | 2021-04-28 11:58 | 5.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6843 | μmol/L | 29.6864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.802 | 93623.3834 | 292247.7047 | 30.45 | 114.2
108605 | 2021-04-28 11:59 | 6.3287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8865 | μmol/L | 29.8282 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.8 | 93612.2826 | 292252.5187 | 30.45 | 114.2
108615 | 2021-04-28 11:59 | 6.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6554 | μmol/L | 29.8467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.807 | 93651.1118 | 292246.3969 | 30.45 | 114.2
108625 | 2021-04-28 11:59 | 6.9953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.95 | μmol/L | 29.7666 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.817 | 93686.7236 | 292238.0475 | 30.45 | 114.2
108635 | 2021-04-28 12:00 | 7.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8477 | μmol/L | 29.6495 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.862 | 93836.5722 | 292243.4582 | 30.45 | 114.2
108645 | 2021-04-28 12:00 | 7.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.054 | μmol/L | 29.5693 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.877 | 93907.7278 | 292241.1639 | 30.45 | 114.2
108655 | 2021-04-28 12:00 | 7.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7645 | μmol/L | 29.6248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.875 | 93902.5202 | 292232.0504 | 30.45 | 114.2
108665 | 2021-04-28 12:01 | 8.3289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6391 | μmol/L | 29.7727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.89 | 93954.5476 | 292249.5398 | 30.45 | 114.2
108675 | 2021-04-28 12:01 | 8.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6508 | μmol/L | 29.8035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.879 | 93921.715 | 292244.4714 | 30.45 | 114.2
108685 | 2021-04-28 12:01 | 8.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1263 | μmol/L | 29.822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.903 | 94000.8672 | 292231.556 | 30.45 | 114.2
108695 | 2021-04-28 12:02 | 9.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2512 | μmol/L | 29.8035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.902 | 94019.9707 | 292219.3501 | 30.45 | 114.2
108705 | 2021-04-28 12:02 | 9.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0384 | μmol/L | 29.8282 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.906 | 94042.0806 | 292221.8131 | 30.45 | 114.2
108715 | 2021-04-28 12:02 | 9.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5926 | μmol/L | 29.896 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.909 | 94064.9734 | 292232.3084 | 30.45 | 114.2
108725 | 2021-04-28 12:03 | 10.3289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4358 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.916 | 94100.4613 | 292226.0748 | 30.45 | 114.2
108735 | 2021-04-28 12:03 | 10.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3149 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.923 | 94133.2279 | 292217.8746 | 30.45 | 114.2
108745 | 2021-04-28 12:03 | 10.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7232 | μmol/L | 29.8467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 94117.1158 | 292209.3543 | 30.45 | 114.2
108755 | 2021-04-28 12:04 | 11.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5479 | μmol/L | 29.859 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.924 | 94136.7363 | 292203.5759 | 30.45 | 114.2
108765 | 2021-04-28 12:04 | 11.6621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9172 | μmol/L | 29.8282 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.913 | 94125.0075 | 292207.0343 | 30.45 | 114.2
108775 | 2021-04-28 12:04 | 11.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3616 | μmol/L | 29.8405 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.941 | 94209.624 | 292207.6688 | 30.45 | 114.2
108785 | 2021-04-28 12:05 | 12.3288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8157 | μmol/L | 29.8159 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.923 | 94199.1964 | 292202.4807 | 30.45 | 114.2
108795 | 2021-04-28 12:05 | 12.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0778 | μmol/L | 29.8035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.912 | 94176.7516 | 292182.5491 | 30.45 | 114.2
108805 | 2021-04-28 12:05 | 12.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6498 | μmol/L | 29.7789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.945 | 94278.1363 | 292184.6783 | 30.45 | 114.2
108815 | 2021-04-28 12:06 | 13.3287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5944 | μmol/L | 29.7974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.942 | 94282.1043 | 292189.3363 | 30.45 | 114.2
108825 | 2021-04-28 12:06 | 13.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3997 | μmol/L | 29.822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.945 | 94278.8078 | 292167.4061 | 30.45 | 114.2
108835 | 2021-04-28 12:06 | 13.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6993 | μmol/L | 29.7912 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.938 | 94252.9392 | 292171.2819 | 30.45 | 114.2
108845 | 2021-04-28 12:07 | 14.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4711 | μmol/L | 29.8097 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.945 | 94279.5289 | 292169.326 | 30.45 | 114.2
108855 | 2021-04-28 12:07 | 14.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5009 | μmol/L | 29.8344 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.935 | 94247.9354 | 292169.1584 | 30.45 | 114.2
108865 | 2021-04-28 12:07 | 14.9953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3479 | μmol/L | 29.822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.948 | 94300.5257 | 292166.554 | 30.45 | 114.2
108875 | 2021-04-28 12:08 | 15.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2432 | μmol/L | 29.8282 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.952 | 94283.404 | 292157.743 | 30.45 | 114.2
108885 | 2021-04-28 12:08 | 15.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4342 | μmol/L | 29.822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.943 | 94254.1143 | 292156.6095 | 30.45 | 114.2
108895 | 2021-04-28 12:08 | 15.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5479 | μmol/L | 29.859 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.924 | 94247.2757 | 292145.451 | 30.45 | 114.2
108905 | 2021-04-28 12:09 | 16.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6242 | μmol/L | 29.822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.932 | 94299.9309 | 292137.891 | 30.45 | 114.2
108915 | 2021-04-28 12:09 | 16.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5057 | μmol/L | 29.8097 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.943 | 94336.1851 | 292140.4141 | 30.45 | 114.2