## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108417 | 2021-04-28 11:53 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.69 | μmol/L | 29.9334 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.367 | 130545.9681 | 300747.8827 | 33.25 | 68.6
108427 | 2021-04-28 11:53 | 0.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.7794 | μmol/L | 29.8845 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.379 | 130626.5524 | 300750.6108 | 33.25 | 68.6
108437 | 2021-04-28 11:53 | 0.66339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.2081 | μmol/L | 29.9334 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.395 | 130730.4301 | 300774.0727 | 33.25 | 68.6
108447 | 2021-04-28 11:54 | 0.99625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8399 | μmol/L | 29.9517 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.41 | 130821.5757 | 300748.5622 | 33.25 | 68.6
108457 | 2021-04-28 11:54 | 1.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5118 | μmol/L | 29.9578 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.427 | 130956.4686 | 300747.6049 | 33.25 | 68.6
108467 | 2021-04-28 11:54 | 1.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2698 | μmol/L | 29.9639 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.439 | 131038.5206 | 300755.8532 | 33.25 | 68.6
108477 | 2021-04-28 11:55 | 1.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9232 | μmol/L | 29.9761 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.455 | 131139.1099 | 300766.2746 | 33.25 | 68.6
108487 | 2021-04-28 11:55 | 2.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9835 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.445 | 131098.1614 | 300760.3198 | 33.25 | 68.6
108497 | 2021-04-28 11:55 | 2.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0596 | μmol/L | 29.9761 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.447 | 131098.1672 | 300758.9445 | 33.25 | 68.6
108507 | 2021-04-28 11:56 | 2.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7789 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.457 | 131166.7691 | 300761.6763 | 33.25 | 68.6
108517 | 2021-04-28 11:56 | 3.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5629 | μmol/L | 29.9822 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.474 | 131287.1782 | 300749.4626 | 33.25 | 68.6
108527 | 2021-04-28 11:56 | 3.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4646 | μmol/L | 30.0127 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.469 | 131285.183 | 300750.8122 | 33.25 | 68.6
108537 | 2021-04-28 11:57 | 3.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.555 | μmol/L | 30.0005 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.468 | 131272.0095 | 300757.3237 | 33.25 | 68.6
108547 | 2021-04-28 11:57 | 4.3302 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4922 | μmol/L | 29.9883 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.476 | 131319.5741 | 300747.8036 | 33.25 | 68.6
108557 | 2021-04-28 11:57 | 4.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.504 | μmol/L | 30.0005 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.471 | 131274.8823 | 300747.155 | 33.25 | 68.6
108567 | 2021-04-28 11:58 | 4.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4646 | μmol/L | 30.0127 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.469 | 131291.6521 | 300746.7839 | 33.25 | 68.6
108577 | 2021-04-28 11:58 | 5.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4242 | μmol/L | 29.9883 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.48 | 131372.5291 | 300728.3549 | 33.25 | 68.6
108587 | 2021-04-28 11:58 | 5.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4439 | μmol/L | 29.9822 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.481 | 131381.4902 | 300739.3487 | 33.25 | 68.6
108597 | 2021-04-28 11:59 | 5.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5172 | μmol/L | 29.97 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.481 | 131384.2615 | 300740.6418 | 33.25 | 68.6
108607 | 2021-04-28 11:59 | 6.33 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3536 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.482 | 131380.4852 | 300744.1723 | 33.25 | 68.6
108617 | 2021-04-28 11:59 | 6.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1366 | μmol/L | 30.0249 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.484 | 131394.4944 | 300733.4653 | 33.25 | 68.6
108627 | 2021-04-28 12:00 | 6.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.868 | μmol/L | 30.0188 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.502 | 131520.2636 | 300736.3037 | 33.25 | 68.6
108637 | 2021-04-28 12:00 | 7.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8056 | μmol/L | 30.0066 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.51 | 131599.6318 | 300736.4235 | 33.25 | 68.6
108647 | 2021-04-28 12:00 | 7.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5153 | μmol/L | 30.0127 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.525 | 131678.2488 | 300743.5706 | 33.25 | 68.6
108657 | 2021-04-28 12:01 | 7.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3714 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.54 | 131774.5298 | 300731.5583 | 33.25 | 68.6
108667 | 2021-04-28 12:01 | 8.3298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2283 | μmol/L | 30.0127 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.542 | 131792.3144 | 300727.4028 | 33.25 | 68.6
108677 | 2021-04-28 12:01 | 8.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3208 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.543 | 131798.1288 | 300715.1149 | 33.25 | 68.6
108687 | 2021-04-28 12:02 | 8.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1359 | μmol/L | 30.031 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.541 | 131803.5912 | 300723.4961 | 33.25 | 68.6
108697 | 2021-04-28 12:02 | 9.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9647 | μmol/L | 30.0371 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.549 | 131842.6104 | 300717.6214 | 33.25 | 68.6
108707 | 2021-04-28 12:02 | 9.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0537 | μmol/L | 29.9883 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.561 | 131911.0153 | 300718.5344 | 33.25 | 68.6
108717 | 2021-04-28 12:03 | 9.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3653 | μmol/L | 29.97 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.549 | 131869.034 | 300714.0787 | 33.25 | 68.6
108727 | 2021-04-28 12:03 | 10.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2391 | μmol/L | 29.9883 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.55 | 131858.0647 | 300703.9941 | 33.25 | 68.6
108737 | 2021-04-28 12:03 | 10.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0874 | μmol/L | 29.9883 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.559 | 131905.4006 | 300710.2941 | 33.25 | 68.6
108747 | 2021-04-28 12:04 | 10.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1521 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.553 | 131881.3771 | 300705.3018 | 33.25 | 68.6
108757 | 2021-04-28 12:04 | 11.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2701 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.546 | 131853.4425 | 300698.8329 | 33.25 | 68.6
108767 | 2021-04-28 12:04 | 11.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3154 | μmol/L | 30.0066 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.539 | 131834.1841 | 300688.7751 | 33.25 | 68.6
108777 | 2021-04-28 12:05 | 11.9965 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2924 | μmol/L | 29.9822 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.549 | 131867.3365 | 300699.5282 | 33.25 | 68.6
108787 | 2021-04-28 12:05 | 12.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0395 | μmol/L | 29.9822 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.564 | 131948.9582 | 300693.8452 | 33.25 | 68.6
108797 | 2021-04-28 12:05 | 12.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8604 | μmol/L | 30.0066 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.566 | 131960.9585 | 300683.5478 | 33.25 | 68.6
108807 | 2021-04-28 12:06 | 12.9968 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7963 | μmol/L | 30.0371 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.559 | 131931.1783 | 300684.6898 | 33.25 | 68.6
108817 | 2021-04-28 12:06 | 13.3299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1582 | μmol/L | 30.0188 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.544 | 131863.6859 | 300671.6987 | 33.25 | 68.6
108827 | 2021-04-28 12:06 | 13.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7991 | μmol/L | 30.031 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.561 | 131929.4526 | 300670.0409 | 33.25 | 68.6
108837 | 2021-04-28 12:07 | 13.9967 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6732 | μmol/L | 30.0494 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.562 | 131936.6425 | 300663.667 | 33.25 | 68.6
108847 | 2021-04-28 12:07 | 14.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7545 | μmol/L | 30.0555 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.555 | 131913.2095 | 300654.8202 | 33.25 | 68.6
108857 | 2021-04-28 12:07 | 14.6634 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7882 | μmol/L | 30.0555 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.553 | 131905.2317 | 300652.1657 | 33.25 | 68.6
108867 | 2021-04-28 12:08 | 14.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4075 | μmol/L | 30.0799 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.567 | 131973.8132 | 300639.7426 | 33.25 | 68.6
108877 | 2021-04-28 12:08 | 15.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4189 | μmol/L | 30.0921 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.562 | 131940.2144 | 300645.8155 | 33.25 | 68.6
108887 | 2021-04-28 12:08 | 15.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4665 | μmol/L | 30.0982 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.557 | 131913.8033 | 300639.5856 | 33.25 | 68.6
108897 | 2021-04-28 12:09 | 15.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4552 | μmol/L | 30.086 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.562 | 131933.6351 | 300635.1685 | 33.25 | 68.6
108907 | 2021-04-28 12:09 | 16.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3603 | μmol/L | 30.1104 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.559 | 131912.7701 | 300622.7136 | 33.25 | 68.6
108917 | 2021-04-28 12:09 | 16.6632 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4247 | μmol/L | 30.1165 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.553 | 131891.4485 | 300615.717 | 33.25 | 68.6