## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108418 | 2021-04-28 11:53 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9108 | μmol/L | 29.8841 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.575 | 117970.9199 | 264929.5643 | 26.25 | 74
108428 | 2021-04-28 11:53 | 0.33825 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5294 | μmol/L | 29.8841 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.596 | 118097.7767 | 264947.2237 | 26.25 | 74
108438 | 2021-04-28 11:53 | 0.67214 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.2377 | μmol/L | 29.8963 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.608 | 118159.2134 | 264926.0794 | 26.25 | 74
108448 | 2021-04-28 11:54 | 1.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0739 | μmol/L | 29.9024 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.615 | 118228.302 | 264940.5582 | 26.25 | 74
108458 | 2021-04-28 11:54 | 1.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9473 | μmol/L | 29.9024 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.622 | 118280.6815 | 264928.613 | 26.25 | 74
108468 | 2021-04-28 11:54 | 1.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6386 | μmol/L | 29.9147 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.635 | 118337.4418 | 264929.2478 | 26.25 | 74
108478 | 2021-04-28 11:55 | 2.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.4582 | μmol/L | 29.9147 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.645 | 118427.368 | 264937.3575 | 26.25 | 74
108488 | 2021-04-28 11:55 | 2.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.333 | μmol/L | 29.9085 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.654 | 118476.7655 | 264933.4527 | 26.25 | 74
108498 | 2021-04-28 11:55 | 2.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1737 | μmol/L | 29.8902 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.669 | 118551.0965 | 264931.6768 | 26.25 | 74
108508 | 2021-04-28 11:56 | 3.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.395 | μmol/L | 29.8535 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.669 | 118568.5198 | 264931.8391 | 26.25 | 74
108518 | 2021-04-28 11:56 | 3.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.3941 | μmol/L | 29.8596 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.667 | 118559.0229 | 264925.4193 | 26.25 | 74
108528 | 2021-04-28 11:56 | 3.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1575 | μmol/L | 29.878 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.674 | 118629.6327 | 264925.793 | 26.25 | 74
108538 | 2021-04-28 11:57 | 4.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2725 | μmol/L | 29.8291 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.684 | 118660.5298 | 264925.9614 | 26.25 | 74
108548 | 2021-04-28 11:57 | 4.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0892 | μmol/L | 29.8535 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.686 | 118692.9869 | 264930.1929 | 26.25 | 74
108558 | 2021-04-28 11:57 | 4.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0182 | μmol/L | 29.8474 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.692 | 118721.9569 | 264939.8464 | 26.25 | 74
108568 | 2021-04-28 11:58 | 5.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1286 | μmol/L | 29.8291 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.692 | 118745.8863 | 264932.145 | 26.25 | 74
108578 | 2021-04-28 11:58 | 5.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5643 | μmol/L | 29.8841 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.705 | 118802.1026 | 264922.039 | 26.25 | 74
108588 | 2021-04-28 11:58 | 5.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4183 | μmol/L | 29.9024 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.707 | 118858.6342 | 264935.7217 | 26.25 | 74
108598 | 2021-04-28 11:59 | 6.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6199 | μmol/L | 29.8719 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.706 | 118860.5913 | 264926.8353 | 26.25 | 74
108608 | 2021-04-28 11:59 | 6.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3646 | μmol/L | 29.9024 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.71 | 118857.2136 | 264924.5259 | 26.25 | 74
108618 | 2021-04-28 11:59 | 6.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3834 | μmol/L | 29.8963 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.711 | 118878.9767 | 264941.7807 | 26.25 | 74
108628 | 2021-04-28 12:00 | 7.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4596 | μmol/L | 29.8658 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.717 | 118907.7245 | 264926.2145 | 26.25 | 74
108638 | 2021-04-28 12:00 | 7.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2629 | μmol/L | 29.8658 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.728 | 118994.7498 | 264925.7394 | 26.25 | 74
108648 | 2021-04-28 12:00 | 7.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9357 | μmol/L | 29.9024 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.734 | 119060.7498 | 264931.4685 | 26.25 | 74
108658 | 2021-04-28 12:01 | 8.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6505 | μmol/L | 29.9024 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.75 | 119126.5122 | 264927.5623 | 26.25 | 74
108668 | 2021-04-28 12:01 | 8.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8758 | μmol/L | 29.8291 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.762 | 119189.3344 | 264923.2202 | 26.25 | 74
108678 | 2021-04-28 12:01 | 8.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8392 | μmol/L | 29.8352 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.762 | 119195.642 | 264916.3894 | 26.25 | 74
108688 | 2021-04-28 12:02 | 9.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2607 | μmol/L | 29.7618 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.763 | 119222.8161 | 264920.2245 | 26.25 | 74
108698 | 2021-04-28 12:02 | 9.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9321 | μmol/L | 29.8107 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.765 | 119240.9483 | 264924.0947 | 26.25 | 74
108708 | 2021-04-28 12:02 | 9.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.0813 | μmol/L | 29.768 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.771 | 119265.7483 | 264903.9472 | 26.25 | 74
108718 | 2021-04-28 12:03 | 10.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.209 | μmol/L | 29.7496 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.77 | 119254.5745 | 264912.2364 | 26.25 | 74
108728 | 2021-04-28 12:03 | 10.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.934 | μmol/L | 29.7985 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.769 | 119262.2383 | 264906.0897 | 26.25 | 74
108738 | 2021-04-28 12:03 | 10.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7876 | μmol/L | 29.823 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.769 | 119277.1548 | 264902.9609 | 26.25 | 74
108748 | 2021-04-28 12:04 | 11.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3539 | μmol/L | 29.8658 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.779 | 119332.7481 | 264907.4199 | 26.25 | 74
108758 | 2021-04-28 12:04 | 11.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4644 | μmol/L | 29.8413 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.781 | 119348.4976 | 264903.6579 | 26.25 | 74
108768 | 2021-04-28 12:04 | 11.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2848 | μmol/L | 29.8535 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.787 | 119384.8163 | 264897.621 | 26.25 | 74
108778 | 2021-04-28 12:05 | 12.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7033 | μmol/L | 29.7924 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.784 | 119347.8127 | 264892.5825 | 26.25 | 74
108788 | 2021-04-28 12:05 | 12.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5601 | μmol/L | 29.7985 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.79 | 119379.7338 | 264875.4396 | 26.25 | 74
108798 | 2021-04-28 12:05 | 12.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3261 | μmol/L | 29.8169 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.797 | 119435.3775 | 264877.0388 | 26.25 | 74
108808 | 2021-04-28 12:06 | 13.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0343 | μmol/L | 29.8658 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.797 | 119436.1819 | 264889.9319 | 26.25 | 74
108818 | 2021-04-28 12:06 | 13.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7645 | μmol/L | 29.8902 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.804 | 119475.1965 | 264881.2461 | 26.25 | 74
108828 | 2021-04-28 12:06 | 13.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6168 | μmol/L | 29.9269 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.8 | 119464.5547 | 264873.9192 | 26.25 | 74
108838 | 2021-04-28 12:07 | 14.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8718 | μmol/L | 29.8841 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.8 | 119461.1904 | 264868.8344 | 26.25 | 74
108848 | 2021-04-28 12:07 | 14.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4514 | μmol/L | 29.9635 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.797 | 119444.9884 | 264872.2831 | 26.25 | 74
108858 | 2021-04-28 12:07 | 14.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4732 | μmol/L | 29.9391 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.804 | 119502.8644 | 264855.3735 | 26.25 | 74
108868 | 2021-04-28 12:08 | 15.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3848 | μmol/L | 29.9391 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.809 | 119517.0541 | 264852.6958 | 26.25 | 74
108878 | 2021-04-28 12:08 | 15.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2996 | μmol/L | 29.9208 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.82 | 119582.5045 | 264848.3062 | 26.25 | 74
108888 | 2021-04-28 12:08 | 15.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9186 | μmol/L | 29.9819 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.821 | 119599.9331 | 264841.2701 | 26.25 | 74
108898 | 2021-04-28 12:09 | 16.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0815 | μmol/L | 29.9574 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.82 | 119613.1048 | 264839.8918 | 26.25 | 74
108908 | 2021-04-28 12:09 | 16.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0163 | μmol/L | 29.9269 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.834 | 119660.013 | 264840.0958 | 26.25 | 74
108918 | 2021-04-28 12:09 | 16.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9592 | μmol/L | 29.9513 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.829 | 119688.1844 | 264825.9135 | 26.25 | 74