## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109615 | 2021-04-28 12:57 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.701 | μmol/L | 29.4691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.08 | 127363.3185 | 268640.1169 | 33.25 | 75.7
109625 | 2021-04-28 12:57 | 0.32882 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.2608 | μmol/L | 29.4691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.103 | 127546.3763 | 268639.5562 | 33.25 | 75.7
109635 | 2021-04-28 12:58 | 0.66224 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.7837 | μmol/L | 29.4691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.128 | 127716.0681 | 268634.9093 | 33.25 | 75.7
109645 | 2021-04-28 12:58 | 0.99541 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.3273 | μmol/L | 29.463 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.154 | 127897.0442 | 268624.7965 | 33.25 | 75.7
109655 | 2021-04-28 12:58 | 1.3287 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.0607 | μmol/L | 29.4814 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.162 | 127973.9111 | 268623.7028 | 33.25 | 75.7
109665 | 2021-04-28 12:59 | 1.6616 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.605 | μmol/L | 29.4999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.18 | 128125.3818 | 268621.0262 | 33.25 | 75.7
109675 | 2021-04-28 12:59 | 1.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.1688 | μmol/L | 29.5307 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.193 | 128191.7089 | 268615.0002 | 33.25 | 75.7
109685 | 2021-04-28 12:59 | 2.3289 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.5625 | μmol/L | 29.586 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.207 | 128293.3364 | 268619.144 | 33.25 | 75.7
109695 | 2021-04-28 13:00 | 2.662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.0771 | μmol/L | 29.4814 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.214 | 128342.9213 | 268617.5752 | 33.25 | 75.7
109705 | 2021-04-28 13:00 | 2.9953 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.9836 | μmol/L | 29.4691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.223 | 128401.4564 | 268604.2984 | 33.25 | 75.7
109715 | 2021-04-28 13:00 | 3.3282 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.2438 | μmol/L | 29.5737 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.228 | 128452.6545 | 268603.1784 | 33.25 | 75.7
109725 | 2021-04-28 13:01 | 3.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.9425 | μmol/L | 29.5922 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.238 | 128524.6975 | 268595.5474 | 33.25 | 75.7
109735 | 2021-04-28 13:01 | 3.9956 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6965 | μmol/L | 29.6291 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.239 | 128525.5321 | 268597.4722 | 33.25 | 75.7
109745 | 2021-04-28 13:01 | 4.3287 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.756 | μmol/L | 29.5799 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.252 | 128596.7889 | 268585.4951 | 33.25 | 75.7
109755 | 2021-04-28 13:02 | 4.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4738 | μmol/L | 29.6045 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.259 | 128655.3438 | 268595.9444 | 33.25 | 75.7
109765 | 2021-04-28 13:02 | 4.9955 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.267 | μmol/L | 29.623 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.264 | 128681.7435 | 268594.4687 | 33.25 | 75.7
109775 | 2021-04-28 13:02 | 5.3286 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0791 | μmol/L | 29.6414 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.268 | 128703.11 | 268590.8153 | 33.25 | 75.7
109785 | 2021-04-28 13:03 | 5.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9639 | μmol/L | 29.6845 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.26 | 128712.5588 | 268589.7165 | 33.25 | 75.7
109795 | 2021-04-28 13:03 | 5.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6654 | μmol/L | 29.6906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.274 | 128749.4629 | 268578.1736 | 33.25 | 75.7
109805 | 2021-04-28 13:03 | 6.3284 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7212 | μmol/L | 29.6906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.271 | 128761.6941 | 268571.7748 | 33.25 | 75.7
109815 | 2021-04-28 13:04 | 6.6621 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8736 | μmol/L | 29.6476 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.277 | 128795.5094 | 268564.1678 | 33.25 | 75.7
109825 | 2021-04-28 13:04 | 6.9951 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1191 | μmol/L | 29.6045 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.278 | 128821.1272 | 268569.8493 | 33.25 | 75.7
109835 | 2021-04-28 13:04 | 7.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8378 | μmol/L | 29.6291 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.285 | 128856.4127 | 268565.9819 | 33.25 | 75.7
109845 | 2021-04-28 13:05 | 7.6622 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7805 | μmol/L | 29.6476 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.282 | 128838.1389 | 268560.3063 | 33.25 | 75.7
109855 | 2021-04-28 13:05 | 7.9951 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8965 | μmol/L | 29.5922 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.294 | 128897.7067 | 268556.3682 | 33.25 | 75.7
109865 | 2021-04-28 13:05 | 8.3288 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6336 | μmol/L | 29.623 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.298 | 128940.7133 | 268548.5514 | 33.25 | 75.7
109875 | 2021-04-28 13:06 | 8.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4855 | μmol/L | 29.6168 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.308 | 129008.9043 | 268560.1279 | 33.25 | 75.7
109885 | 2021-04-28 13:06 | 8.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4654 | μmol/L | 29.6353 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.303 | 128980.5452 | 268553.7992 | 33.25 | 75.7
109895 | 2021-04-28 13:06 | 9.3283 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4669 | μmol/L | 29.6168 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.309 | 129017.7658 | 268553.7139 | 33.25 | 75.7
109905 | 2021-04-28 13:07 | 9.6621 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2226 | μmol/L | 29.6537 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.31 | 129045.9359 | 268554.4914 | 33.25 | 75.7
109915 | 2021-04-28 13:07 | 9.995 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0171 | μmol/L | 29.6722 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.315 | 129059.91 | 268543.1706 | 33.25 | 75.7
109925 | 2021-04-28 13:07 | 10.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.1324 | μmol/L | 29.623 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.325 | 129131.7397 | 268552.9009 | 33.25 | 75.7
109935 | 2021-04-28 13:08 | 10.6619 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9287 | μmol/L | 29.623 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.336 | 129191.7794 | 268542.6894 | 33.25 | 75.7
109945 | 2021-04-28 13:08 | 10.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5546 | μmol/L | 29.6722 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.34 | 129242.9748 | 268539.6573 | 33.25 | 75.7
109955 | 2021-04-28 13:08 | 11.3286 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.2201 | μmol/L | 29.6968 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.35 | 129289.1866 | 268529.9892 | 33.25 | 75.7
109965 | 2021-04-28 13:09 | 11.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1274 | μmol/L | 29.7029 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.353 | 129308.7424 | 268534.0145 | 33.25 | 75.7
109975 | 2021-04-28 13:09 | 11.9952 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.4449 | μmol/L | 29.6599 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.35 | 129293.4989 | 268521.5712 | 33.25 | 75.7