## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109616 | 2021-04-28 12:57 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2092 | μmol/L | 29.3059 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.635 | 122253.3897 | 292024.5769 | 59.9307 | 38.1
109626 | 2021-04-28 12:57 | 0.33765 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.8349 | μmol/L | 29.3488 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.697 | 122651.3493 | 292032.5448 | 59.9307 | 38.1
109636 | 2021-04-28 12:58 | 0.67099 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9377 | μmol/L | 29.3672 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.741 | 122955.4219 | 292015.921 | 59.9307 | 38.1
109646 | 2021-04-28 12:58 | 1.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9388 | μmol/L | 29.3856 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.791 | 123264.6634 | 292008.2075 | 59.9307 | 38.1
109656 | 2021-04-28 12:58 | 1.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0962 | μmol/L | 29.4775 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.808 | 123444.9122 | 291993.5515 | 59.9307 | 38.1
109666 | 2021-04-28 12:59 | 1.6717 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.7484 | μmol/L | 29.4346 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.842 | 123672.6397 | 291995.7817 | 59.9307 | 38.1
109676 | 2021-04-28 12:59 | 2.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9686 | μmol/L | 29.3427 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.917 | 124054.3144 | 291987.0586 | 59.9307 | 38.1
109686 | 2021-04-28 12:59 | 2.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9246 | μmol/L | 29.4162 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.895 | 123984.9969 | 291988.2687 | 59.9307 | 38.1
109696 | 2021-04-28 13:00 | 2.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8698 | μmol/L | 29.4346 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.892 | 124049.0271 | 291999.7522 | 59.9307 | 38.1
109706 | 2021-04-28 13:00 | 3.0046 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2569 | μmol/L | 29.4407 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.925 | 124221.2098 | 291984.9691 | 59.9307 | 38.1
109716 | 2021-04-28 13:00 | 3.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1775 | μmol/L | 29.3795 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.95 | 124367.7041 | 291983.9148 | 59.9307 | 38.1
109726 | 2021-04-28 13:01 | 3.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7009 | μmol/L | 29.4285 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.961 | 124441.3073 | 291980.6217 | 59.9307 | 38.1
109736 | 2021-04-28 13:01 | 4.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9993 | μmol/L | 29.4836 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.983 | 124572.0076 | 291980.4211 | 59.9307 | 38.1
109746 | 2021-04-28 13:01 | 4.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7025 | μmol/L | 29.502 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.994 | 124644.3578 | 291972.6443 | 59.9307 | 38.1
109756 | 2021-04-28 13:02 | 4.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9663 | μmol/L | 29.4713 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.989 | 124645.2158 | 291958.3353 | 59.9307 | 38.1
109766 | 2021-04-28 13:02 | 5.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4305 | μmol/L | 29.4713 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.02 | 124821.6222 | 291958.8598 | 59.9307 | 38.1
109776 | 2021-04-28 13:02 | 5.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2364 | μmol/L | 29.502 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.021 | 124779.1546 | 291960.6823 | 59.9307 | 38.1
109786 | 2021-04-28 13:03 | 5.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8527 | μmol/L | 29.4652 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.94 | 124348.5437 | 291966.59 | 59.9307 | 38.1
109796 | 2021-04-28 13:03 | 6.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2775 | μmol/L | 29.4775 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.969 | 124505.1081 | 291957.4724 | 59.9307 | 38.1
109806 | 2021-04-28 13:03 | 6.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.213 | μmol/L | 29.5449 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.008 | 124716.619 | 291958.6533 | 59.9307 | 38.1
109816 | 2021-04-28 13:04 | 6.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3381 | μmol/L | 29.5142 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.011 | 124671.4153 | 291956.5896 | 59.9307 | 38.1
109826 | 2021-04-28 13:04 | 7.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0806 | μmol/L | 29.6245 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.989 | 124567.8758 | 291937.2353 | 59.9307 | 38.1
109836 | 2021-04-28 13:04 | 7.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4992 | μmol/L | 29.5939 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.975 | 124504.5262 | 291945.0844 | 59.9307 | 38.1
109846 | 2021-04-28 13:05 | 7.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7708 | μmol/L | 29.5081 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.988 | 124575.2864 | 291946.1576 | 59.9307 | 38.1
109856 | 2021-04-28 13:05 | 8.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0123 | μmol/L | 29.5142 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.972 | 124506.0296 | 291927.6791 | 59.9307 | 38.1
109866 | 2021-04-28 13:05 | 8.3382 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0506 | μmol/L | 29.5939 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.001 | 124672.8949 | 291944.1477 | 59.9307 | 38.1
109876 | 2021-04-28 13:06 | 8.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2466 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.004 | 124712.8544 | 291935.8901 | 59.9307 | 38.1
109886 | 2021-04-28 13:06 | 9.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6549 | μmol/L | 29.5939 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.024 | 124845.5372 | 291945.45 | 59.9307 | 38.1
109896 | 2021-04-28 13:06 | 9.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5096 | μmol/L | 29.5326 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.053 | 125028.7062 | 291939.8923 | 59.9307 | 38.1
109906 | 2021-04-28 13:07 | 9.6716 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2163 | μmol/L | 29.5449 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.066 | 125119.3064 | 291931.2557 | 59.9307 | 38.1
109916 | 2021-04-28 13:07 | 10.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5597 | μmol/L | 29.7715 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.087 | 125254.0501 | 291939.2412 | 59.9307 | 38.1
109926 | 2021-04-28 13:07 | 10.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1869 | μmol/L | 29.6245 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.041 | 124990.1011 | 291926.5198 | 59.9307 | 38.1
109936 | 2021-04-28 13:08 | 10.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9917 | μmol/L | 29.5265 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.027 | 124865.2674 | 291927.2864 | 59.9307 | 38.1
109946 | 2021-04-28 13:08 | 11.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1126 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.07 | 125145.1285 | 291923.5209 | 59.9307 | 38.1
109956 | 2021-04-28 13:08 | 11.3382 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.4879 | μmol/L | 29.6122 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.086 | 125269.5191 | 291921.9217 | 59.9307 | 38.1
109966 | 2021-04-28 13:09 | 11.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1892 | μmol/L | 29.6674 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.085 | 125251.0297 | 291926.4915 | 59.9307 | 38.1
109976 | 2021-04-28 13:09 | 12.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3806 | μmol/L | 29.6429 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.082 | 125237.8363 | 291924.0357 | 59.9307 | 38.1