## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109617 | 2021-04-28 12:57 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.4774 | μmol/L | 29.3077 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.835 | 97977.9495 | 211183.9127 | 27.3 | 43.4
109627 | 2021-04-28 12:57 | 0.33123 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.7404 | μmol/L | 29.3015 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.873 | 98197.992 | 211185.3816 | 27.3 | 43.4
109637 | 2021-04-28 12:58 | 0.66475 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.7555 | μmol/L | 29.3383 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.909 | 98502.9004 | 211194.3459 | 27.3 | 43.4
109647 | 2021-04-28 12:58 | 0.99798 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.8555 | μmol/L | 29.3812 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.939 | 98659.6078 | 211185.8324 | 27.3 | 43.4
109657 | 2021-04-28 12:58 | 1.3312 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.4351 | μmol/L | 29.3567 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.968 | 98773.7659 | 211185.6085 | 27.3 | 43.4
109667 | 2021-04-28 12:59 | 1.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4776 | μmol/L | 29.418 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.995 | 98932.4145 | 211190.331 | 27.3 | 43.4
109677 | 2021-04-28 12:59 | 1.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.9773 | μmol/L | 29.4119 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.022 | 99072.4702 | 211188.0412 | 27.3 | 43.4
109687 | 2021-04-28 12:59 | 2.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.5795 | μmol/L | 29.3996 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.046 | 99184.2273 | 211178.2956 | 27.3 | 43.4
109697 | 2021-04-28 13:00 | 2.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8111 | μmol/L | 29.4548 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.066 | 99291.5379 | 211179.4203 | 27.3 | 43.4
109707 | 2021-04-28 13:00 | 2.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3738 | μmol/L | 29.4548 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.088 | 99366.9714 | 211169.3706 | 27.3 | 43.4
109717 | 2021-04-28 13:00 | 3.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.137 | μmol/L | 29.4486 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.102 | 99472.7724 | 211175.8907 | 27.3 | 43.4
109727 | 2021-04-28 13:01 | 3.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7781 | μmol/L | 29.4609 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.116 | 99524.872 | 211170.2571 | 27.3 | 43.4
109737 | 2021-04-28 13:01 | 3.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4212 | μmol/L | 29.467 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.132 | 99594.5444 | 211167.6535 | 27.3 | 43.4
109747 | 2021-04-28 13:01 | 4.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7343 | μmol/L | 29.5467 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.14 | 99657.4512 | 211167.3159 | 27.3 | 43.4
109757 | 2021-04-28 13:02 | 4.6646 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8366 | μmol/L | 29.5283 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.141 | 99696.1096 | 211172.945 | 27.3 | 43.4
109767 | 2021-04-28 13:02 | 4.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.2993 | μmol/L | 29.5589 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.158 | 99771.1228 | 211167.0043 | 27.3 | 43.4
109777 | 2021-04-28 13:02 | 5.3313 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9214 | μmol/L | 29.5835 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.169 | 99831.4586 | 211164.302 | 27.3 | 43.4
109787 | 2021-04-28 13:03 | 5.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9255 | μmol/L | 29.5651 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.175 | 99887.1403 | 211156.8626 | 27.3 | 43.4
109797 | 2021-04-28 13:03 | 5.9981 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8931 | μmol/L | 29.5344 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.187 | 99932.9506 | 211163.244 | 27.3 | 43.4
109807 | 2021-04-28 13:03 | 6.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7129 | μmol/L | 29.5528 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.19 | 99975.1105 | 211158.9274 | 27.3 | 43.4
109817 | 2021-04-28 13:04 | 6.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5789 | μmol/L | 29.5406 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.201 | 100036.5089 | 211160.4247 | 27.3 | 43.4
109827 | 2021-04-28 13:04 | 6.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2053 | μmol/L | 29.5528 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.216 | 100100.1808 | 211154.077 | 27.3 | 43.4
109837 | 2021-04-28 13:04 | 7.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9255 | μmol/L | 29.5835 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.22 | 100151.4329 | 211151.533 | 27.3 | 43.4
109847 | 2021-04-28 13:05 | 7.6647 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3696 | μmol/L | 29.6325 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.232 | 100176.7207 | 211152.8981 | 27.3 | 43.4
109857 | 2021-04-28 13:05 | 7.9979 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2711 | μmol/L | 29.6386 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.235 | 100185.0466 | 211148.7245 | 27.3 | 43.4
109867 | 2021-04-28 13:05 | 8.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3308 | μmol/L | 29.6325 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.234 | 100190.2483 | 211142.4233 | 27.3 | 43.4
109877 | 2021-04-28 13:06 | 8.6646 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.374 | μmol/L | 29.6141 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.238 | 100228.6272 | 211143.5742 | 27.3 | 43.4
109887 | 2021-04-28 13:06 | 8.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.0995 | μmol/L | 29.6264 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.248 | 100254.5911 | 211140.1542 | 27.3 | 43.4
109897 | 2021-04-28 13:06 | 9.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8583 | μmol/L | 29.6631 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.248 | 100261.5913 | 211143.4288 | 27.3 | 43.4
109907 | 2021-04-28 13:07 | 9.6649 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7794 | μmol/L | 29.6693 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.25 | 100268.4641 | 211142.9349 | 27.3 | 43.4
109917 | 2021-04-28 13:07 | 9.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8732 | μmol/L | 29.6815 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.241 | 100257.4695 | 211155.2096 | 27.3 | 43.4
109927 | 2021-04-28 13:07 | 10.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.4224 | μmol/L | 29.706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.256 | 100293.2752 | 211142.4197 | 27.3 | 43.4
109937 | 2021-04-28 13:08 | 10.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1106 | μmol/L | 29.7183 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.268 | 100362.3362 | 211138.7221 | 27.3 | 43.4
109947 | 2021-04-28 13:08 | 10.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9001 | μmol/L | 29.7122 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.281 | 100457.3706 | 211139.4611 | 27.3 | 43.4
109957 | 2021-04-28 13:08 | 11.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0842 | μmol/L | 29.6693 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.286 | 100471.7084 | 211134.4039 | 27.3 | 43.4
109967 | 2021-04-28 13:09 | 11.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9108 | μmol/L | 29.6693 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.295 | 100532.6897 | 211140.5411 | 27.3 | 43.4
109977 | 2021-04-28 13:09 | 11.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5232 | μmol/L | 29.6815 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.311 | 100615.8634 | 211131.6076 | 27.3 | 43.4