## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109618 | 2021-04-28 12:57 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1574 | μmol/L | 29.4596 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.569 | 88948.523 | 288488.543 | 28.7 | 67.6
109628 | 2021-04-28 12:57 | 0.32582 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.7678 | μmol/L | 29.3681 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.676 | 89416.524 | 288489.7376 | 28.7 | 67.6
109638 | 2021-04-28 12:58 | 0.65885 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0273 | μmol/L | 29.3986 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 89574.564 | 288493.2679 | 28.7 | 67.6
109648 | 2021-04-28 12:58 | 0.99283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0744 | μmol/L | 29.4413 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.746 | 89759.1346 | 288500.1222 | 28.7 | 67.6
109658 | 2021-04-28 12:58 | 1.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.9478 | μmol/L | 29.4596 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.747 | 89815.6661 | 288498.0236 | 28.7 | 67.6
109668 | 2021-04-28 12:59 | 1.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.8429 | μmol/L | 29.4352 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.761 | 89931.4308 | 288483.88 | 28.7 | 67.6
109678 | 2021-04-28 12:59 | 1.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.5757 | μmol/L | 29.4962 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.812 | 90137.5542 | 288482.2622 | 28.7 | 67.6
109688 | 2021-04-28 12:59 | 2.326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1313 | μmol/L | 29.5206 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.829 | 90224.0305 | 288467.4015 | 28.7 | 67.6
109698 | 2021-04-28 13:00 | 2.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8327 | μmol/L | 29.5084 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.85 | 90314.1533 | 288474.7103 | 28.7 | 67.6
109708 | 2021-04-28 13:00 | 2.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.566 | μmol/L | 29.5328 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.857 | 90351.0215 | 288485.1221 | 28.7 | 67.6
109718 | 2021-04-28 13:00 | 3.3263 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7466 | μmol/L | 29.4901 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.861 | 90383.1589 | 288463.4401 | 28.7 | 67.6
109728 | 2021-04-28 13:01 | 3.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4827 | μmol/L | 29.4901 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.876 | 90446.582 | 288467.67 | 28.7 | 67.6
109738 | 2021-04-28 13:01 | 3.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.11 | μmol/L | 29.5267 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.885 | 90480.6317 | 288473.9776 | 28.7 | 67.6
109748 | 2021-04-28 13:01 | 4.326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1754 | μmol/L | 29.5694 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.867 | 90440.9085 | 288462.5155 | 28.7 | 67.6
109758 | 2021-04-28 13:02 | 4.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9081 | μmol/L | 29.6061 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.87 | 90451.1144 | 288463.7094 | 28.7 | 67.6
109768 | 2021-04-28 13:02 | 4.9929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9361 | μmol/L | 29.5145 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.899 | 90571.7498 | 288468.4179 | 28.7 | 67.6
109778 | 2021-04-28 13:02 | 5.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5162 | μmol/L | 29.5145 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.923 | 90669.5396 | 288473.8228 | 28.7 | 67.6
109788 | 2021-04-28 13:03 | 5.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5854 | μmol/L | 29.5206 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.917 | 90666.5124 | 288460.9961 | 28.7 | 67.6
109798 | 2021-04-28 13:03 | 5.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3002 | μmol/L | 29.5694 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.917 | 90678.9452 | 288462.9488 | 28.7 | 67.6
109808 | 2021-04-28 13:03 | 6.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9289 | μmol/L | 29.6122 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.924 | 90713.549 | 288448.0354 | 28.7 | 67.6
109818 | 2021-04-28 13:04 | 6.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5045 | μmol/L | 29.6671 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.93 | 90734.2482 | 288462.8413 | 28.7 | 67.6
109828 | 2021-04-28 13:04 | 6.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8433 | μmol/L | 29.6 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.933 | 90759.8971 | 288456.632 | 28.7 | 67.6
109838 | 2021-04-28 13:04 | 7.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5802 | μmol/L | 29.6183 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.942 | 90789.3575 | 288446.5474 | 28.7 | 67.6
109848 | 2021-04-28 13:05 | 7.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2614 | μmol/L | 29.6671 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.944 | 90827.3717 | 288454.6078 | 28.7 | 67.6
109858 | 2021-04-28 13:05 | 7.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2298 | μmol/L | 29.6427 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.954 | 90847.8744 | 288460.7593 | 28.7 | 67.6
109868 | 2021-04-28 13:05 | 8.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4601 | μmol/L | 29.6061 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.953 | 90854.6905 | 288440.4983 | 28.7 | 67.6
109878 | 2021-04-28 13:06 | 8.6596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9155 | μmol/L | 29.661 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.966 | 90911.5565 | 288449.9146 | 28.7 | 67.6
109888 | 2021-04-28 13:06 | 8.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1604 | μmol/L | 29.6427 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.958 | 90893.4468 | 288434.1031 | 28.7 | 67.6
109898 | 2021-04-28 13:06 | 9.326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8636 | μmol/L | 29.661 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.969 | 90946.3634 | 288431.8511 | 28.7 | 67.6
109908 | 2021-04-28 13:07 | 9.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2351 | μmol/L | 29.7098 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.989 | 91035.3276 | 288423.1864 | 28.7 | 67.6
109918 | 2021-04-28 13:07 | 9.9927 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2566 | μmol/L | 29.6793 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.998 | 91060.6214 | 288425.6557 | 28.7 | 67.6
109928 | 2021-04-28 13:07 | 10.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3601 | μmol/L | 29.6793 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.992 | 91064.757 | 288427.3199 | 28.7 | 67.6
109938 | 2021-04-28 13:08 | 10.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2107 | μmol/L | 29.6366 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.015 | 91139.1273 | 288429.2082 | 28.7 | 67.6
109948 | 2021-04-28 13:08 | 10.9927 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.7239 | μmol/L | 29.6732 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.031 | 91232.2625 | 288427.864 | 28.7 | 67.6
109958 | 2021-04-28 13:08 | 11.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.5187 | μmol/L | 29.6671 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.045 | 91287.8219 | 288418.2497 | 28.7 | 67.6
109968 | 2021-04-28 13:09 | 11.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.9618 | μmol/L | 29.7281 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.057 | 91331.7605 | 288420.0545 | 28.7 | 67.6
109978 | 2021-04-28 13:09 | 11.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.2752 | μmol/L | 29.6915 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.051 | 91326.159 | 288426.0878 | 28.7 | 67.6
109985 | 2021-04-28 13:09 | 12.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.2599 | μmol/L | 29.6793 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.056 | 91368.5661 | 288410.636 | 28.7 | 67.6