## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109619 | 2021-04-28 12:57 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.2231 | μmol/L | 29.412 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.241 | 126791.1294 | 266184.2694 | 36.4 | 83.1
109629 | 2021-04-28 12:57 | 0.32727 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.7812 | μmol/L | 29.4365 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.306 | 127215.8813 | 266157.373 | 36.4 | 83.1
109639 | 2021-04-28 12:58 | 0.66127 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.7712 | μmol/L | 29.4181 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.364 | 127550.2306 | 266155.608 | 36.4 | 83.1
109649 | 2021-04-28 12:58 | 0.99446 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.014 | μmol/L | 29.4181 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.403 | 127805.0096 | 266152.701 | 36.4 | 83.1
109659 | 2021-04-28 12:58 | 1.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5339 | μmol/L | 29.4058 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.432 | 127972.9289 | 266145.4945 | 36.4 | 83.1
109669 | 2021-04-28 12:59 | 1.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1552 | μmol/L | 29.3812 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.46 | 128135.7545 | 266146.9617 | 36.4 | 83.1
109679 | 2021-04-28 12:59 | 1.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.1306 | μmol/L | 29.4673 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.484 | 128286.2549 | 266129.3162 | 36.4 | 83.1
109689 | 2021-04-28 12:59 | 2.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5967 | μmol/L | 29.4611 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.514 | 128457.1018 | 266129.4812 | 36.4 | 83.1
109699 | 2021-04-28 13:00 | 2.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.0571 | μmol/L | 29.4795 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.536 | 128580.2386 | 266125.8073 | 36.4 | 83.1
109709 | 2021-04-28 13:00 | 2.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.8287 | μmol/L | 29.4795 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.548 | 128639.3004 | 266126.629 | 36.4 | 83.1
109719 | 2021-04-28 13:00 | 3.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.5666 | μmol/L | 29.4673 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.566 | 128734.5072 | 266124.4362 | 36.4 | 83.1
109729 | 2021-04-28 13:01 | 3.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9107 | μmol/L | 29.5041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.588 | 128921.9452 | 266117.1241 | 36.4 | 83.1
109739 | 2021-04-28 13:01 | 3.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3532 | μmol/L | 29.5348 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.607 | 129041.6013 | 266114.784 | 36.4 | 83.1
109749 | 2021-04-28 13:01 | 4.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.249 | μmol/L | 29.5656 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.602 | 129030.8604 | 266111.2238 | 36.4 | 83.1
109759 | 2021-04-28 13:02 | 4.661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7852 | μmol/L | 29.6024 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.614 | 129082.5646 | 266104.6638 | 36.4 | 83.1
109769 | 2021-04-28 13:02 | 4.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0903 | μmol/L | 29.5901 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.602 | 129013.5917 | 266099.2323 | 36.4 | 83.1
109779 | 2021-04-28 13:02 | 5.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.1448 | μmol/L | 29.5963 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.597 | 129002.8713 | 266100.2285 | 36.4 | 83.1
109789 | 2021-04-28 13:03 | 5.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8604 | μmol/L | 29.6024 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.61 | 129112.8701 | 266105.009 | 36.4 | 83.1
109799 | 2021-04-28 13:03 | 5.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7731 | μmol/L | 29.6393 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.602 | 129086.7876 | 266105.9859 | 36.4 | 83.1
109809 | 2021-04-28 13:03 | 6.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8416 | μmol/L | 29.6024 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.611 | 129123.1827 | 266094.1732 | 36.4 | 83.1
109819 | 2021-04-28 13:04 | 6.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.158 | μmol/L | 29.6823 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.62 | 129177.9458 | 266094.0957 | 36.4 | 83.1
109829 | 2021-04-28 13:04 | 6.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.742 | μmol/L | 29.6946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.638 | 129276.7475 | 266096.6732 | 36.4 | 83.1
109839 | 2021-04-28 13:04 | 7.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4265 | μmol/L | 29.6885 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.657 | 129419.3062 | 266089.4117 | 36.4 | 83.1
109849 | 2021-04-28 13:05 | 7.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3685 | μmol/L | 29.6946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.658 | 129454.8251 | 266093.2929 | 36.4 | 83.1
109859 | 2021-04-28 13:05 | 7.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.9895 | μmol/L | 29.713 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.672 | 129500.2867 | 266087.1979 | 36.4 | 83.1
109869 | 2021-04-28 13:05 | 8.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.2876 | μmol/L | 29.713 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.656 | 129455.1302 | 266078.8292 | 36.4 | 83.1
109879 | 2021-04-28 13:06 | 8.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.9624 | μmol/L | 29.7376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.665 | 129482.2293 | 266071.5994 | 36.4 | 83.1
109889 | 2021-04-28 13:06 | 8.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1093 | μmol/L | 29.7438 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.655 | 129440.1476 | 266068.02 | 36.4 | 83.1
109899 | 2021-04-28 13:06 | 9.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1219 | μmol/L | 29.7069 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.667 | 129483.8004 | 266071.6416 | 36.4 | 83.1
109909 | 2021-04-28 13:07 | 9.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.0868 | μmol/L | 29.7007 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.671 | 129520.2248 | 266059.9156 | 36.4 | 83.1
109919 | 2021-04-28 13:07 | 9.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.8364 | μmol/L | 29.7253 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.676 | 129572.2025 | 266064.4495 | 36.4 | 83.1
109929 | 2021-04-28 13:07 | 10.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.4934 | μmol/L | 29.7499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.686 | 129663.3678 | 266059.5035 | 36.4 | 83.1
109939 | 2021-04-28 13:08 | 10.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.7227 | μmol/L | 29.7315 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.68 | 129613.1504 | 266061.4398 | 36.4 | 83.1
109949 | 2021-04-28 13:08 | 10.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.6298 | μmol/L | 29.7315 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.685 | 129685.3917 | 266051.8598 | 36.4 | 83.1
109959 | 2021-04-28 13:08 | 11.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9081 | μmol/L | 29.7806 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 129830.9123 | 266047.1052 | 36.4 | 83.1
109969 | 2021-04-28 13:09 | 11.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.027 | μmol/L | 29.6577 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.689 | 129782.8489 | 266045.8494 | 36.4 | 83.1
109979 | 2021-04-28 13:09 | 11.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.4955 | μmol/L | 29.7438 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.688 | 129778.1086 | 266044.9121 | 36.4 | 83.1