## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109620 | 2021-04-28 12:57 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1876 | μmol/L | 29.3968 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.927 | 94594.2373 | 291398.8041 | 30.45 | 114.2
109630 | 2021-04-28 12:57 | 0.33829 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3542 | μmol/L | 29.4707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.95 | 94709.9475 | 291406.6508 | 30.45 | 114.2
109640 | 2021-04-28 12:58 | 0.67215 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6532 | μmol/L | 29.5015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.98 | 94822.8004 | 291408.9844 | 30.45 | 114.2
109650 | 2021-04-28 12:58 | 1.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7052 | μmol/L | 29.5015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.977 | 94774.2551 | 291399.9429 | 30.45 | 114.2
109660 | 2021-04-28 12:58 | 1.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5614 | μmol/L | 29.5139 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.039 | 95108.2135 | 291391.8828 | 30.45 | 114.2
109670 | 2021-04-28 12:59 | 1.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1769 | μmol/L | 29.5447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.051 | 95148.5166 | 291399.511 | 30.45 | 114.2
109680 | 2021-04-28 12:59 | 2.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2102 | μmol/L | 29.5508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.047 | 95165.5278 | 291386.7897 | 30.45 | 114.2
109690 | 2021-04-28 12:59 | 2.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1574 | μmol/L | 29.557 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.048 | 95168.9221 | 291382.9573 | 30.45 | 114.2
109700 | 2021-04-28 13:00 | 2.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0852 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.046 | 95160.1428 | 291369.577 | 30.45 | 114.2
109710 | 2021-04-28 13:00 | 3.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7016 | μmol/L | 29.6063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.058 | 95214.5728 | 291374.2521 | 30.45 | 114.2
109720 | 2021-04-28 13:00 | 3.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7761 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.064 | 95253.1571 | 291375.9385 | 30.45 | 114.2
109730 | 2021-04-28 13:01 | 3.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0268 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.068 | 95274.7984 | 291357.2719 | 30.45 | 114.2
109740 | 2021-04-28 13:01 | 4.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9582 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.072 | 95283.4228 | 291374.4352 | 30.45 | 114.2
109750 | 2021-04-28 13:01 | 4.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.405 | μmol/L | 29.5447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.096 | 95411.5806 | 291364.6916 | 30.45 | 114.2
109760 | 2021-04-28 13:02 | 4.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6455 | μmol/L | 29.5015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.155 | 95656.3514 | 291370.0745 | 30.45 | 114.2
109770 | 2021-04-28 13:02 | 5.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0046 | μmol/L | 29.5632 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.172 | 95714.985 | 291360.4994 | 30.45 | 114.2
109780 | 2021-04-28 13:02 | 5.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.087 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.163 | 95692.9481 | 291356.7825 | 30.45 | 114.2
109790 | 2021-04-28 13:03 | 5.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2733 | μmol/L | 29.6618 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.123 | 95512.247 | 291344.0851 | 30.45 | 114.2
109800 | 2021-04-28 13:03 | 6.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4397 | μmol/L | 29.6803 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 95439.3726 | 291350.625 | 30.45 | 114.2
109810 | 2021-04-28 13:03 | 6.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4372 | μmol/L | 29.6926 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.103 | 95456.9218 | 291346.7482 | 30.45 | 114.2
109820 | 2021-04-28 13:04 | 6.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2841 | μmol/L | 29.6926 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.112 | 95488.196 | 291354.8494 | 30.45 | 114.2
109830 | 2021-04-28 13:04 | 7.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2003 | μmol/L | 29.6864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.119 | 95512.7716 | 291343.9141 | 30.45 | 114.2
109840 | 2021-04-28 13:04 | 7.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8439 | μmol/L | 29.6186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.104 | 95479.6507 | 291334.7874 | 30.45 | 114.2
109850 | 2021-04-28 13:05 | 7.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0877 | μmol/L | 29.594 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.098 | 95487.0825 | 291330.5774 | 30.45 | 114.2
109860 | 2021-04-28 13:05 | 8.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1052 | μmol/L | 29.7357 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.108 | 95491.6853 | 291339.8814 | 30.45 | 114.2
109870 | 2021-04-28 13:05 | 8.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1562 | μmol/L | 29.7357 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.105 | 95534.6835 | 291329.2639 | 30.45 | 114.2
109880 | 2021-04-28 13:06 | 8.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.9761 | μmol/L | 29.785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.099 | 95520.4219 | 291326.1256 | 30.45 | 114.2
109890 | 2021-04-28 13:06 | 9.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7372 | μmol/L | 29.7912 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.111 | 95485.5434 | 291321.7484 | 30.45 | 114.2
109900 | 2021-04-28 13:06 | 9.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7046 | μmol/L | 29.785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.115 | 95504.1731 | 291312.5979 | 30.45 | 114.2
109910 | 2021-04-28 13:07 | 9.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.2111 | μmol/L | 29.7974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.14 | 95602.7664 | 291307.5463 | 30.45 | 114.2
109920 | 2021-04-28 13:07 | 10.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1266 | μmol/L | 29.7974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.145 | 95625.4805 | 291324.3178 | 30.45 | 114.2
109930 | 2021-04-28 13:07 | 10.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9565 | μmol/L | 29.8035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.153 | 95681.0235 | 291305.1502 | 30.45 | 114.2
109940 | 2021-04-28 13:08 | 10.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.503 | μmol/L | 29.7974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.182 | 95797.0289 | 291304.9137 | 30.45 | 114.2
109950 | 2021-04-28 13:08 | 11.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2845 | μmol/L | 29.7974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.195 | 95872.096 | 291302.4115 | 30.45 | 114.2
109960 | 2021-04-28 13:08 | 11.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6518 | μmol/L | 29.8528 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.214 | 95922.4848 | 291305.1409 | 30.45 | 114.2
109970 | 2021-04-28 13:09 | 11.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.8568 | μmol/L | 29.8344 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.208 | 95934.805 | 291283.7241 | 30.45 | 114.2
109980 | 2021-04-28 13:09 | 12.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7452 | μmol/L | 29.8097 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.223 | 96054.4934 | 291300.8789 | 30.45 | 114.2
109986 | 2021-04-28 13:09 | 12.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9865 | μmol/L | 29.7789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.219 | 96038.6487 | 291283.3656 | 30.45 | 114.2