## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109622 | 2021-04-28 12:57 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0429 | μmol/L | 29.4511 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.633 | 128399.4765 | 299878.3863 | 33.25 | 68.6
109632 | 2021-04-28 12:57 | 0.33832 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0996 | μmol/L | 29.4999 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.612 | 128226.0779 | 299882.0345 | 33.25 | 68.6
109642 | 2021-04-28 12:58 | 0.67135 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8545 | μmol/L | 29.5366 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.614 | 128288.4388 | 299883.8705 | 33.25 | 68.6
109652 | 2021-04-28 12:58 | 1.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5581 | μmol/L | 29.5366 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.631 | 128359.5111 | 299888.0106 | 33.25 | 68.6
109662 | 2021-04-28 12:58 | 1.3386 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3644 | μmol/L | 29.5732 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.63 | 128364.4079 | 299873.1212 | 33.25 | 68.6
109672 | 2021-04-28 12:59 | 1.6717 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2327 | μmol/L | 29.5854 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.633 | 128392.8165 | 299883.9476 | 33.25 | 68.6
109682 | 2021-04-28 12:59 | 2.0048 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1289 | μmol/L | 29.6098 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.631 | 128382.7652 | 299871.6375 | 33.25 | 68.6
109692 | 2021-04-28 12:59 | 2.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3044 | μmol/L | 29.6159 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.618 | 128343.6626 | 299854.8053 | 33.25 | 68.6
109702 | 2021-04-28 13:00 | 2.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9896 | μmol/L | 29.6403 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.628 | 128382.694 | 299853.8006 | 33.25 | 68.6
109712 | 2021-04-28 13:00 | 3.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8104 | μmol/L | 29.6831 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.624 | 128366.8032 | 299852.8971 | 33.25 | 68.6
109722 | 2021-04-28 13:00 | 3.3383 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6647 | μmol/L | 29.6892 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.63 | 128410.1921 | 299858.3025 | 33.25 | 68.6
109732 | 2021-04-28 13:01 | 3.6716 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7101 | μmol/L | 29.7014 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.623 | 128394.7329 | 299843.622 | 33.25 | 68.6
109742 | 2021-04-28 13:01 | 4.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6257 | μmol/L | 29.7014 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.628 | 128433.3433 | 299848.3114 | 33.25 | 68.6
109752 | 2021-04-28 13:01 | 4.3384 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2924 | μmol/L | 29.7319 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.637 | 128469.6207 | 299842.2567 | 33.25 | 68.6
109762 | 2021-04-28 13:02 | 4.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3962 | μmol/L | 29.7441 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.627 | 128458.7406 | 299844.2955 | 33.25 | 68.6
109772 | 2021-04-28 13:02 | 5.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1693 | μmol/L | 29.7441 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.64 | 128508.7907 | 299836.2564 | 33.25 | 68.6
109782 | 2021-04-28 13:02 | 5.3385 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0658 | μmol/L | 29.7685 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.638 | 128523.3009 | 299835.5715 | 33.25 | 68.6
109792 | 2021-04-28 13:03 | 5.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.691 | μmol/L | 29.7807 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.656 | 128602.9462 | 299833.2835 | 33.25 | 68.6
109802 | 2021-04-28 13:03 | 6.005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6971 | μmol/L | 29.7868 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.653 | 128634.3559 | 299821.5013 | 33.25 | 68.6
109812 | 2021-04-28 13:03 | 6.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6997 | μmol/L | 29.7807 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.655 | 128629.8187 | 299829.2692 | 33.25 | 68.6
109822 | 2021-04-28 13:04 | 6.6718 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.465 | μmol/L | 29.799 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.663 | 128677.3113 | 299818.9154 | 33.25 | 68.6
109832 | 2021-04-28 13:04 | 7.0051 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3431 | μmol/L | 29.8296 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.659 | 128655.7233 | 299809.0643 | 33.25 | 68.6
109842 | 2021-04-28 13:04 | 7.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.948 | μmol/L | 29.8906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.661 | 128685.6531 | 299804.6872 | 33.25 | 68.6
109852 | 2021-04-28 13:05 | 7.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0311 | μmol/L | 29.8723 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.663 | 128707.8129 | 299811.6076 | 33.25 | 68.6
109862 | 2021-04-28 13:05 | 8.005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8559 | μmol/L | 29.8723 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.673 | 128783.6044 | 299791.9308 | 33.25 | 68.6
109872 | 2021-04-28 13:05 | 8.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5719 | μmol/L | 29.854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.697 | 128945.9102 | 299780.6721 | 33.25 | 68.6
109882 | 2021-04-28 13:06 | 8.6718 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.508 | μmol/L | 29.8479 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.703 | 128989.8273 | 299793.1485 | 33.25 | 68.6
109892 | 2021-04-28 13:06 | 9.0052 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4359 | μmol/L | 29.8601 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.703 | 128964.6045 | 299801.8228 | 33.25 | 68.6
109902 | 2021-04-28 13:06 | 9.3384 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7332 | μmol/L | 29.8662 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.683 | 128870.6856 | 299784.771 | 33.25 | 68.6
109912 | 2021-04-28 13:07 | 9.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.389 | μmol/L | 29.8906 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.695 | 128915.469 | 299781.0997 | 33.25 | 68.6
109922 | 2021-04-28 13:07 | 10.0051 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3336 | μmol/L | 29.9028 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.694 | 128923.9173 | 299774.4224 | 33.25 | 68.6
109932 | 2021-04-28 13:07 | 10.3384 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1562 | μmol/L | 29.9272 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.696 | 128937.1997 | 299749.8541 | 33.25 | 68.6
109942 | 2021-04-28 13:08 | 10.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3947 | μmol/L | 29.915 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.686 | 128925.2361 | 299777.3945 | 33.25 | 68.6
109952 | 2021-04-28 13:08 | 11.0051 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.062 | μmol/L | 29.915 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.706 | 129012.766 | 299757.4711 | 33.25 | 68.6
109962 | 2021-04-28 13:08 | 11.3382 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1257 | μmol/L | 29.9211 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.7 | 128979.8525 | 299762.1941 | 33.25 | 68.6
109972 | 2021-04-28 13:09 | 11.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8544 | μmol/L | 29.9334 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.712 | 129042.1968 | 299759.3589 | 33.25 | 68.6
109982 | 2021-04-28 13:09 | 12.0049 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9015 | μmol/L | 29.9395 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.707 | 129024.7452 | 299754.4681 | 33.25 | 68.6