## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109624 | 2021-04-28 12:57 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8714 | μmol/L | 29.2566 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.689 | 116337.6081 | 267960.6008 | 32.55 | 27.7
109634 | 2021-04-28 12:58 | 0.34099 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7015 | μmol/L | 29.3179 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.678 | 116318.8603 | 267930.3636 | 32.55 | 27.7
109644 | 2021-04-28 12:58 | 0.67501 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7046 | μmol/L | 29.3486 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.723 | 116631.6631 | 267901.152 | 32.55 | 27.7
109654 | 2021-04-28 12:58 | 1.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.4355 | μmol/L | 29.3425 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.74 | 116710.1868 | 267889.9403 | 32.55 | 27.7
109664 | 2021-04-28 12:59 | 1.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5779 | μmol/L | 29.3548 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.728 | 116697.6072 | 267873.2341 | 32.55 | 27.7
109674 | 2021-04-28 12:59 | 1.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.1607 | μmol/L | 29.3854 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.741 | 116739.4706 | 267877.7787 | 32.55 | 27.7
109684 | 2021-04-28 12:59 | 2.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7632 | μmol/L | 29.41 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.755 | 116856.7439 | 267848.6403 | 32.55 | 27.7
109694 | 2021-04-28 13:00 | 2.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9774 | μmol/L | 29.4161 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.741 | 116805.2149 | 267845.246 | 32.55 | 27.7
109704 | 2021-04-28 13:00 | 2.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.2615 | μmol/L | 29.4406 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.717 | 116666.1264 | 267848.8801 | 32.55 | 27.7
109714 | 2021-04-28 13:00 | 3.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3482 | μmol/L | 29.4652 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.704 | 116604.6189 | 267838.5645 | 32.55 | 27.7
109724 | 2021-04-28 13:01 | 3.3413 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3639 | μmol/L | 29.4836 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.697 | 116589.8456 | 267831.8938 | 32.55 | 27.7
109734 | 2021-04-28 13:01 | 3.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3076 | μmol/L | 29.502 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.694 | 116555.1711 | 267829.2039 | 32.55 | 27.7
109744 | 2021-04-28 13:01 | 4.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.0724 | μmol/L | 29.5143 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.703 | 116632.4358 | 267830.6351 | 32.55 | 27.7
109754 | 2021-04-28 13:02 | 4.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8741 | μmol/L | 29.5204 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.712 | 116740.6868 | 267813.1323 | 32.55 | 27.7
109764 | 2021-04-28 13:02 | 4.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7804 | μmol/L | 29.5511 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 116731.2412 | 267825.1945 | 32.55 | 27.7
109774 | 2021-04-28 13:02 | 5.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.725 | μmol/L | 29.5633 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.706 | 116753.9979 | 267807.1862 | 32.55 | 27.7
109784 | 2021-04-28 13:03 | 5.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3814 | μmol/L | 29.5879 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.717 | 116823.2331 | 267799.6548 | 32.55 | 27.7
109794 | 2021-04-28 13:03 | 5.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3107 | μmol/L | 29.5817 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.723 | 116841.125 | 267799.8155 | 32.55 | 27.7
109804 | 2021-04-28 13:03 | 6.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0928 | μmol/L | 29.6063 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.727 | 116877.6835 | 267784.8921 | 32.55 | 27.7
109814 | 2021-04-28 13:04 | 6.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1447 | μmol/L | 29.6186 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.72 | 116880.2115 | 267787.1276 | 32.55 | 27.7
109824 | 2021-04-28 13:04 | 6.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2528 | μmol/L | 29.6124 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.716 | 116838.1237 | 267787.8109 | 32.55 | 27.7
109834 | 2021-04-28 13:04 | 7.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0697 | μmol/L | 29.6431 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.716 | 116838.7897 | 267779.4484 | 32.55 | 27.7
109844 | 2021-04-28 13:05 | 7.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1072 | μmol/L | 29.6308 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.718 | 116856.1347 | 267786.3314 | 32.55 | 27.7
109854 | 2021-04-28 13:05 | 7.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0919 | μmol/L | 29.6124 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.725 | 116912.2962 | 267788.7784 | 32.55 | 27.7
109864 | 2021-04-28 13:05 | 8.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5988 | μmol/L | 29.6922 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.726 | 116939.2796 | 267774.538 | 32.55 | 27.7
109874 | 2021-04-28 13:06 | 8.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.8279 | μmol/L | 29.7106 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 116863.834 | 267768.7788 | 32.55 | 27.7
109884 | 2021-04-28 13:06 | 8.6745 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0475 | μmol/L | 29.6738 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 116848.479 | 267774.6784 | 32.55 | 27.7
109894 | 2021-04-28 13:06 | 9.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.7396 | μmol/L | 29.7044 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.714 | 116897.3864 | 267770.1054 | 32.55 | 27.7
109904 | 2021-04-28 13:07 | 9.3411 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.8333 | μmol/L | 29.6738 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.719 | 116955.5714 | 267756.3075 | 32.55 | 27.7
109914 | 2021-04-28 13:07 | 9.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.9743 | μmol/L | 29.686 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 116905.326 | 267755.6688 | 32.55 | 27.7
109924 | 2021-04-28 13:07 | 10.0078 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5007 | μmol/L | 29.7535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.711 | 116911.0972 | 267746.4281 | 32.55 | 27.7
109934 | 2021-04-28 13:08 | 10.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2833 | μmol/L | 29.7781 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.715 | 116944.2133 | 267747.6814 | 32.55 | 27.7
109944 | 2021-04-28 13:08 | 10.6746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.141 | μmol/L | 29.7781 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.723 | 116995.4038 | 267734.156 | 32.55 | 27.7
109954 | 2021-04-28 13:08 | 11.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.112 | μmol/L | 29.7351 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.739 | 117122.7013 | 267720.669 | 32.55 | 27.7
109964 | 2021-04-28 13:09 | 11.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.7542 | μmol/L | 29.7535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.753 | 117229.7993 | 267730.3642 | 32.55 | 27.7
109974 | 2021-04-28 13:09 | 11.6744 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4885 | μmol/L | 29.7535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.768 | 117305.6946 | 267714.1616 | 32.55 | 27.7
109984 | 2021-04-28 13:09 | 12.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.6033 | μmol/L | 29.6983 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.78 | 117388.9599 | 267714.2699 | 32.55 | 27.7