## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109990 | 2021-04-28 13:18 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.5748 | μmol/L | 29.3444 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.818 | 97907.3497 | 211105.9238 | 27.3 | 43.4
110000 | 2021-04-28 13:19 | 0.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.7506 | μmol/L | 29.369 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.85 | 98025.8758 | 211116.6035 | 27.3 | 43.4
110010 | 2021-04-28 13:19 | 0.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0143 | μmol/L | 29.3751 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.884 | 98178.9404 | 211107.4088 | 27.3 | 43.4
110020 | 2021-04-28 13:19 | 1.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.2598 | μmol/L | 29.3873 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.917 | 98327.3935 | 211116.3297 | 27.3 | 43.4
110030 | 2021-04-28 13:20 | 1.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.1588 | μmol/L | 29.4364 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.955 | 98506.5591 | 211112.1177 | 27.3 | 43.4
110040 | 2021-04-28 13:20 | 1.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1107 | μmol/L | 29.4486 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.003 | 98763.2294 | 211103.4962 | 27.3 | 43.4
110050 | 2021-04-28 13:20 | 2.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.2659 | μmol/L | 29.4731 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.037 | 98965.9073 | 211107.993 | 27.3 | 43.4
110060 | 2021-04-28 13:21 | 2.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3615 | μmol/L | 29.516 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.068 | 99088.9 | 211098.225 | 27.3 | 43.4
110070 | 2021-04-28 13:21 | 2.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3131 | μmol/L | 29.4609 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.089 | 99218.2022 | 211105.8226 | 27.3 | 43.4
110080 | 2021-04-28 13:21 | 3.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5951 | μmol/L | 29.4854 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.117 | 99356.2188 | 211099.1193 | 27.3 | 43.4
110090 | 2021-04-28 13:22 | 3.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.939 | μmol/L | 29.5099 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.142 | 99494.4847 | 211093.7982 | 27.3 | 43.4
110100 | 2021-04-28 13:22 | 3.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0863 | μmol/L | 29.5467 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.173 | 99637.7481 | 211091.5168 | 27.3 | 43.4
110110 | 2021-04-28 13:22 | 4.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8526 | μmol/L | 29.5406 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.187 | 99740.1871 | 211082.7396 | 27.3 | 43.4
110120 | 2021-04-28 13:23 | 4.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.1384 | μmol/L | 29.5896 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.207 | 99836.8335 | 211081.1565 | 27.3 | 43.4
110130 | 2021-04-28 13:23 | 4.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.785 | μmol/L | 29.6019 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.221 | 99938.1024 | 211082.4747 | 27.3 | 43.4
110140 | 2021-04-28 13:23 | 5.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3531 | μmol/L | 29.6202 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.237 | 100022.4116 | 211083.7157 | 27.3 | 43.4
110150 | 2021-04-28 13:24 | 5.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.42 | μmol/L | 29.5835 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.246 | 100101.4454 | 211076.6401 | 27.3 | 43.4
110160 | 2021-04-28 13:24 | 5.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8255 | μmol/L | 29.6386 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.258 | 100172.9875 | 211087.4035 | 27.3 | 43.4
110170 | 2021-04-28 13:24 | 6.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1998 | μmol/L | 29.6693 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.28 | 100243.6902 | 211078.6692 | 27.3 | 43.4
110180 | 2021-04-28 13:25 | 6.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3424 | μmol/L | 29.6386 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.283 | 100304.7697 | 211074.9098 | 27.3 | 43.4
110190 | 2021-04-28 13:25 | 6.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3364 | μmol/L | 29.6631 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.275 | 100261.4981 | 211072.4799 | 27.3 | 43.4
110200 | 2021-04-28 13:25 | 7.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8631 | μmol/L | 29.706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.285 | 100290.4416 | 211073.4691 | 27.3 | 43.4
110210 | 2021-04-28 13:26 | 7.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3424 | μmol/L | 29.6386 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.283 | 100312.1757 | 211064.6333 | 27.3 | 43.4
110220 | 2021-04-28 13:26 | 7.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8769 | μmol/L | 29.6509 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.303 | 100384.7238 | 211063.3184 | 27.3 | 43.4
110230 | 2021-04-28 13:26 | 8.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3888 | μmol/L | 29.6815 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.318 | 100470.5808 | 211061.8211 | 27.3 | 43.4
110240 | 2021-04-28 13:27 | 8.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2146 | μmol/L | 29.6877 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.325 | 100543.3279 | 211063.8805 | 27.3 | 43.4
110250 | 2021-04-28 13:27 | 8.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8698 | μmol/L | 29.6877 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.343 | 100623.1377 | 211054.9342 | 27.3 | 43.4
110260 | 2021-04-28 13:27 | 9.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.5576 | μmol/L | 29.7122 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.351 | 100680.3857 | 211069.3499 | 27.3 | 43.4
110270 | 2021-04-28 13:28 | 9.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.5847 | μmol/L | 29.6815 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.36 | 100724.5187 | 211059.1285 | 27.3 | 43.4
110280 | 2021-04-28 13:28 | 9.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2952 | μmol/L | 29.6938 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.371 | 100785.273 | 211063.5899 | 27.3 | 43.4
110290 | 2021-04-28 13:28 | 10.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7285 | μmol/L | 29.749 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.382 | 100838.2071 | 211065.3838 | 27.3 | 43.4
110300 | 2021-04-28 13:29 | 10.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7763 | μmol/L | 29.7122 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.392 | 100869.966 | 211066.5841 | 27.3 | 43.4
110310 | 2021-04-28 13:29 | 10.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4073 | μmol/L | 29.7428 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.401 | 100912.257 | 211063.9129 | 27.3 | 43.4
110320 | 2021-04-28 13:29 | 11.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.075 | μmol/L | 29.7796 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.406 | 100966.4976 | 211061.8306 | 27.3 | 43.4
110330 | 2021-04-28 13:30 | 11.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.1987 | μmol/L | 29.7428 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.412 | 100992.9477 | 211068.5716 | 27.3 | 43.4
110340 | 2021-04-28 13:30 | 11.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.3463 | μmol/L | 29.6877 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.423 | 101037.9483 | 211049.618 | 27.3 | 43.4
110350 | 2021-04-28 13:30 | 12.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.834 | μmol/L | 29.7612 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.425 | 101055.4635 | 211066.271 | 27.3 | 43.4
110360 | 2021-04-28 13:31 | 12.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.7172 | μmol/L | 29.7735 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.427 | 101068.809 | 211065.0502 | 27.3 | 43.4
110370 | 2021-04-28 13:31 | 12.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.3294 | μmol/L | 29.8102 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.435 | 101119.2778 | 211054.3761 | 27.3 | 43.4
110380 | 2021-04-28 13:31 | 13.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.194 | μmol/L | 29.8225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.438 | 101147.4935 | 211059.7085 | 27.3 | 43.4
110390 | 2021-04-28 13:32 | 13.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.2523 | μmol/L | 29.8164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.437 | 101133.3702 | 211050.8477 | 27.3 | 43.4
110400 | 2021-04-28 13:32 | 13.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0245 | μmol/L | 29.8225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.447 | 101185.8622 | 211059.9089 | 27.3 | 43.4
110410 | 2021-04-28 13:32 | 14.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.838 | μmol/L | 29.8164 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.459 | 101239.9569 | 211063.3349 | 27.3 | 43.4
110420 | 2021-04-28 13:33 | 14.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.6824 | μmol/L | 29.8348 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.461 | 101265.9121 | 211058.8407 | 27.3 | 43.4
110430 | 2021-04-28 13:33 | 14.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.558 | μmol/L | 29.8102 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.476 | 101347.6082 | 211063.9806 | 27.3 | 43.4
110440 | 2021-04-28 13:33 | 15.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.1367 | μmol/L | 29.8409 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.488 | 101421.6754 | 211064.3553 | 27.3 | 43.4
110450 | 2021-04-28 13:34 | 15.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3996 | μmol/L | 29.7735 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.497 | 101474.8502 | 211048.3983 | 27.3 | 43.4
110460 | 2021-04-28 13:34 | 15.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.9548 | μmol/L | 29.8225 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.504 | 101479.5267 | 211053.6847 | 27.3 | 43.4
110470 | 2021-04-28 13:34 | 16.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.6806 | μmol/L | 29.8654 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.504 | 101495.5738 | 211054.7655 | 27.3 | 43.4
110480 | 2021-04-28 13:35 | 16.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.5312 | μmol/L | 29.8654 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.512 | 101527.7148 | 211063.2239 | 27.3 | 43.4
110490 | 2021-04-28 13:35 | 16.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.6522 | μmol/L | 29.8348 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.516 | 101571.6444 | 211048.4488 | 27.3 | 43.4