## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114340 | 2021-04-30 12:40 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4895 | μmol/L | 14.4175 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.729 | 103111.3718 | 211681.0337 | 27.3 | 43.4
114350 | 2021-04-30 12:40 | 0.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5605 | μmol/L | 14.4236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.724 | 103087.5738 | 211677.8086 | 27.3 | 43.4
114360 | 2021-04-30 12:40 | 0.66835 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4509 | μmol/L | 14.4297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.726 | 103057.6739 | 211689.7745 | 27.3 | 43.4
114370 | 2021-04-30 12:41 | 1.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.7154 | μmol/L | 14.4236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.718 | 103027.0736 | 211686.0283 | 27.3 | 43.4
114380 | 2021-04-30 12:41 | 1.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.7671 | μmol/L | 14.4236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.716 | 102990.4448 | 211680.6018 | 27.3 | 43.4
114390 | 2021-04-30 12:41 | 1.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.709 | μmol/L | 14.4297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.716 | 102958.8479 | 211676.73 | 27.3 | 43.4
114400 | 2021-04-30 12:42 | 2.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8577 | μmol/L | 14.4358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.708 | 102933.0561 | 211673.3444 | 27.3 | 43.4
114410 | 2021-04-30 12:42 | 2.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0582 | μmol/L | 14.4419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.698 | 102910.6315 | 211665.5889 | 27.3 | 43.4
114420 | 2021-04-30 12:42 | 2.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0387 | μmol/L | 14.4358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.701 | 102883.0206 | 211662.5289 | 27.3 | 43.4
114430 | 2021-04-30 12:43 | 3.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0259 | μmol/L | 14.448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.697 | 102857.3635 | 211670.0448 | 27.3 | 43.4
114440 | 2021-04-30 12:43 | 3.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.084 | μmol/L | 14.4419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.697 | 102833.3646 | 211660.8508 | 27.3 | 43.4
114450 | 2021-04-30 12:43 | 3.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0455 | μmol/L | 14.4541 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.694 | 102816.2044 | 211661.1329 | 27.3 | 43.4
114460 | 2021-04-30 12:44 | 4.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0909 | μmol/L | 14.4602 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.69 | 102794.6551 | 211658.7942 | 27.3 | 43.4
114470 | 2021-04-30 12:44 | 4.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1944 | μmol/L | 14.4602 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.686 | 102771.262 | 211661.932 | 27.3 | 43.4
114480 | 2021-04-30 12:44 | 4.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2398 | μmol/L | 14.4663 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.682 | 102749.2328 | 211663.9001 | 27.3 | 43.4
114490 | 2021-04-30 12:45 | 5.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2335 | μmol/L | 14.4724 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.68 | 102729.3506 | 211644.9858 | 27.3 | 43.4
114500 | 2021-04-30 12:45 | 5.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3953 | μmol/L | 14.4663 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.676 | 102712.6151 | 211644.9932 | 27.3 | 43.4
114510 | 2021-04-30 12:45 | 5.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.279 | μmol/L | 14.4785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.676 | 102691.8337 | 211646.4835 | 27.3 | 43.4
114520 | 2021-04-30 12:46 | 6.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3763 | μmol/L | 14.4846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.67 | 102675.2563 | 211639.931 | 27.3 | 43.4
114530 | 2021-04-30 12:46 | 6.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.48 | μmol/L | 14.4846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.666 | 102656.991 | 211642.0005 | 27.3 | 43.4
114540 | 2021-04-30 12:46 | 6.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.48 | μmol/L | 14.4846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.666 | 102646.8492 | 211641.347 | 27.3 | 43.4
114550 | 2021-04-30 12:47 | 7.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4478 | μmol/L | 14.4907 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.665 | 102630.272 | 211642.7564 | 27.3 | 43.4
114560 | 2021-04-30 12:47 | 7.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5193 | μmol/L | 14.4968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.66 | 102626.3861 | 211644.325 | 27.3 | 43.4
114570 | 2021-04-30 12:47 | 7.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5389 | μmol/L | 14.5029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.657 | 102593.6975 | 211634.4833 | 27.3 | 43.4
114580 | 2021-04-30 12:48 | 8.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5649 | μmol/L | 14.5029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.656 | 102591.0266 | 211639.6831 | 27.3 | 43.4
114590 | 2021-04-30 12:48 | 8.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5586 | μmol/L | 14.509 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.654 | 102580.4905 | 211621.5824 | 27.3 | 43.4
114600 | 2021-04-30 12:48 | 8.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4745 | μmol/L | 14.5151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.655 | 102573.6981 | 211630.5893 | 27.3 | 43.4
114610 | 2021-04-30 12:49 | 9.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3646 | μmol/L | 14.5212 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.657 | 102550.8322 | 211620.4565 | 27.3 | 43.4
114620 | 2021-04-30 12:49 | 9.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4102 | μmol/L | 14.5273 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.653 | 102545.7671 | 211616.9993 | 27.3 | 43.4
114630 | 2021-04-30 12:49 | 9.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.488 | μmol/L | 14.5273 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.65 | 102539.4225 | 211627.248 | 27.3 | 43.4
114640 | 2021-04-30 12:50 | 10.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4558 | μmol/L | 14.5334 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.649 | 102535.9194 | 211614.7403 | 27.3 | 43.4
114650 | 2021-04-30 12:50 | 10.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5274 | μmol/L | 14.5395 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.644 | 102517.4302 | 211617.9871 | 27.3 | 43.4
114660 | 2021-04-30 12:50 | 10.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5274 | μmol/L | 14.5395 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.644 | 102503.9677 | 211610.6803 | 27.3 | 43.4
114670 | 2021-04-30 12:51 | 11.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3915 | μmol/L | 14.5456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.647 | 102499.0613 | 211619.0112 | 27.3 | 43.4
114680 | 2021-04-30 12:51 | 11.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.5149 | μmol/L | 14.5517 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.64 | 102493.1209 | 211622.0842 | 27.3 | 43.4
114690 | 2021-04-30 12:51 | 11.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4112 | μmol/L | 14.5517 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.644 | 102483.8528 | 211617.7105 | 27.3 | 43.4
114700 | 2021-04-30 12:52 | 12.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4568 | μmol/L | 14.5578 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.64 | 102462.8586 | 211614.6595 | 27.3 | 43.4
114710 | 2021-04-30 12:52 | 12.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4568 | μmol/L | 14.5578 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.64 | 102459.5073 | 211608.9504 | 27.3 | 43.4
114720 | 2021-04-30 12:52 | 12.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4568 | μmol/L | 14.5578 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.64 | 102459.4612 | 211609.8727 | 27.3 | 43.4
114730 | 2021-04-30 12:53 | 13.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4444 | μmol/L | 14.57 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.636 | 102451.978 | 211604.7961 | 27.3 | 43.4
114740 | 2021-04-30 12:53 | 13.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3926 | μmol/L | 14.57 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.638 | 102435.9462 | 211614.6228 | 27.3 | 43.4
114750 | 2021-04-30 12:53 | 13.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4061 | μmol/L | 14.5822 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.633 | 102429.4231 | 211610.3309 | 27.3 | 43.4
114760 | 2021-04-30 12:54 | 14.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3802 | μmol/L | 14.5822 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.634 | 102425.1248 | 211618.1093 | 27.3 | 43.4
114770 | 2021-04-30 12:54 | 14.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2703 | μmol/L | 14.5883 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.636 | 102423.7808 | 211601.4828 | 27.3 | 43.4
114780 | 2021-04-30 12:54 | 14.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3679 | μmol/L | 14.5944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.63 | 102418.2056 | 211601.3164 | 27.3 | 43.4
114790 | 2021-04-30 12:55 | 15.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2901 | μmol/L | 14.5944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.633 | 102403.464 | 211589.8841 | 27.3 | 43.4
114800 | 2021-04-30 12:55 | 15.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.258 | μmol/L | 14.6005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.632 | 102398.6232 | 211590.1525 | 27.3 | 43.4
114810 | 2021-04-30 12:55 | 15.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1222 | μmol/L | 14.6066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.635 | 102407.2097 | 211592.6579 | 27.3 | 43.4
114820 | 2021-04-30 12:56 | 16.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.3296 | μmol/L | 14.6066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.627 | 102395.9685 | 211596.5735 | 27.3 | 43.4
114830 | 2021-04-30 12:56 | 16.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2197 | μmol/L | 14.6127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.629 | 102384.3176 | 211590.9946 | 27.3 | 43.4
114840 | 2021-04-30 12:56 | 16.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2654 | μmol/L | 14.6189 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.625 | 102389.4409 | 211585.1911 | 27.3 | 43.4
114850 | 2021-04-30 12:57 | 17.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1297 | μmol/L | 14.625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.628 | 102377.9347 | 211578.7119 | 27.3 | 43.4
114860 | 2021-04-30 12:57 | 17.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1815 | μmol/L | 14.625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.626 | 102374.0961 | 211587.1739 | 27.3 | 43.4
114870 | 2021-04-30 12:57 | 17.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0199 | μmol/L | 14.6311 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.63 | 102373.9678 | 211590.1156 | 27.3 | 43.4
114880 | 2021-04-30 12:58 | 18.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9558 | μmol/L | 14.6433 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.628 | 102365.7247 | 211570.6714 | 27.3 | 43.4
114890 | 2021-04-30 12:58 | 18.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.0656 | μmol/L | 14.6372 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.626 | 102362.5167 | 211576.0532 | 27.3 | 43.4
114900 | 2021-04-30 12:58 | 18.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9817 | μmol/L | 14.6433 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.627 | 102357.1843 | 211574.6584 | 27.3 | 43.4
114910 | 2021-04-30 12:59 | 19.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9238 | μmol/L | 14.6494 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.627 | 102357.1136 | 211568.7391 | 27.3 | 43.4
114920 | 2021-04-30 12:59 | 19.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.84 | μmol/L | 14.6555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.628 | 102351.8023 | 211569.9961 | 27.3 | 43.4
114930 | 2021-04-30 12:59 | 19.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8598 | μmol/L | 14.6616 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.625 | 102340.4516 | 211569.1894 | 27.3 | 43.4
114940 | 2021-04-30 13:00 | 20.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8019 | μmol/L | 14.6677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.625 | 102343.3356 | 211568.8115 | 27.3 | 43.4
114950 | 2021-04-30 13:00 | 20.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8019 | μmol/L | 14.6677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.625 | 102332.6274 | 211566.923 | 27.3 | 43.4
114960 | 2021-04-30 13:00 | 20.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9314 | μmol/L | 14.6677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.62 | 102332.1044 | 211570.461 | 27.3 | 43.4
114970 | 2021-04-30 13:01 | 21.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6345 | μmol/L | 14.6799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.627 | 102330.308 | 211563.9231 | 27.3 | 43.4
114980 | 2021-04-30 13:01 | 21.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8157 | μmol/L | 14.6799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.62 | 102317.3898 | 211565.478 | 27.3 | 43.4
114990 | 2021-04-30 13:01 | 21.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8157 | μmol/L | 14.6799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.62 | 102321.8719 | 211577.368 | 27.3 | 43.4
115000 | 2021-04-30 13:02 | 22.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6482 | μmol/L | 14.6921 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.622 | 102312.8376 | 211559.8706 | 27.3 | 43.4
115010 | 2021-04-30 13:02 | 22.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.8096 | μmol/L | 14.686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.618 | 102320.5426 | 211564.9763 | 27.3 | 43.4
115020 | 2021-04-30 13:02 | 22.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.7776 | μmol/L | 14.6921 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.617 | 102311.3537 | 211562.9866 | 27.3 | 43.4
115030 | 2021-04-30 13:03 | 23.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.668 | μmol/L | 14.6982 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 102311.335 | 211553.7686 | 27.3 | 43.4
115040 | 2021-04-30 13:03 | 23.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.668 | μmol/L | 14.6982 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 102307.2991 | 211556.1947 | 27.3 | 43.4
115050 | 2021-04-30 13:03 | 23.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.6301 | μmol/L | 14.7104 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 102302.552 | 211559.166 | 27.3 | 43.4
115060 | 2021-04-30 13:04 | 24.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5723 | μmol/L | 14.7165 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 102306.5757 | 211552.0112 | 27.3 | 43.4
115070 | 2021-04-30 13:04 | 24.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5145 | μmol/L | 14.7226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 102295.6465 | 211566.5092 | 27.3 | 43.4
115080 | 2021-04-30 13:04 | 24.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5662 | μmol/L | 14.7226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.614 | 102284.8177 | 211555.5264 | 27.3 | 43.4
115090 | 2021-04-30 13:05 | 25.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.399 | μmol/L | 14.7348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 102293.4756 | 211546.4181 | 27.3 | 43.4
115100 | 2021-04-30 13:05 | 25.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.405 | μmol/L | 14.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.618 | 102294.3086 | 211554.226 | 27.3 | 43.4
115110 | 2021-04-30 13:05 | 25.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3412 | μmol/L | 14.7409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 102283.3957 | 211536.8156 | 27.3 | 43.4
115120 | 2021-04-30 13:06 | 26.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3611 | μmol/L | 14.747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.613 | 102280.2473 | 211541.7911 | 27.3 | 43.4
115130 | 2021-04-30 13:06 | 26.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1483 | μmol/L | 14.7531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 102269.5565 | 211532.3558 | 27.3 | 43.4
115140 | 2021-04-30 13:06 | 26.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2059 | μmol/L | 14.747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 102265.7976 | 211531.8838 | 27.3 | 43.4