## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114341 | 2021-04-30 12:40 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.0589 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 89453.2388 | 289324.3672 | 28.7 | 67.6
114351 | 2021-04-30 12:40 | 0.33908 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.4012 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.641 | 89368.5604 | 289322.0757 | 28.7 | 67.6
114361 | 2021-04-30 12:40 | 0.67249 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.8299 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.622 | 89293.5625 | 289319.0492 | 28.7 | 67.6
114371 | 2021-04-30 12:41 | 1.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.2187 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.607 | 89224.9925 | 289303.2465 | 28.7 | 67.6
114381 | 2021-04-30 12:41 | 1.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5357 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.593 | 89172.4492 | 289310.7872 | 28.7 | 67.6
114391 | 2021-04-30 12:41 | 1.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6717 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.587 | 89115 | 289308.1746 | 28.7 | 67.6
114401 | 2021-04-30 12:42 | 2.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9622 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.572 | 89078.5236 | 289304.756 | 28.7 | 67.6
114411 | 2021-04-30 12:42 | 2.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0531 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.568 | 89036.6926 | 289296.0176 | 28.7 | 67.6
114421 | 2021-04-30 12:42 | 2.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1167 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.563 | 89005.4192 | 289298.2881 | 28.7 | 67.6
114431 | 2021-04-30 12:43 | 3.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2576 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.559 | 88978.1426 | 289283.1974 | 28.7 | 67.6
114441 | 2021-04-30 12:43 | 3.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.444 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.553 | 88955.244 | 289280.8988 | 28.7 | 67.6
114451 | 2021-04-30 12:43 | 3.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5761 | μmol/L | 14.4272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.545 | 88927.9535 | 289276.0557 | 28.7 | 67.6
114461 | 2021-04-30 12:44 | 4.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.535 | μmol/L | 14.4211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.549 | 88917.1395 | 289271.7911 | 28.7 | 67.6
114471 | 2021-04-30 12:44 | 4.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5944 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.542 | 88897.5933 | 289265.3636 | 28.7 | 67.6
114481 | 2021-04-30 12:44 | 4.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.6855 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.538 | 88883.8009 | 289273.5434 | 28.7 | 67.6
114491 | 2021-04-30 12:45 | 5.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.7267 | μmol/L | 14.4394 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.534 | 88869.3886 | 289261.0843 | 28.7 | 67.6
114501 | 2021-04-30 12:45 | 5.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.7723 | μmol/L | 14.4394 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.532 | 88858.7464 | 289265.2626 | 28.7 | 67.6
114511 | 2021-04-30 12:45 | 5.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.8451 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.531 | 88828.0926 | 289262.636 | 28.7 | 67.6
114521 | 2021-04-30 12:46 | 6.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.8818 | μmol/L | 14.4454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.525 | 88815.4411 | 289258.1106 | 28.7 | 67.6
114531 | 2021-04-30 12:46 | 6.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.9319 | μmol/L | 14.4394 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.525 | 88804.0509 | 289259.293 | 28.7 | 67.6
114541 | 2021-04-30 12:46 | 6.6724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.0187 | μmol/L | 14.4454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 88785.8455 | 289256.4241 | 28.7 | 67.6
114551 | 2021-04-30 12:47 | 7.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.0371 | μmol/L | 14.4515 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.516 | 88770.854 | 289238.4996 | 28.7 | 67.6
114561 | 2021-04-30 12:47 | 7.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.1785 | μmol/L | 14.4454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.512 | 88759.185 | 289233.2661 | 28.7 | 67.6
114571 | 2021-04-30 12:47 | 7.6726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.1328 | μmol/L | 14.4454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.514 | 88749.7625 | 289226.7994 | 28.7 | 67.6
114581 | 2021-04-30 12:48 | 8.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.1056 | μmol/L | 14.4515 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.513 | 88740.2836 | 289225.0707 | 28.7 | 67.6
114591 | 2021-04-30 12:48 | 8.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.1925 | μmol/L | 14.4576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.507 | 88718.1527 | 289223.3964 | 28.7 | 67.6
114601 | 2021-04-30 12:48 | 8.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.2839 | μmol/L | 14.4576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.503 | 88706.3079 | 289228.5437 | 28.7 | 67.6
114611 | 2021-04-30 12:49 | 9.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.2109 | μmol/L | 14.4637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.504 | 88699.2087 | 289208.5891 | 28.7 | 67.6
114621 | 2021-04-30 12:49 | 9.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.3753 | μmol/L | 14.4576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.499 | 88693.1795 | 289217.4288 | 28.7 | 67.6
114631 | 2021-04-30 12:49 | 9.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.3067 | μmol/L | 14.4576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.502 | 88682.6546 | 289207.5044 | 28.7 | 67.6
114641 | 2021-04-30 12:50 | 10.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.3252 | μmol/L | 14.4637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.499 | 88676.1843 | 289202.0066 | 28.7 | 67.6
114651 | 2021-04-30 12:50 | 10.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4395 | μmol/L | 14.4637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.494 | 88663.1792 | 289218.6636 | 28.7 | 67.6
114661 | 2021-04-30 12:50 | 10.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4166 | μmol/L | 14.4637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.495 | 88646.2473 | 289192.4905 | 28.7 | 67.6
114671 | 2021-04-30 12:51 | 11.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4122 | μmol/L | 14.4697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.493 | 88643.9069 | 289201.0834 | 28.7 | 67.6
114681 | 2021-04-30 12:51 | 11.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4535 | μmol/L | 14.4758 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.489 | 88628.2415 | 289193.5466 | 28.7 | 67.6
114691 | 2021-04-30 12:51 | 11.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5679 | μmol/L | 14.4758 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 88612.2343 | 289190.4361 | 28.7 | 67.6
114701 | 2021-04-30 12:52 | 12.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5723 | μmol/L | 14.4697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.486 | 88603.9976 | 289179.7395 | 28.7 | 67.6
114711 | 2021-04-30 12:52 | 12.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4949 | μmol/L | 14.4819 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.485 | 88591.4466 | 289187.5077 | 28.7 | 67.6
114721 | 2021-04-30 12:52 | 12.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.6551 | μmol/L | 14.4819 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.478 | 88579.7168 | 289172.0784 | 28.7 | 67.6
114731 | 2021-04-30 12:53 | 13.0056 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.7281 | μmol/L | 14.4758 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.477 | 88563.0948 | 289166.0029 | 28.7 | 67.6
114741 | 2021-04-30 12:53 | 13.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.6507 | μmol/L | 14.488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.476 | 88562.4741 | 289175.1912 | 28.7 | 67.6
114751 | 2021-04-30 12:53 | 13.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.7194 | μmol/L | 14.488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.473 | 88542.1167 | 289155.7289 | 28.7 | 67.6
114761 | 2021-04-30 12:54 | 14.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.7881 | μmol/L | 14.488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.47 | 88535.8311 | 289171.9329 | 28.7 | 67.6
114771 | 2021-04-30 12:54 | 14.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8525 | μmol/L | 14.494 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88514.434 | 289164.1499 | 28.7 | 67.6
114781 | 2021-04-30 12:54 | 14.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8023 | μmol/L | 14.5001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88504.4835 | 289158.7791 | 28.7 | 67.6
114791 | 2021-04-30 12:55 | 15.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.894 | μmol/L | 14.5001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.461 | 88486.8632 | 289152.0413 | 28.7 | 67.6
114801 | 2021-04-30 12:55 | 15.3392 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9627 | μmol/L | 14.5001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.458 | 88480.0586 | 289158.4822 | 28.7 | 67.6
114811 | 2021-04-30 12:55 | 15.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9857 | μmol/L | 14.5001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.457 | 88469.1766 | 289152.6262 | 28.7 | 67.6
114821 | 2021-04-30 12:56 | 16.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9813 | μmol/L | 14.5062 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.455 | 88464.0926 | 289143.5875 | 28.7 | 67.6
114831 | 2021-04-30 12:56 | 16.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9125 | μmol/L | 14.5062 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.458 | 88464.6116 | 289151.6652 | 28.7 | 67.6
114841 | 2021-04-30 12:56 | 16.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9355 | μmol/L | 14.5062 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.457 | 88452.4149 | 289152.4511 | 28.7 | 67.6
114851 | 2021-04-30 12:57 | 17.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9082 | μmol/L | 14.5123 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.456 | 88454.3448 | 289124.2203 | 28.7 | 67.6
114861 | 2021-04-30 12:57 | 17.339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9082 | μmol/L | 14.5123 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.456 | 88451.9619 | 289137.4456 | 28.7 | 67.6
114871 | 2021-04-30 12:57 | 17.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9956 | μmol/L | 14.5183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.45 | 88437.3241 | 289125.5135 | 28.7 | 67.6
114881 | 2021-04-30 12:58 | 18.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9039 | μmol/L | 14.5183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.454 | 88438.7281 | 289131.7502 | 28.7 | 67.6
114891 | 2021-04-30 12:58 | 18.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9268 | μmol/L | 14.5183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.453 | 88424.2321 | 289111.2834 | 28.7 | 67.6
114901 | 2021-04-30 12:58 | 18.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9956 | μmol/L | 14.5183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.45 | 88415.1777 | 289132.0238 | 28.7 | 67.6
114911 | 2021-04-30 12:59 | 19.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.1332 | μmol/L | 14.5183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 88398.3795 | 289103.7695 | 28.7 | 67.6
114921 | 2021-04-30 12:59 | 19.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.0285 | μmol/L | 14.5366 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.442 | 88392.9329 | 289112.9421 | 28.7 | 67.6
114931 | 2021-04-30 12:59 | 19.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.2666 | μmol/L | 14.5244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.436 | 88374.7629 | 289111.2932 | 28.7 | 67.6
114941 | 2021-04-30 13:00 | 20.0058 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.258 | μmol/L | 14.5366 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 88348.1048 | 289109.8377 | 28.7 | 67.6
114951 | 2021-04-30 13:00 | 20.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3082 | μmol/L | 14.5305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 88338.1284 | 289099.9975 | 28.7 | 67.6
114961 | 2021-04-30 13:00 | 20.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4504 | μmol/L | 14.5244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.428 | 88330.5747 | 289096.3556 | 28.7 | 67.6
114971 | 2021-04-30 13:01 | 21.0057 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4691 | μmol/L | 14.5305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.425 | 88316.5033 | 289089.0115 | 28.7 | 67.6
114981 | 2021-04-30 13:01 | 21.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4188 | μmol/L | 14.5366 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.425 | 88304.6594 | 289085.8243 | 28.7 | 67.6
114991 | 2021-04-30 13:01 | 21.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4461 | μmol/L | 14.5305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.426 | 88307.3023 | 289082.7116 | 28.7 | 67.6
115001 | 2021-04-30 13:02 | 22.006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3729 | μmol/L | 14.5366 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.427 | 88292.8114 | 289089.1063 | 28.7 | 67.6
115011 | 2021-04-30 13:02 | 22.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3643 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.423 | 88284.8121 | 289079.2341 | 28.7 | 67.6
115021 | 2021-04-30 13:02 | 22.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4332 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.42 | 88271.8359 | 289093.4516 | 28.7 | 67.6
115031 | 2021-04-30 13:03 | 23.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5252 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.416 | 88266.7089 | 289083.3585 | 28.7 | 67.6
115041 | 2021-04-30 13:03 | 23.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5022 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 88266.3576 | 289093.9177 | 28.7 | 67.6
115051 | 2021-04-30 13:03 | 23.6725 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4562 | μmol/L | 14.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.419 | 88260.8588 | 289094.1768 | 28.7 | 67.6
115061 | 2021-04-30 13:04 | 24.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4289 | μmol/L | 14.5548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 88253.9102 | 289069.957 | 28.7 | 67.6
115071 | 2021-04-30 13:04 | 24.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4706 | μmol/L | 14.5609 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 88250.5769 | 289078.8658 | 28.7 | 67.6
115081 | 2021-04-30 13:04 | 24.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3514 | μmol/L | 14.5669 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 88249.1811 | 289083.393 | 28.7 | 67.6
115091 | 2021-04-30 13:05 | 25.0059 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5166 | μmol/L | 14.5609 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 88250.2891 | 289071.5012 | 28.7 | 67.6
115101 | 2021-04-30 13:05 | 25.3391 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3974 | μmol/L | 14.5669 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 88249.8016 | 289073.0732 | 28.7 | 67.6
115111 | 2021-04-30 13:05 | 25.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5166 | μmol/L | 14.5609 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 88241.8298 | 289057.1741 | 28.7 | 67.6
115121 | 2021-04-30 13:06 | 26.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4663 | μmol/L | 14.5669 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 88237.0305 | 289064.9444 | 28.7 | 67.6
115131 | 2021-04-30 13:06 | 26.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4204 | μmol/L | 14.5669 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 88232.5513 | 289058.9573 | 28.7 | 67.6
115141 | 2021-04-30 13:06 | 26.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3931 | μmol/L | 14.573 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 88230.9718 | 289067.6023 | 28.7 | 67.6