## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114342 | 2021-04-30 12:40 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6876 | μmol/L | 14.4903 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.367 | 130081.5445 | 267123.5641 | 36.4 | 83.1
114352 | 2021-04-30 12:40 | 0.33032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4332 | μmol/L | 14.4781 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.341 | 129878.397 | 267131.059 | 36.4 | 83.1
114362 | 2021-04-30 12:40 | 0.66362 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1812 | μmol/L | 14.4658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 129729.773 | 267128.7229 | 36.4 | 83.1
114372 | 2021-04-30 12:41 | 0.99675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4192 | μmol/L | 14.472 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.303 | 129613.2634 | 267126.2253 | 36.4 | 83.1
114382 | 2021-04-30 12:41 | 1.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7453 | μmol/L | 14.4658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.292 | 129543.4973 | 267112.6101 | 36.4 | 83.1
114392 | 2021-04-30 12:41 | 1.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.9981 | μmol/L | 14.4597 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.284 | 129498.116 | 267107.9586 | 36.4 | 83.1
114402 | 2021-04-30 12:42 | 1.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0084 | μmol/L | 14.472 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.279 | 129472.1734 | 267097.9058 | 36.4 | 83.1
114412 | 2021-04-30 12:42 | 2.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0156 | μmol/L | 14.4658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 129467.9616 | 267085.5206 | 36.4 | 83.1
114422 | 2021-04-30 12:42 | 2.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8539 | μmol/L | 14.4781 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 129469.5388 | 267104.2945 | 36.4 | 83.1
114432 | 2021-04-30 12:43 | 2.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8047 | μmol/L | 14.4781 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.285 | 129480.4301 | 267085.3475 | 36.4 | 83.1
114442 | 2021-04-30 12:43 | 3.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7802 | μmol/L | 14.4781 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.286 | 129492.1856 | 267078.7774 | 36.4 | 83.1
114452 | 2021-04-30 12:43 | 3.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6012 | μmol/L | 14.4842 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.291 | 129505.085 | 267081.3933 | 36.4 | 83.1
114462 | 2021-04-30 12:44 | 3.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5838 | μmol/L | 14.4781 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.294 | 129527.7677 | 267077.3426 | 36.4 | 83.1
114472 | 2021-04-30 12:44 | 4.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4224 | μmol/L | 14.4903 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.296 | 129541.3527 | 267093.1082 | 36.4 | 83.1
114482 | 2021-04-30 12:44 | 4.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.2436 | μmol/L | 14.4964 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.301 | 129555.3713 | 267065.6018 | 36.4 | 83.1
114492 | 2021-04-30 12:45 | 4.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.2017 | μmol/L | 14.4903 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.305 | 129575.2861 | 267059.1664 | 36.4 | 83.1
114502 | 2021-04-30 12:45 | 5.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.2191 | μmol/L | 14.4964 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.302 | 129587.0802 | 267055.5335 | 36.4 | 83.1
114512 | 2021-04-30 12:45 | 5.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.009 | μmol/L | 14.5087 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.306 | 129601.1999 | 267062.0648 | 36.4 | 83.1
114522 | 2021-04-30 12:46 | 5.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0406 | μmol/L | 14.5025 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 129599.5349 | 267055.2367 | 36.4 | 83.1
114532 | 2021-04-30 12:46 | 6.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8866 | μmol/L | 14.5087 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.311 | 129622.5484 | 267062.3243 | 36.4 | 83.1
114542 | 2021-04-30 12:46 | 6.6634 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8061 | μmol/L | 14.5148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.312 | 129631.9328 | 267058.8686 | 36.4 | 83.1
114552 | 2021-04-30 12:47 | 6.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.6207 | μmol/L | 14.527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.315 | 129640.6473 | 267034.6147 | 36.4 | 83.1
114562 | 2021-04-30 12:47 | 7.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.6278 | μmol/L | 14.5209 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.317 | 129651.1666 | 267040.359 | 36.4 | 83.1
114572 | 2021-04-30 12:47 | 7.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4741 | μmol/L | 14.527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.321 | 129668.3302 | 267049.4099 | 36.4 | 83.1
114582 | 2021-04-30 12:48 | 7.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.3693 | μmol/L | 14.5331 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.323 | 129680.0923 | 267052.0572 | 36.4 | 83.1
114592 | 2021-04-30 12:48 | 8.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4252 | μmol/L | 14.527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.323 | 129691.2809 | 267058.5532 | 36.4 | 83.1
114602 | 2021-04-30 12:48 | 8.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2646 | μmol/L | 14.5392 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.325 | 129696.5308 | 267053.0041 | 36.4 | 83.1
114612 | 2021-04-30 12:49 | 8.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2331 | μmol/L | 14.5454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.324 | 129705.6874 | 267052.86 | 36.4 | 83.1
114622 | 2021-04-30 12:49 | 9.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2087 | μmol/L | 14.5454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.325 | 129714.8897 | 267048.3429 | 36.4 | 83.1
114632 | 2021-04-30 12:49 | 9.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1355 | μmol/L | 14.5454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.328 | 129718.5511 | 267047.3249 | 36.4 | 83.1
114642 | 2021-04-30 12:50 | 9.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0867 | μmol/L | 14.5454 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.33 | 129730.3226 | 267024.2519 | 36.4 | 83.1
114652 | 2021-04-30 12:50 | 10.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.0308 | μmol/L | 14.5515 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.33 | 129721.5054 | 267024.784 | 36.4 | 83.1
114662 | 2021-04-30 12:50 | 10.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9333 | μmol/L | 14.5515 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.334 | 129740.9125 | 267026.0577 | 36.4 | 83.1
114672 | 2021-04-30 12:51 | 10.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8531 | μmol/L | 14.5576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.335 | 129733.6617 | 267024.3227 | 36.4 | 83.1
114682 | 2021-04-30 12:51 | 11.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.8531 | μmol/L | 14.5576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.335 | 129751.3724 | 267023.5989 | 36.4 | 83.1
114692 | 2021-04-30 12:51 | 11.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.7486 | μmol/L | 14.5637 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 129757.7466 | 267030.4792 | 36.4 | 83.1
114702 | 2021-04-30 12:52 | 11.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.6858 | μmol/L | 14.5759 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.335 | 129752.849 | 267011.1778 | 36.4 | 83.1
114712 | 2021-04-30 12:52 | 12.3301 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5884 | μmol/L | 14.5759 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.339 | 129758.5699 | 267019.0406 | 36.4 | 83.1
114722 | 2021-04-30 12:52 | 12.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5083 | μmol/L | 14.5821 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.34 | 129760.1201 | 267013.6692 | 36.4 | 83.1
114732 | 2021-04-30 12:53 | 12.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.4353 | μmol/L | 14.5821 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.343 | 129766.1193 | 266999.8964 | 36.4 | 83.1
114742 | 2021-04-30 12:53 | 13.3305 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5256 | μmol/L | 14.5882 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 129766.406 | 267001.8839 | 36.4 | 83.1
114752 | 2021-04-30 12:53 | 13.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.4212 | μmol/L | 14.5943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.339 | 129761.3484 | 266998.8553 | 36.4 | 83.1
114762 | 2021-04-30 12:54 | 13.9968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.2926 | μmol/L | 14.6004 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 129770.1184 | 267004.618 | 36.4 | 83.1
114772 | 2021-04-30 12:54 | 14.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.4456 | μmol/L | 14.5943 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.338 | 129776.1893 | 266996.1194 | 36.4 | 83.1
114782 | 2021-04-30 12:54 | 14.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.2126 | μmol/L | 14.6065 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.343 | 129773.5655 | 266990.0809 | 36.4 | 83.1
114792 | 2021-04-30 12:55 | 14.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.1813 | μmol/L | 14.6127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 129774.6283 | 266991.0266 | 36.4 | 83.1
114802 | 2021-04-30 12:55 | 15.3304 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.3029 | μmol/L | 14.6127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 129782.7146 | 266980.9905 | 36.4 | 83.1
114812 | 2021-04-30 12:55 | 15.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.2856 | μmol/L | 14.6065 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.34 | 129778.6975 | 266987.1949 | 36.4 | 83.1
114822 | 2021-04-30 12:56 | 15.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.1084 | μmol/L | 14.6127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.345 | 129792.5758 | 266983.0886 | 36.4 | 83.1
114832 | 2021-04-30 12:56 | 16.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0528 | μmol/L | 14.6188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.345 | 129796.6596 | 266980.6562 | 36.4 | 83.1
114842 | 2021-04-30 12:56 | 16.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9416 | μmol/L | 14.631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.345 | 129802.227 | 266966.0107 | 36.4 | 83.1
114852 | 2021-04-30 12:57 | 16.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9486 | μmol/L | 14.6249 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.347 | 129807.2553 | 266985.62 | 36.4 | 83.1
114862 | 2021-04-30 12:57 | 17.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8132 | μmol/L | 14.6371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.348 | 129804.4057 | 266982.9543 | 36.4 | 83.1
114872 | 2021-04-30 12:57 | 17.6638 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.7474 | μmol/L | 14.631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.353 | 129809.5506 | 266976.4279 | 36.4 | 83.1
114882 | 2021-04-30 12:58 | 17.9969 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.7646 | μmol/L | 14.6371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 129815.9152 | 266975.8059 | 36.4 | 83.1
114892 | 2021-04-30 12:58 | 18.33 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6849 | μmol/L | 14.6432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.351 | 129817.9691 | 266959.7713 | 36.4 | 83.1
114902 | 2021-04-30 12:58 | 18.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6536 | μmol/L | 14.6494 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 129828.9004 | 266962.1771 | 36.4 | 83.1
114912 | 2021-04-30 12:59 | 18.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5566 | μmol/L | 14.6494 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 129837.8007 | 266945.7488 | 36.4 | 83.1
114922 | 2021-04-30 12:59 | 19.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5011 | μmol/L | 14.6555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 129844.5113 | 266965.8555 | 36.4 | 83.1
114932 | 2021-04-30 12:59 | 19.6636 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4526 | μmol/L | 14.6555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.356 | 129830.8316 | 266953.0949 | 36.4 | 83.1
114942 | 2021-04-30 13:00 | 19.9967 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4214 | μmol/L | 14.6616 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.355 | 129841.2306 | 266942.7122 | 36.4 | 83.1
114952 | 2021-04-30 13:00 | 20.3302 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.366 | μmol/L | 14.6677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.355 | 129849.0638 | 266954.8375 | 36.4 | 83.1
114962 | 2021-04-30 13:00 | 20.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.141 | μmol/L | 14.6738 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.362 | 129848.3338 | 266951.9386 | 36.4 | 83.1
114972 | 2021-04-30 13:01 | 20.9963 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2067 | μmol/L | 14.6799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.357 | 129846.7594 | 266934.9029 | 36.4 | 83.1
114982 | 2021-04-30 13:01 | 21.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1341 | μmol/L | 14.6799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.36 | 129851.6388 | 266943.0967 | 36.4 | 83.1
114992 | 2021-04-30 13:01 | 21.6635 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1583 | μmol/L | 14.6799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.359 | 129864.7334 | 266944.4003 | 36.4 | 83.1
115002 | 2021-04-30 13:02 | 21.997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0475 | μmol/L | 14.6922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.359 | 129861.6205 | 266931.4679 | 36.4 | 83.1
115012 | 2021-04-30 13:02 | 22.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0233 | μmol/L | 14.6922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.36 | 129868.7847 | 266931.3593 | 36.4 | 83.1
115022 | 2021-04-30 13:02 | 22.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9507 | μmol/L | 14.6922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.363 | 129872.3652 | 266925.6983 | 36.4 | 83.1
115032 | 2021-04-30 13:03 | 22.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.968 | μmol/L | 14.6983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.36 | 129871.5515 | 266921.9592 | 36.4 | 83.1
115042 | 2021-04-30 13:03 | 23.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8885 | μmol/L | 14.7044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 129861.9881 | 266914.7727 | 36.4 | 83.1
115052 | 2021-04-30 13:03 | 23.6637 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8885 | μmol/L | 14.7044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 129871.6796 | 266916.598 | 36.4 | 83.1
115062 | 2021-04-30 13:04 | 23.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7364 | μmol/L | 14.7105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 129875.3823 | 266913.6908 | 36.4 | 83.1
115072 | 2021-04-30 13:04 | 24.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7606 | μmol/L | 14.7105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.364 | 129874.0707 | 266916.7229 | 36.4 | 83.1
115082 | 2021-04-30 13:04 | 24.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7226 | μmol/L | 14.7228 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 129885.5458 | 266920.1048 | 36.4 | 83.1
115092 | 2021-04-30 13:05 | 24.9966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6984 | μmol/L | 14.7228 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.362 | 129885.3697 | 266930.4889 | 36.4 | 83.1
115102 | 2021-04-30 13:05 | 25.3299 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5707 | μmol/L | 14.7289 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 129886.1654 | 266922.56 | 36.4 | 83.1
115112 | 2021-04-30 13:05 | 25.6633 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4913 | μmol/L | 14.735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.366 | 129877.8068 | 266909.7153 | 36.4 | 83.1
115122 | 2021-04-30 13:06 | 25.9971 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.619 | μmol/L | 14.7289 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.363 | 129886.2439 | 266905.1645 | 36.4 | 83.1
115132 | 2021-04-30 13:06 | 26.3303 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4361 | μmol/L | 14.7411 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.366 | 129895.261 | 266903.5732 | 36.4 | 83.1
115142 | 2021-04-30 13:06 | 26.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4361 | μmol/L | 14.7411 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.366 | 129885.3146 | 266906.2371 | 36.4 | 83.1