## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114343 | 2021-04-30 12:40 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.2158 | μmol/L | 14.5343 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.062 | 101138.9133 | 292613.4512 | 30.45 | 114.2
114353 | 2021-04-30 12:40 | 0.32815 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.4498 | μmol/L | 14.4484 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.036 | 100984.7368 | 292626.3845 | 30.45 | 114.2
114363 | 2021-04-30 12:40 | 0.66134 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.2159 | μmol/L | 14.4116 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.014 | 100852.8168 | 292616.8699 | 30.45 | 114.2
114373 | 2021-04-30 12:41 | 0.99527 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.6816 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.997 | 100727.3268 | 292608.9971 | 30.45 | 114.2
114383 | 2021-04-30 12:41 | 1.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.1599 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.975 | 100620.0014 | 292599.595 | 30.45 | 114.2
114393 | 2021-04-30 12:41 | 1.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.6495 | μmol/L | 14.3871 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.957 | 100522.0192 | 292601.3114 | 30.45 | 114.2
114403 | 2021-04-30 12:42 | 1.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9499 | μmol/L | 14.3932 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.941 | 100425.8497 | 292595.7139 | 30.45 | 114.2
114413 | 2021-04-30 12:42 | 2.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3435 | μmol/L | 14.3932 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.923 | 100338.8647 | 292595.1695 | 30.45 | 114.2
114423 | 2021-04-30 12:42 | 2.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5625 | μmol/L | 14.3932 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.913 | 100258.6768 | 292574.0688 | 30.45 | 114.2
114433 | 2021-04-30 12:43 | 2.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.7766 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.901 | 100193.4721 | 292574.5127 | 30.45 | 114.2
114443 | 2021-04-30 12:43 | 3.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.1497 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.884 | 100113.3401 | 292562.2954 | 30.45 | 114.2
114453 | 2021-04-30 12:43 | 3.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.2596 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.879 | 100060.6899 | 292561.2067 | 30.45 | 114.2
114463 | 2021-04-30 12:44 | 3.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.5896 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.864 | 99999.5407 | 292550.5101 | 30.45 | 114.2
114473 | 2021-04-30 12:44 | 4.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.7607 | μmol/L | 14.4055 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.854 | 99944.6991 | 292546.713 | 30.45 | 114.2
114483 | 2021-04-30 12:44 | 4.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.8929 | μmol/L | 14.4055 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.848 | 99902.4878 | 292558.7693 | 30.45 | 114.2
114493 | 2021-04-30 12:45 | 4.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.0643 | μmol/L | 14.4116 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.838 | 99852.9259 | 292550.5122 | 30.45 | 114.2
114503 | 2021-04-30 12:45 | 5.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.1917 | μmol/L | 14.4178 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.83 | 99811.3498 | 292545.2537 | 30.45 | 114.2
114513 | 2021-04-30 12:45 | 5.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.2801 | μmol/L | 14.4178 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.826 | 99766.0415 | 292531.3949 | 30.45 | 114.2
114523 | 2021-04-30 12:46 | 5.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.4076 | μmol/L | 14.4239 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.818 | 99736.6867 | 292551.1054 | 30.45 | 114.2
114533 | 2021-04-30 12:46 | 6.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.5453 | μmol/L | 14.4178 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.814 | 99698.0686 | 292531.6774 | 30.45 | 114.2
114543 | 2021-04-30 12:46 | 6.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7173 | μmol/L | 14.4239 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.804 | 99669.0484 | 292545.5626 | 30.45 | 114.2
114553 | 2021-04-30 12:47 | 6.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7837 | μmol/L | 14.4239 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.801 | 99639.007 | 292533.263 | 30.45 | 114.2
114563 | 2021-04-30 12:47 | 7.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8723 | μmol/L | 14.4239 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.797 | 99621.1021 | 292524.2155 | 30.45 | 114.2
114573 | 2021-04-30 12:47 | 7.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0939 | μmol/L | 14.4239 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 99591.1234 | 292527.0409 | 30.45 | 114.2
114583 | 2021-04-30 12:48 | 7.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0889 | μmol/L | 14.43 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.785 | 99559.071 | 292520.1595 | 30.45 | 114.2
114593 | 2021-04-30 12:48 | 8.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.217 | μmol/L | 14.4362 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.777 | 99531.9902 | 292505.6373 | 30.45 | 114.2
114603 | 2021-04-30 12:48 | 8.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2614 | μmol/L | 14.4362 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.775 | 99512.9456 | 292494.8944 | 30.45 | 114.2
114613 | 2021-04-30 12:49 | 8.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3502 | μmol/L | 14.4362 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.771 | 99496.0212 | 292496.6854 | 30.45 | 114.2
114623 | 2021-04-30 12:49 | 9.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3896 | μmol/L | 14.4423 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.767 | 99476.0019 | 292502.2511 | 30.45 | 114.2
114633 | 2021-04-30 12:49 | 9.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.328 | μmol/L | 14.4362 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.772 | 99452.8564 | 292494.1086 | 30.45 | 114.2
114643 | 2021-04-30 12:50 | 9.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5006 | μmol/L | 14.4423 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.762 | 99445.3751 | 292484.7184 | 30.45 | 114.2
114653 | 2021-04-30 12:50 | 10.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5229 | μmol/L | 14.4423 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.761 | 99422.3178 | 292481.311 | 30.45 | 114.2
114663 | 2021-04-30 12:50 | 10.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6068 | μmol/L | 14.4484 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.755 | 99405.6752 | 292481.3376 | 30.45 | 114.2
114673 | 2021-04-30 12:51 | 10.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4956 | μmol/L | 14.4484 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.76 | 99388.9104 | 292484.3625 | 30.45 | 114.2
114683 | 2021-04-30 12:51 | 11.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5351 | μmol/L | 14.4546 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.756 | 99385.2925 | 292471.701 | 30.45 | 114.2
114693 | 2021-04-30 12:51 | 11.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6018 | μmol/L | 14.4546 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.753 | 99367.9951 | 292464.3348 | 30.45 | 114.2
114703 | 2021-04-30 12:52 | 11.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.624 | μmol/L | 14.4546 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.752 | 99354.7757 | 292462.7258 | 30.45 | 114.2
114713 | 2021-04-30 12:52 | 12.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.619 | μmol/L | 14.4607 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.75 | 99340.5588 | 292455.1822 | 30.45 | 114.2
114723 | 2021-04-30 12:52 | 12.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7747 | μmol/L | 14.4607 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.743 | 99337.5552 | 292457.0689 | 30.45 | 114.2
114733 | 2021-04-30 12:53 | 12.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7302 | μmol/L | 14.4607 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.745 | 99317.231 | 292459.5319 | 30.45 | 114.2
114743 | 2021-04-30 12:53 | 13.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6858 | μmol/L | 14.4607 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.747 | 99306.6517 | 292448.7473 | 30.45 | 114.2
114753 | 2021-04-30 12:53 | 13.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7698 | μmol/L | 14.4669 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.741 | 99307.4954 | 292469.491 | 30.45 | 114.2
114763 | 2021-04-30 12:54 | 13.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7871 | μmol/L | 14.473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.738 | 99292.4013 | 292453.4392 | 30.45 | 114.2
114773 | 2021-04-30 12:54 | 14.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8143 | μmol/L | 14.4669 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.739 | 99285.986 | 292448.1978 | 30.45 | 114.2
114783 | 2021-04-30 12:54 | 14.662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7426 | μmol/L | 14.473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.74 | 99278.1649 | 292439.7252 | 30.45 | 114.2
114793 | 2021-04-30 12:55 | 14.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7821 | μmol/L | 14.4791 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.736 | 99269.0895 | 292432.6708 | 30.45 | 114.2
114803 | 2021-04-30 12:55 | 15.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7821 | μmol/L | 14.4791 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.736 | 99261.3525 | 292432.1757 | 30.45 | 114.2
114813 | 2021-04-30 12:55 | 15.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7326 | μmol/L | 14.4853 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.736 | 99261.2673 | 292431.3613 | 30.45 | 114.2
114823 | 2021-04-30 12:56 | 15.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8217 | μmol/L | 14.4853 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.732 | 99250.2914 | 292418.584 | 30.45 | 114.2
114833 | 2021-04-30 12:56 | 16.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7277 | μmol/L | 14.4914 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.734 | 99245.5071 | 292411.5248 | 30.45 | 114.2
114843 | 2021-04-30 12:56 | 16.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8662 | μmol/L | 14.4853 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99245.634 | 292423.2633 | 30.45 | 114.2
114853 | 2021-04-30 12:57 | 16.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.839 | μmol/L | 14.4914 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99239.1061 | 292413.6721 | 30.45 | 114.2
114863 | 2021-04-30 12:57 | 17.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.8118 | μmol/L | 14.4975 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.728 | 99230.7583 | 292409.1423 | 30.45 | 114.2
114873 | 2021-04-30 12:57 | 17.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7673 | μmol/L | 14.4975 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99225.3586 | 292398.8161 | 30.45 | 114.2
114883 | 2021-04-30 12:58 | 17.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6461 | μmol/L | 14.5098 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.731 | 99225.1838 | 292396.1976 | 30.45 | 114.2
114893 | 2021-04-30 12:58 | 18.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7623 | μmol/L | 14.5037 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.728 | 99222.8105 | 292393.442 | 30.45 | 114.2
114903 | 2021-04-30 12:58 | 18.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7797 | μmol/L | 14.5098 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.725 | 99220.7395 | 292398.0553 | 30.45 | 114.2
114913 | 2021-04-30 12:59 | 18.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7401 | μmol/L | 14.5037 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99221.9867 | 292393.4928 | 30.45 | 114.2
114923 | 2021-04-30 12:59 | 19.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7574 | μmol/L | 14.5098 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.726 | 99217.6083 | 292395.8266 | 30.45 | 114.2
114933 | 2021-04-30 12:59 | 19.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6857 | μmol/L | 14.5159 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.727 | 99212.2117 | 292391.544 | 30.45 | 114.2
114943 | 2021-04-30 13:00 | 19.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5967 | μmol/L | 14.5159 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.731 | 99205.4961 | 292386.9716 | 30.45 | 114.2
114953 | 2021-04-30 13:00 | 20.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7302 | μmol/L | 14.5159 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.725 | 99205.463 | 292383.93 | 30.45 | 114.2
114963 | 2021-04-30 13:00 | 20.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6808 | μmol/L | 14.5221 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.725 | 99205.2447 | 292369.377 | 30.45 | 114.2
114973 | 2021-04-30 13:01 | 20.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5646 | μmol/L | 14.5282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.728 | 99203.5694 | 292360.4854 | 30.45 | 114.2
114983 | 2021-04-30 13:01 | 21.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6536 | μmol/L | 14.5282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.724 | 99205.3717 | 292373.0007 | 30.45 | 114.2
114993 | 2021-04-30 13:01 | 21.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5869 | μmol/L | 14.5282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.727 | 99208.7034 | 292371.2417 | 30.45 | 114.2
115003 | 2021-04-30 13:02 | 21.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5202 | μmol/L | 14.5282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99200.6942 | 292358.7435 | 30.45 | 114.2
115013 | 2021-04-30 13:02 | 22.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.582 | μmol/L | 14.5343 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.725 | 99203.7861 | 292352.2681 | 30.45 | 114.2
115023 | 2021-04-30 13:02 | 22.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4437 | μmol/L | 14.5405 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99210.1296 | 292356.8683 | 30.45 | 114.2
115033 | 2021-04-30 13:03 | 22.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4881 | μmol/L | 14.5405 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.727 | 99206.7058 | 292356.6612 | 30.45 | 114.2
115043 | 2021-04-30 13:03 | 23.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3499 | μmol/L | 14.5466 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.731 | 99207.8186 | 292348.591 | 30.45 | 114.2
115053 | 2021-04-30 13:03 | 23.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.461 | μmol/L | 14.5466 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.726 | 99203.8477 | 292347.7826 | 30.45 | 114.2
115063 | 2021-04-30 13:04 | 23.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3721 | μmol/L | 14.5466 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99210.0103 | 292344.3462 | 30.45 | 114.2
115073 | 2021-04-30 13:04 | 24.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3227 | μmol/L | 14.5528 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99211.6989 | 292358.4335 | 30.45 | 114.2
115083 | 2021-04-30 13:04 | 24.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.345 | μmol/L | 14.5528 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99207.1282 | 292333.3839 | 30.45 | 114.2
115093 | 2021-04-30 13:05 | 24.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2463 | μmol/L | 14.565 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99207.5876 | 292344.4243 | 30.45 | 114.2
115103 | 2021-04-30 13:05 | 25.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3227 | μmol/L | 14.5528 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99203.7958 | 292344.5776 | 30.45 | 114.2
115113 | 2021-04-30 13:05 | 25.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3178 | μmol/L | 14.5589 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.728 | 99209.3923 | 292329.4304 | 30.45 | 114.2
115123 | 2021-04-30 13:06 | 25.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2463 | μmol/L | 14.565 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99215.8023 | 292340.4796 | 30.45 | 114.2
115133 | 2021-04-30 13:06 | 26.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2241 | μmol/L | 14.565 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.73 | 99228.1111 | 292341.0158 | 30.45 | 114.2
115143 | 2021-04-30 13:06 | 26.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.197 | μmol/L | 14.5712 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.729 | 99222.9358 | 292331.6163 | 30.45 | 114.2