## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114344 | 2021-04-30 12:40 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.1614 | μmol/L | 14.4086 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.921 | 138677.7868 | 290274.3274 | 59.9307 | 49.4
114354 | 2021-04-30 12:40 | 0.33213 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.1222 | μmol/L | 14.3655 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.893 | 138468.0014 | 290263.866 | 59.9307 | 49.4
114364 | 2021-04-30 12:40 | 0.66548 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.8002 | μmol/L | 14.347 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.869 | 138278.3233 | 290261.4618 | 59.9307 | 49.4
114374 | 2021-04-30 12:41 | 0.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.3809 | μmol/L | 14.3408 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.845 | 138107.2308 | 290244.3018 | 59.9307 | 49.4
114384 | 2021-04-30 12:41 | 1.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.8245 | μmol/L | 14.3408 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.825 | 137960.228 | 290244.3909 | 59.9307 | 49.4
114394 | 2021-04-30 12:41 | 1.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.269 | μmol/L | 14.3408 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.805 | 137821.1364 | 290255.5257 | 59.9307 | 49.4
114404 | 2021-04-30 12:42 | 1.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.6146 | μmol/L | 14.3532 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.785 | 137702.1521 | 290233.9627 | 59.9307 | 49.4
114414 | 2021-04-30 12:42 | 2.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.8322 | μmol/L | 14.3593 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.773 | 137581.112 | 290223.7557 | 59.9307 | 49.4
114424 | 2021-04-30 12:42 | 2.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.0948 | μmol/L | 14.3655 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.759 | 137468.1459 | 290229.6616 | 59.9307 | 49.4
114434 | 2021-04-30 12:43 | 2.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.525 | μmol/L | 14.3593 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.742 | 137375.8435 | 290220.5752 | 59.9307 | 49.4
114444 | 2021-04-30 12:43 | 3.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7265 | μmol/L | 14.3593 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.733 | 137283.6408 | 290227.9619 | 59.9307 | 49.4
114454 | 2021-04-30 12:43 | 3.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8952 | μmol/L | 14.3716 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.721 | 137211.0963 | 290237.1729 | 59.9307 | 49.4
114464 | 2021-04-30 12:44 | 3.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.1196 | μmol/L | 14.3716 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.711 | 137115.421 | 290209.0213 | 59.9307 | 49.4
114474 | 2021-04-30 12:44 | 4.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.3666 | μmol/L | 14.3716 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.7 | 137035.943 | 290192.8053 | 59.9307 | 49.4
114484 | 2021-04-30 12:44 | 4.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.5412 | μmol/L | 14.3778 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.69 | 136973.2773 | 290197.3047 | 59.9307 | 49.4
114494 | 2021-04-30 12:45 | 4.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.6934 | μmol/L | 14.384 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.681 | 136895.514 | 290184.508 | 59.9307 | 49.4
114504 | 2021-04-30 12:45 | 5.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.8908 | μmol/L | 14.3901 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.67 | 136842.0655 | 290207.0606 | 59.9307 | 49.4
114514 | 2021-04-30 12:45 | 5.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.9983 | μmol/L | 14.3963 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.663 | 136774.1491 | 290183.0239 | 59.9307 | 49.4
114524 | 2021-04-30 12:46 | 5.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.1787 | μmol/L | 14.3963 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.655 | 136710.2467 | 290190.8137 | 59.9307 | 49.4
114534 | 2021-04-30 12:46 | 6.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.281 | μmol/L | 14.4086 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.646 | 136644.3253 | 290185.115 | 59.9307 | 49.4
114544 | 2021-04-30 12:46 | 6.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.4843 | μmol/L | 14.4086 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.637 | 136585.013 | 290179.9836 | 59.9307 | 49.4
114554 | 2021-04-30 12:47 | 6.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.5973 | μmol/L | 14.4086 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.632 | 136533.0983 | 290171.6765 | 59.9307 | 49.4
114564 | 2021-04-30 12:47 | 7.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.6999 | μmol/L | 14.4209 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.623 | 136473.5307 | 290171.3388 | 59.9307 | 49.4
114574 | 2021-04-30 12:47 | 7.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.9315 | μmol/L | 14.4148 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.615 | 136427.8013 | 290189.9837 | 59.9307 | 49.4
114584 | 2021-04-30 12:48 | 7.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.9715 | μmol/L | 14.4209 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.611 | 136370.8923 | 290158.8065 | 59.9307 | 49.4
114594 | 2021-04-30 12:48 | 8.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.1249 | μmol/L | 14.4271 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.602 | 136322.7276 | 290148.3917 | 59.9307 | 49.4
114604 | 2021-04-30 12:48 | 8.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.2104 | μmol/L | 14.4333 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.596 | 136269.5887 | 290143.4225 | 59.9307 | 49.4
114614 | 2021-04-30 12:49 | 8.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.2959 | μmol/L | 14.4394 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.59 | 136233.0538 | 290163.1764 | 59.9307 | 49.4
114624 | 2021-04-30 12:49 | 9.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.556 | μmol/L | 14.4271 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.583 | 136192.8386 | 290164.3594 | 59.9307 | 49.4
114634 | 2021-04-30 12:49 | 9.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.5405 | μmol/L | 14.4456 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.577 | 136137.3189 | 290147.4749 | 59.9307 | 49.4
114644 | 2021-04-30 12:50 | 9.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.7222 | μmol/L | 14.4456 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.569 | 136096.7398 | 290143.3503 | 59.9307 | 49.4
114654 | 2021-04-30 12:50 | 10.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.7625 | μmol/L | 14.4518 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.565 | 136059.6346 | 290138.539 | 59.9307 | 49.4
114664 | 2021-04-30 12:50 | 10.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.8762 | μmol/L | 14.4518 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.56 | 136018.7753 | 290134.2856 | 59.9307 | 49.4
114674 | 2021-04-30 12:51 | 10.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.9797 | μmol/L | 14.4641 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.551 | 135980.2631 | 290139.4486 | 59.9307 | 49.4
114684 | 2021-04-30 12:51 | 11.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.0025 | μmol/L | 14.4641 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.55 | 135943.369 | 290133.8646 | 59.9307 | 49.4
114694 | 2021-04-30 12:51 | 11.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.1163 | μmol/L | 14.4641 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.545 | 135904.2835 | 290129.6771 | 59.9307 | 49.4
114704 | 2021-04-30 12:52 | 11.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.1567 | μmol/L | 14.4702 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.541 | 135865.0837 | 290100.2999 | 59.9307 | 49.4
114714 | 2021-04-30 12:52 | 12.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.1972 | μmol/L | 14.4764 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.537 | 135841.5826 | 290133.8239 | 59.9307 | 49.4
114724 | 2021-04-30 12:52 | 12.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.2832 | μmol/L | 14.4826 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.531 | 135806.6618 | 290123.8065 | 59.9307 | 49.4
114734 | 2021-04-30 12:53 | 12.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.3693 | μmol/L | 14.4887 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.525 | 135762.9361 | 290120.4814 | 59.9307 | 49.4
114744 | 2021-04-30 12:53 | 13.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.4428 | μmol/L | 14.4826 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.524 | 135740.4961 | 290136.9332 | 59.9307 | 49.4
114754 | 2021-04-30 12:53 | 13.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.4833 | μmol/L | 14.4887 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.52 | 135712.5057 | 290124.8253 | 59.9307 | 49.4
114764 | 2021-04-30 12:54 | 13.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.4554 | μmol/L | 14.4949 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.519 | 135691.1331 | 290134.435 | 59.9307 | 49.4
114774 | 2021-04-30 12:54 | 14.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.6101 | μmol/L | 14.5011 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.51 | 135660.1945 | 290121.14 | 59.9307 | 49.4
114784 | 2021-04-30 12:54 | 14.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.6329 | μmol/L | 14.5011 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.509 | 135621.3737 | 290114.4268 | 59.9307 | 49.4
114794 | 2021-04-30 12:55 | 14.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.6278 | μmol/L | 14.5072 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.507 | 135599.612 | 290124.2189 | 59.9307 | 49.4
114804 | 2021-04-30 12:55 | 15.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7421 | μmol/L | 14.5072 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.502 | 135567.9162 | 290083.4804 | 59.9307 | 49.4
114814 | 2021-04-30 12:55 | 15.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.7776 | μmol/L | 14.5196 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.496 | 135552.7027 | 290089.0971 | 59.9307 | 49.4
114824 | 2021-04-30 12:56 | 15.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8233 | μmol/L | 14.5196 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.494 | 135524.6176 | 290079.3554 | 59.9307 | 49.4
114834 | 2021-04-30 12:56 | 16.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8411 | μmol/L | 14.5257 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.491 | 135508.4798 | 290100.3933 | 59.9307 | 49.4
114844 | 2021-04-30 12:56 | 16.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8132 | μmol/L | 14.5319 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.49 | 135471.2515 | 290114.7589 | 59.9307 | 49.4
114854 | 2021-04-30 12:57 | 16.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8538 | μmol/L | 14.538 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.486 | 135473.4916 | 290089.6667 | 59.9307 | 49.4
114864 | 2021-04-30 12:57 | 17.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8717 | μmol/L | 14.5442 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.483 | 135447.3419 | 290074.1302 | 59.9307 | 49.4
114874 | 2021-04-30 12:57 | 17.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.8666 | μmol/L | 14.5504 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.481 | 135421.5639 | 290085.5692 | 59.9307 | 49.4
114884 | 2021-04-30 12:58 | 17.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.9352 | μmol/L | 14.5504 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.478 | 135399.9806 | 290087.7983 | 59.9307 | 49.4
114894 | 2021-04-30 12:58 | 18.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.9988 | μmol/L | 14.5565 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.473 | 135383.3007 | 290080.1463 | 59.9307 | 49.4
114904 | 2021-04-30 12:58 | 18.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0446 | μmol/L | 14.5565 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.471 | 135352.3973 | 290054.6788 | 59.9307 | 49.4
114914 | 2021-04-30 12:59 | 18.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.9659 | μmol/L | 14.5689 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.47 | 135338.7797 | 290061.5822 | 59.9307 | 49.4
114924 | 2021-04-30 12:59 | 19.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0346 | μmol/L | 14.5689 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.467 | 135320.0931 | 290076.852 | 59.9307 | 49.4
114934 | 2021-04-30 12:59 | 19.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1032 | μmol/L | 14.5689 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.464 | 135303.9094 | 290072.9814 | 59.9307 | 49.4
114944 | 2021-04-30 13:00 | 19.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0474 | μmol/L | 14.5812 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.462 | 135290.5668 | 290065.5857 | 59.9307 | 49.4
114954 | 2021-04-30 13:00 | 20.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0474 | μmol/L | 14.5812 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.462 | 135273.2462 | 290067.6011 | 59.9307 | 49.4
114964 | 2021-04-30 13:00 | 20.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0424 | μmol/L | 14.5873 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.46 | 135255.1143 | 290052.9854 | 59.9307 | 49.4
114974 | 2021-04-30 13:01 | 20.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0832 | μmol/L | 14.5935 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.456 | 135239.0203 | 290065.7887 | 59.9307 | 49.4
114984 | 2021-04-30 13:01 | 21.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0324 | μmol/L | 14.5997 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.456 | 135237.0623 | 290078.5811 | 59.9307 | 49.4
114994 | 2021-04-30 13:01 | 21.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.9996 | μmol/L | 14.612 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.453 | 135210.3759 | 290054.455 | 59.9307 | 49.4
115004 | 2021-04-30 13:02 | 21.9987 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1699 | μmol/L | 14.5997 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.45 | 135199.9607 | 290063.4915 | 59.9307 | 49.4
115014 | 2021-04-30 13:02 | 22.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1599 | μmol/L | 14.612 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.446 | 135176.2591 | 290072.0748 | 59.9307 | 49.4
115024 | 2021-04-30 13:02 | 22.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1599 | μmol/L | 14.612 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.446 | 135168.1566 | 290064.3631 | 59.9307 | 49.4
115034 | 2021-04-30 13:03 | 22.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1042 | μmol/L | 14.6243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.444 | 135155.0739 | 290044.8168 | 59.9307 | 49.4
115044 | 2021-04-30 13:03 | 23.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0763 | μmol/L | 14.6305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.443 | 135141.715 | 290041.1878 | 59.9307 | 49.4
115054 | 2021-04-30 13:03 | 23.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1221 | μmol/L | 14.6305 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.441 | 135127.0892 | 290031.4884 | 59.9307 | 49.4
115064 | 2021-04-30 13:04 | 23.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0206 | μmol/L | 14.6428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.441 | 135117.8632 | 290030.1314 | 59.9307 | 49.4
115074 | 2021-04-30 13:04 | 24.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0893 | μmol/L | 14.6428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.438 | 135095.4811 | 290027.9775 | 59.9307 | 49.4
115084 | 2021-04-30 13:04 | 24.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0435 | μmol/L | 14.6428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.44 | 135094.6138 | 290032.9446 | 59.9307 | 49.4
115094 | 2021-04-30 13:05 | 24.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1989 | μmol/L | 14.649 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.431 | 135075.8908 | 290028.118 | 59.9307 | 49.4
115104 | 2021-04-30 13:05 | 25.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.1482 | μmol/L | 14.6551 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.431 | 135058.8253 | 290040.2639 | 59.9307 | 49.4
115114 | 2021-04-30 13:05 | 25.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0974 | μmol/L | 14.6613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.431 | 135054.2624 | 290034.7092 | 59.9307 | 49.4
115124 | 2021-04-30 13:06 | 25.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0925 | μmol/L | 14.6675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.429 | 135035.8153 | 290027.4709 | 59.9307 | 49.4
115134 | 2021-04-30 13:06 | 26.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.0696 | μmol/L | 14.6675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.43 | 135019.5819 | 290014.7007 | 59.9307 | 49.4
115144 | 2021-04-30 13:06 | 26.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.2071 | μmol/L | 14.6675 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.424 | 135010.7558 | 290021.5038 | 59.9307 | 49.4