## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114345 | 2021-04-30 12:40 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.4137 | μmol/L | 14.4563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.635 | 137123.383 | 300833.4996 | 33.25 | 68.6
114355 | 2021-04-30 12:40 | 0.33873 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.2804 | μmol/L | 14.4198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.609 | 136922.8557 | 300825.8798 | 33.25 | 68.6
114365 | 2021-04-30 12:40 | 0.67253 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.9104 | μmol/L | 14.4016 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.587 | 136762.0038 | 300834.6288 | 33.25 | 68.6
114375 | 2021-04-30 12:41 | 1.0055 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.2508 | μmol/L | 14.4077 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.569 | 136615.8481 | 300816.2473 | 33.25 | 68.6
114385 | 2021-04-30 12:41 | 1.3388 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.5264 | μmol/L | 14.4138 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.554 | 136501.4602 | 300820.6656 | 33.25 | 68.6
114395 | 2021-04-30 12:41 | 1.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.8248 | μmol/L | 14.4016 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.545 | 136403.8558 | 300817.3263 | 33.25 | 68.6
114405 | 2021-04-30 12:42 | 2.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.8971 | μmol/L | 14.4138 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.537 | 136321.0257 | 300800.7087 | 33.25 | 68.6
114415 | 2021-04-30 12:42 | 2.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.0861 | μmol/L | 14.4198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.526 | 136273.5982 | 300809.7345 | 33.25 | 68.6
114425 | 2021-04-30 12:42 | 2.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.2098 | μmol/L | 14.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.518 | 136214.7373 | 300792.6467 | 33.25 | 68.6
114435 | 2021-04-30 12:43 | 3.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.2316 | μmol/L | 14.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.517 | 136178.1886 | 300789.5115 | 33.25 | 68.6
114445 | 2021-04-30 12:43 | 3.3386 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.326 | μmol/L | 14.4381 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.508 | 136146.1143 | 300789.5874 | 33.25 | 68.6
114455 | 2021-04-30 12:43 | 3.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.4573 | μmol/L | 14.4381 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.502 | 136108.8587 | 300779.5694 | 33.25 | 68.6
114465 | 2021-04-30 12:44 | 4.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.333 | μmol/L | 14.4502 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.503 | 136089.0014 | 300783.002 | 33.25 | 68.6
114475 | 2021-04-30 12:44 | 4.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.4498 | μmol/L | 14.4441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.5 | 136067.8817 | 300786.7242 | 33.25 | 68.6
114485 | 2021-04-30 12:44 | 4.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.4061 | μmol/L | 14.4441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.502 | 136051.3598 | 300772.9319 | 33.25 | 68.6
114495 | 2021-04-30 12:45 | 5.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.4424 | μmol/L | 14.4502 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.498 | 136037.0408 | 300764.2034 | 33.25 | 68.6
114505 | 2021-04-30 12:45 | 5.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.3693 | μmol/L | 14.4563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.499 | 136024.8252 | 300766.3026 | 33.25 | 68.6
114515 | 2021-04-30 12:45 | 5.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.2669 | μmol/L | 14.4684 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.499 | 136023.556 | 300751.5179 | 33.25 | 68.6
114525 | 2021-04-30 12:46 | 6.0055 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.2743 | μmol/L | 14.4624 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 136007.9769 | 300747.4012 | 33.25 | 68.6
114535 | 2021-04-30 12:46 | 6.3388 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.2375 | μmol/L | 14.4745 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.498 | 135998.7045 | 300744.754 | 33.25 | 68.6
114545 | 2021-04-30 12:46 | 6.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.3032 | μmol/L | 14.4745 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.495 | 135990.7393 | 300735.3799 | 33.25 | 68.6
114555 | 2021-04-30 12:47 | 7.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.1864 | μmol/L | 14.4806 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.498 | 135993.3669 | 300732.949 | 33.25 | 68.6
114565 | 2021-04-30 12:47 | 7.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.1133 | μmol/L | 14.4867 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.499 | 135984.4541 | 300732.0008 | 33.25 | 68.6
114575 | 2021-04-30 12:47 | 7.6723 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.0841 | μmol/L | 14.4928 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.498 | 135985.3513 | 300727.2289 | 33.25 | 68.6
114585 | 2021-04-30 12:48 | 8.0055 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.0404 | μmol/L | 14.4928 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.5 | 135981.9676 | 300725.1094 | 33.25 | 68.6
114595 | 2021-04-30 12:48 | 8.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.0111 | μmol/L | 14.4988 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.499 | 135984.854 | 300731.8226 | 33.25 | 68.6
114605 | 2021-04-30 12:48 | 8.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.8944 | μmol/L | 14.5049 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.502 | 135973.6884 | 300715.7378 | 33.25 | 68.6
114615 | 2021-04-30 12:49 | 9.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.8652 | μmol/L | 14.511 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 135975.3237 | 300710.4265 | 33.25 | 68.6
114625 | 2021-04-30 12:49 | 9.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.7704 | μmol/L | 14.5171 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.503 | 135981.1376 | 300707.94 | 33.25 | 68.6
114635 | 2021-04-30 12:49 | 9.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.763 | μmol/L | 14.5231 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.501 | 135983.161 | 300703.7484 | 33.25 | 68.6
114645 | 2021-04-30 12:50 | 10.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.7194 | μmol/L | 14.5231 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.503 | 135981.6992 | 300703.2377 | 33.25 | 68.6
114655 | 2021-04-30 12:50 | 10.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.7412 | μmol/L | 14.5231 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.502 | 135991.5266 | 300702.1639 | 33.25 | 68.6
114665 | 2021-04-30 12:50 | 10.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.6029 | μmol/L | 14.5292 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.506 | 135991.9974 | 300694.874 | 33.25 | 68.6
114675 | 2021-04-30 12:51 | 11.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.5519 | μmol/L | 14.5353 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.506 | 135983.2602 | 300693.5447 | 33.25 | 68.6
114685 | 2021-04-30 12:51 | 11.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.5519 | μmol/L | 14.5353 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.506 | 135986.8643 | 300679.3278 | 33.25 | 68.6
114695 | 2021-04-30 12:51 | 11.6722 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.4573 | μmol/L | 14.5414 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.508 | 135985.9324 | 300676.5134 | 33.25 | 68.6
114705 | 2021-04-30 12:52 | 12.0054 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.4063 | μmol/L | 14.5475 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.508 | 135994.0194 | 300679.9103 | 33.25 | 68.6
114715 | 2021-04-30 12:52 | 12.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.3335 | μmol/L | 14.5535 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.509 | 136007.1532 | 300672.3924 | 33.25 | 68.6
114725 | 2021-04-30 12:52 | 12.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.3044 | μmol/L | 14.5596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.508 | 135993.894 | 300678.3282 | 33.25 | 68.6
114735 | 2021-04-30 12:53 | 13.0055 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.1737 | μmol/L | 14.5596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.514 | 135995.4426 | 300667.489 | 33.25 | 68.6
114745 | 2021-04-30 12:53 | 13.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.0501 | μmol/L | 14.5718 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.515 | 136002.6565 | 300661.8152 | 33.25 | 68.6
114755 | 2021-04-30 12:53 | 13.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.0428 | μmol/L | 14.5778 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.513 | 136004.7904 | 300660.7812 | 33.25 | 68.6
114765 | 2021-04-30 12:54 | 14.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.0501 | μmol/L | 14.5718 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.515 | 135998.4124 | 300653.8673 | 33.25 | 68.6
114775 | 2021-04-30 12:54 | 14.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.0645 | μmol/L | 14.5778 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.512 | 136004.2081 | 300653.5825 | 33.25 | 68.6
114785 | 2021-04-30 12:54 | 14.6723 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.854 | μmol/L | 14.59 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.517 | 136005.7277 | 300652.2149 | 33.25 | 68.6
114795 | 2021-04-30 12:55 | 15.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.9049 | μmol/L | 14.5839 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.517 | 136005.2756 | 300645.0316 | 33.25 | 68.6
114805 | 2021-04-30 12:55 | 15.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.854 | μmol/L | 14.59 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.517 | 136007.9008 | 300638.7356 | 33.25 | 68.6
114815 | 2021-04-30 12:55 | 15.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.8467 | μmol/L | 14.5961 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.515 | 136008.3697 | 300640.0461 | 33.25 | 68.6
114825 | 2021-04-30 12:56 | 16.0058 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.7089 | μmol/L | 14.6021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.519 | 136009.3419 | 300629.0829 | 33.25 | 68.6
114835 | 2021-04-30 12:56 | 16.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.6799 | μmol/L | 14.6082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.518 | 136014.8085 | 300623.9706 | 33.25 | 68.6
114845 | 2021-04-30 12:56 | 16.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.6147 | μmol/L | 14.6082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.521 | 136028.7121 | 300634.3031 | 33.25 | 68.6
114855 | 2021-04-30 12:57 | 17.0054 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.5422 | μmol/L | 14.6143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.522 | 136014.2217 | 300611.7204 | 33.25 | 68.6
114865 | 2021-04-30 12:57 | 17.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.3466 | μmol/L | 14.6325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.524 | 136016.293 | 300609.7106 | 33.25 | 68.6
114875 | 2021-04-30 12:57 | 17.6722 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.4697 | μmol/L | 14.6204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.523 | 136020.4696 | 300611.6207 | 33.25 | 68.6
114885 | 2021-04-30 12:58 | 18.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.2815 | μmol/L | 14.6325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.527 | 136027.6921 | 300620.2489 | 33.25 | 68.6
114895 | 2021-04-30 12:58 | 18.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.2308 | μmol/L | 14.6386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.527 | 136030.6193 | 300600.9656 | 33.25 | 68.6
114905 | 2021-04-30 12:58 | 18.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.2235 | μmol/L | 14.6447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.525 | 136031.2229 | 300602.0925 | 33.25 | 68.6
114915 | 2021-04-30 12:59 | 19.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.1584 | μmol/L | 14.6447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.528 | 136034.2919 | 300588.6633 | 33.25 | 68.6
114925 | 2021-04-30 12:59 | 19.3388 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.0571 | μmol/L | 14.6568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.528 | 136031.0112 | 300588.5716 | 33.25 | 68.6
114935 | 2021-04-30 12:59 | 19.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.0427 | μmol/L | 14.6508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.531 | 136045.4004 | 300604.1083 | 33.25 | 68.6
114945 | 2021-04-30 13:00 | 20.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.8981 | μmol/L | 14.6629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.533 | 136041.4564 | 300579.3477 | 33.25 | 68.6
114955 | 2021-04-30 13:00 | 20.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.9198 | μmol/L | 14.6629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.532 | 136043.0871 | 300585.3676 | 33.25 | 68.6
114965 | 2021-04-30 13:00 | 20.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.7537 | μmol/L | 14.6751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.535 | 136045.8309 | 300580.1488 | 33.25 | 68.6
114975 | 2021-04-30 13:01 | 21.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.7753 | μmol/L | 14.6751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.534 | 136038.109 | 300577.7497 | 33.25 | 68.6
114985 | 2021-04-30 13:01 | 21.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.9703 | μmol/L | 14.6751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.525 | 136002.2899 | 300582.1736 | 33.25 | 68.6
114995 | 2021-04-30 13:01 | 21.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.4867 | μmol/L | 14.6811 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.545 | 136128.7529 | 300571.6248 | 33.25 | 68.6
115005 | 2021-04-30 13:02 | 22.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.7035 | μmol/L | 14.6933 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.764 | 137598.7543 | 300576.8908 | 33.25 | 68.6
115015 | 2021-04-30 13:02 | 22.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5119 | μmol/L | 14.6933 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.11 | 139955.8943 | 300561.0608 | 33.25 | 68.6
115025 | 2021-04-30 13:02 | 22.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.213 | μmol/L | 14.6872 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.325 | 141406.0981 | 300566.3636 | 33.25 | 68.6
115035 | 2021-04-30 13:03 | 23.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.8043 | μmol/L | 14.7055 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.439 | 142179.6955 | 300567.1831 | 33.25 | 68.6
115045 | 2021-04-30 13:03 | 23.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.4298 | μmol/L | 14.7176 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.504 | 142613.5314 | 300558.0089 | 33.25 | 68.6
115055 | 2021-04-30 13:03 | 23.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.4618 | μmol/L | 14.7237 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.5 | 142584.9498 | 300552.6968 | 33.25 | 68.6
115065 | 2021-04-30 13:04 | 24.0052 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.1505 | μmol/L | 14.7237 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.465 | 142369.6571 | 300565.0818 | 33.25 | 68.6
115075 | 2021-04-30 13:04 | 24.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9999 | μmol/L | 14.7237 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.422 | 142069.4192 | 300536.3215 | 33.25 | 68.6
115085 | 2021-04-30 13:04 | 24.6723 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.8455 | μmol/L | 14.7298 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.377 | 141744.7973 | 300543.6131 | 33.25 | 68.6
115095 | 2021-04-30 13:05 | 25.0054 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.9544 | μmol/L | 14.7358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.319 | 141382.0997 | 300549.818 | 33.25 | 68.6
115105 | 2021-04-30 13:05 | 25.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.1023 | μmol/L | 14.748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.257 | 140935.1715 | 300546.9814 | 33.25 | 68.6
115115 | 2021-04-30 13:05 | 25.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.1851 | μmol/L | 14.7358 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.208 | 140615.7484 | 300539.7668 | 33.25 | 68.6
115125 | 2021-04-30 13:06 | 26.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5345 | μmol/L | 14.748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.186 | 140457.3476 | 300530.3763 | 33.25 | 68.6
115135 | 2021-04-30 13:06 | 26.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.4131 | μmol/L | 14.748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.192 | 140490.4107 | 300526.1354 | 33.25 | 68.6
115145 | 2021-04-30 13:06 | 26.6722 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.5304 | μmol/L | 14.7602 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.231 | 140728.7051 | 300529.2673 | 33.25 | 68.6