## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114346 | 2021-04-30 12:40 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.3136 | μmol/L | 14.4555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.814 | 124614.5964 | 264998.9581 | 26.25 | 74
114356 | 2021-04-30 12:40 | 0.33185 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1162 | μmol/L | 14.4069 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.796 | 124489.8063 | 265008.3466 | 26.25 | 74
114366 | 2021-04-30 12:40 | 0.66499 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5524 | μmol/L | 14.3947 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.781 | 124355.0065 | 264995.5624 | 26.25 | 74
114376 | 2021-04-30 12:41 | 0.99811 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.0343 | μmol/L | 14.3825 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.764 | 124257.3874 | 264992.0985 | 26.25 | 74
114386 | 2021-04-30 12:41 | 1.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.231 | μmol/L | 14.3886 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.753 | 124170.555 | 264981.1816 | 26.25 | 74
114396 | 2021-04-30 12:41 | 1.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4839 | μmol/L | 14.3825 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.744 | 124105.1518 | 264978.3988 | 26.25 | 74
114406 | 2021-04-30 12:42 | 1.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.5179 | μmol/L | 14.3947 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.738 | 124055.2678 | 264986.3879 | 26.25 | 74
114416 | 2021-04-30 12:42 | 2.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8162 | μmol/L | 14.3886 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.727 | 124002.2844 | 264981.773 | 26.25 | 74
114426 | 2021-04-30 12:42 | 2.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8107 | μmol/L | 14.3947 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.725 | 123959.7378 | 264961.8654 | 26.25 | 74
114436 | 2021-04-30 12:43 | 2.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8333 | μmol/L | 14.3947 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.724 | 123930.3348 | 264961.8166 | 26.25 | 74
114446 | 2021-04-30 12:43 | 3.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8954 | μmol/L | 14.4008 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.719 | 123907.9589 | 264973.5259 | 26.25 | 74
114456 | 2021-04-30 12:43 | 3.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9405 | μmol/L | 14.4008 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.717 | 123875.0077 | 264963.3773 | 26.25 | 74
114466 | 2021-04-30 12:44 | 3.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0425 | μmol/L | 14.4129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.708 | 123838.4588 | 264953.6874 | 26.25 | 74
114476 | 2021-04-30 12:44 | 4.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0425 | μmol/L | 14.4129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.708 | 123820.7577 | 264961.3783 | 26.25 | 74
114486 | 2021-04-30 12:44 | 4.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1607 | μmol/L | 14.4069 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.705 | 123799.8698 | 264940.3927 | 26.25 | 74
114496 | 2021-04-30 12:45 | 4.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0822 | μmol/L | 14.419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.704 | 123775.3042 | 264936.7247 | 26.25 | 74
114506 | 2021-04-30 12:45 | 5.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1951 | μmol/L | 14.419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.699 | 123756.6767 | 264936.4479 | 26.25 | 74
114516 | 2021-04-30 12:45 | 5.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1499 | μmol/L | 14.419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.701 | 123731.072 | 264913.0663 | 26.25 | 74
114526 | 2021-04-30 12:46 | 5.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2348 | μmol/L | 14.4251 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.695 | 123710.8005 | 264922.234 | 26.25 | 74
114536 | 2021-04-30 12:46 | 6.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.252 | μmol/L | 14.4312 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.692 | 123685.4613 | 264915.9833 | 26.25 | 74
114546 | 2021-04-30 12:46 | 6.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.252 | μmol/L | 14.4312 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.692 | 123670.1103 | 264923.691 | 26.25 | 74
114556 | 2021-04-30 12:47 | 6.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4102 | μmol/L | 14.4312 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.685 | 123654.5535 | 264904.7347 | 26.25 | 74
114566 | 2021-04-30 12:47 | 7.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3144 | μmol/L | 14.4373 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.687 | 123632.4827 | 264905.2767 | 26.25 | 74
114576 | 2021-04-30 12:47 | 7.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2584 | μmol/L | 14.4495 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.685 | 123612.486 | 264894.1144 | 26.25 | 74
114586 | 2021-04-30 12:48 | 7.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3714 | μmol/L | 14.4495 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.68 | 123601.3179 | 264901.0258 | 26.25 | 74
114596 | 2021-04-30 12:48 | 8.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4393 | μmol/L | 14.4495 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 123578.0951 | 264895.8844 | 26.25 | 74
114606 | 2021-04-30 12:48 | 8.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3887 | μmol/L | 14.4555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 123568.2466 | 264891.0667 | 26.25 | 74
114616 | 2021-04-30 12:49 | 8.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3887 | μmol/L | 14.4555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 123547.8838 | 264887.3904 | 26.25 | 74
114626 | 2021-04-30 12:49 | 9.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5244 | μmol/L | 14.4555 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.671 | 123534.4311 | 264877.7355 | 26.25 | 74
114636 | 2021-04-30 12:49 | 9.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.378 | μmol/L | 14.4677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.673 | 123528.9277 | 264875.9425 | 26.25 | 74
114646 | 2021-04-30 12:50 | 9.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.35 | μmol/L | 14.4738 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 123515.8653 | 264881.9319 | 26.25 | 74
114656 | 2021-04-30 12:50 | 10.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3673 | μmol/L | 14.4799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.669 | 123506.2285 | 264877.3291 | 26.25 | 74
114666 | 2021-04-30 12:50 | 10.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2994 | μmol/L | 14.4799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 123491.6544 | 264875.4707 | 26.25 | 74
114676 | 2021-04-30 12:51 | 10.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4351 | μmol/L | 14.4799 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.666 | 123472.9188 | 264865.066 | 26.25 | 74
114686 | 2021-04-30 12:51 | 11.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4018 | μmol/L | 14.492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.663 | 123470.3768 | 264866.6538 | 26.25 | 74
114696 | 2021-04-30 12:51 | 11.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.475 | μmol/L | 14.486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.662 | 123452.9427 | 264864.6667 | 26.25 | 74
114706 | 2021-04-30 12:52 | 11.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4471 | μmol/L | 14.492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.661 | 123446.4632 | 264845.6259 | 26.25 | 74
114716 | 2021-04-30 12:52 | 12.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.306 | μmol/L | 14.4981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.665 | 123435.7102 | 264850.0118 | 26.25 | 74
114726 | 2021-04-30 12:52 | 12.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3739 | μmol/L | 14.4981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.662 | 123426.7797 | 264844.6762 | 26.25 | 74
114736 | 2021-04-30 12:53 | 12.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3685 | μmol/L | 14.5042 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 123418.0375 | 264831.6804 | 26.25 | 74
114746 | 2021-04-30 12:53 | 13.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2449 | μmol/L | 14.5164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.661 | 123402.8088 | 264844.0658 | 26.25 | 74
114756 | 2021-04-30 12:53 | 13.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.318 | μmol/L | 14.5103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 123407.1239 | 264843.4534 | 26.25 | 74
114766 | 2021-04-30 12:54 | 13.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4537 | μmol/L | 14.5103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123396.8312 | 264838.9407 | 26.25 | 74
114776 | 2021-04-30 12:54 | 14.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2848 | μmol/L | 14.5225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.657 | 123390.0459 | 264835.801 | 26.25 | 74
114786 | 2021-04-30 12:54 | 14.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.33 | μmol/L | 14.5225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.655 | 123395.273 | 264835.9956 | 26.25 | 74
114796 | 2021-04-30 12:55 | 14.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2064 | μmol/L | 14.5346 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.656 | 123385.008 | 264839.147 | 26.25 | 74
114806 | 2021-04-30 12:55 | 15.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0655 | μmol/L | 14.5407 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 123377.7727 | 264825.4195 | 26.25 | 74
114816 | 2021-04-30 12:55 | 15.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2011 | μmol/L | 14.5407 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123366.5711 | 264821.0997 | 26.25 | 74
114826 | 2021-04-30 12:56 | 15.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2011 | μmol/L | 14.5407 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123364.7733 | 264814.3288 | 26.25 | 74
114836 | 2021-04-30 12:56 | 16.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1785 | μmol/L | 14.5407 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.655 | 123357.7854 | 264810.1217 | 26.25 | 74
114846 | 2021-04-30 12:56 | 16.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1958 | μmol/L | 14.5468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.652 | 123359.1608 | 264806.5777 | 26.25 | 74
114856 | 2021-04-30 12:57 | 16.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1732 | μmol/L | 14.5468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 123343.4791 | 264806.1252 | 26.25 | 74
114866 | 2021-04-30 12:57 | 17.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9992 | μmol/L | 14.5651 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123352.5992 | 264822.2636 | 26.25 | 74
114876 | 2021-04-30 12:57 | 17.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0896 | μmol/L | 14.5651 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123334.0532 | 264806.6506 | 26.25 | 74
114886 | 2021-04-30 12:58 | 17.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0843 | μmol/L | 14.5711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123345.1573 | 264800.8617 | 26.25 | 74
114896 | 2021-04-30 12:58 | 18.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0896 | μmol/L | 14.5651 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123339.8884 | 264805.6924 | 26.25 | 74
114906 | 2021-04-30 12:58 | 18.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9714 | μmol/L | 14.5711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 123338.0501 | 264805.0437 | 26.25 | 74
114916 | 2021-04-30 12:59 | 18.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9835 | μmol/L | 14.5833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123331.4496 | 264800.9435 | 26.25 | 74
114926 | 2021-04-30 12:59 | 19.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0061 | μmol/L | 14.5833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 123331.6859 | 264798.0174 | 26.25 | 74
114936 | 2021-04-30 12:59 | 19.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9835 | μmol/L | 14.5833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123328.8112 | 264793.4513 | 26.25 | 74
114946 | 2021-04-30 13:00 | 19.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.933 | μmol/L | 14.5894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123320.8398 | 264799.0503 | 26.25 | 74
114956 | 2021-04-30 13:00 | 20.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7923 | μmol/L | 14.5955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.652 | 123328.6212 | 264783.2835 | 26.25 | 74
114966 | 2021-04-30 13:00 | 20.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.669 | μmol/L | 14.6076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.653 | 123323.9968 | 264773.1769 | 26.25 | 74
114976 | 2021-04-30 13:01 | 20.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8375 | μmol/L | 14.5955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123315.4722 | 264767.4781 | 26.25 | 74
114986 | 2021-04-30 13:01 | 21.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7367 | μmol/L | 14.6076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123315.9975 | 264774.5689 | 26.25 | 74
114996 | 2021-04-30 13:01 | 21.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7315 | μmol/L | 14.6137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123306.532 | 264764.9475 | 26.25 | 74
115006 | 2021-04-30 13:02 | 21.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.636 | μmol/L | 14.6198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123315.7049 | 264772.8971 | 26.25 | 74
115016 | 2021-04-30 13:02 | 22.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6083 | μmol/L | 14.6259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 123313.2248 | 264767.8925 | 26.25 | 74
115026 | 2021-04-30 13:02 | 22.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6812 | μmol/L | 14.6198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123316.3164 | 264760.4663 | 26.25 | 74
115036 | 2021-04-30 13:03 | 22.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6308 | μmol/L | 14.6259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123304.5708 | 264769.0279 | 26.25 | 74
115046 | 2021-04-30 13:03 | 23.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4452 | μmol/L | 14.632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123302.7145 | 264757.0864 | 26.25 | 74
115056 | 2021-04-30 13:03 | 23.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4626 | μmol/L | 14.6381 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 123313.8022 | 264761.2055 | 26.25 | 74
115066 | 2021-04-30 13:04 | 23.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6031 | μmol/L | 14.632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 123311.5149 | 264768.9133 | 26.25 | 74
115076 | 2021-04-30 13:04 | 24.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4123 | μmol/L | 14.6442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 123314.736 | 264759.2196 | 26.25 | 74
115086 | 2021-04-30 13:04 | 24.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.5025 | μmol/L | 14.6442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 123302.8392 | 264744.6542 | 26.25 | 74
115096 | 2021-04-30 13:05 | 24.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.3395 | μmol/L | 14.6502 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.652 | 123300.7795 | 264745.9229 | 26.25 | 74
115106 | 2021-04-30 13:05 | 25.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4071 | μmol/L | 14.6502 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.649 | 123307.4452 | 264752.5557 | 26.25 | 74
115116 | 2021-04-30 13:05 | 25.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4245 | μmol/L | 14.6563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 123302.9421 | 264753.2531 | 26.25 | 74
115126 | 2021-04-30 13:06 | 25.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.1888 | μmol/L | 14.6685 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.652 | 123301.3005 | 264754.2957 | 26.25 | 74
115136 | 2021-04-30 13:06 | 26.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.2338 | μmol/L | 14.6685 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 123298.492 | 264746.3051 | 26.25 | 74
115146 | 2021-04-30 13:06 | 26.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.1611 | μmol/L | 14.6746 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 123298.7818 | 264747.0417 | 26.25 | 74