## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114347 | 2021-04-30 12:40 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.4741 | μmol/L | 14.7186 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.834 | 122690.0652 | 268437.6515 | 32.55 | 27.7
114357 | 2021-04-30 12:40 | 0.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6395 | μmol/L | 14.6515 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.805 | 122442.9665 | 268428.5161 | 32.55 | 27.7
114368 | 2021-04-30 12:41 | 0.67186 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.3269 | μmol/L | 14.6392 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.778 | 122285.4041 | 268418.8103 | 32.55 | 27.7
114377 | 2021-04-30 12:41 | 1.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9506 | μmol/L | 14.627 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.754 | 122139.0225 | 268390.9021 | 32.55 | 27.7
114387 | 2021-04-30 12:41 | 1.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2309 | μmol/L | 14.6331 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.739 | 122011.553 | 268388.2757 | 32.55 | 27.7
114397 | 2021-04-30 12:42 | 1.6713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.5777 | μmol/L | 14.6392 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.721 | 121917.6 | 268393.831 | 32.55 | 27.7
114408 | 2021-04-30 12:42 | 2.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8421 | μmol/L | 14.6392 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.709 | 121821.1214 | 268370.9638 | 32.55 | 27.7
114418 | 2021-04-30 12:42 | 2.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0575 | μmol/L | 14.6453 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.697 | 121747.4559 | 268371.1314 | 32.55 | 27.7
114427 | 2021-04-30 12:43 | 2.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2732 | μmol/L | 14.6515 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.685 | 121672.2128 | 268353.1619 | 32.55 | 27.7
114437 | 2021-04-30 12:43 | 3.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4399 | μmol/L | 14.6637 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.673 | 121598.9538 | 268357.1279 | 32.55 | 27.7
114447 | 2021-04-30 12:43 | 3.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7275 | μmol/L | 14.6637 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.66 | 121533.6239 | 268361.0357 | 32.55 | 27.7
114457 | 2021-04-30 12:44 | 3.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8604 | μmol/L | 14.6637 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.654 | 121475.8376 | 268352.3852 | 32.55 | 27.7
114467 | 2021-04-30 12:44 | 4.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.9662 | μmol/L | 14.6698 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.647 | 121415.0638 | 268327.8759 | 32.55 | 27.7
114478 | 2021-04-30 12:44 | 4.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0892 | μmol/L | 14.682 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.637 | 121368.3845 | 268335.5894 | 32.55 | 27.7
114488 | 2021-04-30 12:45 | 4.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3111 | μmol/L | 14.682 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.627 | 121302.7639 | 268320.5098 | 32.55 | 27.7
114497 | 2021-04-30 12:45 | 5.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5061 | μmol/L | 14.6881 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.616 | 121256.3091 | 268324.8205 | 32.55 | 27.7
114507 | 2021-04-30 12:45 | 5.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5011 | μmol/L | 14.6942 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.614 | 121220.4774 | 268335.0404 | 32.55 | 27.7
114518 | 2021-04-30 12:46 | 5.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6568 | μmol/L | 14.6942 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.607 | 121181.6356 | 268321.7312 | 32.55 | 27.7
114528 | 2021-04-30 12:46 | 6.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7358 | μmol/L | 14.7064 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.599 | 121126.9374 | 268315.9711 | 32.55 | 27.7
114537 | 2021-04-30 12:46 | 6.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.0253 | μmol/L | 14.7064 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.586 | 121057.133 | 268302.545 | 32.55 | 27.7
114547 | 2021-04-30 12:47 | 6.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2978 | μmol/L | 14.7003 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.576 | 120982.391 | 268284.1602 | 32.55 | 27.7
114557 | 2021-04-30 12:47 | 7.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3996 | μmol/L | 14.7125 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.567 | 120929.6062 | 268296.2599 | 32.55 | 27.7
114567 | 2021-04-30 12:47 | 7.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.484 | μmol/L | 14.7186 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.561 | 120880.5975 | 268295.7045 | 32.55 | 27.7
114578 | 2021-04-30 12:48 | 7.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.5684 | μmol/L | 14.7247 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.555 | 120841.8241 | 268268.1362 | 32.55 | 27.7
114587 | 2021-04-30 12:48 | 8.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.5635 | μmol/L | 14.7309 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.553 | 120816.4687 | 268282.8178 | 32.55 | 27.7
114598 | 2021-04-30 12:48 | 8.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7151 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.544 | 120788.4242 | 268277.1316 | 32.55 | 27.7
114607 | 2021-04-30 12:49 | 8.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.8493 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.538 | 120737.3575 | 268274.7981 | 32.55 | 27.7
114617 | 2021-04-30 12:49 | 9.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.2028 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.52 | 120641.0102 | 268273.3434 | 32.55 | 27.7
114628 | 2021-04-30 12:49 | 9.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.0411 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.525 | 120606.4996 | 268274.3439 | 32.55 | 27.7
114637 | 2021-04-30 12:50 | 9.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.1083 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.522 | 120581.8587 | 268254.7195 | 32.55 | 27.7
114647 | 2021-04-30 12:50 | 10.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.969 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.526 | 120601.7886 | 268265.7251 | 32.55 | 27.7
114657 | 2021-04-30 12:50 | 10.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.9817 | μmol/L | 14.7675 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.521 | 120563.689 | 268256.6719 | 32.55 | 27.7
114667 | 2021-04-30 12:51 | 10.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.5188 | μmol/L | 14.7125 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.517 | 120530.6589 | 268250.7484 | 32.55 | 27.7
114677 | 2021-04-30 12:51 | 11.005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.7177 | μmol/L | 14.6331 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.537 | 120680.7546 | 268257.9334 | 32.55 | 27.7
114687 | 2021-04-30 12:51 | 11.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.11 | μmol/L | 14.6087 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.573 | 120854.6422 | 268262.1435 | 32.55 | 27.7
114698 | 2021-04-30 12:52 | 11.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3822 | μmol/L | 14.6515 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.59 | 120941.5075 | 268251.0734 | 32.55 | 27.7
114707 | 2021-04-30 12:52 | 12.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.8963 | μmol/L | 14.5965 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.587 | 120890.636 | 268250.738 | 32.55 | 27.7
114717 | 2021-04-30 12:52 | 12.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.4139 | μmol/L | 14.5659 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.575 | 120840.6883 | 268257.241 | 32.55 | 27.7
114727 | 2021-04-30 12:53 | 12.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.5808 | μmol/L | 14.627 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.59 | 120900.4672 | 268231.4819 | 32.55 | 27.7
114737 | 2021-04-30 12:53 | 13.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.6801 | μmol/L | 14.6148 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.59 | 120910.067 | 268220.875 | 32.55 | 27.7
114747 | 2021-04-30 12:53 | 13.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.434 | μmol/L | 14.7797 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.631 | 121151.8763 | 268229.7571 | 32.55 | 27.7
114758 | 2021-04-30 12:54 | 13.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2937 | μmol/L | 14.7858 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.726 | 121717.8576 | 268224.9709 | 32.55 | 27.7
114767 | 2021-04-30 12:54 | 14.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.8624 | μmol/L | 14.7247 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.768 | 121954.8269 | 268224.486 | 32.55 | 27.7
114777 | 2021-04-30 12:54 | 14.3382 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.188 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.79 | 122121.5335 | 268231.9572 | 32.55 | 27.7
114787 | 2021-04-30 12:55 | 14.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.8565 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.803 | 122170.7048 | 268214.6296 | 32.55 | 27.7
114797 | 2021-04-30 12:55 | 15.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.8735 | μmol/L | 14.8164 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.826 | 122354.2343 | 268226.5167 | 32.55 | 27.7
114807 | 2021-04-30 12:55 | 15.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.8252 | μmol/L | 14.8225 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.826 | 122431.8849 | 268217.9186 | 32.55 | 27.7
114817 | 2021-04-30 12:56 | 15.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.0035 | μmol/L | 14.8164 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.82 | 122415.9789 | 268205.0285 | 32.55 | 27.7
114827 | 2021-04-30 12:56 | 16.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.6159 | μmol/L | 14.8103 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.794 | 122232.8116 | 268201.8461 | 32.55 | 27.7
114837 | 2021-04-30 12:56 | 16.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.3821 | μmol/L | 14.8042 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.807 | 122258.2703 | 268212.0092 | 32.55 | 27.7
114847 | 2021-04-30 12:57 | 16.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.3965 | μmol/L | 14.8286 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.89 | 122728.8894 | 268197.6447 | 32.55 | 27.7
114857 | 2021-04-30 12:57 | 17.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.8927 | μmol/L | 14.8408 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.909 | 122948.2984 | 268199.513 | 32.55 | 27.7
114867 | 2021-04-30 12:57 | 17.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.769 | μmol/L | 14.8347 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.917 | 123027.3029 | 268200.1135 | 32.55 | 27.7
114878 | 2021-04-30 12:58 | 17.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.5471 | μmol/L | 14.8286 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.883 | 122822.8207 | 268191.1816 | 32.55 | 27.7
114887 | 2021-04-30 12:58 | 18.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2101 | μmol/L | 14.8347 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.85 | 122606.9876 | 268205.1416 | 32.55 | 27.7
114897 | 2021-04-30 12:58 | 18.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.6755 | μmol/L | 14.8469 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.824 | 122431.8382 | 268183.0475 | 32.55 | 27.7
114907 | 2021-04-30 12:59 | 18.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.9876 | μmol/L | 14.8347 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.768 | 122093.0689 | 268181.7827 | 32.55 | 27.7
114917 | 2021-04-30 12:59 | 19.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.525 | μmol/L | 14.8713 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.73 | 121824.2494 | 268180.6425 | 32.55 | 27.7
114927 | 2021-04-30 12:59 | 19.3383 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.2955 | μmol/L | 14.8652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.697 | 121635.7491 | 268176.5923 | 32.55 | 27.7
114937 | 2021-04-30 13:00 | 19.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.7343 | μmol/L | 14.8652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.677 | 121510.7376 | 268176.4255 | 32.55 | 27.7
114948 | 2021-04-30 13:00 | 20.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2352 | μmol/L | 14.8713 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.652 | 121363.1513 | 268168.0132 | 32.55 | 27.7
114957 | 2021-04-30 13:00 | 20.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6588 | μmol/L | 14.8652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.635 | 121218.1252 | 268169.5235 | 32.55 | 27.7
114968 | 2021-04-30 13:01 | 20.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0466 | μmol/L | 14.8775 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.613 | 121104.8125 | 268171.4213 | 32.55 | 27.7
114977 | 2021-04-30 13:01 | 21.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4526 | μmol/L | 14.8958 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.588 | 120955.2691 | 268174.3057 | 32.55 | 27.7
114988 | 2021-04-30 13:01 | 21.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.466 | μmol/L | 14.7675 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.634 | 121157.5026 | 268166.2974 | 32.55 | 27.7
114998 | 2021-04-30 13:02 | 21.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.612 | μmol/L | 14.8408 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.646 | 121273.831 | 268160.6179 | 32.55 | 27.7
115007 | 2021-04-30 13:02 | 22.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6956 | μmol/L | 14.9141 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.661 | 121385.2524 | 268150.1483 | 32.55 | 27.7
115017 | 2021-04-30 13:02 | 22.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.4809 | μmol/L | 14.908 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.673 | 121463.0371 | 268138.5729 | 32.55 | 27.7
115027 | 2021-04-30 13:03 | 22.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6297 | μmol/L | 14.9141 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.664 | 121424.6976 | 268162.2 | 32.55 | 27.7
115037 | 2021-04-30 13:03 | 23.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9813 | μmol/L | 14.9141 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.648 | 121320.3323 | 268160.6094 | 32.55 | 27.7
115047 | 2021-04-30 13:03 | 23.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.417 | μmol/L | 14.9202 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.626 | 121198.3734 | 268167.0932 | 32.55 | 27.7
115057 | 2021-04-30 13:04 | 23.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.65 | μmol/L | 14.9324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.611 | 121084.325 | 268167.1999 | 32.55 | 27.7
115068 | 2021-04-30 13:04 | 24.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0035 | μmol/L | 14.9324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.595 | 120993.3857 | 268150.3385 | 32.55 | 27.7
115078 | 2021-04-30 13:04 | 24.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3354 | μmol/L | 14.9324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.58 | 120903.976 | 268143.671 | 32.55 | 27.7
115088 | 2021-04-30 13:05 | 24.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.633 | μmol/L | 14.9202 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.571 | 120812.6189 | 268144.1256 | 32.55 | 27.7
115097 | 2021-04-30 13:05 | 25.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.069 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.558 | 120744.8028 | 268151.6057 | 32.55 | 27.7
115107 | 2021-04-30 13:05 | 25.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3135 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.547 | 120664.705 | 268142.4376 | 32.55 | 27.7
115117 | 2021-04-30 13:06 | 25.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5361 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.537 | 120617.3087 | 268148.8615 | 32.55 | 27.7
115127 | 2021-04-30 13:06 | 26.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8177 | μmol/L | 14.8836 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.531 | 120560.8713 | 268132.2657 | 32.55 | 27.7
115137 | 2021-04-30 13:06 | 26.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7095 | μmol/L | 14.908 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.527 | 120552.7582 | 268135.6276 | 32.55 | 27.7
115147 | 2021-04-30 13:07 | 26.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.692 | μmol/L | 14.9019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.53 | 120611.9742 | 268125.5506 | 32.55 | 27.7