## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115148 | 2021-04-30 13:13 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.5421 | μmol/L | 14.8401 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.282 | 141767.3538 | 269200.6662 | 33.25 | 75.7
115158 | 2021-04-30 13:14 | 0.33953 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.6331 | μmol/L | 14.8217 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.241 | 141506.2819 | 269205.9051 | 33.25 | 75.7
115168 | 2021-04-30 13:14 | 0.67284 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.3462 | μmol/L | 14.8217 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.21 | 141277.8012 | 269186.5535 | 33.25 | 75.7
115178 | 2021-04-30 13:14 | 1.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.9367 | μmol/L | 14.834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.18 | 141061.8251 | 269180.6464 | 33.25 | 75.7
115188 | 2021-04-30 13:15 | 1.3389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.5152 | μmol/L | 14.834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.155 | 140868.8447 | 269178.7087 | 33.25 | 75.7
115198 | 2021-04-30 13:15 | 1.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.9929 | μmol/L | 14.8462 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.13 | 140688.9274 | 269164.5 | 33.25 | 75.7
115208 | 2021-04-30 13:15 | 2.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.5325 | μmol/L | 14.8401 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.109 | 140523.99 | 269163.62 | 33.25 | 75.7
115218 | 2021-04-30 13:16 | 2.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9194 | μmol/L | 14.8524 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.088 | 140389.0124 | 269170.4507 | 33.25 | 75.7
115228 | 2021-04-30 13:16 | 2.6724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2182 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.073 | 140249.9886 | 269170.814 | 33.25 | 75.7
115238 | 2021-04-30 13:16 | 3.0056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5129 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.056 | 140127.5632 | 269162.238 | 33.25 | 75.7
115248 | 2021-04-30 13:17 | 3.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.8876 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.04 | 140012.975 | 269151.0548 | 33.25 | 75.7
115258 | 2021-04-30 13:17 | 3.6724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.2348 | μmol/L | 14.8769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.023 | 139918.0223 | 269151.6232 | 33.25 | 75.7
115268 | 2021-04-30 13:17 | 4.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.3477 | μmol/L | 14.883 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.016 | 139825.9009 | 269140.8145 | 33.25 | 75.7
115278 | 2021-04-30 13:18 | 4.3389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.522 | μmol/L | 14.9014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.002 | 139743.9962 | 269139.0745 | 33.25 | 75.7
115288 | 2021-04-30 13:18 | 4.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.6821 | μmol/L | 14.9075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.993 | 139676.8837 | 269146.5029 | 33.25 | 75.7
115298 | 2021-04-30 13:18 | 5.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8143 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.983 | 139617.088 | 269135.5975 | 33.25 | 75.7
115308 | 2021-04-30 13:19 | 5.3389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0028 | μmol/L | 14.9197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.975 | 139560.8142 | 269131.8474 | 33.25 | 75.7
115318 | 2021-04-30 13:19 | 5.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.069 | μmol/L | 14.9259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.97 | 139518.0478 | 269133.7101 | 33.25 | 75.7
115328 | 2021-04-30 13:19 | 6.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.1825 | μmol/L | 14.932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.963 | 139462.1968 | 269138.9542 | 33.25 | 75.7
115338 | 2021-04-30 13:20 | 6.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3196 | μmol/L | 14.9381 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.955 | 139414.2169 | 269129.9886 | 33.25 | 75.7
115348 | 2021-04-30 13:20 | 6.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2679 | μmol/L | 14.9442 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.955 | 139376.8628 | 269124.6244 | 33.25 | 75.7
115358 | 2021-04-30 13:20 | 7.0056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3815 | μmol/L | 14.9504 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.948 | 139348.8432 | 269131.7439 | 33.25 | 75.7
115368 | 2021-04-30 13:21 | 7.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3726 | μmol/L | 14.9626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.944 | 139306.7247 | 269135.555 | 33.25 | 75.7
115378 | 2021-04-30 13:21 | 7.6723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5852 | μmol/L | 14.9626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.935 | 139279.5629 | 269139.0923 | 33.25 | 75.7
115388 | 2021-04-30 13:21 | 8.0057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5291 | μmol/L | 14.9749 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.933 | 139238.8694 | 269126.5522 | 33.25 | 75.7
115398 | 2021-04-30 13:22 | 8.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5719 | μmol/L | 14.981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 139206.5768 | 269123.6904 | 33.25 | 75.7
115408 | 2021-04-30 13:22 | 8.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6902 | μmol/L | 14.981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.924 | 139175.0183 | 269126.7228 | 33.25 | 75.7
115418 | 2021-04-30 13:22 | 9.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7804 | μmol/L | 14.9871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.918 | 139145.8955 | 269106.6034 | 33.25 | 75.7
115428 | 2021-04-30 13:23 | 9.3389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8234 | μmol/L | 14.9933 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.914 | 139119.3267 | 269112.7326 | 33.25 | 75.7
115438 | 2021-04-30 13:23 | 9.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7436 | μmol/L | 15.0055 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.913 | 139089.2459 | 269114.2265 | 33.25 | 75.7
115448 | 2021-04-30 13:23 | 10.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7629 | μmol/L | 15.0116 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.91 | 139069.539 | 269107.6196 | 33.25 | 75.7
115458 | 2021-04-30 13:24 | 10.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7865 | μmol/L | 15.0116 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.909 | 139048.0247 | 269105.8291 | 33.25 | 75.7
115468 | 2021-04-30 13:24 | 10.6725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8769 | μmol/L | 15.0178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.903 | 139032.7532 | 269105.779 | 33.25 | 75.7
115478 | 2021-04-30 13:24 | 11.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7928 | μmol/L | 15.0361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.9 | 139005.3277 | 269102.9246 | 33.25 | 75.7
115488 | 2021-04-30 13:25 | 11.3393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8875 | μmol/L | 15.0361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.896 | 138993.4799 | 269100.5096 | 33.25 | 75.7
115498 | 2021-04-30 13:25 | 11.6725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.9586 | μmol/L | 15.0361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.893 | 138961.2803 | 269091.2252 | 33.25 | 75.7
115508 | 2021-04-30 13:25 | 12.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.9025 | μmol/L | 15.0484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.891 | 138942.099 | 269087.5792 | 33.25 | 75.7
115518 | 2021-04-30 13:26 | 12.3391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8465 | μmol/L | 15.0606 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.889 | 138935.2079 | 269088.9349 | 33.25 | 75.7
115528 | 2021-04-30 13:26 | 12.6723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.9649 | μmol/L | 15.0606 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.884 | 138905.6887 | 269081.0571 | 33.25 | 75.7
115538 | 2021-04-30 13:26 | 13.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8658 | μmol/L | 15.0668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.886 | 138900.8764 | 269089.3185 | 33.25 | 75.7
115548 | 2021-04-30 13:27 | 13.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8852 | μmol/L | 15.0729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.883 | 138883.7651 | 269085.2664 | 33.25 | 75.7
115558 | 2021-04-30 13:27 | 13.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.9283 | μmol/L | 15.079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.879 | 138874.6311 | 269084.3268 | 33.25 | 75.7
115568 | 2021-04-30 13:27 | 14.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.9757 | μmol/L | 15.079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.877 | 138865.8016 | 269083.6087 | 33.25 | 75.7
115578 | 2021-04-30 13:28 | 14.3389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8443 | μmol/L | 15.0974 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.876 | 138840.5152 | 269068.3511 | 33.25 | 75.7
115588 | 2021-04-30 13:28 | 14.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.9197 | μmol/L | 15.0913 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.875 | 138838.9621 | 269080.1699 | 33.25 | 75.7
115598 | 2021-04-30 13:28 | 15.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7927 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.876 | 138821.5525 | 269075.6469 | 33.25 | 75.7
115608 | 2021-04-30 13:29 | 15.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8078 | μmol/L | 15.1158 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.871 | 138819.2001 | 269081.982 | 33.25 | 75.7
115618 | 2021-04-30 13:29 | 15.6725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7841 | μmol/L | 15.1158 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.872 | 138800.9018 | 269066.6564 | 33.25 | 75.7
115628 | 2021-04-30 13:29 | 16.0056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7993 | μmol/L | 15.128 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.867 | 138797.0154 | 269066.9371 | 33.25 | 75.7
115638 | 2021-04-30 13:30 | 16.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8747 | μmol/L | 15.1219 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.866 | 138783.7243 | 269069.6414 | 33.25 | 75.7
115648 | 2021-04-30 13:30 | 16.6725 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.696 | μmol/L | 15.1403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.867 | 138776.0103 | 269073.9922 | 33.25 | 75.7
115658 | 2021-04-30 13:30 | 17.0056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8382 | μmol/L | 15.1403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.861 | 138766.5184 | 269065.4847 | 33.25 | 75.7
115668 | 2021-04-30 13:31 | 17.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6681 | μmol/L | 15.1464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.866 | 138764.5329 | 269051.3998 | 33.25 | 75.7
115678 | 2021-04-30 13:31 | 17.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5844 | μmol/L | 15.1648 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.863 | 138745.0102 | 269030.4517 | 33.25 | 75.7
115688 | 2021-04-30 13:31 | 18.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6791 | μmol/L | 15.1648 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 138729.7538 | 269052.1072 | 33.25 | 75.7
115698 | 2021-04-30 13:32 | 18.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.7307 | μmol/L | 15.1587 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 138733.8239 | 269047.6145 | 33.25 | 75.7
115708 | 2021-04-30 13:32 | 18.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6749 | μmol/L | 15.1709 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.857 | 138722.8286 | 269056.4774 | 33.25 | 75.7
115718 | 2021-04-30 13:32 | 19.0058 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5996 | μmol/L | 15.177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.858 | 138708.0139 | 269047.0028 | 33.25 | 75.7
115728 | 2021-04-30 13:33 | 19.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6665 | μmol/L | 15.1832 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.853 | 138705.6552 | 269040.5376 | 33.25 | 75.7
115738 | 2021-04-30 13:33 | 19.6726 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.6149 | μmol/L | 15.1893 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.853 | 138698.488 | 269045.2672 | 33.25 | 75.7
115748 | 2021-04-30 13:33 | 20.0058 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.4881 | μmol/L | 15.2015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.854 | 138681.6303 | 269032.8556 | 33.25 | 75.7
115758 | 2021-04-30 13:34 | 20.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5355 | μmol/L | 15.2015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.852 | 138671.497 | 269035.7059 | 33.25 | 75.7
115768 | 2021-04-30 13:34 | 20.6722 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5313 | μmol/L | 15.2077 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 138660.7757 | 269025.2731 | 33.25 | 75.7
115778 | 2021-04-30 13:34 | 21.0056 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.4798 | μmol/L | 15.2138 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 138653.3046 | 269020.4139 | 33.25 | 75.7
115788 | 2021-04-30 13:35 | 21.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.4046 | μmol/L | 15.2199 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.851 | 138655.728 | 269012.6415 | 33.25 | 75.7
115798 | 2021-04-30 13:35 | 21.6724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.4436 | μmol/L | 15.2322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.845 | 138640.8921 | 269022.3274 | 33.25 | 75.7
115808 | 2021-04-30 13:35 | 22.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3963 | μmol/L | 15.2322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 138631.7352 | 269021.0509 | 33.25 | 75.7
115818 | 2021-04-30 13:36 | 22.3393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.491 | μmol/L | 15.2322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.843 | 138630.2546 | 269021.5015 | 33.25 | 75.7
115828 | 2021-04-30 13:36 | 22.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3684 | μmol/L | 15.2383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.846 | 138621.0093 | 269009.7569 | 33.25 | 75.7
115838 | 2021-04-30 13:36 | 23.0059 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2335 | μmol/L | 15.2628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.843 | 138616.0797 | 269009.7384 | 33.25 | 75.7
115848 | 2021-04-30 13:37 | 23.3391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2613 | μmol/L | 15.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.844 | 138607.5459 | 269005.3878 | 33.25 | 75.7
115858 | 2021-04-30 13:37 | 23.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3004 | μmol/L | 15.2689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.838 | 138599.3833 | 269012.9504 | 33.25 | 75.7
115868 | 2021-04-30 13:37 | 24.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2768 | μmol/L | 15.2689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.839 | 138601.6004 | 269015.9014 | 33.25 | 75.7
115878 | 2021-04-30 13:38 | 24.3391 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.2016 | μmol/L | 15.2751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.84 | 138594.5094 | 268993.4369 | 33.25 | 75.7
115888 | 2021-04-30 13:38 | 24.6723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0988 | μmol/L | 15.2873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.84 | 138581.6617 | 268999.4728 | 33.25 | 75.7
115898 | 2021-04-30 13:38 | 25.0057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0947 | μmol/L | 15.2934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.838 | 138570.0853 | 268996.2534 | 33.25 | 75.7
115908 | 2021-04-30 13:39 | 25.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.213 | μmol/L | 15.2934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.833 | 138567.0778 | 269000.9315 | 33.25 | 75.7
115918 | 2021-04-30 13:39 | 25.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.1569 | μmol/L | 15.2996 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.833 | 138551.5356 | 268991.4453 | 33.25 | 75.7
115928 | 2021-04-30 13:39 | 26.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.1102 | μmol/L | 15.3057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.833 | 138563.4898 | 268995.1849 | 33.25 | 75.7
115938 | 2021-04-30 13:40 | 26.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0588 | μmol/L | 15.3118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.833 | 138545.3777 | 268989.5114 | 33.25 | 75.7
115948 | 2021-04-30 13:40 | 26.6724 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.0311 | μmol/L | 15.3179 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.832 | 138541.0201 | 268981.3933 | 33.25 | 75.7
115958 | 2021-04-30 13:40 | 27.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.952 | μmol/L | 15.3302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.831 | 138535.3337 | 268980.9212 | 33.25 | 75.7
115968 | 2021-04-30 13:41 | 27.3392 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.9952 | μmol/L | 15.3363 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.827 | 138523.6796 | 268978.9324 | 33.25 | 75.7
115978 | 2021-04-30 13:41 | 27.6723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.9716 | μmol/L | 15.3363 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.828 | 138521.0464 | 268995.4926 | 33.25 | 75.7
115988 | 2021-04-30 13:41 | 28.0057 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.9439 | μmol/L | 15.3424 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.827 | 138512.6695 | 268988.1256 | 33.25 | 75.7
115998 | 2021-04-30 13:42 | 28.339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8412 | μmol/L | 15.3547 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.827 | 138503.9961 | 268974.0699 | 33.25 | 75.7
116008 | 2021-04-30 13:42 | 28.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.9162 | μmol/L | 15.3486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.826 | 138504.2627 | 268980.1313 | 33.25 | 75.7
116018 | 2021-04-30 13:42 | 29.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.7859 | μmol/L | 15.367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.825 | 138496.8664 | 268973.2415 | 33.25 | 75.7
116028 | 2021-04-30 13:43 | 29.339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8845 | μmol/L | 15.3608 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.823 | 138494.973 | 268972.102 | 33.25 | 75.7
116038 | 2021-04-30 13:43 | 29.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8055 | μmol/L | 15.3731 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.822 | 138471.5011 | 268964.6957 | 33.25 | 75.7
116048 | 2021-04-30 13:43 | 30.0058 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.7502 | μmol/L | 15.3853 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 138466.5986 | 268964.0724 | 33.25 | 75.7
116058 | 2021-04-30 13:44 | 30.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8724 | μmol/L | 15.3792 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.817 | 138466.6559 | 268965.8893 | 33.25 | 75.7
116068 | 2021-04-30 13:44 | 30.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.7226 | μmol/L | 15.3915 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.819 | 138451.7726 | 268951.4255 | 33.25 | 75.7
116078 | 2021-04-30 13:44 | 31.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.8171 | μmol/L | 15.3915 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.815 | 138451.9288 | 268952.416 | 33.25 | 75.7
116088 | 2021-04-30 13:45 | 31.3393 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.6673 | μmol/L | 15.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.817 | 138444.8813 | 268949.1255 | 33.25 | 75.7
116098 | 2021-04-30 13:45 | 31.6723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.5964 | μmol/L | 15.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 138436.9351 | 268952.3847 | 33.25 | 75.7
116108 | 2021-04-30 13:45 | 32.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.631 | μmol/L | 15.416 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.814 | 138433.1281 | 268948.9612 | 33.25 | 75.7
116118 | 2021-04-30 13:46 | 32.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.7066 | μmol/L | 15.416 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.811 | 138417.3005 | 268950.9781 | 33.25 | 75.7
116128 | 2021-04-30 13:46 | 32.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.7019 | μmol/L | 15.416 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.811 | 138417.7348 | 268949.5663 | 33.25 | 75.7
116138 | 2021-04-30 13:46 | 33.0058 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.5286 | μmol/L | 15.4282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.814 | 138414.1213 | 268945.3526 | 33.25 | 75.7
116148 | 2021-04-30 13:47 | 33.3389 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.6041 | μmol/L | 15.4282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.811 | 138400.1628 | 268946.3488 | 33.25 | 75.7
116158 | 2021-04-30 13:47 | 33.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.6278 | μmol/L | 15.4282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.81 | 138393.7904 | 268929.2719 | 33.25 | 75.7
116168 | 2021-04-30 13:47 | 34.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.5765 | μmol/L | 15.4343 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.81 | 138386.7408 | 268934.1747 | 33.25 | 75.7
116178 | 2021-04-30 13:48 | 34.339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.5639 | μmol/L | 15.4466 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.806 | 138388.7688 | 268924.9627 | 33.25 | 75.7
116188 | 2021-04-30 13:48 | 34.6723 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.4623 | μmol/L | 15.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.804 | 138371.2383 | 268924.5682 | 33.25 | 75.7
116198 | 2021-04-30 13:48 | 35.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.4977 | μmol/L | 15.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138379.0686 | 268911.884 | 33.25 | 75.7