## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115150 | 2021-04-30 13:13 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.4158 | μmol/L | 14.7531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.804 | 103670.1089 | 211510.8351 | 27.3 | 43.4
115160 | 2021-04-30 13:14 | 0.34122 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.8153 | μmol/L | 14.7592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.786 | 103575.9464 | 211511.1321 | 27.3 | 43.4
115170 | 2021-04-30 13:14 | 0.67428 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.0122 | μmol/L | 14.7653 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.776 | 103493.5237 | 211512.454 | 27.3 | 43.4
115180 | 2021-04-30 13:14 | 1.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.1778 | μmol/L | 14.7775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.765 | 103413.8162 | 211509.04 | 27.3 | 43.4
115190 | 2021-04-30 13:15 | 1.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.5532 | μmol/L | 14.7836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.748 | 103340.4595 | 211507.1086 | 27.3 | 43.4
115200 | 2021-04-30 13:15 | 1.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 295.7254 | μmol/L | 14.7897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.739 | 103248.5248 | 211491.23 | 27.3 | 43.4
115210 | 2021-04-30 13:15 | 2.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.2355 | μmol/L | 14.7897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.719 | 103141.7485 | 211503.8608 | 27.3 | 43.4
115220 | 2021-04-30 13:16 | 2.3411 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.5871 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.703 | 103054.0606 | 211493.554 | 27.3 | 43.4
115230 | 2021-04-30 13:16 | 2.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.0478 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.685 | 102974.2088 | 211491.2953 | 27.3 | 43.4
115240 | 2021-04-30 13:16 | 3.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.3042 | μmol/L | 14.7958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.675 | 102894.8179 | 211498.1809 | 27.3 | 43.4
115250 | 2021-04-30 13:17 | 3.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.2862 | μmol/L | 14.8141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.669 | 102845.1628 | 211509.65 | 27.3 | 43.4
115260 | 2021-04-30 13:17 | 3.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.5369 | μmol/L | 14.8202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.657 | 102798.1466 | 211501.0791 | 27.3 | 43.4
115270 | 2021-04-30 13:17 | 4.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7622 | μmol/L | 14.8263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.646 | 102762.485 | 211497.6942 | 27.3 | 43.4
115280 | 2021-04-30 13:18 | 4.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7562 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.644 | 102722.7795 | 211495.1084 | 27.3 | 43.4
115290 | 2021-04-30 13:18 | 4.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.0966 | μmol/L | 14.8263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.633 | 102675.2907 | 211494.5055 | 27.3 | 43.4
115300 | 2021-04-30 13:18 | 5.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.2194 | μmol/L | 14.8324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.626 | 102653.7502 | 211486.2545 | 27.3 | 43.4
115310 | 2021-04-30 13:19 | 5.3411 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.2907 | μmol/L | 14.8385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.621 | 102635.0192 | 211491.2951 | 27.3 | 43.4
115320 | 2021-04-30 13:19 | 5.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1957 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.618 | 102595.8806 | 211497.3528 | 27.3 | 43.4
115330 | 2021-04-30 13:19 | 6.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.2988 | μmol/L | 14.8568 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.614 | 102560.2948 | 211492.472 | 27.3 | 43.4
115340 | 2021-04-30 13:20 | 6.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4593 | μmol/L | 14.8507 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.61 | 102536.8394 | 211502.0017 | 27.3 | 43.4
115350 | 2021-04-30 13:20 | 6.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4475 | μmol/L | 14.8629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.606 | 102515.326 | 211498.9728 | 27.3 | 43.4
115360 | 2021-04-30 13:20 | 7.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.5648 | μmol/L | 14.8751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.597 | 102484.4812 | 211494.9053 | 27.3 | 43.4
115370 | 2021-04-30 13:21 | 7.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.6481 | μmol/L | 14.869 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.596 | 102452.6593 | 211493.1981 | 27.3 | 43.4
115380 | 2021-04-30 13:21 | 7.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.6363 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.592 | 102435.8535 | 211491.8544 | 27.3 | 43.4
115390 | 2021-04-30 13:21 | 8.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.7337 | μmol/L | 14.8873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.586 | 102421.9614 | 211490.3799 | 27.3 | 43.4
115400 | 2021-04-30 13:22 | 8.3407 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.7479 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.581 | 102405.2537 | 211494.687 | 27.3 | 43.4
115410 | 2021-04-30 13:22 | 8.6746 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.8571 | μmol/L | 14.8934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.579 | 102387.8971 | 211485.7821 | 27.3 | 43.4
115420 | 2021-04-30 13:22 | 9.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9746 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.57 | 102346.5059 | 211475.4678 | 27.3 | 43.4
115430 | 2021-04-30 13:23 | 9.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1557 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.563 | 102299.8499 | 211479.5576 | 27.3 | 43.4
115440 | 2021-04-30 13:23 | 9.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3628 | μmol/L | 14.9057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 102268.0833 | 211483.0731 | 27.3 | 43.4
115450 | 2021-04-30 13:23 | 10.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2793 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.556 | 102260.0956 | 211490.5905 | 27.3 | 43.4
115460 | 2021-04-30 13:24 | 10.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3311 | μmol/L | 14.9118 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.554 | 102240.5571 | 211482.6733 | 27.3 | 43.4
115470 | 2021-04-30 13:24 | 10.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1901 | μmol/L | 14.924 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 102227.0805 | 211478.2723 | 27.3 | 43.4
115480 | 2021-04-30 13:24 | 11.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3137 | μmol/L | 14.9301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.548 | 102208.9527 | 211488.3609 | 27.3 | 43.4
115490 | 2021-04-30 13:25 | 11.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3857 | μmol/L | 14.9362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.543 | 102186.3539 | 211482.9061 | 27.3 | 43.4
115500 | 2021-04-30 13:25 | 11.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2763 | μmol/L | 14.9423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.545 | 102180.511 | 211488.8912 | 27.3 | 43.4
115510 | 2021-04-30 13:25 | 12.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3799 | μmol/L | 14.9423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.541 | 102169.5492 | 211490.1331 | 27.3 | 43.4
115520 | 2021-04-30 13:26 | 12.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2964 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.542 | 102150.8038 | 211469.7518 | 27.3 | 43.4
115530 | 2021-04-30 13:26 | 12.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3108 | μmol/L | 14.9606 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.537 | 102146.8705 | 211470.7901 | 27.3 | 43.4
115540 | 2021-04-30 13:26 | 13.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0979 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.543 | 102139.2893 | 211464.0069 | 27.3 | 43.4
115550 | 2021-04-30 13:27 | 13.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.4606 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.529 | 102130.5739 | 211468.749 | 27.3 | 43.4
115560 | 2021-04-30 13:27 | 13.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3512 | μmol/L | 14.9728 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.531 | 102129.882 | 211476.7751 | 27.3 | 43.4
115570 | 2021-04-30 13:27 | 14.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2187 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.545 | 102179.1256 | 211473.4998 | 27.3 | 43.4
115580 | 2021-04-30 13:28 | 14.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9305 | μmol/L | 14.8812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.542 | 102171.2004 | 211458.7479 | 27.3 | 43.4
115590 | 2021-04-30 13:28 | 14.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1181 | μmol/L | 14.9728 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.54 | 102151.9201 | 211474.5095 | 27.3 | 43.4
115600 | 2021-04-30 13:28 | 15.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.7733 | μmol/L | 15.0094 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.54 | 102139.0582 | 211461.537 | 27.3 | 43.4
115610 | 2021-04-30 13:29 | 15.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9342 | μmol/L | 15.0033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.536 | 102122.655 | 211464.5953 | 27.3 | 43.4
115620 | 2021-04-30 13:29 | 15.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1211 | μmol/L | 14.9972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.531 | 102103.2335 | 211463.7089 | 27.3 | 43.4
115630 | 2021-04-30 13:29 | 16.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1154 | μmol/L | 15.0033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.529 | 102094.6369 | 211462.7131 | 27.3 | 43.4
115640 | 2021-04-30 13:30 | 16.3411 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0579 | μmol/L | 15.0094 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.529 | 102087.0548 | 211468.655 | 27.3 | 43.4
115650 | 2021-04-30 13:30 | 16.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0781 | μmol/L | 15.0155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.526 | 102078.6449 | 211461.6091 | 27.3 | 43.4
115660 | 2021-04-30 13:30 | 17.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0207 | μmol/L | 15.0216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.526 | 102067.7985 | 211458.4138 | 27.3 | 43.4
115670 | 2021-04-30 13:31 | 17.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0927 | μmol/L | 15.0277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.521 | 102052.947 | 211439.7241 | 27.3 | 43.4
115680 | 2021-04-30 13:31 | 17.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.615 | μmol/L | 14.8996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.509 | 102007.2975 | 211451.5204 | 27.3 | 43.4
115690 | 2021-04-30 13:31 | 18.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.9017 | μmol/L | 14.9667 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.512 | 101983.2572 | 211442.2376 | 27.3 | 43.4
115700 | 2021-04-30 13:32 | 18.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9181 | μmol/L | 15.0765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.51 | 101982.515 | 211440.0443 | 27.3 | 43.4
115710 | 2021-04-30 13:32 | 18.6739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1218 | μmol/L | 15.0521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.511 | 101988.4369 | 211441.9763 | 27.3 | 43.4
115720 | 2021-04-30 13:32 | 19.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1737 | μmol/L | 15.0521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.509 | 101972.1112 | 211445.804 | 27.3 | 43.4
115730 | 2021-04-30 13:33 | 19.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2255 | μmol/L | 15.0521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.507 | 101954.9887 | 211440.2337 | 27.3 | 43.4
115740 | 2021-04-30 13:33 | 19.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2717 | μmol/L | 15.0582 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.503 | 101955.3569 | 211443.08 | 27.3 | 43.4
115750 | 2021-04-30 13:33 | 20.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2142 | μmol/L | 15.0643 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.503 | 101953.3702 | 211458.0068 | 27.3 | 43.4
115760 | 2021-04-30 13:34 | 20.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.1365 | μmol/L | 15.0643 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.506 | 101948.4528 | 211437.0369 | 27.3 | 43.4
115770 | 2021-04-30 13:34 | 20.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2086 | μmol/L | 15.0704 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.501 | 101951.8965 | 211433.042 | 27.3 | 43.4
115780 | 2021-04-30 13:34 | 21.0073 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.203 | μmol/L | 15.0765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.499 | 101952.4959 | 211435.4538 | 27.3 | 43.4
115790 | 2021-04-30 13:35 | 21.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.0678 | μmol/L | 15.0826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.502 | 101939.6576 | 211434.2698 | 27.3 | 43.4
115800 | 2021-04-30 13:35 | 21.6746 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9069 | μmol/L | 15.0887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.506 | 101940.271 | 211430.7759 | 27.3 | 43.4
115810 | 2021-04-30 13:35 | 22.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.9013 | μmol/L | 15.0948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.504 | 101928.8713 | 211438.6429 | 27.3 | 43.4
115820 | 2021-04-30 13:36 | 22.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.8957 | μmol/L | 15.1009 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.502 | 101930.2 | 211433.3475 | 27.3 | 43.4
115830 | 2021-04-30 13:36 | 22.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.7636 | μmol/L | 15.0033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.504 | 101942.4199 | 211431.1027 | 27.3 | 43.4
115840 | 2021-04-30 13:36 | 23.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.398 | μmol/L | 15.0338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.507 | 101933.2196 | 211440.6845 | 27.3 | 43.4
115850 | 2021-04-30 13:37 | 23.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4742 | μmol/L | 15.1376 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.505 | 101938.7797 | 211430.2755 | 27.3 | 43.4
115860 | 2021-04-30 13:37 | 23.6746 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.6719 | μmol/L | 15.1192 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.504 | 101946.5289 | 211429.5626 | 27.3 | 43.4
115870 | 2021-04-30 13:37 | 24.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.502 | μmol/L | 15.107 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.515 | 101974.9751 | 211417.826 | 27.3 | 43.4
115880 | 2021-04-30 13:38 | 24.3411 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.3875 | μmol/L | 15.1192 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.515 | 102009.0354 | 211418.973 | 27.3 | 43.4
115890 | 2021-04-30 13:38 | 24.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.0351 | μmol/L | 15.1376 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.522 | 102016.981 | 211408.5788 | 27.3 | 43.4
115900 | 2021-04-30 13:38 | 25.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1697 | μmol/L | 15.1315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 102037.9568 | 211423.4473 | 27.3 | 43.4
115910 | 2021-04-30 13:39 | 25.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.9319 | μmol/L | 15.1376 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.526 | 102046.944 | 211430.617 | 27.3 | 43.4
115920 | 2021-04-30 13:39 | 25.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.9263 | μmol/L | 15.1437 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.524 | 102032.0815 | 211426.5202 | 27.3 | 43.4
115930 | 2021-04-30 13:39 | 26.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.9263 | μmol/L | 15.1437 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.524 | 102036.955 | 211421.6677 | 27.3 | 43.4
115940 | 2021-04-30 13:40 | 26.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.941 | μmol/L | 15.1559 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 102034.6669 | 211420.7673 | 27.3 | 43.4
115950 | 2021-04-30 13:40 | 26.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.8121 | μmol/L | 15.1559 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.524 | 102025.1127 | 211416.6561 | 27.3 | 43.4
115960 | 2021-04-30 13:40 | 27.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.8268 | μmol/L | 15.1681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 102032.2774 | 211417.2667 | 27.3 | 43.4
115970 | 2021-04-30 13:41 | 27.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7384 | μmol/L | 15.1803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.518 | 102025.0387 | 211416.9752 | 27.3 | 43.4
115980 | 2021-04-30 13:41 | 27.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.8268 | μmol/L | 15.1681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 102020.6319 | 211406.9588 | 27.3 | 43.4
115990 | 2021-04-30 13:41 | 28.0075 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.604 | μmol/L | 15.1864 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.521 | 102018.0243 | 211405.6016 | 27.3 | 43.4
116000 | 2021-04-30 13:42 | 28.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.6868 | μmol/L | 15.1803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.52 | 102019.1797 | 211417.1141 | 27.3 | 43.4
116010 | 2021-04-30 13:42 | 28.674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7384 | μmol/L | 15.1803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.518 | 102015.1297 | 211414.3461 | 27.3 | 43.4
116020 | 2021-04-30 13:42 | 29.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.2361 | μmol/L | 15.1437 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.512 | 101992.9149 | 211415.5304 | 27.3 | 43.4
116030 | 2021-04-30 13:43 | 29.3406 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.6868 | μmol/L | 15.1803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.52 | 101999.5202 | 211421.1818 | 27.3 | 43.4
116040 | 2021-04-30 13:43 | 29.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.3189 | μmol/L | 15.2169 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.521 | 102019.2874 | 211423.7239 | 27.3 | 43.4
116050 | 2021-04-30 13:43 | 30.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.3501 | μmol/L | 15.2108 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.522 | 102014.3866 | 211401.3375 | 27.3 | 43.4
116060 | 2021-04-30 13:44 | 30.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.4219 | μmol/L | 15.2169 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.517 | 102011.8009 | 211404.3816 | 27.3 | 43.4
116070 | 2021-04-30 13:44 | 30.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.2931 | μmol/L | 15.2169 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.522 | 102010.0995 | 211404.1855 | 27.3 | 43.4
116080 | 2021-04-30 13:44 | 31.0071 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.2104 | μmol/L | 15.223 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.523 | 102018.2015 | 211405.928 | 27.3 | 43.4
116090 | 2021-04-30 13:45 | 31.3404 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.363 | μmol/L | 15.1681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.537 | 102077.6896 | 211403.8292 | 27.3 | 43.4
116100 | 2021-04-30 13:45 | 31.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.8597 | μmol/L | 15.2413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.53 | 102080.7065 | 211408.5286 | 27.3 | 43.4
116110 | 2021-04-30 13:45 | 32.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.968 | μmol/L | 15.2352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.528 | 102073.344 | 211398.6642 | 27.3 | 43.4
116120 | 2021-04-30 13:46 | 32.3405 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.979 | μmol/L | 15.223 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.532 | 102049.6466 | 211391.9178 | 27.3 | 43.4
116130 | 2021-04-30 13:46 | 32.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.0194 | μmol/L | 15.2352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.526 | 102034.6334 | 211396.5162 | 27.3 | 43.4
116140 | 2021-04-30 13:46 | 33.0072 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.6487 | μmol/L | 15.2474 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.536 | 102071.5251 | 211393.4277 | 27.3 | 43.4
116150 | 2021-04-30 13:47 | 33.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.4099 | μmol/L | 15.0948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.523 | 102050.7367 | 211390.0068 | 27.3 | 43.4
116160 | 2021-04-30 13:47 | 33.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.5957 | μmol/L | 15.2779 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.527 | 102044.7706 | 211389.7312 | 27.3 | 43.4
116170 | 2021-04-30 13:47 | 34.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.7919 | μmol/L | 15.2596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.526 | 102021.2258 | 211394.162 | 27.3 | 43.4
116180 | 2021-04-30 13:48 | 34.3407 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.0287 | μmol/L | 15.2535 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.519 | 102006.0949 | 211397.6916 | 27.3 | 43.4
116190 | 2021-04-30 13:48 | 34.6738 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.9975 | μmol/L | 15.2596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.518 | 101993.4346 | 211392.3537 | 27.3 | 43.4
116200 | 2021-04-30 13:48 | 35.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 296.8838 | μmol/L | 15.2718 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.518 | 101985.747 | 211395.9272 | 27.3 | 43.4