## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115151 | 2021-04-30 13:13 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.1352 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.581 | 91103.5559 | 288999.4217 | 28.7 | 67.6
115161 | 2021-04-30 13:14 | 0.32993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 261.81 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.551 | 90939.264 | 288992.4062 | 28.7 | 67.6
115171 | 2021-04-30 13:14 | 0.66321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.175 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.537 | 90823.6478 | 288990.2913 | 28.7 | 67.6
115181 | 2021-04-30 13:14 | 0.99655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.5406 | μmol/L | 14.737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 90741.0281 | 288996.954 | 28.7 | 67.6
115191 | 2021-04-30 13:15 | 1.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 262.8305 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.508 | 90675.5484 | 289000.9821 | 28.7 | 67.6
115201 | 2021-04-30 13:15 | 1.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.0796 | μmol/L | 14.7431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.497 | 90626.2342 | 288983.0686 | 28.7 | 67.6
115211 | 2021-04-30 13:15 | 1.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.0981 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.494 | 90575.5184 | 288982.226 | 28.7 | 67.6
115221 | 2021-04-30 13:16 | 2.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.2795 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.486 | 90536.1613 | 288978.4323 | 28.7 | 67.6
115231 | 2021-04-30 13:16 | 2.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.4384 | μmol/L | 14.7492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.479 | 90507.1001 | 288984.1513 | 28.7 | 67.6
115241 | 2021-04-30 13:16 | 2.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5478 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.472 | 90480.1327 | 288988.9949 | 28.7 | 67.6
115251 | 2021-04-30 13:17 | 3.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5932 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.47 | 90447.2304 | 288975.5863 | 28.7 | 67.6
115261 | 2021-04-30 13:17 | 3.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7027 | μmol/L | 14.7613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.463 | 90411.909 | 288969.8463 | 28.7 | 67.6
115271 | 2021-04-30 13:17 | 3.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.866 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.458 | 90396.0964 | 288976.1065 | 28.7 | 67.6
115281 | 2021-04-30 13:18 | 4.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9343 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.455 | 90374.3133 | 288975.8804 | 28.7 | 67.6
115291 | 2021-04-30 13:18 | 4.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0025 | μmol/L | 14.7553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 90355.3432 | 288968.549 | 28.7 | 67.6
115301 | 2021-04-30 13:18 | 4.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9529 | μmol/L | 14.7613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 90340.1007 | 288967.7886 | 28.7 | 67.6
115311 | 2021-04-30 13:19 | 5.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9715 | μmol/L | 14.7674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 90328.9735 | 288981.6493 | 28.7 | 67.6
115321 | 2021-04-30 13:19 | 5.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0212 | μmol/L | 14.7613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 90323.9186 | 288970.0553 | 28.7 | 67.6
115331 | 2021-04-30 13:19 | 5.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0853 | μmol/L | 14.7674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 90305.9594 | 288976.3489 | 28.7 | 67.6
115341 | 2021-04-30 13:20 | 6.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1537 | μmol/L | 14.7674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.441 | 90297.7782 | 288966.1986 | 28.7 | 67.6
115351 | 2021-04-30 13:20 | 6.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2179 | μmol/L | 14.7735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.436 | 90289.2288 | 288970.9512 | 28.7 | 67.6
115361 | 2021-04-30 13:20 | 6.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0812 | μmol/L | 14.7735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.442 | 90274.1753 | 288964.021 | 28.7 | 67.6
115371 | 2021-04-30 13:21 | 7.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0999 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.439 | 90258.8719 | 288974.0525 | 28.7 | 67.6
115381 | 2021-04-30 13:21 | 7.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1869 | μmol/L | 14.7856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 90252.2027 | 288961.3151 | 28.7 | 67.6
115391 | 2021-04-30 13:21 | 7.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3049 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 90240.592 | 288961.1123 | 28.7 | 67.6
115401 | 2021-04-30 13:22 | 8.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2821 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.431 | 90227.676 | 288955.0483 | 28.7 | 67.6
115411 | 2021-04-30 13:22 | 8.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3277 | μmol/L | 14.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.429 | 90206.3436 | 288946.3541 | 28.7 | 67.6
115421 | 2021-04-30 13:22 | 8.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2739 | μmol/L | 14.7917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.427 | 90187.1001 | 288947.8537 | 28.7 | 67.6
115431 | 2021-04-30 13:23 | 9.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5061 | μmol/L | 14.7856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.419 | 90182.9829 | 288948.6409 | 28.7 | 67.6
115441 | 2021-04-30 13:23 | 9.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5518 | μmol/L | 14.7856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 90168.7949 | 288947.6676 | 28.7 | 67.6
115451 | 2021-04-30 13:23 | 9.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5289 | μmol/L | 14.7856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 90159.0958 | 288950.1807 | 28.7 | 67.6
115461 | 2021-04-30 13:24 | 10.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5518 | μmol/L | 14.7856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 90149.9979 | 288945.8086 | 28.7 | 67.6
115471 | 2021-04-30 13:24 | 10.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4938 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90137.3557 | 288933.1838 | 28.7 | 67.6
115481 | 2021-04-30 13:24 | 10.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.5395 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90144.896 | 288940.8026 | 28.7 | 67.6
115491 | 2021-04-30 13:25 | 11.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.6121 | μmol/L | 14.7978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.41 | 90133.8077 | 288936.2481 | 28.7 | 67.6
115501 | 2021-04-30 13:25 | 11.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4067 | μmol/L | 14.7978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.419 | 90134.7492 | 288938.2835 | 28.7 | 67.6
115511 | 2021-04-30 13:25 | 11.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.471 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 90128.0401 | 288940.1535 | 28.7 | 67.6
115521 | 2021-04-30 13:26 | 12.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4441 | μmol/L | 14.8099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90125.374 | 288938.797 | 28.7 | 67.6
115531 | 2021-04-30 13:26 | 12.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4669 | μmol/L | 14.8099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90123.2155 | 288931.6175 | 28.7 | 67.6
115541 | 2021-04-30 13:26 | 12.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4938 | μmol/L | 14.8039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90124.9614 | 288925.3471 | 28.7 | 67.6
115551 | 2021-04-30 13:27 | 13.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4898 | μmol/L | 14.8099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90118.4617 | 288918.7237 | 28.7 | 67.6
115561 | 2021-04-30 13:27 | 13.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3944 | μmol/L | 14.816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90120.2846 | 288935.4939 | 28.7 | 67.6
115571 | 2021-04-30 13:27 | 13.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.4401 | μmol/L | 14.816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90123.9398 | 288935.9593 | 28.7 | 67.6
115581 | 2021-04-30 13:28 | 14.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3447 | μmol/L | 14.8221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90125.9807 | 288935.8136 | 28.7 | 67.6
115591 | 2021-04-30 13:28 | 14.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2494 | μmol/L | 14.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90119.298 | 288917.443 | 28.7 | 67.6
115601 | 2021-04-30 13:28 | 14.9968 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3407 | μmol/L | 14.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90116.7007 | 288919.0448 | 28.7 | 67.6
115611 | 2021-04-30 13:29 | 15.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3447 | μmol/L | 14.8221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90115.1971 | 288909.1286 | 28.7 | 67.6
115621 | 2021-04-30 13:29 | 15.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1811 | μmol/L | 14.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 90119.6858 | 288921.9889 | 28.7 | 67.6
115631 | 2021-04-30 13:29 | 15.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3635 | μmol/L | 14.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.41 | 90117.572 | 288898.9548 | 28.7 | 67.6
115641 | 2021-04-30 13:30 | 16.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.295 | μmol/L | 14.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90115.6137 | 288903.9161 | 28.7 | 67.6
115651 | 2021-04-30 13:30 | 16.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.177 | μmol/L | 14.8342 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.416 | 90105.9284 | 288915.7577 | 28.7 | 67.6
115661 | 2021-04-30 13:30 | 16.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1957 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90109.2498 | 288899.0853 | 28.7 | 67.6
115671 | 2021-04-30 13:31 | 17.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1957 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90106.8428 | 288909.9168 | 28.7 | 67.6
115681 | 2021-04-30 13:31 | 17.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1957 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90095.5572 | 288903.5972 | 28.7 | 67.6
115691 | 2021-04-30 13:31 | 17.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2413 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90093.4551 | 288900.7945 | 28.7 | 67.6
115701 | 2021-04-30 13:32 | 18.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1501 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90098.0761 | 288895.0138 | 28.7 | 67.6
115711 | 2021-04-30 13:32 | 18.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0549 | μmol/L | 14.8464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 90097.1401 | 288898.6663 | 28.7 | 67.6
115721 | 2021-04-30 13:32 | 18.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2373 | μmol/L | 14.8464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90094.1622 | 288887.5754 | 28.7 | 67.6
115731 | 2021-04-30 13:33 | 19.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1274 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.416 | 90091.5367 | 288882.668 | 28.7 | 67.6
115741 | 2021-04-30 13:33 | 19.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.2185 | μmol/L | 14.8403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90089.9542 | 288874.2661 | 28.7 | 67.6
115751 | 2021-04-30 13:33 | 19.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0965 | μmol/L | 14.8525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90090.564 | 288874.5358 | 28.7 | 67.6
115761 | 2021-04-30 13:34 | 20.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0737 | μmol/L | 14.8525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 90093.994 | 288883.7868 | 28.7 | 67.6
115771 | 2021-04-30 13:34 | 20.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.1193 | μmol/L | 14.8525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90087.0674 | 288872.3531 | 28.7 | 67.6
115781 | 2021-04-30 13:34 | 20.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9745 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 90089.7212 | 288872.3539 | 28.7 | 67.6
115791 | 2021-04-30 13:35 | 21.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.138 | μmol/L | 14.8585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90085.4993 | 288866.0569 | 28.7 | 67.6
115801 | 2021-04-30 13:35 | 21.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0884 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90082.6899 | 288864.3007 | 28.7 | 67.6
115811 | 2021-04-30 13:35 | 21.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.02 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90079.0534 | 288863.2812 | 28.7 | 67.6
115821 | 2021-04-30 13:36 | 22.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.0656 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.41 | 90080.0354 | 288860.7085 | 28.7 | 67.6
115831 | 2021-04-30 13:36 | 22.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8834 | μmol/L | 14.8646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 90084.4555 | 288858.4447 | 28.7 | 67.6
115841 | 2021-04-30 13:36 | 22.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7883 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.42 | 90079.2407 | 288846.6796 | 28.7 | 67.6
115851 | 2021-04-30 13:37 | 23.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9021 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90078.3107 | 288855.3543 | 28.7 | 67.6
115861 | 2021-04-30 13:37 | 23.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.9477 | μmol/L | 14.8707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90069.9771 | 288849.2599 | 28.7 | 67.6
115871 | 2021-04-30 13:37 | 23.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.807 | μmol/L | 14.8768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 90077.6616 | 288858.6109 | 28.7 | 67.6
115881 | 2021-04-30 13:38 | 24.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.803 | μmol/L | 14.8828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90065.6731 | 288840.4124 | 28.7 | 67.6
115891 | 2021-04-30 13:38 | 24.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7843 | μmol/L | 14.8768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 90066.0499 | 288844.5314 | 28.7 | 67.6
115901 | 2021-04-30 13:38 | 24.9966 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.807 | μmol/L | 14.8768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 90070.3263 | 288851.0992 | 28.7 | 67.6
115911 | 2021-04-30 13:39 | 25.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8217 | μmol/L | 14.8889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90066.8455 | 288852.7124 | 28.7 | 67.6
115921 | 2021-04-30 13:39 | 25.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7762 | μmol/L | 14.8889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 90068.3091 | 288862.8179 | 28.7 | 67.6
115931 | 2021-04-30 13:39 | 25.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.803 | μmol/L | 14.8828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90064.6795 | 288852.1104 | 28.7 | 67.6
115941 | 2021-04-30 13:40 | 26.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.803 | μmol/L | 14.8828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90057.2896 | 288841.143 | 28.7 | 67.6
115951 | 2021-04-30 13:40 | 26.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7039 | μmol/L | 14.895 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90064.7646 | 288847.8404 | 28.7 | 67.6
115961 | 2021-04-30 13:40 | 26.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7494 | μmol/L | 14.895 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 90052.8481 | 288837.9595 | 28.7 | 67.6
115971 | 2021-04-30 13:41 | 27.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6544 | μmol/L | 14.9011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 90051.3597 | 288840.8465 | 28.7 | 67.6
115981 | 2021-04-30 13:41 | 27.6632 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6812 | μmol/L | 14.895 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.416 | 90047.9591 | 288836.8136 | 28.7 | 67.6
115991 | 2021-04-30 13:41 | 27.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.795 | μmol/L | 14.895 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90051.2946 | 288827.7639 | 28.7 | 67.6
116001 | 2021-04-30 13:42 | 28.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6732 | μmol/L | 14.9072 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90039.127 | 288837.1561 | 28.7 | 67.6
116011 | 2021-04-30 13:42 | 28.6635 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7374 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 90036.207 | 288817.5189 | 28.7 | 67.6
116021 | 2021-04-30 13:42 | 28.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7147 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.408 | 90028.3583 | 288819.1213 | 28.7 | 67.6
116031 | 2021-04-30 13:43 | 29.3299 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6919 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90034.1405 | 288818.727 | 28.7 | 67.6
116041 | 2021-04-30 13:43 | 29.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6237 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 90026.9562 | 288814.7858 | 28.7 | 67.6
116051 | 2021-04-30 13:43 | 29.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7414 | μmol/L | 14.9072 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90022.6192 | 288820.1835 | 28.7 | 67.6
116061 | 2021-04-30 13:44 | 30.33 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.8285 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.403 | 90019.5447 | 288798.8224 | 28.7 | 67.6
116071 | 2021-04-30 13:44 | 30.6633 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6919 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 90016.6391 | 288809.8519 | 28.7 | 67.6
116081 | 2021-04-30 13:44 | 30.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7374 | μmol/L | 14.9132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 90016.8362 | 288809.4926 | 28.7 | 67.6
116091 | 2021-04-30 13:45 | 31.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5969 | μmol/L | 14.9193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 90022.7083 | 288814.1793 | 28.7 | 67.6
116101 | 2021-04-30 13:45 | 31.663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6117 | μmol/L | 14.9315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.406 | 90016.6354 | 288803.6755 | 28.7 | 67.6
116111 | 2021-04-30 13:45 | 31.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5662 | μmol/L | 14.9315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.408 | 90005.7807 | 288807.9435 | 28.7 | 67.6
116121 | 2021-04-30 13:46 | 32.3302 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6839 | μmol/L | 14.9254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.405 | 90006.132 | 288796.7468 | 28.7 | 67.6
116131 | 2021-04-30 13:46 | 32.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.7295 | μmol/L | 14.9254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.403 | 90009.508 | 288802.0712 | 28.7 | 67.6
116141 | 2021-04-30 13:46 | 32.9967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5622 | μmol/L | 14.9375 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.406 | 90004.3563 | 288794.4233 | 28.7 | 67.6
116151 | 2021-04-30 13:47 | 33.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.49 | μmol/L | 14.9436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 90004.7477 | 288791.1808 | 28.7 | 67.6
116161 | 2021-04-30 13:47 | 33.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5435 | μmol/L | 14.9315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 89999.6359 | 288786.5473 | 28.7 | 67.6
116171 | 2021-04-30 13:47 | 33.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.585 | μmol/L | 14.9375 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.405 | 89995.1444 | 288775.8937 | 28.7 | 67.6
116181 | 2021-04-30 13:48 | 34.3301 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.5583 | μmol/L | 14.9436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.404 | 89996.5014 | 288771.9006 | 28.7 | 67.6
116191 | 2021-04-30 13:48 | 34.6634 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.6265 | μmol/L | 14.9436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.401 | 89992.2578 | 288775.7395 | 28.7 | 67.6
116201 | 2021-04-30 13:48 | 34.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 263.4861 | μmol/L | 14.9497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.405 | 89984.4657 | 288766.3477 | 28.7 | 67.6