## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115153 | 2021-04-30 13:13 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.7052 | μmol/L | 14.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.875 | 99173.6977 | 292292.6354 | 30.45 | 114.2
115163 | 2021-04-30 13:14 | 0.33855 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8944 | μmol/L | 14.7552 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.858 | 98957.4682 | 292286.1396 | 30.45 | 114.2
115173 | 2021-04-30 13:14 | 0.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.5246 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.838 | 98834.8204 | 292290.5756 | 30.45 | 114.2
115183 | 2021-04-30 13:14 | 1.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8792 | μmol/L | 14.7246 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.824 | 98721.8166 | 292294.4512 | 30.45 | 114.2
115193 | 2021-04-30 13:15 | 1.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1811 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.808 | 98637.6454 | 292281.9571 | 30.45 | 114.2
115203 | 2021-04-30 13:15 | 1.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.554 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98556.162 | 292286.5545 | 30.45 | 114.2
115213 | 2021-04-30 13:15 | 2.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.8005 | μmol/L | 14.7246 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.782 | 98478.0659 | 292281.6332 | 30.45 | 114.2
115223 | 2021-04-30 13:16 | 2.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.9937 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.771 | 98415.4917 | 292277.0186 | 30.45 | 114.2
115233 | 2021-04-30 13:16 | 2.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.3067 | μmol/L | 14.7246 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.759 | 98359.2472 | 292271.7629 | 30.45 | 114.2
115243 | 2021-04-30 13:16 | 3.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.4783 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.749 | 98298.9308 | 292266.1682 | 30.45 | 114.2
115253 | 2021-04-30 13:17 | 3.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.6327 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.742 | 98260.1465 | 292271.4089 | 30.45 | 114.2
115263 | 2021-04-30 13:17 | 3.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.8756 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.731 | 98193.2886 | 292253.4297 | 30.45 | 114.2
115273 | 2021-04-30 13:17 | 4.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.0304 | μmol/L | 14.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.724 | 98149.8871 | 292251.1758 | 30.45 | 114.2
115283 | 2021-04-30 13:18 | 4.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.0872 | μmol/L | 14.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.717 | 98117.7149 | 292258.8398 | 30.45 | 114.2
115293 | 2021-04-30 13:18 | 4.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.2421 | μmol/L | 14.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.71 | 98064.9506 | 292249.7075 | 30.45 | 114.2
115303 | 2021-04-30 13:18 | 5.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.3971 | μmol/L | 14.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.703 | 98034.9138 | 292262.7434 | 30.45 | 114.2
115313 | 2021-04-30 13:19 | 5.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.4636 | μmol/L | 14.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.7 | 97990.2338 | 292255.1527 | 30.45 | 114.2
115323 | 2021-04-30 13:19 | 5.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.6853 | μmol/L | 14.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.69 | 97964.6425 | 292257.737 | 30.45 | 114.2
115333 | 2021-04-30 13:19 | 6.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.6584 | μmol/L | 14.7491 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.689 | 97936.0814 | 292255.849 | 30.45 | 114.2
115343 | 2021-04-30 13:20 | 6.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.809 | μmol/L | 14.7552 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.68 | 97898.29 | 292253.4519 | 30.45 | 114.2
115353 | 2021-04-30 13:20 | 6.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8756 | μmol/L | 14.7552 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.677 | 97871.6378 | 292254.5581 | 30.45 | 114.2
115363 | 2021-04-30 13:20 | 7.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.9375 | μmol/L | 14.7614 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.672 | 97861.3778 | 292259.4646 | 30.45 | 114.2
115373 | 2021-04-30 13:21 | 7.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0439 | μmol/L | 14.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.665 | 97874.8175 | 292243.3744 | 30.45 | 114.2
115383 | 2021-04-30 13:21 | 7.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1375 | μmol/L | 14.7614 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.663 | 97854.3553 | 292245.6844 | 30.45 | 114.2
115393 | 2021-04-30 13:21 | 8.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1059 | μmol/L | 14.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.66 | 97827.8755 | 292252.7804 | 30.45 | 114.2
115403 | 2021-04-30 13:22 | 8.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1726 | μmol/L | 14.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.657 | 97803.3139 | 292243.6896 | 30.45 | 114.2
115413 | 2021-04-30 13:22 | 8.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2838 | μmol/L | 14.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.652 | 97790.9044 | 292236.3174 | 30.45 | 114.2
115423 | 2021-04-30 13:22 | 9.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2616 | μmol/L | 14.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.653 | 97763.3156 | 292247.688 | 30.45 | 114.2
115433 | 2021-04-30 13:23 | 9.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3951 | μmol/L | 14.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.647 | 97754.5627 | 292238.371 | 30.45 | 114.2
115443 | 2021-04-30 13:23 | 9.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4795 | μmol/L | 14.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.641 | 97735.2594 | 292230.171 | 30.45 | 114.2
115453 | 2021-04-30 13:23 | 10.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.524 | μmol/L | 14.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.639 | 97726.2536 | 292248.7603 | 30.45 | 114.2
115463 | 2021-04-30 13:24 | 10.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5017 | μmol/L | 14.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.64 | 97709.3701 | 292239.6525 | 30.45 | 114.2
115473 | 2021-04-30 13:24 | 10.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4525 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.64 | 97696.539 | 292246.4931 | 30.45 | 114.2
115483 | 2021-04-30 13:24 | 11.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5639 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.635 | 97675.9155 | 292220.3346 | 30.45 | 114.2
115493 | 2021-04-30 13:25 | 11.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.653 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.631 | 97659.3222 | 292218.7362 | 30.45 | 114.2
115503 | 2021-04-30 13:25 | 11.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.653 | μmol/L | 14.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.631 | 97654.0431 | 292229.772 | 30.45 | 114.2
115513 | 2021-04-30 13:25 | 12.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.51 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.633 | 97647.8553 | 292215.9815 | 30.45 | 114.2
115523 | 2021-04-30 13:26 | 12.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7106 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.624 | 97632.5592 | 292198.2063 | 30.45 | 114.2
115533 | 2021-04-30 13:26 | 12.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6214 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.628 | 97621.9645 | 292211.3695 | 30.45 | 114.2
115543 | 2021-04-30 13:26 | 13.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7329 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.623 | 97625.3842 | 292218.8024 | 30.45 | 114.2
115553 | 2021-04-30 13:27 | 13.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7283 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.621 | 97619.8139 | 292221.652 | 30.45 | 114.2
115563 | 2021-04-30 13:27 | 13.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7775 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.621 | 97598.8033 | 292209.3717 | 30.45 | 114.2
115573 | 2021-04-30 13:27 | 14.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7998 | μmol/L | 14.7982 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.62 | 97597.5217 | 292213.7709 | 30.45 | 114.2
115583 | 2021-04-30 13:28 | 14.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6391 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.625 | 97590.4817 | 292215.487 | 30.45 | 114.2
115593 | 2021-04-30 13:28 | 14.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6967 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.618 | 97584.8688 | 292194.3013 | 30.45 | 114.2
115603 | 2021-04-30 13:28 | 15.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.719 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.617 | 97573.7395 | 292205.3693 | 30.45 | 114.2
115613 | 2021-04-30 13:29 | 15.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7144 | μmol/L | 14.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.615 | 97575.7696 | 292184.6071 | 30.45 | 114.2
115623 | 2021-04-30 13:29 | 15.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7859 | μmol/L | 14.8166 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.614 | 97563.7318 | 292196.9319 | 30.45 | 114.2
115633 | 2021-04-30 13:29 | 16.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6652 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.615 | 97561.847 | 292201.0044 | 30.45 | 114.2
115643 | 2021-04-30 13:30 | 16.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.799 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.609 | 97552.4186 | 292196.0318 | 30.45 | 114.2
115653 | 2021-04-30 13:30 | 16.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6875 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.614 | 97552.1633 | 292186.9628 | 30.45 | 114.2
115663 | 2021-04-30 13:30 | 17.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7098 | μmol/L | 14.8289 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.613 | 97541.4176 | 292189.4286 | 30.45 | 114.2
115673 | 2021-04-30 13:31 | 17.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7274 | μmol/L | 14.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.61 | 97534.8175 | 292175.7504 | 30.45 | 114.2
115683 | 2021-04-30 13:31 | 17.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7051 | μmol/L | 14.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.611 | 97532.8734 | 292188.0953 | 30.45 | 114.2
115693 | 2021-04-30 13:31 | 18.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7274 | μmol/L | 14.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.61 | 97528.2863 | 292171.9439 | 30.45 | 114.2
115703 | 2021-04-30 13:32 | 18.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6736 | μmol/L | 14.8473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.608 | 97527.4526 | 292176.2888 | 30.45 | 114.2
115713 | 2021-04-30 13:32 | 18.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6644 | μmol/L | 14.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.604 | 97535.0267 | 292174.875 | 30.45 | 114.2
115723 | 2021-04-30 13:32 | 19.005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.7182 | μmol/L | 14.8473 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.606 | 97526.4169 | 292189.0951 | 30.45 | 114.2
115733 | 2021-04-30 13:33 | 19.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5975 | μmol/L | 14.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.607 | 97513.3524 | 292175.7058 | 30.45 | 114.2
115743 | 2021-04-30 13:33 | 19.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5084 | μmol/L | 14.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.611 | 97499.4659 | 292180.4804 | 30.45 | 114.2
115753 | 2021-04-30 13:33 | 20.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6375 | μmol/L | 14.8657 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.603 | 97501.326 | 292170.9479 | 30.45 | 114.2
115763 | 2021-04-30 13:34 | 20.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5484 | μmol/L | 14.8657 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.607 | 97497.6795 | 292170.4385 | 30.45 | 114.2
115773 | 2021-04-30 13:34 | 20.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.633 | μmol/L | 14.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 97501.6653 | 292161.3018 | 30.45 | 114.2
115783 | 2021-04-30 13:34 | 21.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6598 | μmol/L | 14.8657 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97495.9951 | 292168.3508 | 30.45 | 114.2
115793 | 2021-04-30 13:35 | 21.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5615 | μmol/L | 14.878 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97486.0449 | 292165.5312 | 30.45 | 114.2
115803 | 2021-04-30 13:35 | 21.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6107 | μmol/L | 14.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97488.7258 | 292154.4175 | 30.45 | 114.2
115813 | 2021-04-30 13:35 | 22.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5838 | μmol/L | 14.878 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 97486.2476 | 292160.8126 | 30.45 | 114.2
115823 | 2021-04-30 13:36 | 22.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5169 | μmol/L | 14.878 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.604 | 97482.1554 | 292163.3021 | 30.45 | 114.2
115833 | 2021-04-30 13:36 | 22.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5123 | μmol/L | 14.8841 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97495.4099 | 292160.7603 | 30.45 | 114.2
115843 | 2021-04-30 13:36 | 23.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4855 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 97492.2715 | 292154.5609 | 30.45 | 114.2
115853 | 2021-04-30 13:37 | 23.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5032 | μmol/L | 14.8964 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.598 | 97495.7001 | 292153.9442 | 30.45 | 114.2
115863 | 2021-04-30 13:37 | 23.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5078 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97480.9982 | 292142.61 | 30.45 | 114.2
115873 | 2021-04-30 13:37 | 24.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5301 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97468.2681 | 292151.6231 | 30.45 | 114.2
115883 | 2021-04-30 13:38 | 24.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5701 | μmol/L | 14.8964 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.595 | 97468.36 | 292137.1429 | 30.45 | 114.2
115893 | 2021-04-30 13:38 | 24.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4363 | μmol/L | 14.8964 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 97462.4257 | 292149.0667 | 30.45 | 114.2
115903 | 2021-04-30 13:38 | 25.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5078 | μmol/L | 14.8902 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97461.5772 | 292146.8592 | 30.45 | 114.2
115913 | 2021-04-30 13:39 | 25.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3918 | μmol/L | 14.8964 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.603 | 97461.0014 | 292140.4969 | 30.45 | 114.2
115923 | 2021-04-30 13:39 | 25.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4141 | μmol/L | 14.8964 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97458.5207 | 292132.6904 | 30.45 | 114.2
115933 | 2021-04-30 13:39 | 26.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.4318 | μmol/L | 14.9025 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97461.9351 | 292138.4959 | 30.45 | 114.2
115943 | 2021-04-30 13:40 | 26.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2845 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97443.74 | 292126.8335 | 30.45 | 114.2
115953 | 2021-04-30 13:40 | 26.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2668 | μmol/L | 14.9148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97448.8172 | 292139.9775 | 30.45 | 114.2
115963 | 2021-04-30 13:40 | 27.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.3781 | μmol/L | 14.9148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 97446.671 | 292127.445 | 30.45 | 114.2
115973 | 2021-04-30 13:41 | 27.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2445 | μmol/L | 14.9148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.603 | 97446.113 | 292121.1711 | 30.45 | 114.2
115983 | 2021-04-30 13:41 | 27.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2622 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97442.0469 | 292112.1235 | 30.45 | 114.2
115993 | 2021-04-30 13:41 | 28.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2622 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97442.0203 | 292127.0747 | 30.45 | 114.2
116003 | 2021-04-30 13:42 | 28.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.289 | μmol/L | 14.9148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 97441.3093 | 292119.1453 | 30.45 | 114.2
116013 | 2021-04-30 13:42 | 28.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2622 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97439.6083 | 292111.9945 | 30.45 | 114.2
116023 | 2021-04-30 13:42 | 29.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2977 | μmol/L | 14.9332 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 97444.7713 | 292111.3427 | 30.45 | 114.2
116033 | 2021-04-30 13:43 | 29.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2486 | μmol/L | 14.9393 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 97441.0503 | 292104.0709 | 30.45 | 114.2
116043 | 2021-04-30 13:43 | 29.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1373 | μmol/L | 14.9393 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97434.7958 | 292108.7726 | 30.45 | 114.2
116053 | 2021-04-30 13:43 | 30.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1773 | μmol/L | 14.9455 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.595 | 97436.4048 | 292095.7458 | 30.45 | 114.2
116063 | 2021-04-30 13:44 | 30.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.017 | μmol/L | 14.9516 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97435.9725 | 292094.3473 | 30.45 | 114.2
116073 | 2021-04-30 13:44 | 30.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0883 | μmol/L | 14.9455 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97435.8902 | 292099.0466 | 30.45 | 114.2
116083 | 2021-04-30 13:44 | 31.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0347 | μmol/L | 14.9577 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 97431.7978 | 292103.704 | 30.45 | 114.2
116093 | 2021-04-30 13:45 | 31.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.9235 | μmol/L | 14.9577 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 97433.3902 | 292088.4202 | 30.45 | 114.2
116103 | 2021-04-30 13:45 | 31.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.968 | μmol/L | 14.9577 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.6 | 97433.3361 | 292088.586 | 30.45 | 114.2
116113 | 2021-04-30 13:45 | 32.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.9812 | μmol/L | 14.97 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.595 | 97438.0213 | 292076.2939 | 30.45 | 114.2
116123 | 2021-04-30 13:46 | 32.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.0347 | μmol/L | 14.9577 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 97434.6196 | 292084.619 | 30.45 | 114.2
116133 | 2021-04-30 13:46 | 32.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.9857 | μmol/L | 14.9639 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 97430.2169 | 292088.7717 | 30.45 | 114.2
116143 | 2021-04-30 13:46 | 33.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8922 | μmol/L | 14.97 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97427.368 | 292068.1529 | 30.45 | 114.2
116153 | 2021-04-30 13:47 | 33.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8877 | μmol/L | 14.9761 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 97426.991 | 292070.2046 | 30.45 | 114.2
116163 | 2021-04-30 13:47 | 33.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7009 | μmol/L | 14.9884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 97427.8338 | 292088.5823 | 30.45 | 114.2
116173 | 2021-04-30 13:47 | 34.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8121 | μmol/L | 14.9884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.596 | 97421.2537 | 292084.3045 | 30.45 | 114.2
116183 | 2021-04-30 13:48 | 34.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8832 | μmol/L | 14.9823 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.595 | 97423.7863 | 292068.2152 | 30.45 | 114.2
116193 | 2021-04-30 13:48 | 34.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.6475 | μmol/L | 15.0007 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.599 | 97422.7688 | 292061.4892 | 30.45 | 114.2
116203 | 2021-04-30 13:48 | 35.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.8343 | μmol/L | 14.9884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.595 | 97435.9409 | 292066.3755 | 30.45 | 114.2