## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115155 | 2021-04-30 13:13 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.3946 | μmol/L | 14.8513 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.392 | 136249.8466 | 300483.1153 | 33.25 | 68.6
115165 | 2021-04-30 13:14 | 0.33102 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.664 | μmol/L | 14.8452 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136151.2218 | 300496.9421 | 33.25 | 68.6
115175 | 2021-04-30 13:14 | 0.66438 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.875 | μmol/L | 14.8331 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136106.3079 | 300494.2683 | 33.25 | 68.6
115185 | 2021-04-30 13:14 | 0.99755 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.868 | μmol/L | 14.8392 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.375 | 136078.2698 | 300489.7732 | 33.25 | 68.6
115195 | 2021-04-30 13:15 | 1.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.9336 | μmol/L | 14.8392 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.372 | 136072.8019 | 300481.9467 | 33.25 | 68.6
115205 | 2021-04-30 13:15 | 1.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.868 | μmol/L | 14.8392 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.375 | 136068.7778 | 300479.4937 | 33.25 | 68.6
115215 | 2021-04-30 13:15 | 1.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.7225 | μmol/L | 14.8513 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136087.4084 | 300481.7948 | 33.25 | 68.6
115225 | 2021-04-30 13:16 | 2.3306 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.5116 | μmol/L | 14.8635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136111.9059 | 300469.8212 | 33.25 | 68.6
115235 | 2021-04-30 13:16 | 2.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.439 | μmol/L | 14.8696 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136129.1031 | 300458.3722 | 33.25 | 68.6
115245 | 2021-04-30 13:16 | 2.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.3805 | μmol/L | 14.8635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136157.648 | 300461.1261 | 33.25 | 68.6
115255 | 2021-04-30 13:17 | 3.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.148 | μmol/L | 14.8756 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.394 | 136165.9588 | 300455.3037 | 33.25 | 68.6
115265 | 2021-04-30 13:17 | 3.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 262.046 | μmol/L | 14.8696 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.401 | 136191.9482 | 300456.1035 | 33.25 | 68.6
115275 | 2021-04-30 13:17 | 3.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.9735 | μmol/L | 14.8756 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.402 | 136210.7703 | 300442.2394 | 33.25 | 68.6
115285 | 2021-04-30 13:18 | 4.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.8574 | μmol/L | 14.8817 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.405 | 136231.4131 | 300453.5606 | 33.25 | 68.6
115295 | 2021-04-30 13:18 | 4.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.7414 | μmol/L | 14.8878 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136246.3587 | 300457.2825 | 33.25 | 68.6
115305 | 2021-04-30 13:18 | 4.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.6255 | μmol/L | 14.8939 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.411 | 136269.5824 | 300447.903 | 33.25 | 68.6
115315 | 2021-04-30 13:19 | 5.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.4879 | μmol/L | 14.8999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.415 | 136278.5152 | 300443.9193 | 33.25 | 68.6
115325 | 2021-04-30 13:19 | 5.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.3791 | μmol/L | 14.8999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.42 | 136288.8359 | 300439.489 | 33.25 | 68.6
115335 | 2021-04-30 13:19 | 5.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.3286 | μmol/L | 14.906 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.42 | 136299.181 | 300452.5203 | 33.25 | 68.6
115345 | 2021-04-30 13:20 | 6.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.2851 | μmol/L | 14.906 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.422 | 136313.6925 | 300451.4103 | 33.25 | 68.6
115355 | 2021-04-30 13:20 | 6.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.3139 | μmol/L | 14.8999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.423 | 136325.0467 | 300463.0066 | 33.25 | 68.6
115365 | 2021-04-30 13:20 | 6.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.0755 | μmol/L | 14.9182 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.427 | 136333.0283 | 300450.0417 | 33.25 | 68.6
115375 | 2021-04-30 13:21 | 7.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.032 | μmol/L | 14.9182 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.429 | 136344.7715 | 300454.7336 | 33.25 | 68.6
115385 | 2021-04-30 13:21 | 7.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.0033 | μmol/L | 14.9243 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.428 | 136347.8367 | 300451.6038 | 33.25 | 68.6
115395 | 2021-04-30 13:21 | 7.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.8877 | μmol/L | 14.9303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.431 | 136359.4234 | 300447.6147 | 33.25 | 68.6
115405 | 2021-04-30 13:22 | 8.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.9094 | μmol/L | 14.9303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.43 | 136365.749 | 300444.605 | 33.25 | 68.6
115415 | 2021-04-30 13:22 | 8.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.7939 | μmol/L | 14.9364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 136368.6551 | 300436.6342 | 33.25 | 68.6
115425 | 2021-04-30 13:22 | 8.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.7505 | μmol/L | 14.9364 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.435 | 136381.1507 | 300452.5599 | 33.25 | 68.6
115435 | 2021-04-30 13:23 | 9.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.6785 | μmol/L | 14.9425 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 136388.0176 | 300429.8339 | 33.25 | 68.6
115445 | 2021-04-30 13:23 | 9.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.6064 | μmol/L | 14.9486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.437 | 136387.5679 | 300437.1397 | 33.25 | 68.6
115455 | 2021-04-30 13:23 | 9.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.5561 | μmol/L | 14.9546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.437 | 136387.5015 | 300423.5145 | 33.25 | 68.6
115465 | 2021-04-30 13:24 | 10.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.5058 | μmol/L | 14.9607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.437 | 136386.377 | 300445.7235 | 33.25 | 68.6
115475 | 2021-04-30 13:24 | 10.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.4555 | μmol/L | 14.9668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.437 | 136382.1481 | 300431.7833 | 33.25 | 68.6
115485 | 2021-04-30 13:24 | 10.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.3255 | μmol/L | 14.9668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.443 | 136380.0834 | 300421.54 | 33.25 | 68.6
115495 | 2021-04-30 13:25 | 11.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.3905 | μmol/L | 14.9668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.44 | 136386.3207 | 300425.3219 | 33.25 | 68.6
115505 | 2021-04-30 13:25 | 11.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.3618 | μmol/L | 14.9729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136390.5947 | 300423.1164 | 33.25 | 68.6
115515 | 2021-04-30 13:25 | 11.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.4121 | μmol/L | 14.9668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136387.629 | 300409.2531 | 33.25 | 68.6
115525 | 2021-04-30 13:26 | 12.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.2466 | μmol/L | 14.979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136392.5956 | 300415.8029 | 33.25 | 68.6
115535 | 2021-04-30 13:26 | 12.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.1531 | μmol/L | 14.985 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.444 | 136391.7901 | 300390.7279 | 33.25 | 68.6
115545 | 2021-04-30 13:26 | 12.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.1029 | μmol/L | 14.9911 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.444 | 136392.6591 | 300411.3957 | 33.25 | 68.6
115555 | 2021-04-30 13:27 | 13.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.2397 | μmol/L | 14.985 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.44 | 136388.7161 | 300405.1123 | 33.25 | 68.6
115565 | 2021-04-30 13:27 | 13.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.1461 | μmol/L | 14.9911 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136398.3269 | 300411.9326 | 33.25 | 68.6
115575 | 2021-04-30 13:27 | 13.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 260.0526 | μmol/L | 14.9972 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.444 | 136384.2869 | 300391.8376 | 33.25 | 68.6
115585 | 2021-04-30 13:28 | 14.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.9808 | μmol/L | 15.0033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136390.1257 | 300391.4252 | 33.25 | 68.6
115595 | 2021-04-30 13:28 | 14.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.9306 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136395.6396 | 300391.3212 | 33.25 | 68.6
115605 | 2021-04-30 13:28 | 14.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.8588 | μmol/L | 15.0154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136391.833 | 300382.2315 | 33.25 | 68.6
115615 | 2021-04-30 13:29 | 15.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.8087 | μmol/L | 15.0215 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136392.4155 | 300387.0226 | 33.25 | 68.6
115625 | 2021-04-30 13:29 | 15.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.8805 | μmol/L | 15.0154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136390.6599 | 300371.3371 | 33.25 | 68.6
115635 | 2021-04-30 13:29 | 15.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.7369 | μmol/L | 15.0276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.447 | 136387.024 | 300373.4935 | 33.25 | 68.6
115645 | 2021-04-30 13:30 | 16.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.7586 | μmol/L | 15.0276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.446 | 136375.6911 | 300368.4615 | 33.25 | 68.6
115655 | 2021-04-30 13:30 | 16.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.7732 | μmol/L | 15.0337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.443 | 136381.1055 | 300360.7746 | 33.25 | 68.6
115665 | 2021-04-30 13:30 | 16.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.73 | μmol/L | 15.0337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136370.0368 | 300360.8472 | 33.25 | 68.6
115675 | 2021-04-30 13:31 | 17.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.73 | μmol/L | 15.0337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136374.1582 | 300373.8213 | 33.25 | 68.6
115685 | 2021-04-30 13:31 | 17.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.7663 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136353.2983 | 300357.8113 | 33.25 | 68.6
115695 | 2021-04-30 13:31 | 17.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.6445 | μmol/L | 15.0519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136345.4433 | 300353.9099 | 33.25 | 68.6
115705 | 2021-04-30 13:32 | 18.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.5875 | μmol/L | 15.064 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.44 | 136342.3325 | 300360.1867 | 33.25 | 68.6
115715 | 2021-04-30 13:32 | 18.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.5228 | μmol/L | 15.064 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.443 | 136334.1296 | 300347.9367 | 33.25 | 68.6
115725 | 2021-04-30 13:32 | 18.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.5591 | μmol/L | 15.0701 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136326.621 | 300354.3937 | 33.25 | 68.6
115735 | 2021-04-30 13:33 | 19.3306 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.5159 | μmol/L | 15.0701 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136320.7194 | 300342.564 | 33.25 | 68.6
115745 | 2021-04-30 13:33 | 19.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.4227 | μmol/L | 15.0762 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.443 | 136318.5059 | 300335.06 | 33.25 | 68.6
115755 | 2021-04-30 13:33 | 19.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.4658 | μmol/L | 15.0762 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136316.5454 | 300350.8223 | 33.25 | 68.6
115765 | 2021-04-30 13:34 | 20.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.4158 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136313.3667 | 300334.7834 | 33.25 | 68.6
115775 | 2021-04-30 13:34 | 20.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.4442 | μmol/L | 15.0762 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136308.1397 | 300331.5153 | 33.25 | 68.6
115785 | 2021-04-30 13:34 | 20.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.4089 | μmol/L | 15.0884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136311.0048 | 300345.6211 | 33.25 | 68.6
115795 | 2021-04-30 13:35 | 21.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.3589 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136306.3923 | 300329.8525 | 33.25 | 68.6
115805 | 2021-04-30 13:35 | 21.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.2658 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136306.8891 | 300330.8057 | 33.25 | 68.6
115815 | 2021-04-30 13:35 | 21.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1942 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136302.204 | 300321.0494 | 33.25 | 68.6
115825 | 2021-04-30 13:36 | 22.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1295 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 136302.8628 | 300333.4283 | 33.25 | 68.6
115835 | 2021-04-30 13:36 | 22.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1658 | μmol/L | 15.1127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136303.0814 | 300319.8554 | 33.25 | 68.6
115845 | 2021-04-30 13:36 | 22.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1159 | μmol/L | 15.1187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 136301.1857 | 300325.423 | 33.25 | 68.6
115855 | 2021-04-30 13:37 | 23.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1443 | μmol/L | 15.1127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136294.7196 | 300318.5306 | 33.25 | 68.6
115865 | 2021-04-30 13:37 | 23.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.159 | μmol/L | 15.1187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136285.4089 | 300313.062 | 33.25 | 68.6
115875 | 2021-04-30 13:37 | 23.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0375 | μmol/L | 15.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.44 | 136281.7978 | 300320.0427 | 33.25 | 68.6
115885 | 2021-04-30 13:38 | 24.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.9944 | μmol/L | 15.1309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 136275.4922 | 300300.4473 | 33.25 | 68.6
115895 | 2021-04-30 13:38 | 24.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0092 | μmol/L | 15.137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 136265.0719 | 300298.4748 | 33.25 | 68.6
115905 | 2021-04-30 13:38 | 24.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.974 | μmol/L | 15.1491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 136254.3802 | 300305.0689 | 33.25 | 68.6
115915 | 2021-04-30 13:39 | 25.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0602 | μmol/L | 15.1491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.432 | 136238.8433 | 300309.0592 | 33.25 | 68.6
115925 | 2021-04-30 13:39 | 25.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0817 | μmol/L | 15.1491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.431 | 136227.1454 | 300307.6461 | 33.25 | 68.6
115935 | 2021-04-30 13:39 | 25.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.025 | μmol/L | 15.1613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.429 | 136209.4735 | 300310.6035 | 33.25 | 68.6
115945 | 2021-04-30 13:40 | 26.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0749 | μmol/L | 15.1552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.429 | 136180.7633 | 300297.8947 | 33.25 | 68.6
115955 | 2021-04-30 13:40 | 26.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.025 | μmol/L | 15.1613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.429 | 136169.539 | 300297.8034 | 33.25 | 68.6
115965 | 2021-04-30 13:40 | 26.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0829 | μmol/L | 15.1674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.424 | 136147.3065 | 300300.8874 | 33.25 | 68.6
115975 | 2021-04-30 13:41 | 27.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1192 | μmol/L | 15.1735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.42 | 136134.1923 | 300301.0601 | 33.25 | 68.6
115985 | 2021-04-30 13:41 | 27.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.1408 | μmol/L | 15.1735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.419 | 136118.6381 | 300287.9911 | 33.25 | 68.6
115995 | 2021-04-30 13:41 | 27.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.134 | μmol/L | 15.1795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.417 | 136108.3111 | 300277.7549 | 33.25 | 68.6
116005 | 2021-04-30 13:42 | 28.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0625 | μmol/L | 15.1856 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.418 | 136098.9821 | 300288.5001 | 33.25 | 68.6
116015 | 2021-04-30 13:42 | 28.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0558 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.416 | 136084.8029 | 300278.6251 | 33.25 | 68.6
116025 | 2021-04-30 13:42 | 28.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0342 | μmol/L | 15.1917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.417 | 136078.261 | 300259.4085 | 33.25 | 68.6
116035 | 2021-04-30 13:43 | 29.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.9129 | μmol/L | 15.2038 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.418 | 136069.69 | 300259.4939 | 33.25 | 68.6
116045 | 2021-04-30 13:43 | 29.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0921 | μmol/L | 15.1978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.412 | 136061.5648 | 300259.2418 | 33.25 | 68.6
116055 | 2021-04-30 13:43 | 29.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.8994 | μmol/L | 15.216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.414 | 136062.8385 | 300253.9754 | 33.25 | 68.6
116065 | 2021-04-30 13:44 | 30.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 259.0207 | μmol/L | 15.2038 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136058.6388 | 300257.4786 | 33.25 | 68.6
116075 | 2021-04-30 13:44 | 30.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.921 | μmol/L | 15.216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136061.0498 | 300263.4404 | 33.25 | 68.6
116085 | 2021-04-30 13:44 | 30.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.8428 | μmol/L | 15.2282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.412 | 136050.5437 | 300251.2522 | 33.25 | 68.6
116095 | 2021-04-30 13:45 | 31.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.8711 | μmol/L | 15.2221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136030.4729 | 300245.5135 | 33.25 | 68.6
116105 | 2021-04-30 13:45 | 31.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.8496 | μmol/L | 15.2221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.414 | 136029.6437 | 300252.2457 | 33.25 | 68.6
116115 | 2021-04-30 13:45 | 31.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.7715 | μmol/L | 15.2342 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136019.5488 | 300243.0817 | 33.25 | 68.6
116125 | 2021-04-30 13:46 | 32.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.9075 | μmol/L | 15.2282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.409 | 136026.4342 | 300249.8822 | 33.25 | 68.6
116135 | 2021-04-30 13:46 | 32.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.6934 | μmol/L | 15.2464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.412 | 136018.1867 | 300242.618 | 33.25 | 68.6
116145 | 2021-04-30 13:46 | 32.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.7217 | μmol/L | 15.2403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136021.0473 | 300240.9478 | 33.25 | 68.6
116155 | 2021-04-30 13:47 | 33.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.5576 | μmol/L | 15.2525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.416 | 136032.139 | 300244.5106 | 33.25 | 68.6
116165 | 2021-04-30 13:47 | 33.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.6073 | μmol/L | 15.2464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.416 | 136044.575 | 300234.9603 | 33.25 | 68.6
116175 | 2021-04-30 13:47 | 33.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.3936 | μmol/L | 15.2646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.419 | 136070.9321 | 300244.0101 | 33.25 | 68.6
116185 | 2021-04-30 13:48 | 34.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.3076 | μmol/L | 15.2646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.423 | 136095.2415 | 300232.6632 | 33.25 | 68.6
116195 | 2021-04-30 13:48 | 34.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.2283 | μmol/L | 15.2585 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.429 | 136122.8934 | 300232.0994 | 33.25 | 68.6
116205 | 2021-04-30 13:48 | 34.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.0216 | μmol/L | 15.2707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.434 | 136154.1383 | 300238.8634 | 33.25 | 68.6