## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115156 | 2021-04-30 13:14 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.59 | μmol/L | 14.8875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.778 | 124008.6278 | 264706.6071 | 26.25 | 74
115166 | 2021-04-30 13:14 | 0.33645 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5767 | μmol/L | 14.845 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.749 | 123809.2787 | 264713.8471 | 26.25 | 74
115176 | 2021-04-30 13:14 | 0.66959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1914 | μmol/L | 14.8267 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.728 | 123652.1547 | 264700.147 | 26.25 | 74
115186 | 2021-04-30 13:15 | 1.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5646 | μmol/L | 14.8328 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.709 | 123523.613 | 264696.148 | 26.25 | 74
115196 | 2021-04-30 13:15 | 1.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9263 | μmol/L | 14.8267 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.695 | 123418.125 | 264697.9477 | 26.25 | 74
115206 | 2021-04-30 13:15 | 1.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1444 | μmol/L | 14.8328 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.683 | 123333.3181 | 264706.8873 | 26.25 | 74
115216 | 2021-04-30 13:16 | 2.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.3628 | μmol/L | 14.8389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.671 | 123242.2452 | 264697.648 | 26.25 | 74
115226 | 2021-04-30 13:16 | 2.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.5815 | μmol/L | 14.845 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.659 | 123177.9222 | 264680.0908 | 26.25 | 74
115236 | 2021-04-30 13:16 | 2.6696 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.6934 | μmol/L | 14.845 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123117.8972 | 264684.1492 | 26.25 | 74
115246 | 2021-04-30 13:17 | 3.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.8452 | μmol/L | 14.851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.645 | 123079.3049 | 264688.885 | 26.25 | 74
115256 | 2021-04-30 13:17 | 3.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9747 | μmol/L | 14.8571 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 123025.8858 | 264688.0399 | 26.25 | 74
115266 | 2021-04-30 13:17 | 3.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.9922 | μmol/L | 14.8632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.634 | 122977.764 | 264673.3679 | 26.25 | 74
115276 | 2021-04-30 13:18 | 4.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1991 | μmol/L | 14.8571 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 122934.8287 | 264673.3459 | 26.25 | 74
115286 | 2021-04-30 13:18 | 4.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.1841 | μmol/L | 14.8754 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.621 | 122898.5213 | 264661.9361 | 26.25 | 74
115296 | 2021-04-30 13:18 | 4.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.3464 | μmol/L | 14.8693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.616 | 122864.3831 | 264669.957 | 26.25 | 74
115306 | 2021-04-30 13:19 | 5.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.4038 | μmol/L | 14.8815 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.609 | 122818.4538 | 264656.0491 | 26.25 | 74
115316 | 2021-04-30 13:19 | 5.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5612 | μmol/L | 14.8815 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.602 | 122779.0994 | 264668.4756 | 26.25 | 74
115326 | 2021-04-30 13:19 | 5.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.5963 | μmol/L | 14.8936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.596 | 122732.1376 | 264672.9834 | 26.25 | 74
115336 | 2021-04-30 13:20 | 6.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.6813 | μmol/L | 14.8997 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.59 | 122688.6502 | 264667.0234 | 26.25 | 74
115346 | 2021-04-30 13:20 | 6.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.7214 | μmol/L | 14.9058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.586 | 122647.6961 | 264668.6759 | 26.25 | 74
115356 | 2021-04-30 13:20 | 6.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 264.8791 | μmol/L | 14.9058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.579 | 122618.7131 | 264687.514 | 26.25 | 74
115366 | 2021-04-30 13:21 | 7.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.0996 | μmol/L | 14.9119 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.567 | 122577.7539 | 264676.6672 | 26.25 | 74
115376 | 2021-04-30 13:21 | 7.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.0898 | μmol/L | 14.9241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.563 | 122535.2382 | 264680.1037 | 26.25 | 74
115386 | 2021-04-30 13:21 | 7.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.2477 | μmol/L | 14.9241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.556 | 122492.2574 | 264670.5788 | 26.25 | 74
115396 | 2021-04-30 13:22 | 8.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.2654 | μmol/L | 14.9301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.553 | 122451.9094 | 264682.7395 | 26.25 | 74
115406 | 2021-04-30 13:22 | 8.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.4461 | μmol/L | 14.9301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.545 | 122419.9149 | 264668.3564 | 26.25 | 74
115416 | 2021-04-30 13:22 | 8.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.5817 | μmol/L | 14.9301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.539 | 122370.3396 | 264665.3068 | 26.25 | 74
115426 | 2021-04-30 13:23 | 9.0026 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6899 | μmol/L | 14.9362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.532 | 122339.9967 | 264673.637 | 26.25 | 74
115436 | 2021-04-30 13:23 | 9.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.6349 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.53 | 122307.5352 | 264676.8872 | 26.25 | 74
115446 | 2021-04-30 13:23 | 9.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.7206 | μmol/L | 14.9545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.524 | 122289.7213 | 264670.4916 | 26.25 | 74
115456 | 2021-04-30 13:24 | 10.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8612 | μmol/L | 14.9484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122254.2833 | 264666.1126 | 26.25 | 74
115466 | 2021-04-30 13:24 | 10.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.879 | μmol/L | 14.9545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.517 | 122233.7859 | 264654.7442 | 26.25 | 74
115476 | 2021-04-30 13:24 | 10.6695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8968 | μmol/L | 14.9606 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.514 | 122206.5138 | 264645.0554 | 26.25 | 74
115486 | 2021-04-30 13:25 | 11.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8418 | μmol/L | 14.9727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.512 | 122195.0724 | 264653.6144 | 26.25 | 74
115496 | 2021-04-30 13:25 | 11.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9551 | μmol/L | 14.9727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.507 | 122168.0783 | 264645.117 | 26.25 | 74
115506 | 2021-04-30 13:25 | 11.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9778 | μmol/L | 14.9727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.506 | 122158.3688 | 264656.5518 | 26.25 | 74
115516 | 2021-04-30 13:26 | 12.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9729 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.504 | 122136.8633 | 264649.2257 | 26.25 | 74
115526 | 2021-04-30 13:26 | 12.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0863 | μmol/L | 14.9788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.499 | 122116.9911 | 264642.6092 | 26.25 | 74
115536 | 2021-04-30 13:26 | 12.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0361 | μmol/L | 14.9849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.499 | 122108.6824 | 264637.0012 | 26.25 | 74
115546 | 2021-04-30 13:27 | 13.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0993 | μmol/L | 14.991 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.494 | 122088.1084 | 264644.5851 | 26.25 | 74
115556 | 2021-04-30 13:27 | 13.3362 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0945 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.492 | 122078.4987 | 264631.6641 | 26.25 | 74
115566 | 2021-04-30 13:27 | 13.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0718 | μmol/L | 14.9971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.493 | 122066.0358 | 264636.9219 | 26.25 | 74
115576 | 2021-04-30 13:28 | 14.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.067 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.491 | 122045.7538 | 264627.7682 | 26.25 | 74
115586 | 2021-04-30 13:28 | 14.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9715 | μmol/L | 15.0093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.493 | 122043.8245 | 264634.6238 | 26.25 | 74
115596 | 2021-04-30 13:28 | 14.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9441 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.492 | 122032.8053 | 264623.6135 | 26.25 | 74
115606 | 2021-04-30 13:29 | 15.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.894 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.492 | 122030.544 | 264624.5063 | 26.25 | 74
115616 | 2021-04-30 13:29 | 15.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1255 | μmol/L | 15.0153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 122022.9312 | 264628.4377 | 26.25 | 74
115626 | 2021-04-30 13:29 | 15.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.098 | μmol/L | 15.0214 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.483 | 122010.3515 | 264619.9205 | 26.25 | 74
115636 | 2021-04-30 13:30 | 16.0025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0025 | μmol/L | 15.0275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.485 | 121995.418 | 264622.6079 | 26.25 | 74
115646 | 2021-04-30 13:30 | 16.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9703 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.482 | 121988.2595 | 264615.2299 | 26.25 | 74
115656 | 2021-04-30 13:30 | 16.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.925 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 121995.2176 | 264622.1702 | 26.25 | 74
115666 | 2021-04-30 13:31 | 17.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9476 | μmol/L | 15.0397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.483 | 121966.841 | 264604.9565 | 26.25 | 74
115676 | 2021-04-30 13:31 | 17.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9155 | μmol/L | 15.0518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.48 | 121968.6378 | 264598.9043 | 26.25 | 74
115686 | 2021-04-30 13:31 | 17.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.888 | μmol/L | 15.0579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.479 | 121962.4131 | 264604.6201 | 26.25 | 74
115696 | 2021-04-30 13:32 | 18.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9608 | μmol/L | 15.0518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.478 | 121960.0997 | 264599.9335 | 26.25 | 74
115706 | 2021-04-30 13:32 | 18.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8654 | μmol/L | 15.0579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.48 | 121963.9491 | 264603.9382 | 26.25 | 74
115716 | 2021-04-30 13:32 | 18.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1054 | μmol/L | 15.0701 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 121897.7993 | 264606.2049 | 26.25 | 74
115726 | 2021-04-30 13:33 | 19.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.146 | μmol/L | 15.0762 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.461 | 121831.985 | 264597.3609 | 26.25 | 74
115736 | 2021-04-30 13:33 | 19.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3504 | μmol/L | 15.0762 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 121799.148 | 264590.81 | 26.25 | 74
115746 | 2021-04-30 13:33 | 19.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4006 | μmol/L | 15.0701 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 121793.9286 | 264583.843 | 26.25 | 74
115756 | 2021-04-30 13:34 | 20.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4821 | μmol/L | 15.0823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 121733.5679 | 264589.3528 | 26.25 | 74
115766 | 2021-04-30 13:34 | 20.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.6774 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.431 | 121679.0929 | 264588.3658 | 26.25 | 74
115776 | 2021-04-30 13:34 | 20.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.7002 | μmol/L | 15.0944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 121649.5813 | 264583.1323 | 26.25 | 74
115786 | 2021-04-30 13:35 | 21.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.7638 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.425 | 121630.6914 | 264568.876 | 26.25 | 74
115796 | 2021-04-30 13:35 | 21.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.6272 | μmol/L | 15.1005 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.431 | 121648.9705 | 264588.6639 | 26.25 | 74
115806 | 2021-04-30 13:35 | 21.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.7363 | μmol/L | 15.1066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.424 | 121603.5765 | 264576.5223 | 26.25 | 74
115816 | 2021-04-30 13:36 | 22.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.9092 | μmol/L | 15.1188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 121541.1409 | 264571.0823 | 26.25 | 74
115826 | 2021-04-30 13:36 | 22.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.9595 | μmol/L | 15.1127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 121513.0305 | 264565.5108 | 26.25 | 74
115836 | 2021-04-30 13:36 | 22.6694 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.0004 | μmol/L | 15.1188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.408 | 121523.0662 | 264568.1774 | 26.25 | 74
115846 | 2021-04-30 13:37 | 23.0027 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.8636 | μmol/L | 15.1188 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 121529.3945 | 264584.118 | 26.25 | 74
115856 | 2021-04-30 13:37 | 23.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.8362 | μmol/L | 15.1249 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 121532.3076 | 264559.3627 | 26.25 | 74
115866 | 2021-04-30 13:37 | 23.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.713 | μmol/L | 15.137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 121546.3532 | 264565.9715 | 26.25 | 74
115876 | 2021-04-30 13:38 | 24.0024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.7632 | μmol/L | 15.131 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 121550.1106 | 264573.0447 | 26.25 | 74
115886 | 2021-04-30 13:38 | 24.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.6447 | μmol/L | 15.137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 121562.5528 | 264579.3298 | 26.25 | 74
115896 | 2021-04-30 13:38 | 24.6691 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5946 | μmol/L | 15.1431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 121560.5921 | 264568.4897 | 26.25 | 74
115906 | 2021-04-30 13:39 | 25.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5491 | μmol/L | 15.1431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.419 | 121572.1218 | 264557.8484 | 26.25 | 74
115916 | 2021-04-30 13:39 | 25.336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3578 | μmol/L | 15.1553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.423 | 121580.1277 | 264559.6115 | 26.25 | 74
115926 | 2021-04-30 13:39 | 25.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.7473 | μmol/L | 15.0336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.45 | 121705.9787 | 264539.2057 | 26.25 | 74
115936 | 2021-04-30 13:40 | 26.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0578 | μmol/L | 15.1614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.434 | 121660.5209 | 264547.4457 | 26.25 | 74
115946 | 2021-04-30 13:40 | 26.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0532 | μmol/L | 15.1675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 121642.7891 | 264545.8231 | 26.25 | 74
115956 | 2021-04-30 13:40 | 26.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.176 | μmol/L | 15.1553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.431 | 121638.7712 | 264556.8209 | 26.25 | 74
115966 | 2021-04-30 13:41 | 27.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.6375 | μmol/L | 15.0032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.422 | 121597.2583 | 264539.6766 | 26.25 | 74
115976 | 2021-04-30 13:41 | 27.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0667 | μmol/L | 15.1796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.427 | 121600.8352 | 264559.7862 | 26.25 | 74
115986 | 2021-04-30 13:41 | 27.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4577 | μmol/L | 15.1736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 121515.8855 | 264544.4049 | 26.25 | 74
115996 | 2021-04-30 13:42 | 28.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5487 | μmol/L | 15.1736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.408 | 121486.201 | 264541.4014 | 26.25 | 74
116006 | 2021-04-30 13:42 | 28.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4986 | μmol/L | 15.1796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.408 | 121477.309 | 264537.9633 | 26.25 | 74
116016 | 2021-04-30 13:42 | 28.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5668 | μmol/L | 15.1796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.405 | 121474.7822 | 264532.2355 | 26.25 | 74
116026 | 2021-04-30 13:43 | 29.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5395 | μmol/L | 15.1857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.404 | 121472.3567 | 264544.1901 | 26.25 | 74
116036 | 2021-04-30 13:43 | 29.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.503 | μmol/L | 15.204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.399 | 121457.6594 | 264540.6703 | 26.25 | 74
116046 | 2021-04-30 13:43 | 29.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4165 | μmol/L | 15.1979 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.405 | 121482.0006 | 264538.7961 | 26.25 | 74
116056 | 2021-04-30 13:44 | 30.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2982 | μmol/L | 15.204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.408 | 121466.0886 | 264529.1276 | 26.25 | 74
116066 | 2021-04-30 13:44 | 30.3359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3664 | μmol/L | 15.204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.405 | 121476.0536 | 264532.9943 | 26.25 | 74
116076 | 2021-04-30 13:44 | 30.6692 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.3892 | μmol/L | 15.204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.404 | 121477.3097 | 264524.5675 | 26.25 | 74
116086 | 2021-04-30 13:45 | 31.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1708 | μmol/L | 15.2222 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 121480.0626 | 264519.4084 | 26.25 | 74
116096 | 2021-04-30 13:45 | 31.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.2436 | μmol/L | 15.2162 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.406 | 121478.7361 | 264519.143 | 26.25 | 74
116106 | 2021-04-30 13:45 | 31.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0526 | μmol/L | 15.2283 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.41 | 121477.6639 | 264513.53 | 26.25 | 74
116116 | 2021-04-30 13:46 | 32.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.189 | μmol/L | 15.2283 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.404 | 121475.0118 | 264507.2303 | 26.25 | 74
116126 | 2021-04-30 13:46 | 32.3358 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.0254 | μmol/L | 15.2344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 121486.6984 | 264505.6819 | 26.25 | 74
116136 | 2021-04-30 13:46 | 32.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.089 | μmol/L | 15.2405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.404 | 121477.893 | 264523.256 | 26.25 | 74
116146 | 2021-04-30 13:47 | 33.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9935 | μmol/L | 15.2466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.406 | 121465.8457 | 264509.347 | 26.25 | 74
116156 | 2021-04-30 13:47 | 33.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.1753 | μmol/L | 15.2466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.398 | 121438.8463 | 264502.43 | 26.25 | 74
116166 | 2021-04-30 13:47 | 33.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.4301 | μmol/L | 15.2405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.389 | 121388.6715 | 264509.9608 | 26.25 | 74
116176 | 2021-04-30 13:48 | 34.0028 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.371 | μmol/L | 15.2588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.385 | 121369.5963 | 264513.4573 | 26.25 | 74
116186 | 2021-04-30 13:48 | 34.3361 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.5303 | μmol/L | 15.2588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.378 | 121313.9785 | 264508.2298 | 26.25 | 74
116196 | 2021-04-30 13:48 | 34.6693 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.6259 | μmol/L | 15.2527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.376 | 121289.8493 | 264503.9873 | 26.25 | 74
116206 | 2021-04-30 13:49 | 35.0029 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.667 | μmol/L | 15.2588 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.372 | 121248.9844 | 264490.7057 | 26.25 | 74