## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
115157 | 2021-04-30 13:14 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.5701 | μmol/L | 15.0363 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.668 | 119880.2654 | 268211.2312 | 32.55 | 27.7
115167 | 2021-04-30 13:14 | 0.34016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.5112 | μmol/L | 14.9813 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.645 | 119595.0563 | 268204.0323 | 32.55 | 27.7
115177 | 2021-04-30 13:14 | 0.67402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.1287 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.628 | 119428.2679 | 268187.4336 | 32.55 | 27.7
115187 | 2021-04-30 13:15 | 1.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.4592 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.613 | 119290.5328 | 268166.263 | 32.55 | 27.7
115197 | 2021-04-30 13:15 | 1.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.8345 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.596 | 119190.7562 | 268153.965 | 32.55 | 27.7
115207 | 2021-04-30 13:15 | 1.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0824 | μmol/L | 14.9446 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.587 | 119113.8503 | 268147.9597 | 32.55 | 27.7
115217 | 2021-04-30 13:16 | 2.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.144 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.582 | 119053.2847 | 268149.4322 | 32.55 | 27.7
115227 | 2021-04-30 13:16 | 2.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3654 | μmol/L | 14.9508 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.572 | 118998.7382 | 268133.2937 | 32.55 | 27.7
115237 | 2021-04-30 13:16 | 2.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4493 | μmol/L | 14.9569 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.566 | 118950.6789 | 268121.1213 | 32.55 | 27.7
115247 | 2021-04-30 13:17 | 3.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6442 | μmol/L | 14.963 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.555 | 118900.3441 | 268132.3089 | 32.55 | 27.7
115257 | 2021-04-30 13:17 | 3.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6885 | μmol/L | 14.963 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.553 | 118854.9058 | 268117.0681 | 32.55 | 27.7
115267 | 2021-04-30 13:17 | 3.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8439 | μmol/L | 14.963 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.546 | 118806.9016 | 268111.7588 | 32.55 | 27.7
115277 | 2021-04-30 13:18 | 4.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.8789 | μmol/L | 14.9752 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.54 | 118765.096 | 268111.3342 | 32.55 | 27.7
115287 | 2021-04-30 13:18 | 4.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.0122 | μmol/L | 14.9752 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.534 | 118720.764 | 268116.9295 | 32.55 | 27.7
115297 | 2021-04-30 13:18 | 4.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1456 | μmol/L | 14.9752 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.528 | 118664.4919 | 268106.8917 | 32.55 | 27.7
115307 | 2021-04-30 13:19 | 5.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.1854 | μmol/L | 14.9813 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.524 | 118635.3237 | 268101.5663 | 32.55 | 27.7
115317 | 2021-04-30 13:19 | 5.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.2475 | μmol/L | 14.9874 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.519 | 118556.228 | 268097.6672 | 32.55 | 27.7
115327 | 2021-04-30 13:19 | 5.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3412 | μmol/L | 14.9813 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.517 | 118535.4686 | 268096.4224 | 32.55 | 27.7
115337 | 2021-04-30 13:20 | 6.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4654 | μmol/L | 14.9935 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.507 | 118481.5001 | 268103.0907 | 32.55 | 27.7
115347 | 2021-04-30 13:20 | 6.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4831 | μmol/L | 14.9996 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.504 | 118460.3989 | 268095.9563 | 32.55 | 27.7
115357 | 2021-04-30 13:20 | 6.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6484 | μmol/L | 14.9874 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.501 | 118432.342 | 268090.9582 | 32.55 | 27.7
115367 | 2021-04-30 13:21 | 7.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.6214 | μmol/L | 14.9935 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.5 | 118409.0254 | 268105.1636 | 32.55 | 27.7
115377 | 2021-04-30 13:21 | 7.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.7013 | μmol/L | 15.0057 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.492 | 118375.4446 | 268105.8744 | 32.55 | 27.7
115387 | 2021-04-30 13:21 | 7.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2028 | μmol/L | 14.963 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.485 | 118341.8988 | 268091.6074 | 32.55 | 27.7
115397 | 2021-04-30 13:22 | 8.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1125 | μmol/L | 14.9935 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.478 | 118288.0767 | 268092.1366 | 32.55 | 27.7
115407 | 2021-04-30 13:22 | 8.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2103 | μmol/L | 15.0118 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.467 | 118207.6283 | 268076.767 | 32.55 | 27.7
115417 | 2021-04-30 13:22 | 8.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.5012 | μmol/L | 15.0118 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.454 | 118142.9762 | 268084.7618 | 32.55 | 27.7
115427 | 2021-04-30 13:23 | 9.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7074 | μmol/L | 15.0057 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.447 | 118093.5035 | 268095.5255 | 32.55 | 27.7
115437 | 2021-04-30 13:23 | 9.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7252 | μmol/L | 15.0118 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.444 | 118050.5578 | 268071.6617 | 32.55 | 27.7
115447 | 2021-04-30 13:23 | 9.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.8103 | μmol/L | 15.0179 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.438 | 118022.0537 | 268068.5381 | 32.55 | 27.7
115457 | 2021-04-30 13:24 | 10.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.9224 | μmol/L | 15.0179 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.433 | 117988.8268 | 268074.038 | 32.55 | 27.7
115467 | 2021-04-30 13:24 | 10.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.873 | μmol/L | 15.0241 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.433 | 117964.5344 | 268058.1832 | 32.55 | 27.7
115477 | 2021-04-30 13:24 | 10.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.9357 | μmol/L | 15.0302 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.428 | 117941.2026 | 268083.1277 | 32.55 | 27.7
115487 | 2021-04-30 13:25 | 11.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.0434 | μmol/L | 15.0363 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.421 | 117877.8823 | 268072.3087 | 32.55 | 27.7
115497 | 2021-04-30 13:25 | 11.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.2634 | μmol/L | 15.0424 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.409 | 117801.7062 | 268070.2916 | 32.55 | 27.7
115507 | 2021-04-30 13:25 | 11.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.4883 | μmol/L | 15.0424 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.399 | 117742.6427 | 268068.2285 | 32.55 | 27.7
115517 | 2021-04-30 13:26 | 12.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.628 | μmol/L | 15.0363 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.395 | 117698.9974 | 268065.8539 | 32.55 | 27.7
115527 | 2021-04-30 13:26 | 12.3408 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.7089 | μmol/L | 15.0485 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.387 | 117666.1824 | 268065.1024 | 32.55 | 27.7
115537 | 2021-04-30 13:26 | 12.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.6819 | μmol/L | 15.0546 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.386 | 117645.4843 | 268057.0343 | 32.55 | 27.7
115547 | 2021-04-30 13:27 | 13.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.772 | μmol/L | 15.0546 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.382 | 117621.997 | 268051.6907 | 32.55 | 27.7
115557 | 2021-04-30 13:27 | 13.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.9523 | μmol/L | 15.0546 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.374 | 117580.7833 | 268055.8832 | 32.55 | 27.7
115567 | 2021-04-30 13:27 | 13.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.0651 | μmol/L | 15.0546 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.369 | 117528.2154 | 268060.8431 | 32.55 | 27.7
115577 | 2021-04-30 13:28 | 14.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.0335 | μmol/L | 15.0668 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.366 | 117483.453 | 268057.8897 | 32.55 | 27.7
115587 | 2021-04-30 13:28 | 14.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2141 | μmol/L | 15.0668 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.358 | 117469.9959 | 268056.4527 | 32.55 | 27.7
115597 | 2021-04-30 13:28 | 14.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1916 | μmol/L | 15.0668 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.359 | 117456.7277 | 268043.4115 | 32.55 | 27.7
115607 | 2021-04-30 13:29 | 15.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1645 | μmol/L | 15.0729 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.358 | 117436.5746 | 268038.3024 | 32.55 | 27.7
115617 | 2021-04-30 13:29 | 15.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3045 | μmol/L | 15.0668 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.354 | 117416.2125 | 268036.0108 | 32.55 | 27.7
115627 | 2021-04-30 13:29 | 15.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4582 | μmol/L | 15.0729 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.345 | 117396.8047 | 268046.6446 | 32.55 | 27.7
115637 | 2021-04-30 13:30 | 16.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3678 | μmol/L | 15.0729 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.349 | 117375.6751 | 268035.7185 | 32.55 | 27.7
115647 | 2021-04-30 13:30 | 16.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3407 | μmol/L | 15.079 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.348 | 117361.198 | 268035.9547 | 32.55 | 27.7
115657 | 2021-04-30 13:30 | 16.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3136 | μmol/L | 15.0851 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.347 | 117360.7303 | 268031.8846 | 32.55 | 27.7
115667 | 2021-04-30 13:31 | 17.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3136 | μmol/L | 15.0851 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.347 | 117357.3321 | 268021.2402 | 32.55 | 27.7
115677 | 2021-04-30 13:31 | 17.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2594 | μmol/L | 15.0974 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.345 | 117358.3441 | 268030.7786 | 32.55 | 27.7
115687 | 2021-04-30 13:31 | 17.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3181 | μmol/L | 15.079 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.349 | 117339.3056 | 268031.7623 | 32.55 | 27.7
115697 | 2021-04-30 13:32 | 18.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3769 | μmol/L | 15.0913 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.342 | 117311.106 | 268024.6225 | 32.55 | 27.7
115707 | 2021-04-30 13:32 | 18.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4358 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.335 | 117276.1183 | 268029.459 | 32.55 | 27.7
115717 | 2021-04-30 13:32 | 18.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2143 | μmol/L | 15.0974 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.347 | 117294.6988 | 268023.7813 | 32.55 | 27.7
115727 | 2021-04-30 13:33 | 19.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5081 | μmol/L | 15.0974 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.334 | 117262.9179 | 268020.1659 | 32.55 | 27.7
115737 | 2021-04-30 13:33 | 19.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3861 | μmol/L | 15.1096 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.335 | 117240.8688 | 268016.8929 | 32.55 | 27.7
115747 | 2021-04-30 13:33 | 19.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3861 | μmol/L | 15.1096 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.335 | 117234.2069 | 268014.1804 | 32.55 | 27.7
115757 | 2021-04-30 13:34 | 20.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3817 | μmol/L | 15.1157 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.333 | 117234.5332 | 268010.8575 | 32.55 | 27.7
115767 | 2021-04-30 13:34 | 20.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3635 | μmol/L | 15.1096 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.336 | 117233.7051 | 267991.7001 | 32.55 | 27.7
115777 | 2021-04-30 13:34 | 20.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3409 | μmol/L | 15.1096 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.337 | 117213.3386 | 268004.4562 | 32.55 | 27.7
115787 | 2021-04-30 13:35 | 21.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4269 | μmol/L | 15.1157 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.331 | 117190.2262 | 268002.0566 | 32.55 | 27.7
115797 | 2021-04-30 13:35 | 21.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.671 | μmol/L | 15.0913 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.329 | 117157.4831 | 267987.7 | 32.55 | 27.7
115807 | 2021-04-30 13:35 | 21.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5538 | μmol/L | 15.1279 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.321 | 117155.3716 | 267996.1784 | 32.55 | 27.7
115817 | 2021-04-30 13:36 | 22.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4632 | μmol/L | 15.1279 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.325 | 117123.871 | 267990.3923 | 32.55 | 27.7
115827 | 2021-04-30 13:36 | 22.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.599 | μmol/L | 15.1279 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.319 | 117108.2708 | 267989.6154 | 32.55 | 27.7
115837 | 2021-04-30 13:36 | 22.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4814 | μmol/L | 15.134 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.322 | 117096.477 | 267990.512 | 32.55 | 27.7
115847 | 2021-04-30 13:37 | 23.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.2961 | μmol/L | 15.1401 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.328 | 117083.5732 | 267992.0486 | 32.55 | 27.7
115857 | 2021-04-30 13:37 | 23.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3639 | μmol/L | 15.1401 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.325 | 117068.3648 | 267981.4866 | 32.55 | 27.7
115867 | 2021-04-30 13:37 | 23.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.7802 | μmol/L | 15.1279 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.311 | 117037.9487 | 267994.1769 | 32.55 | 27.7
115877 | 2021-04-30 13:38 | 24.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6763 | μmol/L | 15.1462 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.309 | 117025.0329 | 267969.0279 | 32.55 | 27.7
115887 | 2021-04-30 13:38 | 24.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5134 | μmol/L | 15.1523 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.314 | 117017.7987 | 267982.872 | 32.55 | 27.7
115897 | 2021-04-30 13:38 | 24.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.4229 | μmol/L | 15.1523 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.318 | 117030.6584 | 267981.2867 | 32.55 | 27.7
115907 | 2021-04-30 13:39 | 25.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.301 | μmol/L | 15.1646 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.319 | 117035.0498 | 267972.9175 | 32.55 | 27.7
115917 | 2021-04-30 13:39 | 25.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3054 | μmol/L | 15.1584 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.321 | 117029.6401 | 267977.8596 | 32.55 | 27.7
115927 | 2021-04-30 13:39 | 25.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5405 | μmol/L | 15.1462 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.315 | 117006.6157 | 267982.1246 | 32.55 | 27.7
115937 | 2021-04-30 13:40 | 26.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.9539 | μmol/L | 15.2073 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.319 | 117006.6742 | 267979.793 | 32.55 | 27.7
115947 | 2021-04-30 13:40 | 26.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.08 | μmol/L | 15.189 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.32 | 117022.9039 | 267975.8284 | 32.55 | 27.7
115957 | 2021-04-30 13:40 | 26.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.7953 | μmol/L | 15.1768 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.337 | 117126.2041 | 267969.5187 | 32.55 | 27.7
115967 | 2021-04-30 13:41 | 27.0075 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.2501 | μmol/L | 15.1829 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.359 | 117245.1017 | 267967.4738 | 32.55 | 27.7
115977 | 2021-04-30 13:41 | 27.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.1196 | μmol/L | 15.1768 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.367 | 117310.4002 | 267963.7192 | 32.55 | 27.7
115987 | 2021-04-30 13:41 | 27.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.9309 | μmol/L | 15.189 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.371 | 117326.3811 | 267952.8082 | 32.55 | 27.7
115997 | 2021-04-30 13:42 | 28.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.841 | μmol/L | 15.189 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.375 | 117328.5278 | 267970.5904 | 32.55 | 27.7
116007 | 2021-04-30 13:42 | 28.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7737 | μmol/L | 15.189 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.378 | 117350.2302 | 267959.3761 | 32.55 | 27.7
116017 | 2021-04-30 13:42 | 28.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.657 | μmol/L | 15.1951 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.381 | 117341.9953 | 267947.2342 | 32.55 | 27.7
116027 | 2021-04-30 13:43 | 29.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7199 | μmol/L | 15.2012 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.376 | 117313.0658 | 267945.1771 | 32.55 | 27.7
116037 | 2021-04-30 13:43 | 29.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7873 | μmol/L | 15.2012 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.373 | 117306.7691 | 267935.0233 | 32.55 | 27.7
116047 | 2021-04-30 13:43 | 29.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.7111 | μmol/L | 15.2134 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.372 | 117309.0784 | 267953.7825 | 32.55 | 27.7
116057 | 2021-04-30 13:44 | 30.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.6437 | μmol/L | 15.2134 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.375 | 117329.534 | 267940.157 | 32.55 | 27.7
116067 | 2021-04-30 13:44 | 30.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.536 | μmol/L | 15.2073 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.382 | 117353.669 | 267932.5706 | 32.55 | 27.7
116077 | 2021-04-30 13:44 | 30.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3342 | μmol/L | 15.2073 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.391 | 117373.974 | 267935.8769 | 32.55 | 27.7
116087 | 2021-04-30 13:45 | 31.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.3074 | μmol/L | 15.2134 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.39 | 117392.2564 | 267942.2922 | 32.55 | 27.7
116097 | 2021-04-30 13:45 | 31.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1865 | μmol/L | 15.2256 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.391 | 117406.3747 | 267946.7614 | 32.55 | 27.7
116107 | 2021-04-30 13:45 | 31.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.1418 | μmol/L | 15.2256 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.393 | 117425.2173 | 267947.9237 | 32.55 | 27.7
116117 | 2021-04-30 13:46 | 32.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9359 | μmol/L | 15.2318 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.4 | 117439.8346 | 267934.9153 | 32.55 | 27.7
116127 | 2021-04-30 13:46 | 32.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9851 | μmol/L | 15.2256 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.4 | 117442.3222 | 267916.4141 | 32.55 | 27.7
116137 | 2021-04-30 13:46 | 32.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.9047 | μmol/L | 15.2379 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.399 | 117433.6436 | 267924.5101 | 32.55 | 27.7
116147 | 2021-04-30 13:47 | 33.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.8421 | μmol/L | 15.2379 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.402 | 117457.6022 | 267913.8213 | 32.55 | 27.7
116157 | 2021-04-30 13:47 | 33.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5918 | μmol/L | 15.244 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.411 | 117500.4898 | 267922.0138 | 32.55 | 27.7
116167 | 2021-04-30 13:47 | 33.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.5025 | μmol/L | 15.244 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.415 | 117521.9477 | 267918.1135 | 32.55 | 27.7
116177 | 2021-04-30 13:48 | 34.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.3196 | μmol/L | 15.2501 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.421 | 117519.4959 | 267908.2469 | 32.55 | 27.7
116187 | 2021-04-30 13:48 | 34.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4534 | μmol/L | 15.2501 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.415 | 117511.4326 | 267923.228 | 32.55 | 27.7
116197 | 2021-04-30 13:48 | 34.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4044 | μmol/L | 15.2562 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.415 | 117499.6137 | 267907.5788 | 32.55 | 27.7
116207 | 2021-04-30 13:49 | 35.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 261.4223 | μmol/L | 15.2623 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.412 | 117504.6702 | 267908.0199 | 32.55 | 27.7