## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116208 | 2021-04-30 13:56 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.4318 | μmol/L | 15.3118 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.205 | 141834.84 | 268918.2746 | 33.25 | 75.7
116218 | 2021-04-30 13:56 | 0.33193 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.0863 | μmol/L | 15.2934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.183 | 141674.1546 | 268915.7963 | 33.25 | 75.7
116228 | 2021-04-30 13:56 | 0.66514 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.515 | μmol/L | 15.2934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.164 | 141530.2272 | 268910.3458 | 33.25 | 75.7
116238 | 2021-04-30 13:57 | 0.99806 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.0221 | μmol/L | 15.2873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.144 | 141383.538 | 268914.3904 | 33.25 | 75.7
116248 | 2021-04-30 13:57 | 1.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.4529 | μmol/L | 15.2934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.123 | 141220.4664 | 268898.9315 | 33.25 | 75.7
116258 | 2021-04-30 13:57 | 1.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0082 | μmol/L | 15.2873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.101 | 141057.7953 | 268892.2313 | 33.25 | 75.7
116268 | 2021-04-30 13:58 | 1.9986 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.4454 | μmol/L | 15.2873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.082 | 140907.7968 | 268904.3475 | 33.25 | 75.7
116278 | 2021-04-30 13:58 | 2.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.8057 | μmol/L | 15.2996 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.062 | 140767.6066 | 268895.6453 | 33.25 | 75.7
116288 | 2021-04-30 13:58 | 2.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.0786 | μmol/L | 15.3057 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.048 | 140659.1716 | 268908.874 | 33.25 | 75.7
116298 | 2021-04-30 13:59 | 2.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.3981 | μmol/L | 15.3118 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.032 | 140556.1645 | 268903.9768 | 33.25 | 75.7
116308 | 2021-04-30 13:59 | 3.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.5833 | μmol/L | 15.3118 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.024 | 140482.9899 | 268906.0548 | 33.25 | 75.7
116318 | 2021-04-30 13:59 | 3.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.7877 | μmol/L | 15.3179 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.013 | 140406.8299 | 268901.6032 | 33.25 | 75.7
116328 | 2021-04-30 14:00 | 3.9986 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.9965 | μmol/L | 15.3179 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.004 | 140350.159 | 268895.9751 | 33.25 | 75.7
116338 | 2021-04-30 14:00 | 4.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.1822 | μmol/L | 15.3179 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.996 | 140278.842 | 268898.0175 | 33.25 | 75.7
116348 | 2021-04-30 14:00 | 4.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.4337 | μmol/L | 15.3241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.983 | 140219.998 | 268890.9173 | 33.25 | 75.7
116358 | 2021-04-30 14:01 | 4.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.5505 | μmol/L | 15.3302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.976 | 140145.8166 | 268889.8335 | 33.25 | 75.7
116368 | 2021-04-30 14:01 | 5.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.7321 | μmol/L | 15.3302 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.968 | 140090.4468 | 268882.2712 | 33.25 | 75.7
116378 | 2021-04-30 14:01 | 5.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.8678 | μmol/L | 15.3363 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.96 | 140040.3065 | 268889.7277 | 33.25 | 75.7
116388 | 2021-04-30 14:02 | 5.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.9102 | μmol/L | 15.3424 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.956 | 139979.4377 | 268871.551 | 33.25 | 75.7
116398 | 2021-04-30 14:02 | 6.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1435 | μmol/L | 15.3424 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.946 | 139935.9478 | 268871.3731 | 33.25 | 75.7
116408 | 2021-04-30 14:02 | 6.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.3349 | μmol/L | 15.3424 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.938 | 139894.5215 | 268877.2912 | 33.25 | 75.7
116418 | 2021-04-30 14:03 | 6.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.3542 | μmol/L | 15.3486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.935 | 139855.9089 | 268886.5648 | 33.25 | 75.7
116428 | 2021-04-30 14:03 | 7.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.3927 | μmol/L | 15.3608 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 139817.0085 | 268877.5792 | 33.25 | 75.7
116438 | 2021-04-30 14:03 | 7.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.4628 | μmol/L | 15.3608 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.926 | 139790.9461 | 268877.44 | 33.25 | 75.7
116448 | 2021-04-30 14:04 | 7.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.6494 | μmol/L | 15.3547 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.92 | 139756.1813 | 268865.7047 | 33.25 | 75.7
116458 | 2021-04-30 14:04 | 8.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.6458 | μmol/L | 15.367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.916 | 139722.3158 | 268875.3307 | 33.25 | 75.7
116468 | 2021-04-30 14:04 | 8.6646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.5949 | μmol/L | 15.3731 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.916 | 139689.037 | 268860.4286 | 33.25 | 75.7
116478 | 2021-04-30 14:05 | 8.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.7821 | μmol/L | 15.3731 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.908 | 139673.5511 | 268879.4935 | 33.25 | 75.7
116488 | 2021-04-30 14:05 | 9.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.7546 | μmol/L | 15.3792 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.907 | 139634.8184 | 268867.9965 | 33.25 | 75.7
116498 | 2021-04-30 14:05 | 9.6646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.863 | μmol/L | 15.3853 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.9 | 139619.2329 | 268868.1449 | 33.25 | 75.7
116508 | 2021-04-30 14:06 | 9.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.942 | μmol/L | 15.3792 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.899 | 139585.8774 | 268860.5789 | 33.25 | 75.7
116518 | 2021-04-30 14:06 | 10.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0271 | μmol/L | 15.3853 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.893 | 139571.015 | 268868.6083 | 33.25 | 75.7
116528 | 2021-04-30 14:06 | 10.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0511 | μmol/L | 15.3915 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.89 | 139548.3829 | 268863.7435 | 33.25 | 75.7
116538 | 2021-04-30 14:07 | 10.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0465 | μmol/L | 15.3915 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.89 | 139527.6157 | 268867.2925 | 33.25 | 75.7
116548 | 2021-04-30 14:07 | 11.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0196 | μmol/L | 15.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.887 | 139507.3879 | 268881.0695 | 33.25 | 75.7
116558 | 2021-04-30 14:07 | 11.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0899 | μmol/L | 15.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.884 | 139478.7057 | 268866.0653 | 33.25 | 75.7
116568 | 2021-04-30 14:08 | 11.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1368 | μmol/L | 15.4037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.882 | 139467.2079 | 268857.3167 | 33.25 | 75.7
116578 | 2021-04-30 14:08 | 12.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2267 | μmol/L | 15.4098 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.876 | 139447.2806 | 268851.2042 | 33.25 | 75.7
116588 | 2021-04-30 14:08 | 12.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.218 | μmol/L | 15.416 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.874 | 139429.5176 | 268859.1768 | 33.25 | 75.7
116598 | 2021-04-30 14:09 | 12.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1992 | μmol/L | 15.416 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.875 | 139423.0001 | 268858.5781 | 33.25 | 75.7
116608 | 2021-04-30 14:09 | 13.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2931 | μmol/L | 15.416 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.871 | 139406.578 | 268859.9778 | 33.25 | 75.7
116618 | 2021-04-30 14:09 | 13.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2146 | μmol/L | 15.4282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.87 | 139400.5828 | 268857.0735 | 33.25 | 75.7
116628 | 2021-04-30 14:10 | 13.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2616 | μmol/L | 15.4282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.868 | 139372.6129 | 268842.6898 | 33.25 | 75.7
116638 | 2021-04-30 14:10 | 14.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3045 | μmol/L | 15.4343 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.864 | 139370.3425 | 268847.1267 | 33.25 | 75.7
116648 | 2021-04-30 14:10 | 14.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1322 | μmol/L | 15.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.867 | 139348.1809 | 268841.2865 | 33.25 | 75.7
116658 | 2021-04-30 14:11 | 14.9981 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.32 | μmol/L | 15.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 139337.8965 | 268840.3608 | 33.25 | 75.7
116668 | 2021-04-30 14:11 | 15.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.422 | μmol/L | 15.4343 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 139314.9476 | 268835.2911 | 33.25 | 75.7
116678 | 2021-04-30 14:11 | 15.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.465 | μmol/L | 15.4405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.855 | 139300.091 | 268831.3962 | 33.25 | 75.7
116688 | 2021-04-30 14:12 | 15.9986 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2965 | μmol/L | 15.4466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.86 | 139284.2357 | 268839.5061 | 33.25 | 75.7
116698 | 2021-04-30 14:12 | 16.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4335 | μmol/L | 15.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.852 | 139274.0722 | 268840.5777 | 33.25 | 75.7
116708 | 2021-04-30 14:12 | 16.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.457 | μmol/L | 15.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.851 | 139261.9294 | 268831.09 | 33.25 | 75.7
116718 | 2021-04-30 14:13 | 16.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4295 | μmol/L | 15.4589 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 139247.7457 | 268830.7729 | 33.25 | 75.7
116728 | 2021-04-30 14:13 | 17.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3785 | μmol/L | 15.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 139234.716 | 268828.1541 | 33.25 | 75.7
116738 | 2021-04-30 14:13 | 17.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3981 | μmol/L | 15.4711 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 139232.5208 | 268817.8894 | 33.25 | 75.7
116748 | 2021-04-30 14:14 | 17.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3941 | μmol/L | 15.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.845 | 139226.7505 | 268828.5108 | 33.25 | 75.7
116758 | 2021-04-30 14:14 | 18.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3471 | μmol/L | 15.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 139209.728 | 268828.3757 | 33.25 | 75.7
116768 | 2021-04-30 14:14 | 18.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4411 | μmol/L | 15.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.843 | 139211.9533 | 268821.6555 | 33.25 | 75.7
116778 | 2021-04-30 14:15 | 18.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4137 | μmol/L | 15.4834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.842 | 139191.349 | 268812.0532 | 33.25 | 75.7
116788 | 2021-04-30 14:15 | 19.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3353 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.841 | 139182.1369 | 268819.7471 | 33.25 | 75.7
116798 | 2021-04-30 14:15 | 19.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3588 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.84 | 139165.4917 | 268808.0959 | 33.25 | 75.7
116808 | 2021-04-30 14:16 | 19.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4286 | μmol/L | 15.4895 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.839 | 139161.8774 | 268811.7222 | 33.25 | 75.7
116818 | 2021-04-30 14:16 | 20.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4717 | μmol/L | 15.4956 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.835 | 139150.2744 | 268813.5765 | 33.25 | 75.7
116828 | 2021-04-30 14:16 | 20.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4019 | μmol/L | 15.5017 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.836 | 139140.2294 | 268816.8222 | 33.25 | 75.7
116838 | 2021-04-30 14:17 | 20.9981 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4724 | μmol/L | 15.5017 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.833 | 139128.8084 | 268811.5407 | 33.25 | 75.7
116848 | 2021-04-30 14:17 | 21.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5155 | μmol/L | 15.5079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.829 | 139105.677 | 268795.5309 | 33.25 | 75.7
116858 | 2021-04-30 14:17 | 21.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5116 | μmol/L | 15.514 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.827 | 139098.2055 | 268797.1026 | 33.25 | 75.7
116868 | 2021-04-30 14:18 | 21.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4842 | μmol/L | 15.5201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.826 | 139088.5469 | 268794.6721 | 33.25 | 75.7
116878 | 2021-04-30 14:18 | 22.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3314 | μmol/L | 15.5385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.826 | 139075.4598 | 268801.3777 | 33.25 | 75.7
116888 | 2021-04-30 14:18 | 22.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.6018 | μmol/L | 15.5201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.821 | 139059.4467 | 268801.4075 | 33.25 | 75.7
116898 | 2021-04-30 14:19 | 22.9983 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5508 | μmol/L | 15.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.821 | 139038.5066 | 268797.0199 | 33.25 | 75.7
116908 | 2021-04-30 14:19 | 23.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5744 | μmol/L | 15.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 139028.3198 | 268791.3118 | 33.25 | 75.7
116918 | 2021-04-30 14:19 | 23.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5273 | μmol/L | 15.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.822 | 139016.6024 | 268796.9135 | 33.25 | 75.7
116928 | 2021-04-30 14:20 | 23.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4215 | μmol/L | 15.5446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.82 | 139015.9609 | 268783.3776 | 33.25 | 75.7
116938 | 2021-04-30 14:20 | 24.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4921 | μmol/L | 15.5446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.817 | 139006.8175 | 268796.0185 | 33.25 | 75.7
116948 | 2021-04-30 14:20 | 24.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5588 | μmol/L | 15.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.812 | 138994.2155 | 268790.4165 | 33.25 | 75.7
116958 | 2021-04-30 14:21 | 24.9981 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5118 | μmol/L | 15.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.814 | 138991.9417 | 268785.6546 | 33.25 | 75.7
116968 | 2021-04-30 14:21 | 25.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.6295 | μmol/L | 15.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138991.1315 | 268794.6074 | 33.25 | 75.7
116978 | 2021-04-30 14:21 | 25.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5118 | μmol/L | 15.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.814 | 138970.6255 | 268784.3623 | 33.25 | 75.7
116988 | 2021-04-30 14:22 | 25.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.5276 | μmol/L | 15.563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138963.8387 | 268777.7215 | 33.25 | 75.7
116998 | 2021-04-30 14:22 | 26.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.519 | μmol/L | 15.5691 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.807 | 138961.0887 | 268785.5423 | 33.25 | 75.7
117008 | 2021-04-30 14:22 | 26.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.4719 | μmol/L | 15.5691 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138952.516 | 268784.5902 | 33.25 | 75.7
117018 | 2021-04-30 14:23 | 26.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.421 | μmol/L | 15.5753 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138948.8314 | 268774.7095 | 33.25 | 75.7
117028 | 2021-04-30 14:23 | 27.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3975 | μmol/L | 15.5753 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.81 | 138943.5389 | 268784.4108 | 33.25 | 75.7
117038 | 2021-04-30 14:23 | 27.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3192 | μmol/L | 15.5875 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138943.1244 | 268783.38 | 33.25 | 75.7
117048 | 2021-04-30 14:24 | 27.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.418 | μmol/L | 15.5875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.805 | 138937.4008 | 268777.1196 | 33.25 | 75.7
117058 | 2021-04-30 14:24 | 28.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3663 | μmol/L | 15.5875 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.807 | 138937.3916 | 268783.4914 | 33.25 | 75.7
117068 | 2021-04-30 14:24 | 28.6651 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3201 | μmol/L | 15.5936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.807 | 138934.5861 | 268777.1873 | 33.25 | 75.7
117078 | 2021-04-30 14:25 | 28.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3048 | μmol/L | 15.6182 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.799 | 138906.1492 | 268777.8259 | 33.25 | 75.7
117088 | 2021-04-30 14:25 | 29.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1082 | μmol/L | 15.6243 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.805 | 138905.1031 | 268778.0546 | 33.25 | 75.7
117098 | 2021-04-30 14:25 | 29.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.301 | μmol/L | 15.6243 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 138887.4443 | 268776.7183 | 33.25 | 75.7
117108 | 2021-04-30 14:26 | 29.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1599 | μmol/L | 15.6243 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.803 | 138898.0505 | 268777.1003 | 33.25 | 75.7
117118 | 2021-04-30 14:26 | 30.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3322 | μmol/L | 15.612 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 138900.6616 | 268767.0844 | 33.25 | 75.7
117128 | 2021-04-30 14:26 | 30.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1561 | μmol/L | 15.6304 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.801 | 138892.0103 | 268779.1368 | 33.25 | 75.7
117138 | 2021-04-30 14:27 | 30.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2305 | μmol/L | 15.6243 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 138885.7309 | 268765.1634 | 33.25 | 75.7
117148 | 2021-04-30 14:27 | 31.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2031 | μmol/L | 15.6304 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.799 | 138887.3022 | 268767.5145 | 33.25 | 75.7
117158 | 2021-04-30 14:27 | 31.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2229 | μmol/L | 15.6365 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 138871.8084 | 268755.8956 | 33.25 | 75.7
117168 | 2021-04-30 14:28 | 31.9985 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1288 | μmol/L | 15.6365 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.8 | 138876.5661 | 268751.6494 | 33.25 | 75.7
117178 | 2021-04-30 14:28 | 32.3319 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0977 | μmol/L | 15.6488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 138876.2547 | 268767.5727 | 33.25 | 75.7
117188 | 2021-04-30 14:28 | 32.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2464 | μmol/L | 15.6365 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.795 | 138872.0423 | 268752.4371 | 33.25 | 75.7
117198 | 2021-04-30 14:29 | 32.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1212 | μmol/L | 15.6488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 138869.0707 | 268758.9139 | 33.25 | 75.7
117208 | 2021-04-30 14:29 | 33.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9529 | μmol/L | 15.6549 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.801 | 138856.3838 | 268757.616 | 33.25 | 75.7
117218 | 2021-04-30 14:29 | 33.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1212 | μmol/L | 15.6488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 138860.9148 | 268748.7152 | 33.25 | 75.7
117228 | 2021-04-30 14:30 | 33.9981 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0469 | μmol/L | 15.6549 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 138860.8352 | 268740.0222 | 33.25 | 75.7
117238 | 2021-04-30 14:30 | 34.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0469 | μmol/L | 15.6549 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 138853.7279 | 268745.2477 | 33.25 | 75.7
117248 | 2021-04-30 14:30 | 34.6652 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0666 | μmol/L | 15.661 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.794 | 138854.2957 | 268745.9637 | 33.25 | 75.7
117258 | 2021-04-30 14:31 | 34.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0196 | μmol/L | 15.661 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.796 | 138845.3694 | 268747.6151 | 33.25 | 75.7
117268 | 2021-04-30 14:31 | 35.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9454 | μmol/L | 15.6672 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.797 | 138842.7585 | 268737.2518 | 33.25 | 75.7
117278 | 2021-04-30 14:31 | 35.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9924 | μmol/L | 15.6672 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.795 | 138840.4588 | 268741.1909 | 33.25 | 75.7
117288 | 2021-04-30 14:32 | 35.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9924 | μmol/L | 15.6672 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.795 | 138838.7163 | 268741.2596 | 33.25 | 75.7
117298 | 2021-04-30 14:32 | 36.332 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9886 | μmol/L | 15.6733 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.793 | 138839.0364 | 268736.1914 | 33.25 | 75.7