## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116209 | 2021-04-30 13:56 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.2535 | μmol/L | 15.3073 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.742 | 125160.5947 | 292078.3373 | 59.9307 | 38.1
116219 | 2021-04-30 13:56 | 0.34101 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7736 | μmol/L | 15.3073 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.718 | 125006.3545 | 292080.4559 | 59.9307 | 38.1
116229 | 2021-04-30 13:56 | 0.67415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.3465 | μmol/L | 15.2951 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.696 | 124844.6894 | 292060.2314 | 59.9307 | 38.1
116239 | 2021-04-30 13:57 | 1.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.8911 | μmol/L | 15.2951 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.671 | 124686.7412 | 292063.2008 | 59.9307 | 38.1
116249 | 2021-04-30 13:57 | 1.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.3973 | μmol/L | 15.289 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.65 | 124539.0714 | 292050.7552 | 59.9307 | 38.1
116259 | 2021-04-30 13:57 | 1.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.9267 | μmol/L | 15.2829 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.628 | 124396.749 | 292066.4194 | 59.9307 | 38.1
116269 | 2021-04-30 13:58 | 2.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.2478 | μmol/L | 15.2951 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.609 | 124272.4703 | 292055.6054 | 59.9307 | 38.1
116279 | 2021-04-30 13:58 | 2.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6474 | μmol/L | 15.289 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.593 | 124178.7231 | 292056.954 | 59.9307 | 38.1
116289 | 2021-04-30 13:58 | 2.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9775 | μmol/L | 15.289 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.578 | 124090.686 | 292040.4998 | 59.9307 | 38.1
116299 | 2021-04-30 13:59 | 3.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0578 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.57 | 124020.6893 | 292056.9903 | 59.9307 | 38.1
116309 | 2021-04-30 13:59 | 3.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.2783 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.56 | 123965.0871 | 292061.915 | 59.9307 | 38.1
116319 | 2021-04-30 13:59 | 3.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.5654 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.547 | 123902.4446 | 292068.9243 | 59.9307 | 38.1
116329 | 2021-04-30 14:00 | 4.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.7643 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.538 | 123830.8773 | 292059.8661 | 59.9307 | 38.1
116339 | 2021-04-30 14:00 | 4.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.9895 | μmol/L | 15.2951 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.53 | 123762.3557 | 292059.5265 | 59.9307 | 38.1
116349 | 2021-04-30 14:00 | 4.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.181 | μmol/L | 15.3073 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.517 | 123694.6304 | 292027.8281 | 59.9307 | 38.1
116359 | 2021-04-30 14:01 | 5.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.3805 | μmol/L | 15.3073 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.508 | 123634.6154 | 292036.8356 | 59.9307 | 38.1
116369 | 2021-04-30 14:01 | 5.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.4876 | μmol/L | 15.3134 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.501 | 123584.6142 | 292050.4828 | 59.9307 | 38.1
116379 | 2021-04-30 14:01 | 5.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.7096 | μmol/L | 15.3134 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.491 | 123523.3928 | 292045.8806 | 59.9307 | 38.1
116389 | 2021-04-30 14:02 | 6.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.7724 | μmol/L | 15.3195 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.486 | 123480.5084 | 292042.2165 | 59.9307 | 38.1
116399 | 2021-04-30 14:02 | 6.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.9725 | μmol/L | 15.3195 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.477 | 123442.812 | 292049.6033 | 59.9307 | 38.1
116409 | 2021-04-30 14:02 | 6.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.0577 | μmol/L | 15.3256 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.471 | 123407.9004 | 292042.7852 | 59.9307 | 38.1
116419 | 2021-04-30 14:03 | 7.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.0983 | μmol/L | 15.3317 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.467 | 123368.1574 | 292043.7374 | 59.9307 | 38.1
116429 | 2021-04-30 14:03 | 7.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.2281 | μmol/L | 15.3378 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.459 | 123330.8406 | 292036.1099 | 59.9307 | 38.1
116439 | 2021-04-30 14:03 | 7.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.2688 | μmol/L | 15.3439 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.455 | 123300.8564 | 292031.2675 | 59.9307 | 38.1
116449 | 2021-04-30 14:04 | 8.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.3133 | μmol/L | 15.3439 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.453 | 123274.5618 | 292036.031 | 59.9307 | 38.1
116459 | 2021-04-30 14:04 | 8.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5586 | μmol/L | 15.3439 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.442 | 123242.5539 | 292041.0491 | 59.9307 | 38.1
116469 | 2021-04-30 14:04 | 8.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6217 | μmol/L | 15.35 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.437 | 123224.3149 | 292037.4028 | 59.9307 | 38.1
116479 | 2021-04-30 14:05 | 9.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6217 | μmol/L | 15.35 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.437 | 123197.2551 | 292040.8047 | 59.9307 | 38.1
116489 | 2021-04-30 14:05 | 9.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6402 | μmol/L | 15.3561 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.434 | 123184.6788 | 292023.7215 | 59.9307 | 38.1
116499 | 2021-04-30 14:05 | 9.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6179 | μmol/L | 15.3561 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.435 | 123157.8261 | 292022.1506 | 59.9307 | 38.1
116509 | 2021-04-30 14:06 | 10.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7257 | μmol/L | 15.3622 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.428 | 123143.4123 | 292039.1165 | 59.9307 | 38.1
116519 | 2021-04-30 14:06 | 10.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6773 | μmol/L | 15.3683 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.428 | 123115.7194 | 292017.3979 | 59.9307 | 38.1
116529 | 2021-04-30 14:06 | 10.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.856 | μmol/L | 15.3683 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.42 | 123101.1093 | 292025.9875 | 59.9307 | 38.1
116539 | 2021-04-30 14:07 | 11.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.856 | μmol/L | 15.3683 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.42 | 123084.3467 | 292017.2497 | 59.9307 | 38.1
116549 | 2021-04-30 14:07 | 11.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9677 | μmol/L | 15.3683 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.415 | 123060.7506 | 292014.9316 | 59.9307 | 38.1
116559 | 2021-04-30 14:07 | 11.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9416 | μmol/L | 15.3744 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.414 | 123052.1367 | 292012.0581 | 59.9307 | 38.1
116569 | 2021-04-30 14:08 | 12.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9378 | μmol/L | 15.3805 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.412 | 123024.5699 | 292011.4396 | 59.9307 | 38.1
116579 | 2021-04-30 14:08 | 12.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9378 | μmol/L | 15.3805 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.412 | 123018.0809 | 292023.1119 | 59.9307 | 38.1
116589 | 2021-04-30 14:08 | 12.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.934 | μmol/L | 15.3866 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.41 | 123009.3508 | 292010.5223 | 59.9307 | 38.1
116599 | 2021-04-30 14:09 | 13.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9526 | μmol/L | 15.3927 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.407 | 122993.2539 | 292007.3716 | 59.9307 | 38.1
116609 | 2021-04-30 14:09 | 13.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9935 | μmol/L | 15.3988 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.403 | 122983.345 | 292003.3507 | 59.9307 | 38.1
116619 | 2021-04-30 14:09 | 13.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0606 | μmol/L | 15.3988 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.4 | 122963.5879 | 292009.171 | 59.9307 | 38.1
116629 | 2021-04-30 14:10 | 14.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1054 | μmol/L | 15.3988 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.398 | 122941.9261 | 292008.9411 | 59.9307 | 38.1
116639 | 2021-04-30 14:10 | 14.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1278 | μmol/L | 15.3988 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.397 | 122930.7666 | 291997.9719 | 59.9307 | 38.1
116649 | 2021-04-30 14:10 | 14.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1426 | μmol/L | 15.411 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.392 | 122923.5559 | 291988.8961 | 59.9307 | 38.1
116659 | 2021-04-30 14:11 | 15.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0941 | μmol/L | 15.4171 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.392 | 122916.2738 | 292003.6564 | 59.9307 | 38.1
116669 | 2021-04-30 14:11 | 15.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1202 | μmol/L | 15.411 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.393 | 122902.1957 | 291992.5666 | 59.9307 | 38.1
116679 | 2021-04-30 14:11 | 15.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.165 | μmol/L | 15.411 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.391 | 122892.8889 | 291986.6203 | 59.9307 | 38.1
116689 | 2021-04-30 14:12 | 16.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1351 | μmol/L | 15.4232 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.388 | 122888.9311 | 291986.9038 | 59.9307 | 38.1
116699 | 2021-04-30 14:12 | 16.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1799 | μmol/L | 15.4232 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.386 | 122874.8033 | 291990.724 | 59.9307 | 38.1
116709 | 2021-04-30 14:12 | 16.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2247 | μmol/L | 15.4232 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.384 | 122879.9917 | 291997.1641 | 59.9307 | 38.1
116719 | 2021-04-30 14:13 | 17.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1985 | μmol/L | 15.4293 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.383 | 122866.6926 | 291998.1354 | 59.9307 | 38.1
116729 | 2021-04-30 14:13 | 17.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1538 | μmol/L | 15.4293 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.385 | 122858.9857 | 291980.1028 | 59.9307 | 38.1
116739 | 2021-04-30 14:13 | 17.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1463 | μmol/L | 15.4415 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.381 | 122854.2669 | 291985.0689 | 59.9307 | 38.1
116749 | 2021-04-30 14:14 | 18.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1687 | μmol/L | 15.4415 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.38 | 122847.5657 | 291979.8988 | 59.9307 | 38.1
116759 | 2021-04-30 14:14 | 18.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0269 | μmol/L | 15.4537 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.382 | 122831.7093 | 291968.6166 | 59.9307 | 38.1
116769 | 2021-04-30 14:14 | 18.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0941 | μmol/L | 15.4537 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.379 | 122818.3298 | 291974.7229 | 59.9307 | 38.1
116779 | 2021-04-30 14:15 | 19.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1351 | μmol/L | 15.4598 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.375 | 122810.6046 | 291980.1707 | 59.9307 | 38.1
116789 | 2021-04-30 14:15 | 19.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1836 | μmol/L | 15.4537 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.375 | 122802.5559 | 291982.8639 | 59.9307 | 38.1
116799 | 2021-04-30 14:15 | 19.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1762 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.371 | 122797.4357 | 291974.6777 | 59.9307 | 38.1
116809 | 2021-04-30 14:16 | 20.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1762 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.371 | 122784.3935 | 291965.833 | 59.9307 | 38.1
116819 | 2021-04-30 14:16 | 20.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2695 | μmol/L | 15.4598 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.369 | 122772.8955 | 291962.8915 | 59.9307 | 38.1
116829 | 2021-04-30 14:16 | 20.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1762 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.371 | 122769.0955 | 291958.6517 | 59.9307 | 38.1
116839 | 2021-04-30 14:17 | 21.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1538 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.372 | 122774.2422 | 291971.4711 | 59.9307 | 38.1
116849 | 2021-04-30 14:17 | 21.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1053 | μmol/L | 15.472 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.372 | 122769.4788 | 291965.7102 | 59.9307 | 38.1
116859 | 2021-04-30 14:17 | 21.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1949 | μmol/L | 15.472 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.368 | 122767.6522 | 291970.9862 | 59.9307 | 38.1
116869 | 2021-04-30 14:18 | 22.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1651 | μmol/L | 15.4842 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.365 | 122757.9847 | 291969.6505 | 59.9307 | 38.1
116879 | 2021-04-30 14:18 | 22.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0532 | μmol/L | 15.4842 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.37 | 122763.5773 | 291974.1588 | 59.9307 | 38.1
116889 | 2021-04-30 14:18 | 22.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1651 | μmol/L | 15.4842 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.365 | 122755.5845 | 291963.9452 | 59.9307 | 38.1
116899 | 2021-04-30 14:19 | 23.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0271 | μmol/L | 15.4903 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.369 | 122753.3919 | 291959.2196 | 59.9307 | 38.1
116909 | 2021-04-30 14:19 | 23.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0719 | μmol/L | 15.4903 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.367 | 122755.0525 | 291954.7053 | 59.9307 | 38.1
116919 | 2021-04-30 14:19 | 23.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1391 | μmol/L | 15.4903 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.364 | 122739.6474 | 291948.628 | 59.9307 | 38.1
116929 | 2021-04-30 14:20 | 24.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0682 | μmol/L | 15.4964 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.365 | 122747.9078 | 291959.7081 | 59.9307 | 38.1
116939 | 2021-04-30 14:20 | 24.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0645 | μmol/L | 15.5025 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.363 | 122745.4967 | 291956.4721 | 59.9307 | 38.1
116949 | 2021-04-30 14:20 | 24.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0385 | μmol/L | 15.5086 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.362 | 122740.6964 | 291953.4372 | 59.9307 | 38.1
116959 | 2021-04-30 14:21 | 25.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0161 | μmol/L | 15.5086 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.363 | 122747.5744 | 291949.0049 | 59.9307 | 38.1
116969 | 2021-04-30 14:21 | 25.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0385 | μmol/L | 15.5086 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.362 | 122739.2068 | 291954.216 | 59.9307 | 38.1
116979 | 2021-04-30 14:21 | 25.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0348 | μmol/L | 15.5147 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.36 | 122734.0729 | 291943.7629 | 59.9307 | 38.1
116989 | 2021-04-30 14:22 | 26.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.964 | μmol/L | 15.5208 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.361 | 122736.5859 | 291946.7629 | 59.9307 | 38.1
116999 | 2021-04-30 14:22 | 26.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.938 | μmol/L | 15.5269 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.36 | 122732.2886 | 291948.4003 | 59.9307 | 38.1
117009 | 2021-04-30 14:22 | 26.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8932 | μmol/L | 15.5269 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.362 | 122732.901 | 291949.2373 | 59.9307 | 38.1
117019 | 2021-04-30 14:23 | 27.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9603 | μmol/L | 15.5269 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.359 | 122724.1672 | 291940.2449 | 59.9307 | 38.1
117029 | 2021-04-30 14:23 | 27.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8412 | μmol/L | 15.5391 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.36 | 122728.7033 | 291940.6305 | 59.9307 | 38.1
117039 | 2021-04-30 14:23 | 27.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8188 | μmol/L | 15.5391 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.361 | 122708.0282 | 291927.0393 | 59.9307 | 38.1
117049 | 2021-04-30 14:24 | 28.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7112 | μmol/L | 15.5696 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.355 | 122680.5235 | 291949.4721 | 59.9307 | 38.1
117059 | 2021-04-30 14:24 | 28.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9791 | μmol/L | 15.533 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.356 | 122692.8505 | 291938.6505 | 59.9307 | 38.1
117069 | 2021-04-30 14:24 | 28.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0166 | μmol/L | 15.5452 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.35 | 122677.3068 | 291943.6822 | 59.9307 | 38.1
117079 | 2021-04-30 14:25 | 29.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.875 | μmol/L | 15.5574 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.352 | 122668.5646 | 291936.7027 | 59.9307 | 38.1
117089 | 2021-04-30 14:25 | 29.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0353 | μmol/L | 15.5513 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.347 | 122661.9501 | 291928.7287 | 59.9307 | 38.1
117099 | 2021-04-30 14:25 | 29.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9645 | μmol/L | 15.5574 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.348 | 122658.0054 | 291944.4653 | 59.9307 | 38.1
117109 | 2021-04-30 14:26 | 30.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9422 | μmol/L | 15.5574 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122653.6594 | 291926.4985 | 59.9307 | 38.1
117119 | 2021-04-30 14:26 | 30.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9162 | μmol/L | 15.5635 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.348 | 122667.4611 | 291943.9948 | 59.9307 | 38.1
117129 | 2021-04-30 14:26 | 30.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9162 | μmol/L | 15.5635 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.348 | 122658.2964 | 291935.48 | 59.9307 | 38.1
117139 | 2021-04-30 14:27 | 31.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.797 | μmol/L | 15.5757 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122657.1109 | 291925.6647 | 59.9307 | 38.1
117149 | 2021-04-30 14:27 | 31.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8454 | μmol/L | 15.5696 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122656.1817 | 291917.4329 | 59.9307 | 38.1
117159 | 2021-04-30 14:27 | 31.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.797 | μmol/L | 15.5757 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122639.9299 | 291897.8844 | 59.9307 | 38.1
117169 | 2021-04-30 14:28 | 32.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7263 | μmol/L | 15.5818 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.35 | 122653.8047 | 291924.0999 | 59.9307 | 38.1
117179 | 2021-04-30 14:28 | 32.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.797 | μmol/L | 15.5757 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122662.7996 | 291919.2639 | 59.9307 | 38.1
117189 | 2021-04-30 14:28 | 32.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7675 | μmol/L | 15.5879 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.346 | 122659.1345 | 291922.7797 | 59.9307 | 38.1
117199 | 2021-04-30 14:29 | 33.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7003 | μmol/L | 15.5879 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122658.6296 | 291920.7744 | 59.9307 | 38.1
117209 | 2021-04-30 14:29 | 33.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6261 | μmol/L | 15.6001 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.348 | 122662.9399 | 291923.5759 | 59.9307 | 38.1
117219 | 2021-04-30 14:29 | 33.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6932 | μmol/L | 15.6001 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.345 | 122668.0272 | 291915.7762 | 59.9307 | 38.1
117229 | 2021-04-30 14:30 | 34.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.559 | μmol/L | 15.6001 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.351 | 122651.0991 | 291909.79 | 59.9307 | 38.1
117239 | 2021-04-30 14:30 | 34.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5071 | μmol/L | 15.6123 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122654.7541 | 291914.2776 | 59.9307 | 38.1
117249 | 2021-04-30 14:30 | 34.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.4848 | μmol/L | 15.6123 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.35 | 122660.3029 | 291899.3746 | 59.9307 | 38.1
117259 | 2021-04-30 14:31 | 35.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5295 | μmol/L | 15.6123 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.348 | 122656.8304 | 291905.323 | 59.9307 | 38.1
117269 | 2021-04-30 14:31 | 35.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5554 | μmol/L | 15.6062 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.349 | 122642.7536 | 291901.1703 | 59.9307 | 38.1
117279 | 2021-04-30 14:31 | 35.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5295 | μmol/L | 15.6123 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.348 | 122654.636 | 291903.0328 | 59.9307 | 38.1
117289 | 2021-04-30 14:32 | 36.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5223 | μmol/L | 15.6245 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.344 | 122651.9088 | 291898.9276 | 59.9307 | 38.1
117299 | 2021-04-30 14:32 | 36.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.5259 | μmol/L | 15.6184 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.346 | 122653.8053 | 291904.1202 | 59.9307 | 38.1