## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116212 | 2021-04-30 13:56 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6498 | μmol/L | 15.3284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.139 | 120123.1596 | 266644.8756 | 36.4 | 83.1
116222 | 2021-04-30 13:56 | 0.33374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0207 | μmol/L | 15.3223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.126 | 120023.5614 | 266639.4291 | 36.4 | 83.1
116232 | 2021-04-30 13:56 | 0.66674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1667 | μmol/L | 15.3223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.12 | 119956.872 | 266657.4536 | 36.4 | 83.1
116242 | 2021-04-30 13:57 | 0.99983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2885 | μmol/L | 15.3223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.115 | 119927.0872 | 266646.6812 | 36.4 | 83.1
116252 | 2021-04-30 13:57 | 1.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2641 | μmol/L | 15.3223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.116 | 119912.2732 | 266640.0997 | 36.4 | 83.1
116262 | 2021-04-30 13:57 | 1.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1118 | μmol/L | 15.3284 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.12 | 119919.9993 | 266648.0299 | 36.4 | 83.1
116272 | 2021-04-30 13:58 | 2.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0569 | μmol/L | 15.3346 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.12 | 119959.0391 | 266647.8682 | 36.4 | 83.1
116282 | 2021-04-30 13:58 | 2.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9353 | μmol/L | 15.3346 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.125 | 119977.1507 | 266651.6961 | 36.4 | 83.1
116292 | 2021-04-30 13:58 | 2.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6797 | μmol/L | 15.3468 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.131 | 119999.0722 | 266656.2003 | 36.4 | 83.1
116302 | 2021-04-30 13:59 | 3.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6554 | μmol/L | 15.3468 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.132 | 120011.2299 | 266632.5404 | 36.4 | 83.1
116312 | 2021-04-30 13:59 | 3.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6554 | μmol/L | 15.3468 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.132 | 120014.5191 | 266642.311 | 36.4 | 83.1
116322 | 2021-04-30 13:59 | 3.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6492 | μmol/L | 15.3529 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.13 | 119980.8606 | 266624.8596 | 36.4 | 83.1
116332 | 2021-04-30 14:00 | 4 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8985 | μmol/L | 15.3468 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.122 | 119955.13 | 266633.4529 | 36.4 | 83.1
116342 | 2021-04-30 14:00 | 4.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0688 | μmol/L | 15.3468 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.115 | 119927.3863 | 266638.4268 | 36.4 | 83.1
116352 | 2021-04-30 14:00 | 4.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9835 | μmol/L | 15.359 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.114 | 119898.0208 | 266633.2877 | 36.4 | 83.1
116362 | 2021-04-30 14:01 | 4.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2698 | μmol/L | 15.3407 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.109 | 119898.9129 | 266630.0196 | 36.4 | 83.1
116372 | 2021-04-30 14:01 | 5.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2513 | μmol/L | 15.359 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.103 | 119834.88 | 266617.7791 | 36.4 | 83.1
116382 | 2021-04-30 14:01 | 5.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.3962 | μmol/L | 15.3651 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.095 | 119783.0873 | 266632.6612 | 36.4 | 83.1
116392 | 2021-04-30 14:02 | 6.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6291 | μmol/L | 15.3713 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.083 | 119732.3578 | 266632.9705 | 36.4 | 83.1
116402 | 2021-04-30 14:02 | 6.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6828 | μmol/L | 15.3713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.081 | 119690.819 | 266634.1837 | 36.4 | 83.1
116412 | 2021-04-30 14:02 | 6.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.7694 | μmol/L | 15.3774 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.075 | 119654.5381 | 266630.4299 | 36.4 | 83.1
116422 | 2021-04-30 14:03 | 7.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.872 | μmol/L | 15.3774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.071 | 119636.9415 | 266627.8084 | 36.4 | 83.1
116432 | 2021-04-30 14:03 | 7.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6949 | μmol/L | 15.3835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.076 | 119662.3117 | 266616.1007 | 36.4 | 83.1
116442 | 2021-04-30 14:03 | 7.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4216 | μmol/L | 15.3835 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.087 | 119732.1299 | 266622.5291 | 36.4 | 83.1
116452 | 2021-04-30 14:04 | 8.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.9514 | μmol/L | 15.3957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.102 | 119836.195 | 266624.593 | 36.4 | 83.1
116462 | 2021-04-30 14:04 | 8.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.6109 | μmol/L | 15.3957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 119914.3919 | 266635.4213 | 36.4 | 83.1
116472 | 2021-04-30 14:04 | 8.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4166 | μmol/L | 15.3957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.124 | 119960.6269 | 266634.0044 | 36.4 | 83.1
116482 | 2021-04-30 14:05 | 9.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.435 | μmol/L | 15.3774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.13 | 119988.3128 | 266628.659 | 36.4 | 83.1
116492 | 2021-04-30 14:05 | 9.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.81 | μmol/L | 15.4202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.14 | 120063.9067 | 266625.6884 | 36.4 | 83.1
116502 | 2021-04-30 14:05 | 9.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8465 | μmol/L | 15.408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.143 | 120082.7274 | 266625.3936 | 36.4 | 83.1
116512 | 2021-04-30 14:06 | 9.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0584 | μmol/L | 15.4141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.132 | 120010.3237 | 266624.0427 | 36.4 | 83.1
116522 | 2021-04-30 14:06 | 10.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3555 | μmol/L | 15.4324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.113 | 119889.5767 | 266619.3107 | 36.4 | 83.1
116532 | 2021-04-30 14:06 | 10.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4467 | μmol/L | 15.4141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 119911.3931 | 266619.3304 | 36.4 | 83.1
116542 | 2021-04-30 14:07 | 11.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4102 | μmol/L | 15.4263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.113 | 119916.5651 | 266610.0667 | 36.4 | 83.1
116552 | 2021-04-30 14:07 | 11.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0885 | μmol/L | 15.4324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.124 | 119956.4569 | 266617.9301 | 36.4 | 83.1
116562 | 2021-04-30 14:07 | 11.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9977 | μmol/L | 15.4263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.13 | 120000.661 | 266602.1297 | 36.4 | 83.1
116572 | 2021-04-30 14:08 | 12.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7141 | μmol/L | 15.4386 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.137 | 120037.4105 | 266609.663 | 36.4 | 83.1
116582 | 2021-04-30 14:08 | 12.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1016 | μmol/L | 15.3713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.146 | 120109.6905 | 266606.6648 | 36.4 | 83.1
116592 | 2021-04-30 14:08 | 12.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4109 | μmol/L | 15.408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.161 | 120188.953 | 266613.5857 | 36.4 | 83.1
116602 | 2021-04-30 14:09 | 13.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1021 | μmol/L | 15.4508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.158 | 120183.9262 | 266606.712 | 36.4 | 83.1
116612 | 2021-04-30 14:09 | 13.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.078 | μmol/L | 15.4508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.159 | 120178.087 | 266607.386 | 36.4 | 83.1
116622 | 2021-04-30 14:09 | 13.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2049 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.156 | 120169.4341 | 266613.5695 | 36.4 | 83.1
116632 | 2021-04-30 14:10 | 14.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0358 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.163 | 120193.4619 | 266599.0762 | 36.4 | 83.1
116642 | 2021-04-30 14:10 | 14.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6981 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.177 | 120273.8141 | 266598.7327 | 36.4 | 83.1
116652 | 2021-04-30 14:10 | 14.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7042 | μmol/L | 15.4386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.179 | 120287.0752 | 266599.7819 | 36.4 | 83.1
116662 | 2021-04-30 14:11 | 15.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6017 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.181 | 120289.6425 | 266603.9058 | 36.4 | 83.1
116672 | 2021-04-30 14:11 | 15.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7288 | μmol/L | 15.4141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.187 | 120374.4193 | 266597.4202 | 36.4 | 83.1
116682 | 2021-04-30 14:11 | 15.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1025 | μmol/L | 15.4263 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.167 | 120228.7748 | 266598.1744 | 36.4 | 83.1
116692 | 2021-04-30 14:12 | 16.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2171 | μmol/L | 15.4324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.16 | 120170.9502 | 266596.9076 | 36.4 | 83.1
116702 | 2021-04-30 14:12 | 16.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3318 | μmol/L | 15.4386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.153 | 120127.8594 | 266583.1358 | 36.4 | 83.1
116712 | 2021-04-30 14:12 | 16.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8158 | μmol/L | 15.4386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.133 | 120012.3017 | 266599.3706 | 36.4 | 83.1
116722 | 2021-04-30 14:13 | 17 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0594 | μmol/L | 15.4324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.125 | 119959.9435 | 266585.4131 | 36.4 | 83.1
116732 | 2021-04-30 14:13 | 17.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0824 | μmol/L | 15.4386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.122 | 119960.0811 | 266577.8733 | 36.4 | 83.1
116742 | 2021-04-30 14:13 | 17.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.852 | μmol/L | 15.4508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.127 | 119958.0922 | 266563.2762 | 36.4 | 83.1
116752 | 2021-04-30 14:14 | 18.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7612 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.133 | 119991.2805 | 266583.9702 | 36.4 | 83.1
116762 | 2021-04-30 14:14 | 18.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4476 | μmol/L | 15.463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.139 | 120041.2246 | 266566.9083 | 36.4 | 83.1
116772 | 2021-04-30 14:14 | 18.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1924 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.143 | 120075.2117 | 266553.5295 | 36.4 | 83.1
116782 | 2021-04-30 14:15 | 19.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1682 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.144 | 120095.0384 | 266569.1998 | 36.4 | 83.1
116792 | 2021-04-30 14:15 | 19.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8122 | μmol/L | 15.4753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.161 | 120186.6444 | 266574.6179 | 36.4 | 83.1
116802 | 2021-04-30 14:15 | 19.6666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5228 | μmol/L | 15.4753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.173 | 120246.1923 | 266557.6048 | 36.4 | 83.1
116812 | 2021-04-30 14:16 | 20.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2519 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.182 | 120306.6986 | 266562.9116 | 36.4 | 83.1
116822 | 2021-04-30 14:16 | 20.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9392 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.195 | 120389.8729 | 266552.3555 | 36.4 | 83.1
116832 | 2021-04-30 14:16 | 20.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4351 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.216 | 120495.8177 | 266557.4207 | 36.4 | 83.1
116842 | 2021-04-30 14:17 | 21.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9499 | μmol/L | 15.4875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.234 | 120606.5645 | 266561.2678 | 36.4 | 83.1
116852 | 2021-04-30 14:17 | 21.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9137 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.231 | 120597.2352 | 266567.4635 | 36.4 | 83.1
116862 | 2021-04-30 14:17 | 21.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1832 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.222 | 120547.9048 | 266552.3399 | 36.4 | 83.1
116872 | 2021-04-30 14:18 | 22.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2303 | μmol/L | 15.5426 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.202 | 120431.1711 | 266562.4002 | 36.4 | 83.1
116882 | 2021-04-30 14:18 | 22.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3839 | μmol/L | 15.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.163 | 120209.8377 | 266561.0648 | 36.4 | 83.1
116892 | 2021-04-30 14:18 | 22.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5768 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.164 | 120173.052 | 266558.0193 | 36.4 | 83.1
116902 | 2021-04-30 14:19 | 23 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3302 | μmol/L | 15.4753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.181 | 120280.6369 | 266543.0531 | 36.4 | 83.1
116912 | 2021-04-30 14:19 | 23.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4714 | μmol/L | 15.4692 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.219 | 120537.5165 | 266533.3873 | 36.4 | 83.1
116922 | 2021-04-30 14:19 | 23.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4974 | μmol/L | 15.4386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.271 | 120831.3618 | 266535.7251 | 36.4 | 83.1
116932 | 2021-04-30 14:20 | 24 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.0131 | μmol/L | 15.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.304 | 121039.3509 | 266545.1833 | 36.4 | 83.1
116942 | 2021-04-30 14:20 | 24.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8172 | μmol/L | 15.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.31 | 121080.4476 | 266540.7687 | 36.4 | 83.1
116952 | 2021-04-30 14:20 | 24.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1915 | μmol/L | 15.5059 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.301 | 121041.3702 | 266546.5703 | 36.4 | 83.1
116962 | 2021-04-30 14:21 | 25.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1027 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 121068.8119 | 266542.2628 | 36.4 | 83.1
116972 | 2021-04-30 14:21 | 25.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2698 | μmol/L | 15.4753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.309 | 121057.7494 | 266530.259 | 36.4 | 83.1
116982 | 2021-04-30 14:21 | 25.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7276 | μmol/L | 15.4692 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.292 | 120987.7044 | 266538.4521 | 36.4 | 83.1
116992 | 2021-04-30 14:22 | 26 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7867 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.285 | 120934.053 | 266553.0476 | 36.4 | 83.1
117002 | 2021-04-30 14:22 | 26.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.8873 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.274 | 120871.2602 | 266540.7276 | 36.4 | 83.1
117012 | 2021-04-30 14:22 | 26.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0731 | μmol/L | 15.4998 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 120813.605 | 266548.3851 | 36.4 | 83.1
117022 | 2021-04-30 14:23 | 26.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6492 | μmol/L | 15.4019 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 120902.5885 | 266550.652 | 36.4 | 83.1
117032 | 2021-04-30 14:23 | 27.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1524 | μmol/L | 15.4447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.283 | 120922.2716 | 266551.04 | 36.4 | 83.1
117042 | 2021-04-30 14:23 | 27.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5602 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.29 | 120963.8709 | 266554.6712 | 36.4 | 83.1
117052 | 2021-04-30 14:24 | 28 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2703 | μmol/L | 15.4936 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.302 | 121035.9865 | 266535.4504 | 36.4 | 83.1
117062 | 2021-04-30 14:24 | 28.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.7769 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.323 | 121164.9905 | 266555.9807 | 36.4 | 83.1
117072 | 2021-04-30 14:24 | 28.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5163 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.334 | 121210.9584 | 266549.6468 | 36.4 | 83.1
117082 | 2021-04-30 14:25 | 29.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8067 | μmol/L | 15.4875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.324 | 121159.3183 | 266541.3987 | 36.4 | 83.1
117092 | 2021-04-30 14:25 | 29.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1037 | μmol/L | 15.4753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.316 | 121127.0331 | 266548.026 | 36.4 | 83.1
117102 | 2021-04-30 14:25 | 29.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8428 | μmol/L | 15.4753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.327 | 121175.405 | 266543.6268 | 36.4 | 83.1
117112 | 2021-04-30 14:26 | 30.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3158 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.347 | 121296.6158 | 266536.7451 | 36.4 | 83.1
117122 | 2021-04-30 14:26 | 30.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7838 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 121386.9221 | 266539.1699 | 36.4 | 83.1
117132 | 2021-04-30 14:26 | 30.6666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7714 | μmol/L | 15.5059 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 121401.209 | 266530.5358 | 36.4 | 83.1
117142 | 2021-04-30 14:27 | 31 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0136 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.353 | 121357.1578 | 266527.104 | 36.4 | 83.1
117152 | 2021-04-30 14:27 | 31.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.99 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 121342.8524 | 266528.2166 | 36.4 | 83.1
117162 | 2021-04-30 14:27 | 31.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1143 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.351 | 121337.0553 | 266527.6642 | 36.4 | 83.1
117172 | 2021-04-30 14:28 | 31.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3209 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.34 | 121237.3636 | 266525.5433 | 36.4 | 83.1
117182 | 2021-04-30 14:28 | 32.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0845 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 121320.0088 | 266545.3207 | 36.4 | 83.1
117192 | 2021-04-30 14:28 | 32.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.6956 | μmol/L | 15.4875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.371 | 121424.8716 | 266546.2528 | 36.4 | 83.1
117202 | 2021-04-30 14:29 | 32.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4004 | μmol/L | 15.4998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.379 | 121494.0165 | 266530.2331 | 36.4 | 83.1
117212 | 2021-04-30 14:29 | 33.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0647 | μmol/L | 15.5059 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.391 | 121552.288 | 266536.6931 | 36.4 | 83.1
117222 | 2021-04-30 14:29 | 33.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7172 | μmol/L | 15.5242 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.399 | 121600.3989 | 266537.86 | 36.4 | 83.1
117232 | 2021-04-30 14:30 | 33.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.8173 | μmol/L | 15.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.397 | 121632.044 | 266528.6626 | 36.4 | 83.1
117242 | 2021-04-30 14:30 | 34.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.4417 | μmol/L | 15.5181 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 121697.9291 | 266514.6254 | 36.4 | 83.1
117252 | 2021-04-30 14:30 | 34.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1145 | μmol/L | 15.4569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 121674.1373 | 266519.676 | 36.4 | 83.1
117262 | 2021-04-30 14:31 | 34.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.6751 | μmol/L | 15.5426 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.394 | 121598.971 | 266517.198 | 36.4 | 83.1
117272 | 2021-04-30 14:31 | 35.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.2874 | μmol/L | 15.5548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.406 | 121668.5086 | 266524.5825 | 36.4 | 83.1
117282 | 2021-04-30 14:31 | 35.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.3516 | μmol/L | 15.5609 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.401 | 121631.725 | 266520.0628 | 36.4 | 83.1
117292 | 2021-04-30 14:32 | 36.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.2751 | μmol/L | 15.5671 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.402 | 121644.1147 | 266512.6493 | 36.4 | 83.1
117302 | 2021-04-30 14:32 | 36.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.2639 | μmol/L | 15.5548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 121683.7288 | 266523.3153 | 36.4 | 83.1