## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116213 | 2021-04-30 13:56 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8433 | μmol/L | 15.3689 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.918 | 100242.2611 | 292034.4052 | 30.45 | 114.2
116223 | 2021-04-30 13:56 | 0.33924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.2091 | μmol/L | 15.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.887 | 100056.8383 | 292050.8614 | 30.45 | 114.2
116233 | 2021-04-30 13:57 | 0.67296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 250.8218 | μmol/L | 15.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.865 | 99919.9869 | 292054.9187 | 30.45 | 114.2
116243 | 2021-04-30 13:57 | 1.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.3243 | μmol/L | 15.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.846 | 99796.2947 | 292040.1746 | 30.45 | 114.2
116253 | 2021-04-30 13:57 | 1.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 251.6254 | μmol/L | 15.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.832 | 99685.0272 | 292034.385 | 30.45 | 114.2
116263 | 2021-04-30 13:58 | 1.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.0994 | μmol/L | 15.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.81 | 99577.5657 | 292024.5134 | 30.45 | 114.2
116273 | 2021-04-30 13:58 | 2.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.6005 | μmol/L | 15.24 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 99467.5104 | 292026.8009 | 30.45 | 114.2
116283 | 2021-04-30 13:58 | 2.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 252.8298 | μmol/L | 15.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.774 | 99392.6115 | 292034.297 | 30.45 | 114.2
116293 | 2021-04-30 13:59 | 2.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.1374 | μmol/L | 15.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.762 | 99320.7948 | 292043.2415 | 30.45 | 114.2
116303 | 2021-04-30 13:59 | 3.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.5324 | μmol/L | 15.24 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.746 | 99246.0643 | 292042.7613 | 30.45 | 114.2
116313 | 2021-04-30 13:59 | 3.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.7193 | μmol/L | 15.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.733 | 99174.4734 | 292040.2137 | 30.45 | 114.2
116323 | 2021-04-30 14:00 | 3.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 253.9847 | μmol/L | 15.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.723 | 99115.9298 | 292024.2934 | 30.45 | 114.2
116333 | 2021-04-30 14:00 | 4.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.1981 | μmol/L | 15.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.711 | 99053.0213 | 292039.4894 | 30.45 | 114.2
116343 | 2021-04-30 14:00 | 4.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.3464 | μmol/L | 15.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.702 | 98999.3464 | 292034.3934 | 30.45 | 114.2
116353 | 2021-04-30 14:01 | 4.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.5209 | μmol/L | 15.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.694 | 98957.9245 | 292031.9769 | 30.45 | 114.2
116363 | 2021-04-30 14:01 | 5.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.7568 | μmol/L | 15.2646 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.681 | 98911.3869 | 292027.7105 | 30.45 | 114.2
116373 | 2021-04-30 14:01 | 5.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.9098 | μmol/L | 15.2646 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.674 | 98863.432 | 292019.0631 | 30.45 | 114.2
116383 | 2021-04-30 14:02 | 5.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8879 | μmol/L | 15.2646 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.675 | 98825.5514 | 291998.8179 | 30.45 | 114.2
116393 | 2021-04-30 14:02 | 6.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.1024 | μmol/L | 15.2707 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.663 | 98786.1731 | 292024.9804 | 30.45 | 114.2
116403 | 2021-04-30 14:02 | 6.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.3476 | μmol/L | 15.2646 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.654 | 98765.4187 | 292019.3494 | 30.45 | 114.2
116413 | 2021-04-30 14:03 | 6.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.4572 | μmol/L | 15.2646 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.649 | 98732.9368 | 292005.4398 | 30.45 | 114.2
116423 | 2021-04-30 14:03 | 7.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.4925 | μmol/L | 15.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.643 | 98699.1816 | 292005.9239 | 30.45 | 114.2
116433 | 2021-04-30 14:03 | 7.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.646 | μmol/L | 15.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.636 | 98660.7969 | 292015.2202 | 30.45 | 114.2
116443 | 2021-04-30 14:04 | 7.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.668 | μmol/L | 15.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.635 | 98632.3629 | 292015.2445 | 30.45 | 114.2
116453 | 2021-04-30 14:04 | 8.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7692 | μmol/L | 15.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.626 | 98615.8758 | 291998.3752 | 30.45 | 114.2
116463 | 2021-04-30 14:04 | 8.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8394 | μmol/L | 15.283 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.625 | 98589.1533 | 292005.6528 | 30.45 | 114.2
116473 | 2021-04-30 14:05 | 8.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.923 | μmol/L | 15.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.619 | 98572.1952 | 291995.6358 | 30.45 | 114.2
116483 | 2021-04-30 14:05 | 9.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9669 | μmol/L | 15.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.617 | 98549.2233 | 292001.5779 | 30.45 | 114.2
116493 | 2021-04-30 14:05 | 9.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9804 | μmol/L | 15.3014 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.612 | 98524.1301 | 291996.4197 | 30.45 | 114.2
116503 | 2021-04-30 14:06 | 9.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0946 | μmol/L | 15.2952 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.609 | 98514.8004 | 291995.6327 | 30.45 | 114.2
116513 | 2021-04-30 14:06 | 10.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2089 | μmol/L | 15.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.606 | 98498.6084 | 291994.9097 | 30.45 | 114.2
116523 | 2021-04-30 14:06 | 10.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1784 | μmol/L | 15.3014 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.603 | 98488.4881 | 292003.2501 | 30.45 | 114.2
116533 | 2021-04-30 14:07 | 10.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2884 | μmol/L | 15.3014 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.598 | 98467.5145 | 291987.2091 | 30.45 | 114.2
116543 | 2021-04-30 14:07 | 11.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3325 | μmol/L | 15.3014 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.596 | 98454.4655 | 291991.8926 | 30.45 | 114.2
116553 | 2021-04-30 14:07 | 11.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3765 | μmol/L | 15.3014 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 98439.4609 | 291981.5464 | 30.45 | 114.2
116563 | 2021-04-30 14:08 | 11.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4604 | μmol/L | 15.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.588 | 98438.9959 | 291999.7097 | 30.45 | 114.2
116573 | 2021-04-30 14:08 | 12.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3943 | μmol/L | 15.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.591 | 98427.4488 | 291994.3794 | 30.45 | 114.2
116583 | 2021-04-30 14:08 | 12.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4341 | μmol/L | 15.3137 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.587 | 98411.9168 | 291991.9627 | 30.45 | 114.2
116593 | 2021-04-30 14:09 | 12.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4299 | μmol/L | 15.3198 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.585 | 98408.0669 | 291996.9644 | 30.45 | 114.2
116603 | 2021-04-30 14:09 | 13.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3858 | μmol/L | 15.3198 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.587 | 98399.9625 | 292002.5364 | 30.45 | 114.2
116613 | 2021-04-30 14:09 | 13.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5223 | μmol/L | 15.3137 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.583 | 98389.0364 | 291974.3637 | 30.45 | 114.2
116623 | 2021-04-30 14:10 | 13.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6368 | μmol/L | 15.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.58 | 98381.4515 | 291975.6178 | 30.45 | 114.2
116633 | 2021-04-30 14:10 | 14.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3816 | μmol/L | 15.3259 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.585 | 98369.6591 | 291975.8925 | 30.45 | 114.2
116643 | 2021-04-30 14:10 | 14.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5622 | μmol/L | 15.3198 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.579 | 98362.1035 | 291983.6883 | 30.45 | 114.2
116653 | 2021-04-30 14:11 | 14.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4876 | μmol/L | 15.3321 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.578 | 98354.5543 | 291962.7544 | 30.45 | 114.2
116663 | 2021-04-30 14:11 | 15.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.58 | μmol/L | 15.3259 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.576 | 98354.3073 | 291956.5282 | 30.45 | 114.2
116673 | 2021-04-30 14:11 | 15.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5716 | μmol/L | 15.3382 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.572 | 98346.4878 | 291959.6631 | 30.45 | 114.2
116683 | 2021-04-30 14:12 | 15.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5579 | μmol/L | 15.3259 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.577 | 98341.5665 | 291954.9967 | 30.45 | 114.2
116693 | 2021-04-30 14:12 | 16.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5275 | μmol/L | 15.3382 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.574 | 98339.0821 | 291967.5099 | 30.45 | 114.2
116703 | 2021-04-30 14:12 | 16.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5716 | μmol/L | 15.3382 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.572 | 98333.5471 | 291962.2995 | 30.45 | 114.2
116713 | 2021-04-30 14:13 | 16.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6861 | μmol/L | 15.3321 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.569 | 98328.6703 | 291964.3124 | 30.45 | 114.2
116723 | 2021-04-30 14:13 | 17.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5453 | μmol/L | 15.3443 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.571 | 98326.2144 | 291955.4669 | 30.45 | 114.2
116733 | 2021-04-30 14:13 | 17.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.497 | μmol/L | 15.3505 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.571 | 98314.7351 | 291965.295 | 30.45 | 114.2
116743 | 2021-04-30 14:14 | 17.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5852 | μmol/L | 15.3505 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.567 | 98318.9395 | 291955.5048 | 30.45 | 114.2
116753 | 2021-04-30 14:14 | 18.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5411 | μmol/L | 15.3505 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.569 | 98309.5019 | 291960.8415 | 30.45 | 114.2
116763 | 2021-04-30 14:14 | 18.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5191 | μmol/L | 15.3505 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.57 | 98306.0317 | 291946.2509 | 30.45 | 114.2
116773 | 2021-04-30 14:15 | 18.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5369 | μmol/L | 15.3566 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.567 | 98299.9698 | 291945.4434 | 30.45 | 114.2
116783 | 2021-04-30 14:15 | 19.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4666 | μmol/L | 15.3627 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.568 | 98305.191 | 291948.9256 | 30.45 | 114.2
116793 | 2021-04-30 14:15 | 19.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4666 | μmol/L | 15.3627 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.568 | 98292.202 | 291956.2644 | 30.45 | 114.2
116803 | 2021-04-30 14:16 | 19.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.5327 | μmol/L | 15.3627 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98290.6883 | 291948.8698 | 30.45 | 114.2
116813 | 2021-04-30 14:16 | 20.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4624 | μmol/L | 15.3689 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98284.6201 | 291953.9995 | 30.45 | 114.2
116823 | 2021-04-30 14:16 | 20.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4624 | μmol/L | 15.3689 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98282.6925 | 291939.5184 | 30.45 | 114.2
116833 | 2021-04-30 14:17 | 20.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4844 | μmol/L | 15.3689 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98278.9502 | 291944.0548 | 30.45 | 114.2
116843 | 2021-04-30 14:17 | 21.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4844 | μmol/L | 15.3689 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98287.3147 | 291936.7405 | 30.45 | 114.2
116853 | 2021-04-30 14:17 | 21.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3837 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.563 | 98282.6249 | 291940.2593 | 30.45 | 114.2
116863 | 2021-04-30 14:18 | 21.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.41 | μmol/L | 15.3812 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.564 | 98272.9383 | 291936.5546 | 30.45 | 114.2
116873 | 2021-04-30 14:18 | 22.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.4624 | μmol/L | 15.3689 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98278.5346 | 291943.0169 | 30.45 | 114.2
116883 | 2021-04-30 14:18 | 22.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3397 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98280.8942 | 291937.5765 | 30.45 | 114.2
116893 | 2021-04-30 14:19 | 22.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3176 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98280.8912 | 291940.1893 | 30.45 | 114.2
116903 | 2021-04-30 14:19 | 23.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3397 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98276.8732 | 291944.1104 | 30.45 | 114.2
116913 | 2021-04-30 14:19 | 23.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3176 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98281.8501 | 291928.0801 | 30.45 | 114.2
116923 | 2021-04-30 14:20 | 23.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2956 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.567 | 98283.3931 | 291933.8749 | 30.45 | 114.2
116933 | 2021-04-30 14:20 | 24.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3879 | μmol/L | 15.3812 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98284.9261 | 291930.0873 | 30.45 | 114.2
116943 | 2021-04-30 14:20 | 24.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2652 | μmol/L | 15.3996 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.564 | 98277.8905 | 291931.8928 | 30.45 | 114.2
116953 | 2021-04-30 14:21 | 24.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2914 | μmol/L | 15.3934 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.565 | 98278.2744 | 291937.2319 | 30.45 | 114.2
116963 | 2021-04-30 14:21 | 25.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1289 | μmol/L | 15.4057 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.568 | 98271.4947 | 291913.8014 | 30.45 | 114.2
116973 | 2021-04-30 14:21 | 25.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2694 | μmol/L | 15.3934 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98281.8288 | 291922.9455 | 30.45 | 114.2
116983 | 2021-04-30 14:22 | 25.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1813 | μmol/L | 15.3934 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.57 | 98287.6368 | 291921.987 | 30.45 | 114.2
116993 | 2021-04-30 14:22 | 26.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.2652 | μmol/L | 15.3996 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.564 | 98294.6365 | 291929.1598 | 30.45 | 114.2
117003 | 2021-04-30 14:22 | 26.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1551 | μmol/L | 15.3996 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.569 | 98303.7869 | 291928.9125 | 30.45 | 114.2
117013 | 2021-04-30 14:23 | 26.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.1551 | μmol/L | 15.3996 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.569 | 98305.3888 | 291929.215 | 30.45 | 114.2
117023 | 2021-04-30 14:23 | 27.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.3176 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.566 | 98303.0391 | 291931.8909 | 30.45 | 114.2
117033 | 2021-04-30 14:23 | 27.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.0546 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.567 | 98302.7243 | 291915.6409 | 30.45 | 114.2
117043 | 2021-04-30 14:24 | 27.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9927 | μmol/L | 15.4118 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.572 | 98297.2177 | 291922.734 | 30.45 | 114.2
117053 | 2021-04-30 14:24 | 28.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9666 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.571 | 98309.9651 | 291915.6666 | 30.45 | 114.2
117063 | 2021-04-30 14:24 | 28.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.9006 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.574 | 98315.161 | 291914.1636 | 30.45 | 114.2
117073 | 2021-04-30 14:25 | 28.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8964 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.572 | 98310.4337 | 291905.1873 | 30.45 | 114.2
117083 | 2021-04-30 14:25 | 29.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8085 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.576 | 98321.2917 | 291905.8159 | 30.45 | 114.2
117093 | 2021-04-30 14:25 | 29.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7562 | μmol/L | 15.4364 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.574 | 98319.0452 | 291921.7913 | 30.45 | 114.2
117103 | 2021-04-30 14:26 | 29.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.8566 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.576 | 98328.4852 | 291909.3332 | 30.45 | 114.2
117113 | 2021-04-30 14:26 | 30.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7645 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.578 | 98335.7642 | 291905.5873 | 30.45 | 114.2
117123 | 2021-04-30 14:26 | 30.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7425 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.579 | 98344.3536 | 291902.658 | 30.45 | 114.2
117133 | 2021-04-30 14:27 | 30.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7425 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.579 | 98352.6275 | 291911.9607 | 30.45 | 114.2
117143 | 2021-04-30 14:27 | 31.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.7467 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.581 | 98360.5002 | 291906.165 | 30.45 | 114.2
117153 | 2021-04-30 14:27 | 31.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.6546 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.583 | 98365.8142 | 291914.8671 | 30.45 | 114.2
117163 | 2021-04-30 14:28 | 31.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.6107 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.585 | 98377.8239 | 291896.6112 | 30.45 | 114.2
117173 | 2021-04-30 14:28 | 32.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.5751 | μmol/L | 15.4118 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.591 | 98394.2977 | 291895.6245 | 30.45 | 114.2
117183 | 2021-04-30 14:28 | 32.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.4612 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.594 | 98403.0308 | 291900.6088 | 30.45 | 114.2
117193 | 2021-04-30 14:29 | 32.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.527 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.591 | 98414.659 | 291891.4858 | 30.45 | 114.2
117203 | 2021-04-30 14:29 | 33.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.5051 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.592 | 98415.0803 | 291888.9717 | 30.45 | 114.2
117213 | 2021-04-30 14:29 | 33.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.3953 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 98427.4613 | 291891.7643 | 30.45 | 114.2
117223 | 2021-04-30 14:30 | 33.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.4434 | μmol/L | 15.4118 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.597 | 98432.9977 | 291896.7049 | 30.45 | 114.2
117233 | 2021-04-30 14:30 | 34.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.3556 | μmol/L | 15.4118 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.601 | 98455.7141 | 291900.3414 | 30.45 | 114.2
117243 | 2021-04-30 14:30 | 34.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.4162 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.607 | 98470.3831 | 291889.3484 | 30.45 | 114.2
117253 | 2021-04-30 14:31 | 34.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.0457 | μmol/L | 15.4487 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.602 | 98465.5208 | 291900.1813 | 30.45 | 114.2
117263 | 2021-04-30 14:31 | 35.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.3943 | μmol/L | 15.3873 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.608 | 98485.5481 | 291888.7414 | 30.45 | 114.2
117273 | 2021-04-30 14:31 | 35.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.0842 | μmol/L | 15.4241 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.609 | 98501.071 | 291879.922 | 30.45 | 114.2
117283 | 2021-04-30 14:32 | 35.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.0967 | μmol/L | 15.4057 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.615 | 98521.5631 | 291891.065 | 30.45 | 114.2
117293 | 2021-04-30 14:32 | 36.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 255.1009 | μmol/L | 15.3996 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.617 | 98530.9257 | 291878.6483 | 30.45 | 114.2
117303 | 2021-04-30 14:32 | 36.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8256 | μmol/L | 15.418 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.623 | 98542.868 | 291880.7933 | 30.45 | 114.2