## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116215 | 2021-04-30 13:56 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6742 | μmol/L | 15.3315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.568 | 137398.6426 | 300199.6504 | 33.25 | 68.6
116225 | 2021-04-30 13:56 | 0.33698 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5108 | μmol/L | 15.3072 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.585 | 137462.3499 | 300206.1463 | 33.25 | 68.6
116235 | 2021-04-30 13:57 | 0.67026 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2499 | μmol/L | 15.295 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.602 | 137569.2207 | 300220.9237 | 33.25 | 68.6
116245 | 2021-04-30 13:57 | 1.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9473 | μmol/L | 15.2829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.621 | 137670.3197 | 300205.0572 | 33.25 | 68.6
116255 | 2021-04-30 13:57 | 1.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4215 | μmol/L | 15.2829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.646 | 137807.5255 | 300200.2622 | 33.25 | 68.6
116265 | 2021-04-30 13:58 | 1.67 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0086 | μmol/L | 15.2768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.668 | 137951.5513 | 300205.1686 | 33.25 | 68.6
116275 | 2021-04-30 13:58 | 2.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.4853 | μmol/L | 15.2768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.693 | 138102.414 | 300196.7155 | 33.25 | 68.6
116285 | 2021-04-30 13:58 | 2.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.9981 | μmol/L | 15.2829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.714 | 138246.9484 | 300203.7695 | 33.25 | 68.6
116295 | 2021-04-30 13:59 | 2.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5049 | μmol/L | 15.2768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.74 | 138409.7136 | 300210.1062 | 33.25 | 68.6
116305 | 2021-04-30 13:59 | 3.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8887 | μmol/L | 15.2889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.765 | 138559.121 | 300201.2696 | 33.25 | 68.6
116315 | 2021-04-30 13:59 | 3.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3224 | μmol/L | 15.295 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.79 | 138719.9135 | 300198.0461 | 33.25 | 68.6
116325 | 2021-04-30 14:00 | 3.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8744 | μmol/L | 15.2889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.814 | 138873.3313 | 300200.0411 | 33.25 | 68.6
116335 | 2021-04-30 14:00 | 4.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3795 | μmol/L | 15.2889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.838 | 139020.4736 | 300195.1826 | 33.25 | 68.6
116345 | 2021-04-30 14:00 | 4.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.8994 | μmol/L | 15.295 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.859 | 139163.2444 | 300203.0892 | 33.25 | 68.6
116355 | 2021-04-30 14:01 | 4.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4683 | μmol/L | 15.295 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.88 | 139300.5499 | 300193.3154 | 33.25 | 68.6
116365 | 2021-04-30 14:01 | 5.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0585 | μmol/L | 15.295 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.9 | 139424.0075 | 300187.9686 | 33.25 | 68.6
116375 | 2021-04-30 14:01 | 5.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5611 | μmol/L | 15.3011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.922 | 139550.9976 | 300189.0389 | 33.25 | 68.6
116385 | 2021-04-30 14:02 | 5.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.1939 | μmol/L | 15.3011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.94 | 139671.9346 | 300182.5697 | 33.25 | 68.6
116395 | 2021-04-30 14:02 | 6.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8477 | μmol/L | 15.3011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.957 | 139779.5471 | 300172.5552 | 33.25 | 68.6
116405 | 2021-04-30 14:02 | 6.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.6036 | μmol/L | 15.3011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.969 | 139881.9948 | 300163.6081 | 33.25 | 68.6
116415 | 2021-04-30 14:03 | 6.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.184 | μmol/L | 15.3133 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.985 | 139978.5104 | 300162.784 | 33.25 | 68.6
116425 | 2021-04-30 14:03 | 7.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8192 | μmol/L | 15.3133 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.003 | 140075.9985 | 300156.7372 | 33.25 | 68.6
116435 | 2021-04-30 14:03 | 7.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.5561 | μmol/L | 15.3133 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.016 | 140181.5791 | 300180.4277 | 33.25 | 68.6
116445 | 2021-04-30 14:04 | 7.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.2059 | μmol/L | 15.3193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.031 | 140274.5306 | 300167.4478 | 33.25 | 68.6
116455 | 2021-04-30 14:04 | 8.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.9436 | μmol/L | 15.3193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.044 | 140368.2716 | 300173.7617 | 33.25 | 68.6
116465 | 2021-04-30 14:04 | 8.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.581 | μmol/L | 15.3193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.062 | 140466.1236 | 300177.3149 | 33.25 | 68.6
116475 | 2021-04-30 14:05 | 8.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3396 | μmol/L | 15.3193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.074 | 140555.3559 | 300172.5753 | 33.25 | 68.6
116485 | 2021-04-30 14:05 | 9.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0985 | μmol/L | 15.3193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.086 | 140642.3062 | 300182.5679 | 33.25 | 68.6
116495 | 2021-04-30 14:05 | 9.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6838 | μmol/L | 15.3315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.102 | 140730.0526 | 300164.4648 | 33.25 | 68.6
116505 | 2021-04-30 14:06 | 9.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5504 | μmol/L | 15.3254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.111 | 140806.6574 | 300159.9742 | 33.25 | 68.6
116515 | 2021-04-30 14:06 | 10.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.2034 | μmol/L | 15.3315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.126 | 140888.5205 | 300160.5132 | 33.25 | 68.6
116525 | 2021-04-30 14:06 | 10.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.897 | μmol/L | 15.3376 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.139 | 140978.7707 | 300162.305 | 33.25 | 68.6
116535 | 2021-04-30 14:07 | 10.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.7242 | μmol/L | 15.3315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.15 | 141047.5007 | 300153.7278 | 33.25 | 68.6
116545 | 2021-04-30 14:07 | 11.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.5249 | μmol/L | 15.3315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.16 | 141125.4054 | 300149.5509 | 33.25 | 68.6
116555 | 2021-04-30 14:07 | 11.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.2791 | μmol/L | 15.3376 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.17 | 141202.3894 | 300150.4597 | 33.25 | 68.6
116565 | 2021-04-30 14:08 | 11.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9542 | μmol/L | 15.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.184 | 141283.3987 | 300158.7412 | 33.25 | 68.6
116575 | 2021-04-30 14:08 | 12.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.7556 | μmol/L | 15.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.194 | 141364.4656 | 300157.0257 | 33.25 | 68.6
116585 | 2021-04-30 14:08 | 12.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.5175 | μmol/L | 15.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.206 | 141438.9641 | 300152.3463 | 33.25 | 68.6
116595 | 2021-04-30 14:09 | 12.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.2729 | μmol/L | 15.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.216 | 141508.4873 | 300143.7557 | 33.25 | 68.6
116605 | 2021-04-30 14:09 | 13.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.9495 | μmol/L | 15.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.23 | 141597.7443 | 300156.589 | 33.25 | 68.6
116615 | 2021-04-30 14:09 | 13.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.7389 | μmol/L | 15.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.243 | 141675.9075 | 300139.5675 | 33.25 | 68.6
116625 | 2021-04-30 14:10 | 13.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.4756 | μmol/L | 15.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.254 | 141757.634 | 300133.4348 | 33.25 | 68.6
116635 | 2021-04-30 14:10 | 14.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 240.1405 | μmol/L | 15.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.271 | 141856.9653 | 300130.4113 | 33.25 | 68.6
116645 | 2021-04-30 14:10 | 14.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.924 | μmol/L | 15.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.282 | 141947.5641 | 300137.0253 | 33.25 | 68.6
116655 | 2021-04-30 14:11 | 14.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.5831 | μmol/L | 15.3619 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.297 | 142036.7947 | 300124.1001 | 33.25 | 68.6
116665 | 2021-04-30 14:11 | 15.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.3475 | μmol/L | 15.3619 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.309 | 142122.7587 | 300121.9512 | 33.25 | 68.6
116675 | 2021-04-30 14:11 | 15.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8374 | μmol/L | 15.3801 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.328 | 142224.7267 | 300120.6402 | 33.25 | 68.6
116685 | 2021-04-30 14:12 | 15.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.6486 | μmol/L | 15.374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.34 | 142338.2485 | 300126.2634 | 33.25 | 68.6
116695 | 2021-04-30 14:12 | 16.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.3946 | μmol/L | 15.374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.353 | 142429.5754 | 300121.6506 | 33.25 | 68.6
116705 | 2021-04-30 14:12 | 16.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.024 | μmol/L | 15.374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.372 | 142532.8902 | 300118.4383 | 33.25 | 68.6
116715 | 2021-04-30 14:13 | 16.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.8098 | μmol/L | 15.374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.383 | 142630.5798 | 300124.7322 | 33.25 | 68.6
116725 | 2021-04-30 14:13 | 17.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.4723 | μmol/L | 15.3801 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.398 | 142734.0887 | 300123.1703 | 33.25 | 68.6
116735 | 2021-04-30 14:13 | 17.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.1034 | μmol/L | 15.3801 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.417 | 142833.8368 | 300110.1749 | 33.25 | 68.6
116745 | 2021-04-30 14:14 | 17.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.8059 | μmol/L | 15.3862 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.43 | 142930.4811 | 300106.0274 | 33.25 | 68.6
116755 | 2021-04-30 14:14 | 18.0042 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5223 | μmol/L | 15.3801 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.447 | 143033.1898 | 300100.8543 | 33.25 | 68.6
116765 | 2021-04-30 14:14 | 18.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.2063 | μmol/L | 15.3862 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.461 | 143125.6934 | 300105.2211 | 33.25 | 68.6
116775 | 2021-04-30 14:15 | 18.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.91 | μmol/L | 15.3923 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.474 | 143233.1634 | 300104.3597 | 33.25 | 68.6
116785 | 2021-04-30 14:15 | 19.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.5825 | μmol/L | 15.3923 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.491 | 143339.6297 | 300114.5614 | 33.25 | 68.6
116795 | 2021-04-30 14:15 | 19.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.2747 | μmol/L | 15.3923 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.507 | 143425.6624 | 300104.0787 | 33.25 | 68.6
116805 | 2021-04-30 14:16 | 19.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.9222 | μmol/L | 15.3984 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.523 | 143534.6739 | 300102.5957 | 33.25 | 68.6
116815 | 2021-04-30 14:16 | 20.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.7756 | μmol/L | 15.3923 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.533 | 143629.9346 | 300103.1681 | 33.25 | 68.6
116825 | 2021-04-30 14:16 | 20.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.469 | μmol/L | 15.3923 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.549 | 143724.973 | 300102.6058 | 33.25 | 68.6
116835 | 2021-04-30 14:17 | 20.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.1753 | μmol/L | 15.3984 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.562 | 143821.6133 | 300104.4185 | 33.25 | 68.6
116845 | 2021-04-30 14:17 | 21.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.8057 | μmol/L | 15.4044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.579 | 143928.6906 | 300111.6812 | 33.25 | 68.6
116855 | 2021-04-30 14:17 | 21.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.4748 | μmol/L | 15.4105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.594 | 144022.9964 | 300092.2737 | 33.25 | 68.6
116865 | 2021-04-30 14:18 | 21.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.2341 | μmol/L | 15.4044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.609 | 144116.3834 | 300100.3345 | 33.25 | 68.6
116875 | 2021-04-30 14:18 | 22.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.9421 | μmol/L | 15.4105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.622 | 144209.0126 | 300112.7488 | 33.25 | 68.6
116885 | 2021-04-30 14:18 | 22.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.6574 | μmol/L | 15.4105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.637 | 144307.9356 | 300096.9648 | 33.25 | 68.6
116895 | 2021-04-30 14:19 | 22.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.4867 | μmol/L | 15.4105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.646 | 144404.8957 | 300103.2431 | 33.25 | 68.6
116905 | 2021-04-30 14:19 | 23.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 232.0755 | μmol/L | 15.4227 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.663 | 144491.1069 | 300087.2563 | 33.25 | 68.6
116915 | 2021-04-30 14:19 | 23.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.9122 | μmol/L | 15.4166 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.674 | 144586.3323 | 300097.8318 | 33.25 | 68.6
116925 | 2021-04-30 14:20 | 23.6707 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.6289 | μmol/L | 15.4166 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.689 | 144670.7946 | 300096.7513 | 33.25 | 68.6
116935 | 2021-04-30 14:20 | 24.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.346 | μmol/L | 15.4166 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.704 | 144760.2069 | 300100.0836 | 33.25 | 68.6
116945 | 2021-04-30 14:20 | 24.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.0944 | μmol/L | 15.4227 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.715 | 144840.1236 | 300076.539 | 33.25 | 68.6
116955 | 2021-04-30 14:21 | 24.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.8431 | μmol/L | 15.4287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.726 | 144928.7182 | 300083.5581 | 33.25 | 68.6
116965 | 2021-04-30 14:21 | 25.0039 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4983 | μmol/L | 15.4348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.742 | 145010.466 | 300077.7531 | 33.25 | 68.6
116975 | 2021-04-30 14:21 | 25.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.2988 | μmol/L | 15.4287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.755 | 145094.381 | 300092.3549 | 33.25 | 68.6
116985 | 2021-04-30 14:22 | 25.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0043 | μmol/L | 15.4409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.766 | 145181.8636 | 300081.7224 | 33.25 | 68.6
116995 | 2021-04-30 14:22 | 26.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.824 | μmol/L | 15.4348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.778 | 145259.7979 | 300084.9468 | 33.25 | 68.6
117005 | 2021-04-30 14:22 | 26.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.581 | μmol/L | 15.4348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.791 | 145343.5473 | 300075.769 | 33.25 | 68.6
117015 | 2021-04-30 14:23 | 26.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.3571 | μmol/L | 15.4348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.803 | 145438.7194 | 300082.7721 | 33.25 | 68.6
117025 | 2021-04-30 14:23 | 27.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.0893 | μmol/L | 15.4409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.815 | 145526.8188 | 300080.786 | 33.25 | 68.6
117035 | 2021-04-30 14:23 | 27.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.8473 | μmol/L | 15.4409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.828 | 145603.9175 | 300078.047 | 33.25 | 68.6
117045 | 2021-04-30 14:24 | 27.6704 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.543 | μmol/L | 15.447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.842 | 145682.7025 | 300072.2809 | 33.25 | 68.6
117055 | 2021-04-30 14:24 | 28.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.3574 | μmol/L | 15.447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.852 | 145762.038 | 300077.4347 | 33.25 | 68.6
117065 | 2021-04-30 14:24 | 28.3368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 228.1348 | μmol/L | 15.447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.864 | 145847.8113 | 300067.4889 | 33.25 | 68.6
117075 | 2021-04-30 14:25 | 28.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.8872 | μmol/L | 15.4531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.875 | 145925.4968 | 300076.7244 | 33.25 | 68.6
117085 | 2021-04-30 14:25 | 29.0034 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.6214 | μmol/L | 15.4591 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.887 | 146004.997 | 300065.3935 | 33.25 | 68.6
117095 | 2021-04-30 14:25 | 29.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.3627 | μmol/L | 15.4591 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.901 | 146077.3691 | 300069.0649 | 33.25 | 68.6
117105 | 2021-04-30 14:26 | 29.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 227.1714 | μmol/L | 15.4652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.909 | 146154.4538 | 300067.3121 | 33.25 | 68.6
117115 | 2021-04-30 14:26 | 30.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.9753 | μmol/L | 15.4591 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.922 | 146237.906 | 300064.5838 | 33.25 | 68.6
117125 | 2021-04-30 14:26 | 30.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.7475 | μmol/L | 15.4652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.932 | 146316.5204 | 300081.1713 | 33.25 | 68.6
117135 | 2021-04-30 14:27 | 30.6701 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.5268 | μmol/L | 15.4652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.944 | 146389.0911 | 300063.9391 | 33.25 | 68.6
117145 | 2021-04-30 14:27 | 31.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.2444 | μmol/L | 15.4713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.957 | 146459.3859 | 300052.5745 | 33.25 | 68.6
117155 | 2021-04-30 14:27 | 31.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 226.0792 | μmol/L | 15.4713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.966 | 146539.725 | 300054.4401 | 33.25 | 68.6
117165 | 2021-04-30 14:28 | 31.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.8342 | μmol/L | 15.4774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.977 | 146604.5498 | 300054.2737 | 33.25 | 68.6
117175 | 2021-04-30 14:28 | 32.0033 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.5528 | μmol/L | 15.4835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.99 | 146680.208 | 300054.1078 | 33.25 | 68.6
117185 | 2021-04-30 14:28 | 32.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.4065 | μmol/L | 15.4835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 24.998 | 146746.9092 | 300037.3015 | 33.25 | 68.6
117195 | 2021-04-30 14:29 | 32.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.1873 | μmol/L | 15.4835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.01 | 146827.4262 | 300061.6683 | 33.25 | 68.6
117205 | 2021-04-30 14:29 | 33.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 225.023 | μmol/L | 15.4835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.019 | 146901.8728 | 300045.7795 | 33.25 | 68.6
117215 | 2021-04-30 14:29 | 33.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.902 | μmol/L | 15.4774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.028 | 146962.0518 | 300044.7248 | 33.25 | 68.6
117225 | 2021-04-30 14:30 | 33.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.6949 | μmol/L | 15.4835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.037 | 147030.8773 | 300042.2499 | 33.25 | 68.6
117235 | 2021-04-30 14:30 | 34.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.4764 | μmol/L | 15.4835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.049 | 147103.476 | 300041.7939 | 33.25 | 68.6
117245 | 2021-04-30 14:30 | 34.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.1903 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.06 | 147177.5538 | 300038.9489 | 33.25 | 68.6
117255 | 2021-04-30 14:31 | 34.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 224.0268 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.069 | 147243.5279 | 300032.7353 | 33.25 | 68.6
117265 | 2021-04-30 14:31 | 35.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.8092 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.081 | 147309.3504 | 300034.612 | 33.25 | 68.6
117275 | 2021-04-30 14:31 | 35.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.6098 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.092 | 147387.2692 | 300035.0715 | 33.25 | 68.6
117285 | 2021-04-30 14:32 | 35.6705 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.4469 | μmol/L | 15.4956 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.101 | 147460.2461 | 300043.7358 | 33.25 | 68.6
117295 | 2021-04-30 14:32 | 36.0035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.2231 | μmol/L | 15.5017 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.111 | 147524.8834 | 300031.8555 | 33.25 | 68.6
117305 | 2021-04-30 14:32 | 36.3367 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 223.0244 | μmol/L | 15.5017 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 25.122 | 147596.4465 | 300028.7658 | 33.25 | 68.6