## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116216 | 2021-04-30 13:56 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 257.3146 | μmol/L | 15.3622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.754 | 123928.74 | 264472.1256 | 26.25 | 74
116226 | 2021-04-30 13:56 | 0.32774 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 258.5909 | μmol/L | 15.2953 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.72 | 123686.7428 | 264477.7195 | 26.25 | 74
116236 | 2021-04-30 13:57 | 0.66169 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.1226 | μmol/L | 15.2892 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.698 | 123511.9006 | 264470.1935 | 26.25 | 74
116246 | 2021-04-30 13:57 | 0.99513 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7045 | μmol/L | 15.277 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.676 | 123379.8424 | 264462.0908 | 26.25 | 74
116256 | 2021-04-30 13:57 | 1.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8936 | μmol/L | 15.2892 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.663 | 123281.8398 | 264457.6458 | 26.25 | 74
116266 | 2021-04-30 13:58 | 1.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.11 | μmol/L | 15.2892 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.653 | 123211.6292 | 264449.5679 | 26.25 | 74
116276 | 2021-04-30 13:58 | 1.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.3087 | μmol/L | 15.2953 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.642 | 123138.3478 | 264466.8822 | 26.25 | 74
116286 | 2021-04-30 13:58 | 2.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.4193 | μmol/L | 15.2953 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 123082.0184 | 264461.7199 | 26.25 | 74
116296 | 2021-04-30 13:59 | 2.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.5032 | μmol/L | 15.3014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.631 | 123031.7267 | 264478.1829 | 26.25 | 74
116306 | 2021-04-30 13:59 | 2.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.7469 | μmol/L | 15.3014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.62 | 122990.8735 | 264466.5977 | 26.25 | 74
116316 | 2021-04-30 13:59 | 3.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.8355 | μmol/L | 15.3014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.616 | 122943.5889 | 264474.3463 | 26.25 | 74
116326 | 2021-04-30 14:00 | 3.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.964 | μmol/L | 15.3074 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.608 | 122899.9856 | 264460.1024 | 26.25 | 74
116336 | 2021-04-30 14:00 | 3.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1147 | μmol/L | 15.3135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.599 | 122861.0893 | 264461.5362 | 26.25 | 74
116346 | 2021-04-30 14:00 | 4.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1723 | μmol/L | 15.3196 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.594 | 122829.8363 | 264469.8659 | 26.25 | 74
116356 | 2021-04-30 14:01 | 4.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1989 | μmol/L | 15.3196 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.593 | 122795.6397 | 264458.567 | 26.25 | 74
116366 | 2021-04-30 14:01 | 4.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3944 | μmol/L | 15.3257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.582 | 122755.2472 | 264464.2647 | 26.25 | 74
116376 | 2021-04-30 14:01 | 5.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3585 | μmol/L | 15.3379 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.579 | 122729.243 | 264449.3624 | 26.25 | 74
116386 | 2021-04-30 14:02 | 5.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4297 | μmol/L | 15.3379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.576 | 122692.086 | 264458.1711 | 26.25 | 74
116396 | 2021-04-30 14:02 | 5.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7191 | μmol/L | 15.3318 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.565 | 122642.9857 | 264455.5984 | 26.25 | 74
116406 | 2021-04-30 14:02 | 6.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.67 | μmol/L | 15.3379 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.565 | 122607.6184 | 264460.3622 | 26.25 | 74
116416 | 2021-04-30 14:03 | 6.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7813 | μmol/L | 15.344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.558 | 122568.5797 | 264450.6897 | 26.25 | 74
116426 | 2021-04-30 14:03 | 6.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9641 | μmol/L | 15.3379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.552 | 122533.3198 | 264460.9725 | 26.25 | 74
116436 | 2021-04-30 14:03 | 7.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0397 | μmol/L | 15.3561 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.542 | 122486.8151 | 264451.3385 | 26.25 | 74
116446 | 2021-04-30 14:04 | 7.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9637 | μmol/L | 15.3683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.541 | 122459.9201 | 264453.3071 | 26.25 | 74
116456 | 2021-04-30 14:04 | 7.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0798 | μmol/L | 15.3622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.538 | 122438.1983 | 264461.277 | 26.25 | 74
116466 | 2021-04-30 14:04 | 8.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.169 | μmol/L | 15.3622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.534 | 122409.1898 | 264455.6154 | 26.25 | 74
116476 | 2021-04-30 14:05 | 8.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2092 | μmol/L | 15.3683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.53 | 122379.5815 | 264464.2648 | 26.25 | 74
116486 | 2021-04-30 14:05 | 8.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3163 | μmol/L | 15.3744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 122361.4584 | 264448.4847 | 26.25 | 74
116496 | 2021-04-30 14:05 | 9.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.294 | μmol/L | 15.3744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.524 | 122341.8721 | 264451.7038 | 26.25 | 74
116506 | 2021-04-30 14:06 | 9.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2895 | μmol/L | 15.3805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 122331.5668 | 264444.0041 | 26.25 | 74
116516 | 2021-04-30 14:06 | 9.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4236 | μmol/L | 15.3805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.516 | 122307.7822 | 264445.2464 | 26.25 | 74
116526 | 2021-04-30 14:06 | 10.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4414 | μmol/L | 15.3866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.513 | 122300.7928 | 264444.7103 | 26.25 | 74
116536 | 2021-04-30 14:07 | 10.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4593 | μmol/L | 15.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.51 | 122274.9672 | 264432.1922 | 26.25 | 74
116546 | 2021-04-30 14:07 | 10.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4771 | μmol/L | 15.3926 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.509 | 122269.6387 | 264453.5903 | 26.25 | 74
116556 | 2021-04-30 14:07 | 11.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.504 | μmol/L | 15.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.508 | 122248.5137 | 264432.8105 | 26.25 | 74
116566 | 2021-04-30 14:08 | 11.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3608 | μmol/L | 15.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.51 | 122241.6699 | 264422.8167 | 26.25 | 74
116576 | 2021-04-30 14:08 | 11.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4458 | μmol/L | 15.4109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.504 | 122239.7933 | 264435.9359 | 26.25 | 74
116586 | 2021-04-30 14:08 | 12.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4503 | μmol/L | 15.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.506 | 122242.1878 | 264433.7558 | 26.25 | 74
116596 | 2021-04-30 14:09 | 12.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5532 | μmol/L | 15.417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.497 | 122180.4349 | 264447.405 | 26.25 | 74
116606 | 2021-04-30 14:09 | 12.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.7546 | μmol/L | 15.417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 122120.1201 | 264425.0002 | 26.25 | 74
116616 | 2021-04-30 14:09 | 13.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8129 | μmol/L | 15.4292 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.481 | 122075.3447 | 264432.2138 | 26.25 | 74
116626 | 2021-04-30 14:10 | 13.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9967 | μmol/L | 15.4231 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.475 | 122037.7721 | 264425.2502 | 26.25 | 74
116636 | 2021-04-30 14:10 | 13.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0595 | μmol/L | 15.4292 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.47 | 122012.8509 | 264419.8505 | 26.25 | 74
116646 | 2021-04-30 14:10 | 14.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9654 | μmol/L | 15.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.472 | 121988.1313 | 264432.5932 | 26.25 | 74
116656 | 2021-04-30 14:11 | 14.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0282 | μmol/L | 15.4413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.467 | 121982.4158 | 264423.6651 | 26.25 | 74
116666 | 2021-04-30 14:11 | 14.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0687 | μmol/L | 15.4474 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.463 | 121961.8689 | 264413.4379 | 26.25 | 74
116676 | 2021-04-30 14:11 | 15.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0149 | μmol/L | 15.4596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.461 | 121948.9477 | 264420.8314 | 26.25 | 74
116686 | 2021-04-30 14:12 | 15.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0554 | μmol/L | 15.4657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.457 | 121913.9346 | 264415.2091 | 26.25 | 74
116696 | 2021-04-30 14:12 | 15.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1901 | μmol/L | 15.4657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.451 | 121890.0464 | 264400.7258 | 26.25 | 74
116706 | 2021-04-30 14:12 | 16.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.2843 | μmol/L | 15.4596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 121883.9425 | 264410.6104 | 26.25 | 74
116716 | 2021-04-30 14:13 | 16.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1408 | μmol/L | 15.4718 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.451 | 121864.1814 | 264412.7371 | 26.25 | 74
116726 | 2021-04-30 14:13 | 16.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.7019 | μmol/L | 15.4109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.448 | 121849.2067 | 264403.4902 | 26.25 | 74
116736 | 2021-04-30 14:13 | 17.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.235 | μmol/L | 15.4657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 121840.3971 | 264393.6811 | 26.25 | 74
116746 | 2021-04-30 14:14 | 17.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.3341 | μmol/L | 15.4839 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.438 | 121806.6079 | 264397.932 | 26.25 | 74
116756 | 2021-04-30 14:14 | 17.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.424 | μmol/L | 15.4839 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.434 | 121772.0935 | 264393.4313 | 26.25 | 74
116766 | 2021-04-30 14:14 | 18.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.3117 | μmol/L | 15.4839 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.439 | 121751.4742 | 264386.8511 | 26.25 | 74
116776 | 2021-04-30 14:15 | 18.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.4646 | μmol/L | 15.49 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 121756.7787 | 264382.8518 | 26.25 | 74
116786 | 2021-04-30 14:15 | 18.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.3747 | μmol/L | 15.49 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.434 | 121749.5968 | 264384.2257 | 26.25 | 74
116796 | 2021-04-30 14:15 | 19.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.3479 | μmol/L | 15.4961 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 121748.0191 | 264371.2196 | 26.25 | 74
116806 | 2021-04-30 14:16 | 19.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.2536 | μmol/L | 15.5022 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.435 | 121753.1183 | 264380.8426 | 26.25 | 74
116816 | 2021-04-30 14:16 | 19.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.2717 | μmol/L | 15.5083 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 121751.3447 | 264385.0106 | 26.25 | 74
116826 | 2021-04-30 14:16 | 20.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1999 | μmol/L | 15.5144 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 121752.7362 | 264388.339 | 26.25 | 74
116836 | 2021-04-30 14:17 | 20.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.155 | μmol/L | 15.5144 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.435 | 121758.3312 | 264380.3553 | 26.25 | 74
116846 | 2021-04-30 14:17 | 20.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.2449 | μmol/L | 15.5144 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.431 | 121747.6835 | 264387.0266 | 26.25 | 74
116856 | 2021-04-30 14:17 | 21.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1239 | μmol/L | 15.5265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 121749.0894 | 264377.2913 | 26.25 | 74
116866 | 2021-04-30 14:18 | 21.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1775 | μmol/L | 15.5144 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.434 | 121757.2573 | 264381.201 | 26.25 | 74
116876 | 2021-04-30 14:18 | 21.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0789 | μmol/L | 15.5265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.434 | 121747.0202 | 264374.3505 | 26.25 | 74
116886 | 2021-04-30 14:18 | 22.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0521 | μmol/L | 15.5326 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 121737.0919 | 264386.4314 | 26.25 | 74
116896 | 2021-04-30 14:19 | 22.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.2094 | μmol/L | 15.5326 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.426 | 121730.4362 | 264385.2652 | 26.25 | 74
116906 | 2021-04-30 14:19 | 22.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1108 | μmol/L | 15.5448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.426 | 121711.2001 | 264377.5357 | 26.25 | 74
116916 | 2021-04-30 14:19 | 23.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1108 | μmol/L | 15.5448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.426 | 121710.4436 | 264378.2574 | 26.25 | 74
116926 | 2021-04-30 14:20 | 23.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1782 | μmol/L | 15.5448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.423 | 121706.8107 | 264380.1146 | 26.25 | 74
116936 | 2021-04-30 14:20 | 23.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.129 | μmol/L | 15.5509 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.423 | 121709.2069 | 264376.7372 | 26.25 | 74
116946 | 2021-04-30 14:20 | 24.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0797 | μmol/L | 15.557 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.423 | 121700.2232 | 264373.449 | 26.25 | 74
116956 | 2021-04-30 14:21 | 24.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1739 | μmol/L | 15.5509 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.421 | 121691.3631 | 264389.2037 | 26.25 | 74
116966 | 2021-04-30 14:21 | 24.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.2145 | μmol/L | 15.557 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.417 | 121664.7265 | 264379.1053 | 26.25 | 74
116976 | 2021-04-30 14:21 | 25.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.161 | μmol/L | 15.5691 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 121638.6654 | 264369.9125 | 26.25 | 74
116986 | 2021-04-30 14:22 | 25.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1834 | μmol/L | 15.5691 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 121633.5493 | 264387.9768 | 26.25 | 74
116996 | 2021-04-30 14:22 | 25.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1748 | μmol/L | 15.5813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.41 | 121617.3947 | 264381.7151 | 26.25 | 74
117006 | 2021-04-30 14:22 | 26.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1117 | μmol/L | 15.5752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 121626.3046 | 264370.7953 | 26.25 | 74
117016 | 2021-04-30 14:23 | 26.6615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1973 | μmol/L | 15.5813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.409 | 121627.5248 | 264380.561 | 26.25 | 74
117026 | 2021-04-30 14:23 | 26.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1748 | μmol/L | 15.5813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.41 | 121624.4163 | 264383.5322 | 26.25 | 74
117036 | 2021-04-30 14:23 | 27.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.1074 | μmol/L | 15.5813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 121618.8584 | 264364.8857 | 26.25 | 74
117046 | 2021-04-30 14:24 | 27.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9866 | μmol/L | 15.5935 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.414 | 121622.0121 | 264381.6944 | 26.25 | 74
117056 | 2021-04-30 14:24 | 27.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 263.0047 | μmol/L | 15.5996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.411 | 121620.6394 | 264382.8498 | 26.25 | 74
117066 | 2021-04-30 14:24 | 28.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9598 | μmol/L | 15.5996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 121611.0554 | 264368.5374 | 26.25 | 74
117076 | 2021-04-30 14:25 | 28.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8839 | μmol/L | 15.6117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 121609.4483 | 264370.356 | 26.25 | 74
117086 | 2021-04-30 14:25 | 28.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.9106 | μmol/L | 15.6057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 121609.6322 | 264356.2769 | 26.25 | 74
117096 | 2021-04-30 14:25 | 29.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8839 | μmol/L | 15.6117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.412 | 121619.561 | 264365.177 | 26.25 | 74
117106 | 2021-04-30 14:26 | 29.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8657 | μmol/L | 15.6057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.415 | 121623.9664 | 264368.2009 | 26.25 | 74
117116 | 2021-04-30 14:26 | 29.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.8123 | μmol/L | 15.6178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.413 | 121638.5202 | 264360.3382 | 26.25 | 74
117126 | 2021-04-30 14:26 | 30.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5389 | μmol/L | 15.6239 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.423 | 121655.6244 | 264345.4651 | 26.25 | 74
117136 | 2021-04-30 14:27 | 30.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.5165 | μmol/L | 15.6239 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.424 | 121673.8514 | 264353.9933 | 26.25 | 74
117146 | 2021-04-30 14:27 | 30.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4045 | μmol/L | 15.6239 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.429 | 121694.198 | 264350.9144 | 26.25 | 74
117156 | 2021-04-30 14:27 | 31.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3778 | μmol/L | 15.63 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.428 | 121714.6225 | 264349.2134 | 26.25 | 74
117166 | 2021-04-30 14:28 | 31.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.333 | μmol/L | 15.63 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 121723.989 | 264340.3975 | 26.25 | 74
117176 | 2021-04-30 14:28 | 31.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.284 | μmol/L | 15.6361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 121725.7594 | 264342.3928 | 26.25 | 74
117186 | 2021-04-30 14:28 | 32.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2797 | μmol/L | 15.6422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.428 | 121727.6214 | 264339.6856 | 26.25 | 74
117196 | 2021-04-30 14:29 | 32.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1678 | μmol/L | 15.6422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.433 | 121731.6352 | 264339.1518 | 26.25 | 74
117206 | 2021-04-30 14:29 | 32.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0251 | μmol/L | 15.6544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.435 | 121738.5435 | 264339.2213 | 26.25 | 74
117216 | 2021-04-30 14:29 | 33.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0741 | μmol/L | 15.6483 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.435 | 121750.2185 | 264343.8734 | 26.25 | 74
117226 | 2021-04-30 14:30 | 33.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9357 | μmol/L | 15.6544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.439 | 121764.9811 | 264334.0199 | 26.25 | 74
117236 | 2021-04-30 14:30 | 33.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9091 | μmol/L | 15.6604 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.438 | 121761.7126 | 264331.1457 | 26.25 | 74
117246 | 2021-04-30 14:30 | 34.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8601 | μmol/L | 15.6665 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.438 | 121770.4493 | 264328.986 | 26.25 | 74
117256 | 2021-04-30 14:31 | 34.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8154 | μmol/L | 15.6665 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.44 | 121784.2983 | 264336.561 | 26.25 | 74
117266 | 2021-04-30 14:31 | 34.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8112 | μmol/L | 15.6726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.438 | 121779.4268 | 264329.0435 | 26.25 | 74
117276 | 2021-04-30 14:31 | 35.3284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7888 | μmol/L | 15.6726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.439 | 121784.03 | 264322.442 | 26.25 | 74
117286 | 2021-04-30 14:32 | 35.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6506 | μmol/L | 15.6787 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.443 | 121790.1958 | 264320.1729 | 26.25 | 74
117296 | 2021-04-30 14:32 | 35.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.624 | μmol/L | 15.6848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.442 | 121800.5508 | 264317.9956 | 26.25 | 74
117306 | 2021-04-30 14:32 | 36.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5305 | μmol/L | 15.6909 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 121801.4385 | 264322.8717 | 26.25 | 74