## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 14:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
116217 | 2021-04-30 13:56 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.8932 | μmol/L | 15.4334 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.74 | 121934.7469 | 268031.4695 | 32.55 | 27.7
116227 | 2021-04-30 13:56 | 0.33406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.5016 | μmol/L | 15.3295 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.703 | 121608.6952 | 268012.1868 | 32.55 | 27.7
116237 | 2021-04-30 13:57 | 0.6675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2029 | μmol/L | 15.3112 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.677 | 121394.8402 | 267993.8213 | 32.55 | 27.7
116247 | 2021-04-30 13:57 | 1.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.8322 | μmol/L | 15.3112 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.648 | 121235.5998 | 267982.9788 | 32.55 | 27.7
116257 | 2021-04-30 13:57 | 1.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.2936 | μmol/L | 15.3051 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.629 | 121091.6416 | 267957.2893 | 32.55 | 27.7
116267 | 2021-04-30 13:58 | 1.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.5243 | μmol/L | 15.3173 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.614 | 120979.0524 | 267950.8278 | 32.55 | 27.7
116277 | 2021-04-30 13:58 | 2.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.738 | μmol/L | 15.3234 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.602 | 120890.2735 | 267957.4421 | 32.55 | 27.7
116287 | 2021-04-30 13:58 | 2.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.9783 | μmol/L | 15.3234 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.591 | 120801.6625 | 267947.7756 | 32.55 | 27.7
116297 | 2021-04-30 13:59 | 2.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.2318 | μmol/L | 15.3356 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.575 | 120715.5483 | 267936.4379 | 32.55 | 27.7
116307 | 2021-04-30 13:59 | 3.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6262 | μmol/L | 15.3356 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.557 | 120608.7732 | 267938.2456 | 32.55 | 27.7
116317 | 2021-04-30 13:59 | 3.3342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0212 | μmol/L | 15.3356 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.539 | 120518.1606 | 267940.5466 | 32.55 | 27.7
116327 | 2021-04-30 14:00 | 3.6675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.1882 | μmol/L | 15.3478 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.527 | 120426.7799 | 267932.478 | 32.55 | 27.7
116337 | 2021-04-30 14:00 | 4.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6153 | μmol/L | 15.3417 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.51 | 120334.2312 | 267925.4697 | 32.55 | 27.7
116347 | 2021-04-30 14:00 | 4.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.6902 | μmol/L | 15.3539 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.502 | 120261.7956 | 267920.2049 | 32.55 | 27.7
116357 | 2021-04-30 14:01 | 4.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.9814 | μmol/L | 15.3539 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.489 | 120203.4504 | 267919.5233 | 32.55 | 27.7
116367 | 2021-04-30 14:01 | 5.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.0788 | μmol/L | 15.3723 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.478 | 120139.6831 | 267911.0855 | 32.55 | 27.7
116377 | 2021-04-30 14:01 | 5.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2997 | μmol/L | 15.3662 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.47 | 120087.2873 | 267928.6468 | 32.55 | 27.7
116387 | 2021-04-30 14:02 | 5.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.3882 | μmol/L | 15.3723 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.464 | 120038.3165 | 267923.6728 | 32.55 | 27.7
116397 | 2021-04-30 14:02 | 6.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6451 | μmol/L | 15.3784 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.45 | 119991.7706 | 267903.9271 | 32.55 | 27.7
116407 | 2021-04-30 14:02 | 6.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.6274 | μmol/L | 15.3784 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.451 | 119953.2875 | 267899.0768 | 32.55 | 27.7
116417 | 2021-04-30 14:03 | 6.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.7825 | μmol/L | 15.3784 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.444 | 119918.241 | 267892.7726 | 32.55 | 27.7
116427 | 2021-04-30 14:03 | 7.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.889 | μmol/L | 15.3845 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.437 | 119866.4117 | 267897.5733 | 32.55 | 27.7
116437 | 2021-04-30 14:03 | 7.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.9291 | μmol/L | 15.3906 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.433 | 119839.6936 | 267903.1263 | 32.55 | 27.7
116447 | 2021-04-30 14:04 | 7.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0357 | μmol/L | 15.3967 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.426 | 119811.982 | 267887.5566 | 32.55 | 27.7
116457 | 2021-04-30 14:04 | 8.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0801 | μmol/L | 15.3967 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.424 | 119783.1206 | 267902.9467 | 32.55 | 27.7
116467 | 2021-04-30 14:04 | 8.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1425 | μmol/L | 15.4028 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.419 | 119745.0186 | 267889.6453 | 32.55 | 27.7
116477 | 2021-04-30 14:05 | 8.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1339 | μmol/L | 15.415 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.415 | 119732.7209 | 267881.1446 | 32.55 | 27.7
116487 | 2021-04-30 14:05 | 9.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2715 | μmol/L | 15.4089 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.411 | 119705.9568 | 267885.3859 | 32.55 | 27.7
116497 | 2021-04-30 14:05 | 9.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3826 | μmol/L | 15.4089 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.406 | 119697.9417 | 267884.2171 | 32.55 | 27.7
116507 | 2021-04-30 14:06 | 9.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3296 | μmol/L | 15.4211 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.404 | 119668.3019 | 267874.4319 | 32.55 | 27.7
116517 | 2021-04-30 14:06 | 10.0008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3031 | μmol/L | 15.4272 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.403 | 119652.2325 | 267887.1535 | 32.55 | 27.7
116527 | 2021-04-30 14:06 | 10.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4143 | μmol/L | 15.4272 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.398 | 119627.937 | 267865.5736 | 32.55 | 27.7
116537 | 2021-04-30 14:07 | 10.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3878 | μmol/L | 15.4334 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.397 | 119608.9528 | 267871.3502 | 32.55 | 27.7
116547 | 2021-04-30 14:07 | 11.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4323 | μmol/L | 15.4334 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.395 | 119599.4301 | 267882.267 | 32.55 | 27.7
116557 | 2021-04-30 14:07 | 11.3343 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4948 | μmol/L | 15.4395 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.39 | 119578.7006 | 267872.3605 | 32.55 | 27.7
116567 | 2021-04-30 14:08 | 11.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5616 | μmol/L | 15.4395 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.387 | 119569.8031 | 267877.3208 | 32.55 | 27.7
116577 | 2021-04-30 14:08 | 12.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5351 | μmol/L | 15.4456 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.386 | 119554.5025 | 267877.0113 | 32.55 | 27.7
116587 | 2021-04-30 14:08 | 12.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5976 | μmol/L | 15.4517 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.381 | 119538.088 | 267867.1775 | 32.55 | 27.7
116597 | 2021-04-30 14:09 | 12.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5489 | μmol/L | 15.4578 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.381 | 119523.0451 | 267865.1253 | 32.55 | 27.7
116607 | 2021-04-30 14:09 | 13.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6114 | μmol/L | 15.4639 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.376 | 119514.2892 | 267874.2617 | 32.55 | 27.7
116617 | 2021-04-30 14:09 | 13.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5404 | μmol/L | 15.47 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.377 | 119501.1892 | 267880.6608 | 32.55 | 27.7
116627 | 2021-04-30 14:10 | 13.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6518 | μmol/L | 15.47 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.372 | 119486.3922 | 267871.4196 | 32.55 | 27.7
116637 | 2021-04-30 14:10 | 14.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6253 | μmol/L | 15.4761 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.371 | 119471.1766 | 267877.705 | 32.55 | 27.7
116647 | 2021-04-30 14:10 | 14.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5946 | μmol/L | 15.4883 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.368 | 119455.9368 | 267864.2493 | 32.55 | 27.7
116657 | 2021-04-30 14:11 | 14.6669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6392 | μmol/L | 15.4883 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.366 | 119447.7023 | 267867.0372 | 32.55 | 27.7
116667 | 2021-04-30 14:11 | 15.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6615 | μmol/L | 15.4883 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.365 | 119433.1244 | 267848.2037 | 32.55 | 27.7
116677 | 2021-04-30 14:11 | 15.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6573 | μmol/L | 15.4945 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.363 | 119425.3376 | 267856.3328 | 32.55 | 27.7
116687 | 2021-04-30 14:12 | 15.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.564 | μmol/L | 15.5006 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.365 | 119410.2472 | 267841.1679 | 32.55 | 27.7
116697 | 2021-04-30 14:12 | 16.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5821 | μmol/L | 15.5067 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.362 | 119411.8784 | 267842.5943 | 32.55 | 27.7
116707 | 2021-04-30 14:12 | 16.3342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5111 | μmol/L | 15.5128 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.363 | 119400.0437 | 267855.953 | 32.55 | 27.7
116717 | 2021-04-30 14:13 | 16.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6002 | μmol/L | 15.5128 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.359 | 119397.9254 | 267846.3921 | 32.55 | 27.7
116727 | 2021-04-30 14:13 | 17.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5696 | μmol/L | 15.525 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.356 | 119374.3564 | 267853.7181 | 32.55 | 27.7
116737 | 2021-04-30 14:13 | 17.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7075 | μmol/L | 15.5189 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.352 | 119365.3929 | 267836.7716 | 32.55 | 27.7
116747 | 2021-04-30 14:14 | 17.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.681 | μmol/L | 15.525 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.351 | 119349.9349 | 267848.7186 | 32.55 | 27.7
116757 | 2021-04-30 14:14 | 18.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6992 | μmol/L | 15.5311 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.348 | 119337.6284 | 267843.0925 | 32.55 | 27.7
116767 | 2021-04-30 14:14 | 18.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6727 | μmol/L | 15.5372 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.347 | 119320.7167 | 267835.673 | 32.55 | 27.7
116777 | 2021-04-30 14:15 | 18.6675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6463 | μmol/L | 15.5433 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.346 | 119317.6329 | 267835.7068 | 32.55 | 27.7
116787 | 2021-04-30 14:15 | 19.0008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5976 | μmol/L | 15.5494 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.346 | 119304.0321 | 267828.4577 | 32.55 | 27.7
116797 | 2021-04-30 14:15 | 19.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6199 | μmol/L | 15.5494 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.345 | 119276.2436 | 267826.9549 | 32.55 | 27.7
116807 | 2021-04-30 14:16 | 19.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.7132 | μmol/L | 15.5433 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.343 | 119276.558 | 267825.3959 | 32.55 | 27.7
116817 | 2021-04-30 14:16 | 20.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6867 | μmol/L | 15.5494 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.342 | 119269.7604 | 267820.0621 | 32.55 | 27.7
116827 | 2021-04-30 14:16 | 20.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6075 | μmol/L | 15.5678 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.339 | 119256.1769 | 267813.5065 | 32.55 | 27.7
116837 | 2021-04-30 14:17 | 20.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.603 | μmol/L | 15.5678 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.339 | 119252.4603 | 267835.4907 | 32.55 | 27.7
116847 | 2021-04-30 14:17 | 21.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5588 | μmol/L | 15.5739 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.339 | 119245.326 | 267821.1472 | 32.55 | 27.7
116857 | 2021-04-30 14:17 | 21.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6257 | μmol/L | 15.5739 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.336 | 119234.8544 | 267810.5101 | 32.55 | 27.7
116867 | 2021-04-30 14:18 | 21.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6703 | μmol/L | 15.5739 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.334 | 119234.5709 | 267823.7609 | 32.55 | 27.7
116877 | 2021-04-30 14:18 | 22.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6216 | μmol/L | 15.58 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.334 | 119225.0859 | 267817.64 | 32.55 | 27.7
116887 | 2021-04-30 14:18 | 22.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6844 | μmol/L | 15.5861 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.329 | 119220.415 | 267816.3771 | 32.55 | 27.7
116897 | 2021-04-30 14:19 | 22.667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6134 | μmol/L | 15.5922 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.33 | 119212.8787 | 267813.5403 | 32.55 | 27.7
116907 | 2021-04-30 14:19 | 23.0003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.587 | μmol/L | 15.5983 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.329 | 119202.1788 | 267829.0604 | 32.55 | 27.7
116917 | 2021-04-30 14:19 | 23.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5647 | μmol/L | 15.5983 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.33 | 119197.412 | 267815.952 | 32.55 | 27.7
116927 | 2021-04-30 14:20 | 23.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5566 | μmol/L | 15.6105 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.326 | 119189.6274 | 267804.7028 | 32.55 | 27.7
116937 | 2021-04-30 14:20 | 24.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6275 | μmol/L | 15.6044 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.325 | 119185.1089 | 267827.1236 | 32.55 | 27.7
116947 | 2021-04-30 14:20 | 24.3342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5748 | μmol/L | 15.6166 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.323 | 119176.931 | 267825.8787 | 32.55 | 27.7
116957 | 2021-04-30 14:21 | 24.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5039 | μmol/L | 15.6228 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.324 | 119171.3127 | 267808.718 | 32.55 | 27.7
116967 | 2021-04-30 14:21 | 25.0007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6417 | μmol/L | 15.6166 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.32 | 119166.5189 | 267816.9696 | 32.55 | 27.7
116977 | 2021-04-30 14:21 | 25.3343 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4689 | μmol/L | 15.635 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.321 | 119157.1985 | 267817.8722 | 32.55 | 27.7
116987 | 2021-04-30 14:22 | 25.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4471 | μmol/L | 15.6411 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.32 | 119146.1211 | 267811.2991 | 32.55 | 27.7
116997 | 2021-04-30 14:22 | 26.0008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.518 | μmol/L | 15.635 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.319 | 119150.9219 | 267812.842 | 32.55 | 27.7
117007 | 2021-04-30 14:22 | 26.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5363 | μmol/L | 15.6411 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.316 | 119144.3771 | 267829.7852 | 32.55 | 27.7
117017 | 2021-04-30 14:23 | 26.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.6072 | μmol/L | 15.635 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.315 | 119129.408 | 267815.397 | 32.55 | 27.7
117027 | 2021-04-30 14:23 | 27.0008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4877 | μmol/L | 15.6472 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.316 | 119127.9153 | 267808.0832 | 32.55 | 27.7
117037 | 2021-04-30 14:23 | 27.334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.5059 | μmol/L | 15.6533 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.313 | 119120.1783 | 267797.8924 | 32.55 | 27.7
117047 | 2021-04-30 14:24 | 27.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4796 | μmol/L | 15.6594 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.312 | 119110.997 | 267795.247 | 32.55 | 27.7
117057 | 2021-04-30 14:24 | 28.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.435 | μmol/L | 15.6594 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.314 | 119106.9787 | 267785.5207 | 32.55 | 27.7
117067 | 2021-04-30 14:24 | 28.3338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4087 | μmol/L | 15.6655 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.313 | 119096.1478 | 267806.0486 | 32.55 | 27.7
117077 | 2021-04-30 14:25 | 28.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3779 | μmol/L | 15.6716 | °C | 1021 | hPa | Humid | 29 | 0 | 0 | 22.312 | 119096.9959 | 267800.0268 | 32.55 | 27.7
117087 | 2021-04-30 14:25 | 29.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4087 | μmol/L | 15.6655 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.313 | 119091.8159 | 267801.6743 | 32.55 | 27.7
117097 | 2021-04-30 14:25 | 29.3339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3784 | μmol/L | 15.6777 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.31 | 119084.1798 | 267796.9343 | 32.55 | 27.7
117107 | 2021-04-30 14:26 | 29.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3338 | μmol/L | 15.6777 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.312 | 119083.6201 | 267791.4441 | 32.55 | 27.7
117117 | 2021-04-30 14:26 | 30.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3967 | μmol/L | 15.6838 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.307 | 119072.3117 | 267792.4197 | 32.55 | 27.7
117127 | 2021-04-30 14:26 | 30.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3927 | μmol/L | 15.69 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.305 | 119056.801 | 267792.1497 | 32.55 | 27.7
117137 | 2021-04-30 14:27 | 30.6674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.4556 | μmol/L | 15.6961 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.3 | 119057.4111 | 267777.2801 | 32.55 | 27.7
117147 | 2021-04-30 14:27 | 31.0006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2955 | μmol/L | 15.7022 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.305 | 119054.898 | 267788.6221 | 32.55 | 27.7
117157 | 2021-04-30 14:27 | 31.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3664 | μmol/L | 15.6961 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.304 | 119052.6849 | 267790.2034 | 32.55 | 27.7
117167 | 2021-04-30 14:28 | 31.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3361 | μmol/L | 15.7083 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.301 | 119043.4682 | 267776.6608 | 32.55 | 27.7
117177 | 2021-04-30 14:28 | 32.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.3138 | μmol/L | 15.7083 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.302 | 119042.637 | 267805.6869 | 32.55 | 27.7
117187 | 2021-04-30 14:28 | 32.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2876 | μmol/L | 15.7144 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.301 | 119043.9111 | 267791.1582 | 32.55 | 27.7
117197 | 2021-04-30 14:29 | 32.6673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2168 | μmol/L | 15.7205 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.302 | 119027.355 | 267777.9201 | 32.55 | 27.7
117207 | 2021-04-30 14:29 | 33.0004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.239 | μmol/L | 15.7205 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.301 | 119040.7515 | 267790.8702 | 32.55 | 27.7
117217 | 2021-04-30 14:29 | 33.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.239 | μmol/L | 15.7205 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.301 | 119024.5066 | 267778.5672 | 32.55 | 27.7
117227 | 2021-04-30 14:30 | 33.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2757 | μmol/L | 15.7327 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.295 | 119028.1314 | 267778.405 | 32.55 | 27.7
117237 | 2021-04-30 14:30 | 34.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2088 | μmol/L | 15.7327 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.298 | 119016.0131 | 267769.6482 | 32.55 | 27.7
117247 | 2021-04-30 14:30 | 34.3336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2311 | μmol/L | 15.7327 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.297 | 119012.3705 | 267767.3635 | 32.55 | 27.7
117257 | 2021-04-30 14:31 | 34.6671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2271 | μmol/L | 15.7388 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.295 | 119012.7528 | 267768.5574 | 32.55 | 27.7
117267 | 2021-04-30 14:31 | 35.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.2192 | μmol/L | 15.7511 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.291 | 119007.4278 | 267770.2939 | 32.55 | 27.7
117277 | 2021-04-30 14:31 | 35.3341 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1786 | μmol/L | 15.7449 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.295 | 118995.6976 | 267771.1673 | 32.55 | 27.7
117287 | 2021-04-30 14:32 | 35.6672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1747 | μmol/L | 15.7511 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.293 | 118987.6177 | 267759.7628 | 32.55 | 27.7
117297 | 2021-04-30 14:32 | 36.0005 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.0555 | μmol/L | 15.7633 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.294 | 118981.4777 | 267761.4996 | 32.55 | 27.7
117307 | 2021-04-30 14:32 | 36.3337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 260.1223 | μmol/L | 15.7633 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.291 | 119011.2508 | 267758.6222 | 32.55 | 27.7