## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
117308 | 2021-04-30 14:40 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.7938 | μmol/L | 15.128 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.124 | 124193.3032 | 268745.2413 | 33.25 | 75.7
117318 | 2021-04-30 14:40 | 0.33386 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.3288 | μmol/L | 15.1219 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.103 | 124028.9729 | 268763.2677 | 33.25 | 75.7
117328 | 2021-04-30 14:40 | 0.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.8046 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.089 | 123896.7211 | 268758.4887 | 33.25 | 75.7
117338 | 2021-04-30 14:41 | 1.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.268 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.069 | 123784.5141 | 268755.9778 | 33.25 | 75.7
117348 | 2021-04-30 14:41 | 1.3342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.593 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.055 | 123688.5654 | 268750.1897 | 33.25 | 75.7
117358 | 2021-04-30 14:41 | 1.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.872 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.043 | 123611.5093 | 268753.2019 | 33.25 | 75.7
117368 | 2021-04-30 14:42 | 2.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1746 | μmol/L | 15.1035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.03 | 123533.3694 | 268736.2782 | 33.25 | 75.7
117378 | 2021-04-30 14:42 | 2.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.2634 | μmol/L | 15.1096 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.024 | 123468.855 | 268745.2981 | 33.25 | 75.7
117388 | 2021-04-30 14:42 | 2.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.399 | μmol/L | 15.1158 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.016 | 123407.5059 | 268735.7389 | 33.25 | 75.7
117398 | 2021-04-30 14:43 | 3.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.5344 | μmol/L | 15.1158 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.01 | 123350.5002 | 268742.864 | 33.25 | 75.7
117408 | 2021-04-30 14:43 | 3.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.6747 | μmol/L | 15.1219 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.002 | 123304.0887 | 268734.1911 | 33.25 | 75.7
117418 | 2021-04-30 14:43 | 3.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.6703 | μmol/L | 15.128 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22 | 123263.1731 | 268737.3194 | 33.25 | 75.7
117428 | 2021-04-30 14:44 | 4.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9274 | μmol/L | 15.128 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.989 | 123224.8537 | 268726.548 | 33.25 | 75.7
117438 | 2021-04-30 14:44 | 4.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0443 | μmol/L | 15.128 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.984 | 123186.8423 | 268727.9553 | 33.25 | 75.7
117448 | 2021-04-30 14:44 | 4.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.059 | μmol/L | 15.1403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.979 | 123163.3183 | 268734.3054 | 33.25 | 75.7
117458 | 2021-04-30 14:45 | 5.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1761 | μmol/L | 15.1403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.974 | 123126.3271 | 268727.6957 | 33.25 | 75.7
117468 | 2021-04-30 14:45 | 5.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1718 | μmol/L | 15.1464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.972 | 123105.3398 | 268727.6856 | 33.25 | 75.7
117478 | 2021-04-30 14:45 | 5.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.242 | μmol/L | 15.1464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.969 | 123083.1312 | 268732.0906 | 33.25 | 75.7
117488 | 2021-04-30 14:46 | 6.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2568 | μmol/L | 15.1587 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.964 | 123061.9095 | 268732.6924 | 33.25 | 75.7
117498 | 2021-04-30 14:46 | 6.3338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2568 | μmol/L | 15.1587 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.964 | 123043.5632 | 268734.3771 | 33.25 | 75.7
117508 | 2021-04-30 14:46 | 6.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.374 | μmol/L | 15.1587 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.959 | 123030.9891 | 268735.2205 | 33.25 | 75.7
117518 | 2021-04-30 14:47 | 7.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.1503 | μmol/L | 15.177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.962 | 123023.8552 | 268749.3087 | 33.25 | 75.7
117528 | 2021-04-30 14:47 | 7.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2439 | μmol/L | 15.177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.958 | 123010.9458 | 268742.6367 | 33.25 | 75.7
117538 | 2021-04-30 14:47 | 7.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3377 | μmol/L | 15.177 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.954 | 122992.6188 | 268733.2077 | 33.25 | 75.7
117548 | 2021-04-30 14:48 | 8.0006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3334 | μmol/L | 15.1832 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.952 | 122986.1902 | 268735.2789 | 33.25 | 75.7
117558 | 2021-04-30 14:48 | 8.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.2354 | μmol/L | 15.1893 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.954 | 122973.1557 | 268725.427 | 33.25 | 75.7
117568 | 2021-04-30 14:48 | 8.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3014 | μmol/L | 15.1954 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.949 | 122957.7388 | 268733.9304 | 33.25 | 75.7
117578 | 2021-04-30 14:49 | 9.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.3675 | μmol/L | 15.2015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.944 | 122951.0911 | 268735.6728 | 33.25 | 75.7
117588 | 2021-04-30 14:49 | 9.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0352 | μmol/L | 15.2077 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.956 | 122985.0416 | 268725.9736 | 33.25 | 75.7
117598 | 2021-04-30 14:49 | 9.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 271.0076 | μmol/L | 15.2138 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.955 | 122986.5608 | 268733.1426 | 33.25 | 75.7
117608 | 2021-04-30 14:50 | 10.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9608 | μmol/L | 15.2138 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.957 | 122999.6277 | 268724.1051 | 33.25 | 75.7
117618 | 2021-04-30 14:50 | 10.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.9799 | μmol/L | 15.2199 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.954 | 122999.4429 | 268724.0919 | 33.25 | 75.7
117628 | 2021-04-30 14:50 | 10.6675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.8161 | μmol/L | 15.2199 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.961 | 123011.2852 | 268722.1425 | 33.25 | 75.7
117638 | 2021-04-30 14:51 | 11.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.8353 | μmol/L | 15.226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.958 | 123022.4605 | 268731.1015 | 33.25 | 75.7
117648 | 2021-04-30 14:51 | 11.3342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.7609 | μmol/L | 15.2322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.959 | 123013.4779 | 268714.5276 | 33.25 | 75.7
117658 | 2021-04-30 14:51 | 11.6675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.7843 | μmol/L | 15.2322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.958 | 123013.4398 | 268725.1679 | 33.25 | 75.7
117668 | 2021-04-30 14:52 | 12.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.7566 | μmol/L | 15.2383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.957 | 123024.7102 | 268730.9143 | 33.25 | 75.7
117678 | 2021-04-30 14:52 | 12.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.5654 | μmol/L | 15.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.963 | 123056.1469 | 268734.2029 | 33.25 | 75.7
117688 | 2021-04-30 14:52 | 12.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.4528 | μmol/L | 15.2383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.97 | 123091.5027 | 268727.7397 | 33.25 | 75.7
117698 | 2021-04-30 14:53 | 13.0009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.8846 | μmol/L | 15.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.99 | 123203.6033 | 268717.8038 | 33.25 | 75.7
117708 | 2021-04-30 14:53 | 13.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.0859 | μmol/L | 15.2628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.977 | 123157.6993 | 268719.3521 | 33.25 | 75.7
117718 | 2021-04-30 14:53 | 13.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1046 | μmol/L | 15.2628 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.976 | 123131.2452 | 268724.8059 | 33.25 | 75.7
117728 | 2021-04-30 14:54 | 14.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1979 | μmol/L | 15.2628 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.972 | 123120.3181 | 268717.005 | 33.25 | 75.7
117738 | 2021-04-30 14:54 | 14.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1516 | μmol/L | 15.2689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.972 | 123109.9956 | 268722.3072 | 33.25 | 75.7
117748 | 2021-04-30 14:54 | 14.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.147 | μmol/L | 15.2689 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.972 | 123105.6178 | 268724.3655 | 33.25 | 75.7
117758 | 2021-04-30 14:55 | 15.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1241 | μmol/L | 15.2751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.971 | 123089.0363 | 268716.3349 | 33.25 | 75.7
117768 | 2021-04-30 14:55 | 15.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1665 | μmol/L | 15.2812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.967 | 123089.7124 | 268728.4999 | 33.25 | 75.7
117778 | 2021-04-30 14:55 | 15.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.1811 | μmol/L | 15.2873 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.964 | 123075.92 | 268717.777 | 33.25 | 75.7
117788 | 2021-04-30 14:56 | 16.0006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.2553 | μmol/L | 15.2812 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.963 | 123070.9968 | 268719.5284 | 33.25 | 75.7
117798 | 2021-04-30 14:56 | 16.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.0835 | μmol/L | 15.2934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.966 | 123069.7617 | 268708.0331 | 33.25 | 75.7
117808 | 2021-04-30 14:56 | 16.6675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 270.0327 | μmol/L | 15.2996 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.966 | 123080.1496 | 268713.6375 | 33.25 | 75.7
117818 | 2021-04-30 14:57 | 17.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.967 | μmol/L | 15.2934 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.971 | 123085.3278 | 268711.6301 | 33.25 | 75.7
117828 | 2021-04-30 14:57 | 17.3343 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.9161 | μmol/L | 15.2996 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.971 | 123097.7237 | 268709.1975 | 33.25 | 75.7
117838 | 2021-04-30 14:57 | 17.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.8886 | μmol/L | 15.3057 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.97 | 123120.805 | 268733.2256 | 33.25 | 75.7
117848 | 2021-04-30 14:58 | 18.0007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.6706 | μmol/L | 15.3179 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.975 | 123135.8116 | 268726.6565 | 33.25 | 75.7
117858 | 2021-04-30 14:58 | 18.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.5966 | μmol/L | 15.3241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.976 | 123152.1172 | 268723.6484 | 33.25 | 75.7
117868 | 2021-04-30 14:58 | 18.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.6664 | μmol/L | 15.3241 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.973 | 123180.1763 | 268717.6435 | 33.25 | 75.7
117878 | 2021-04-30 14:59 | 19.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.1971 | μmol/L | 15.3302 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.991 | 123217.7251 | 268731.8888 | 33.25 | 75.7
117888 | 2021-04-30 14:59 | 19.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 269.2435 | μmol/L | 15.3302 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.989 | 123249.3887 | 268724.7937 | 33.25 | 75.7
117898 | 2021-04-30 14:59 | 19.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.942 | μmol/L | 15.3363 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22 | 123313.9774 | 268728.0305 | 33.25 | 75.7
117908 | 2021-04-30 15:00 | 20.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.6318 | μmol/L | 15.3424 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.011 | 123379.772 | 268711.3718 | 33.25 | 75.7
117918 | 2021-04-30 15:00 | 20.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 268.2803 | μmol/L | 15.3486 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.024 | 123462.9681 | 268717.4207 | 33.25 | 75.7
117928 | 2021-04-30 15:00 | 20.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.9843 | μmol/L | 15.3486 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.037 | 123547.691 | 268732.6866 | 33.25 | 75.7
117938 | 2021-04-30 15:01 | 21.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.648 | μmol/L | 15.3608 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.047 | 123595.3271 | 268723.6158 | 33.25 | 75.7
117948 | 2021-04-30 15:01 | 21.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.5561 | μmol/L | 15.367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.049 | 123646.6285 | 268723.8676 | 33.25 | 75.7
117958 | 2021-04-30 15:01 | 21.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.487 | μmol/L | 15.367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.052 | 123687.1696 | 268726.8508 | 33.25 | 75.7
117968 | 2021-04-30 15:02 | 22.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.3023 | μmol/L | 15.3608 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.062 | 123718.7972 | 268720.9307 | 33.25 | 75.7
117978 | 2021-04-30 15:02 | 22.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 267.0636 | μmol/L | 15.3731 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.068 | 123749.4816 | 268713.2929 | 33.25 | 75.7
117988 | 2021-04-30 15:02 | 22.6674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.9214 | μmol/L | 15.3792 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.072 | 123771.2957 | 268719.0356 | 33.25 | 75.7
117998 | 2021-04-30 15:03 | 23.0009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.8298 | μmol/L | 15.3853 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.074 | 123802.8766 | 268717.9283 | 33.25 | 75.7
118008 | 2021-04-30 15:03 | 23.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.7188 | μmol/L | 15.3731 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.083 | 123861.3373 | 268715.0742 | 33.25 | 75.7
118018 | 2021-04-30 15:03 | 23.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 266.1326 | μmol/L | 15.3915 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.102 | 123974.3859 | 268713.4836 | 33.25 | 75.7
118028 | 2021-04-30 15:04 | 24.001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.6706 | μmol/L | 15.3976 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.12 | 124095.2509 | 268723.5035 | 33.25 | 75.7
118038 | 2021-04-30 15:04 | 24.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 265.2367 | μmol/L | 15.3976 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.139 | 124225.1141 | 268713.3315 | 33.25 | 75.7
118048 | 2021-04-30 15:04 | 24.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.7041 | μmol/L | 15.4098 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.158 | 124325.6413 | 268719.3031 | 33.25 | 75.7
118058 | 2021-04-30 15:05 | 25.001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.5036 | μmol/L | 15.4037 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.169 | 124408.352 | 268727.6504 | 33.25 | 75.7
118068 | 2021-04-30 15:05 | 25.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.177 | μmol/L | 15.416 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.179 | 124470.3491 | 268712.1395 | 33.25 | 75.7
118078 | 2021-04-30 15:05 | 25.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 264.0635 | μmol/L | 15.416 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.184 | 124522.4122 | 268716.4527 | 33.25 | 75.7
118088 | 2021-04-30 15:06 | 26.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.8962 | μmol/L | 15.4282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.187 | 124541.1575 | 268698.0218 | 33.25 | 75.7
118098 | 2021-04-30 15:06 | 26.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.8736 | μmol/L | 15.4282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.188 | 124555.7349 | 268710.6604 | 33.25 | 75.7
118108 | 2021-04-30 15:06 | 26.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.8055 | μmol/L | 15.4282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.191 | 124551.524 | 268707.6923 | 33.25 | 75.7
118118 | 2021-04-30 15:07 | 27.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.7701 | μmol/L | 15.4466 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.186 | 124541.9792 | 268708.2642 | 33.25 | 75.7
118128 | 2021-04-30 15:07 | 27.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.8155 | μmol/L | 15.4466 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.184 | 124520.7726 | 268696.7089 | 33.25 | 75.7
118138 | 2021-04-30 15:07 | 27.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.8381 | μmol/L | 15.4466 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.183 | 124512.2675 | 268708.7088 | 33.25 | 75.7
118148 | 2021-04-30 15:08 | 28.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.7432 | μmol/L | 15.4527 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.185 | 124525.9847 | 268709.0507 | 33.25 | 75.7
118158 | 2021-04-30 15:08 | 28.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.6798 | μmol/L | 15.4527 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.188 | 124551.6712 | 268704.1362 | 33.25 | 75.7
118168 | 2021-04-30 15:08 | 28.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.377 | μmol/L | 15.465 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.197 | 124611.7864 | 268709.2078 | 33.25 | 75.7
118178 | 2021-04-30 15:09 | 29.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.2003 | μmol/L | 15.4589 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.207 | 124678.526 | 268713.6057 | 33.25 | 75.7
118188 | 2021-04-30 15:09 | 29.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.8527 | μmol/L | 15.465 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.22 | 124767.7632 | 268705.3133 | 33.25 | 75.7
118198 | 2021-04-30 15:09 | 29.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.4609 | μmol/L | 15.4772 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.233 | 124857.0425 | 268705.3889 | 33.25 | 75.7
118208 | 2021-04-30 15:10 | 30.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.056 | μmol/L | 15.4834 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.249 | 124952.6428 | 268711.0094 | 33.25 | 75.7
118218 | 2021-04-30 15:10 | 30.3338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.7103 | μmol/L | 15.4895 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.262 | 125032.7831 | 268699.5231 | 33.25 | 75.7
118228 | 2021-04-30 15:10 | 30.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.342 | μmol/L | 15.4772 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 125128.8773 | 268709.421 | 33.25 | 75.7
118238 | 2021-04-30 15:11 | 31.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.1764 | μmol/L | 15.4834 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.288 | 125204.6995 | 268708.2576 | 33.25 | 75.7
118248 | 2021-04-30 15:11 | 31.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.8237 | μmol/L | 15.5079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.295 | 125240.8111 | 268706.3683 | 33.25 | 75.7
118258 | 2021-04-30 15:11 | 31.6676 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.9132 | μmol/L | 15.5079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.291 | 125251.766 | 268712.9087 | 33.25 | 75.7
118268 | 2021-04-30 15:12 | 32.0009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.056 | μmol/L | 15.4956 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.289 | 125246.5695 | 268692.5237 | 33.25 | 75.7
118278 | 2021-04-30 15:12 | 32.3342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.0293 | μmol/L | 15.5017 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.288 | 125212.0794 | 268690.2916 | 33.25 | 75.7
118288 | 2021-04-30 15:12 | 32.6675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.2042 | μmol/L | 15.5079 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.278 | 125154.4125 | 268706.814 | 33.25 | 75.7
118298 | 2021-04-30 15:13 | 33.0007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.2629 | μmol/L | 15.5201 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.271 | 125111.9969 | 268686.5723 | 33.25 | 75.7
118308 | 2021-04-30 15:13 | 33.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.308 | μmol/L | 15.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.267 | 125084.3611 | 268708.5315 | 33.25 | 75.7
118318 | 2021-04-30 15:13 | 33.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.2405 | μmol/L | 15.5201 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.272 | 125080.8381 | 268701.2156 | 33.25 | 75.7
118328 | 2021-04-30 15:14 | 34.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.2586 | μmol/L | 15.5262 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 125086.5085 | 268684.5821 | 33.25 | 75.7
118338 | 2021-04-30 15:14 | 34.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.1872 | μmol/L | 15.5324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.27 | 125093.45 | 268699.3399 | 33.25 | 75.7
118348 | 2021-04-30 15:14 | 34.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.232 | μmol/L | 15.5324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 125085.047 | 268697.3309 | 33.25 | 75.7
118358 | 2021-04-30 15:15 | 35.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.2096 | μmol/L | 15.5324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.269 | 125078.5661 | 268696.7728 | 33.25 | 75.7
118368 | 2021-04-30 15:15 | 35.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.1833 | μmol/L | 15.5446 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.266 | 125074.1009 | 268696.5523 | 33.25 | 75.7
118378 | 2021-04-30 15:15 | 35.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.1564 | μmol/L | 15.5446 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 125079.8111 | 268681.1731 | 33.25 | 75.7
118388 | 2021-04-30 15:16 | 36.0007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.1297 | μmol/L | 15.5508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 125078.9993 | 268689.7087 | 33.25 | 75.7
118398 | 2021-04-30 15:16 | 36.3342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.9062 | μmol/L | 15.5569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.274 | 125112.404 | 268688.5512 | 33.25 | 75.7
118408 | 2021-04-30 15:16 | 36.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.7985 | μmol/L | 15.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 125143.1603 | 268679.602 | 33.25 | 75.7
118418 | 2021-04-30 15:17 | 37.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.7272 | μmol/L | 15.5569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.282 | 125185.4657 | 268692.7888 | 33.25 | 75.7
118428 | 2021-04-30 15:17 | 37.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.5398 | μmol/L | 15.563 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.288 | 125231.5004 | 268699.459 | 33.25 | 75.7
118438 | 2021-04-30 15:17 | 37.6676 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.29 | μmol/L | 15.5691 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.297 | 125286.2189 | 268692.9509 | 33.25 | 75.7
118448 | 2021-04-30 15:18 | 38.0009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.0405 | μmol/L | 15.5753 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.306 | 125343.2187 | 268700.9375 | 33.25 | 75.7
118458 | 2021-04-30 15:18 | 38.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8135 | μmol/L | 15.5814 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.314 | 125406.803 | 268705.8964 | 33.25 | 75.7
118468 | 2021-04-30 15:18 | 38.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.5423 | μmol/L | 15.5875 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.324 | 125474.2598 | 268701.6703 | 33.25 | 75.7
118478 | 2021-04-30 15:19 | 39.0006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.3286 | μmol/L | 15.5753 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.338 | 125552.2976 | 268694.035 | 33.25 | 75.7
118488 | 2021-04-30 15:19 | 39.3338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.9695 | μmol/L | 15.5875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 125641.1757 | 268703.5765 | 33.25 | 75.7
118498 | 2021-04-30 15:19 | 39.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.54 | μmol/L | 15.5936 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.367 | 125740.1734 | 268696.9084 | 33.25 | 75.7
118508 | 2021-04-30 15:20 | 40.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.1115 | μmol/L | 15.6059 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.382 | 125844.2913 | 268691.3953 | 33.25 | 75.7
118518 | 2021-04-30 15:20 | 40.3341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.7407 | μmol/L | 15.5998 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.401 | 125969.8781 | 268702.65 | 33.25 | 75.7
118528 | 2021-04-30 15:20 | 40.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.34 | μmol/L | 15.6059 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.417 | 126087.7112 | 268695.9625 | 33.25 | 75.7
118538 | 2021-04-30 15:21 | 41.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.5221 | μmol/L | 15.6059 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.5 | 126529.5066 | 268700.4927 | 33.25 | 75.7
118548 | 2021-04-30 15:21 | 41.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.205 | μmol/L | 15.6243 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.554 | 126937.8969 | 268700.845 | 33.25 | 75.7
118558 | 2021-04-30 15:21 | 41.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.5604 | μmol/L | 15.6182 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.586 | 127161.7352 | 268697.8186 | 33.25 | 75.7
118568 | 2021-04-30 15:22 | 42.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.9091 | μmol/L | 15.6243 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.614 | 127359.3726 | 268685.9896 | 33.25 | 75.7
118578 | 2021-04-30 15:22 | 42.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.436 | μmol/L | 15.6243 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.636 | 127488.3088 | 268706.399 | 33.25 | 75.7
118588 | 2021-04-30 15:22 | 42.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.1399 | μmol/L | 15.6182 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.652 | 127617.2678 | 268692.1103 | 33.25 | 75.7
118598 | 2021-04-30 15:23 | 43.0008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.6813 | μmol/L | 15.6304 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.669 | 127706.2171 | 268700.4831 | 33.25 | 75.7
118608 | 2021-04-30 15:23 | 43.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.7197 | μmol/L | 15.6365 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.665 | 127685.7431 | 268690.6964 | 33.25 | 75.7
118618 | 2021-04-30 15:23 | 43.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.1438 | μmol/L | 15.6427 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.643 | 127572.503 | 268686.7126 | 33.25 | 75.7