## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
117309 | 2021-04-30 14:40 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1184 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.687 | 123458.9318 | 291929.9314 | 59.9307 | 38.1
117319 | 2021-04-30 14:40 | 0.34021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5571 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.667 | 123337.3179 | 291913.014 | 59.9307 | 38.1
117329 | 2021-04-30 14:40 | 0.67346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.8688 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.655 | 123262.9074 | 291919.3892 | 59.9307 | 38.1
117339 | 2021-04-30 14:41 | 1.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9788 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.65 | 123190.309 | 291903.5116 | 59.9307 | 38.1
117349 | 2021-04-30 14:41 | 1.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.3132 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.637 | 123119.9241 | 291910.2966 | 59.9307 | 38.1
117359 | 2021-04-30 14:41 | 1.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.5777 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.625 | 123049.3087 | 291888.0574 | 59.9307 | 38.1
117369 | 2021-04-30 14:42 | 2.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.8426 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.613 | 122990.472 | 291901.814 | 59.9307 | 38.1
117379 | 2021-04-30 14:42 | 2.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.9531 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.608 | 122929.0902 | 291885.9405 | 59.9307 | 38.1
117389 | 2021-04-30 14:42 | 2.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.2185 | μmol/L | 15.0816 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.596 | 122882.4239 | 291891.1272 | 59.9307 | 38.1
117399 | 2021-04-30 14:43 | 3.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.3472 | μmol/L | 15.0877 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.588 | 122839.0528 | 291886.9642 | 59.9307 | 38.1
117409 | 2021-04-30 14:43 | 3.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.3169 | μmol/L | 15.0999 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.585 | 122799.987 | 291891.4528 | 59.9307 | 38.1
117419 | 2021-04-30 14:43 | 3.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.5646 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.576 | 122752.6172 | 291892.1674 | 59.9307 | 38.1
117429 | 2021-04-30 14:44 | 4.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.5606 | μmol/L | 15.0999 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.574 | 122719.2376 | 291896.4291 | 59.9307 | 38.1
117439 | 2021-04-30 14:44 | 4.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.6533 | μmol/L | 15.0938 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.572 | 122684.5863 | 291885.8091 | 59.9307 | 38.1
117449 | 2021-04-30 14:44 | 4.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.8227 | μmol/L | 15.106 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.56 | 122655.3451 | 291895.952 | 59.9307 | 38.1
117459 | 2021-04-30 14:45 | 5.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.8186 | μmol/L | 15.1121 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.558 | 122619.9381 | 291901.631 | 59.9307 | 38.1
117469 | 2021-04-30 14:45 | 5.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.8811 | μmol/L | 15.1182 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.553 | 122586.2758 | 291902.2059 | 59.9307 | 38.1
117479 | 2021-04-30 14:45 | 5.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.97 | μmol/L | 15.1182 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.549 | 122564.5953 | 291903.7587 | 59.9307 | 38.1
117489 | 2021-04-30 14:46 | 6.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.0507 | μmol/L | 15.1304 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.541 | 122534.2884 | 291903.0681 | 59.9307 | 38.1
117499 | 2021-04-30 14:46 | 6.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.1437 | μmol/L | 15.1243 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.539 | 122504.3149 | 291902.3661 | 59.9307 | 38.1
117509 | 2021-04-30 14:46 | 6.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.1801 | μmol/L | 15.1365 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.533 | 122477.4832 | 291888.092 | 59.9307 | 38.1
117519 | 2021-04-30 14:47 | 7.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.3135 | μmol/L | 15.1365 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.527 | 122457.6746 | 291895.2737 | 59.9307 | 38.1
117529 | 2021-04-30 14:47 | 7.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.265 | μmol/L | 15.1426 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.527 | 122432.0262 | 291897.271 | 59.9307 | 38.1
117539 | 2021-04-30 14:47 | 7.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.4208 | μmol/L | 15.1426 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.52 | 122413.6618 | 291903.4733 | 59.9307 | 38.1
117549 | 2021-04-30 14:48 | 8.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.4613 | μmol/L | 15.1487 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.516 | 122399.9343 | 291907.6079 | 59.9307 | 38.1
117559 | 2021-04-30 14:48 | 8.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.3905 | μmol/L | 15.1548 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.517 | 122378.4528 | 291903.7553 | 59.9307 | 38.1
117569 | 2021-04-30 14:48 | 8.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.587 | μmol/L | 15.1609 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.506 | 122354.3565 | 291900.3454 | 59.9307 | 38.1
117579 | 2021-04-30 14:49 | 9.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.591 | μmol/L | 15.1548 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.508 | 122333.5181 | 291893.9733 | 59.9307 | 38.1
117589 | 2021-04-30 14:49 | 9.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6275 | μmol/L | 15.167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.502 | 122321.5628 | 291902.1792 | 59.9307 | 38.1
117599 | 2021-04-30 14:49 | 9.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.579 | μmol/L | 15.1731 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.502 | 122300.9285 | 291893.6392 | 59.9307 | 38.1
117609 | 2021-04-30 14:50 | 10.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7127 | μmol/L | 15.1731 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.496 | 122282.7226 | 291899.4723 | 59.9307 | 38.1
117619 | 2021-04-30 14:50 | 10.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.6196 | μmol/L | 15.1792 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.498 | 122268.5663 | 291891.8495 | 59.9307 | 38.1
117629 | 2021-04-30 14:50 | 10.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7756 | μmol/L | 15.1792 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.491 | 122250.4792 | 291901.2266 | 59.9307 | 38.1
117639 | 2021-04-30 14:51 | 11.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7231 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.489 | 122237.1121 | 291895.6752 | 59.9307 | 38.1
117649 | 2021-04-30 14:51 | 11.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.786 | μmol/L | 15.1975 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.484 | 122222.1565 | 291899.111 | 59.9307 | 38.1
117659 | 2021-04-30 14:51 | 11.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8123 | μmol/L | 15.1914 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.485 | 122202.5461 | 291902.1826 | 59.9307 | 38.1
117669 | 2021-04-30 14:52 | 12.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.7375 | μmol/L | 15.2036 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.484 | 122193.8101 | 291894.8701 | 59.9307 | 38.1
117679 | 2021-04-30 14:52 | 12.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8713 | μmol/L | 15.2036 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.478 | 122183.7677 | 291898.9613 | 59.9307 | 38.1
117689 | 2021-04-30 14:52 | 12.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8004 | μmol/L | 15.2097 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.479 | 122164.1631 | 291898.8501 | 59.9307 | 38.1
117699 | 2021-04-30 14:53 | 13.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8451 | μmol/L | 15.2097 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.477 | 122147.5331 | 291890.5096 | 59.9307 | 38.1
117709 | 2021-04-30 14:53 | 13.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8149 | μmol/L | 15.2219 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.474 | 122138.4362 | 291892.6033 | 59.9307 | 38.1
117719 | 2021-04-30 14:53 | 13.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9712 | μmol/L | 15.2219 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.467 | 122125.0657 | 291885.5753 | 59.9307 | 38.1
117729 | 2021-04-30 14:54 | 14.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8332 | μmol/L | 15.228 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.471 | 122124.9097 | 291900.0306 | 59.9307 | 38.1
117739 | 2021-04-30 14:54 | 14.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.8293 | μmol/L | 15.2341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.469 | 122106.4154 | 291887.2201 | 59.9307 | 38.1
117749 | 2021-04-30 14:54 | 14.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9856 | μmol/L | 15.2341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.462 | 122088.8506 | 291892.17 | 59.9307 | 38.1
117759 | 2021-04-30 14:55 | 15.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.941 | μmol/L | 15.2341 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.464 | 122081.3845 | 291898.2748 | 59.9307 | 38.1
117769 | 2021-04-30 14:55 | 15.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9331 | μmol/L | 15.2463 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.46 | 122071.5105 | 291904.0176 | 59.9307 | 38.1
117779 | 2021-04-30 14:55 | 15.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9555 | μmol/L | 15.2463 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.459 | 122055.7684 | 291896.0538 | 59.9307 | 38.1
117789 | 2021-04-30 14:56 | 16.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0001 | μmol/L | 15.2463 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.457 | 122049.5151 | 291881.4429 | 59.9307 | 38.1
117799 | 2021-04-30 14:56 | 16.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.9739 | μmol/L | 15.2524 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.456 | 122030.2434 | 291873.1814 | 59.9307 | 38.1
117809 | 2021-04-30 14:56 | 16.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0633 | μmol/L | 15.2524 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.452 | 122025.6316 | 291893.3504 | 59.9307 | 38.1
117819 | 2021-04-30 14:57 | 17.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.037 | μmol/L | 15.2585 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.451 | 122011.6231 | 291891.6525 | 59.9307 | 38.1
117829 | 2021-04-30 14:57 | 17.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0555 | μmol/L | 15.2646 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.448 | 121998.6523 | 291885.8648 | 59.9307 | 38.1
117839 | 2021-04-30 14:57 | 17.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.141 | μmol/L | 15.2707 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.442 | 121995.5545 | 291896.8362 | 59.9307 | 38.1
117849 | 2021-04-30 14:58 | 18.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0516 | μmol/L | 15.2707 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.446 | 121984.8586 | 291900.8769 | 59.9307 | 38.1
117859 | 2021-04-30 14:58 | 18.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0214 | μmol/L | 15.2829 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.443 | 121973.1586 | 291893.335 | 59.9307 | 38.1
117869 | 2021-04-30 14:58 | 18.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.178 | μmol/L | 15.2829 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.436 | 121963.9332 | 291894.0585 | 59.9307 | 38.1
117879 | 2021-04-30 14:59 | 19.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1332 | μmol/L | 15.2829 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.438 | 121957.0605 | 291909.3478 | 59.9307 | 38.1
117889 | 2021-04-30 14:59 | 19.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0846 | μmol/L | 15.289 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.438 | 121951.6238 | 291905.0022 | 59.9307 | 38.1
117899 | 2021-04-30 14:59 | 19.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.0808 | μmol/L | 15.2951 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.436 | 121940.3029 | 291889.9493 | 59.9307 | 38.1
117909 | 2021-04-30 15:00 | 20.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1216 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.432 | 121938.2765 | 291898.6062 | 59.9307 | 38.1
117919 | 2021-04-30 15:00 | 20.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1216 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.432 | 121916.0894 | 291891.9671 | 59.9307 | 38.1
117929 | 2021-04-30 15:00 | 20.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1216 | μmol/L | 15.3012 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.432 | 121916.8068 | 291889.8004 | 59.9307 | 38.1
117939 | 2021-04-30 15:01 | 21.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2744 | μmol/L | 15.3073 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.423 | 121911.3274 | 291890.1242 | 59.9307 | 38.1
117949 | 2021-04-30 15:01 | 21.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1587 | μmol/L | 15.3134 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.426 | 121894.2985 | 291884.7279 | 59.9307 | 38.1
117959 | 2021-04-30 15:01 | 21.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1101 | μmol/L | 15.3195 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.426 | 121901.0784 | 291903.0878 | 59.9307 | 38.1
117969 | 2021-04-30 15:02 | 22.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1772 | μmol/L | 15.3195 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.423 | 121885.4514 | 291902.8293 | 59.9307 | 38.1
117979 | 2021-04-30 15:02 | 22.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1772 | μmol/L | 15.3195 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.423 | 121880.063 | 291896.2919 | 59.9307 | 38.1
117989 | 2021-04-30 15:02 | 22.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1996 | μmol/L | 15.3195 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.422 | 121881.4468 | 291896.7476 | 59.9307 | 38.1
117999 | 2021-04-30 15:03 | 23.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1248 | μmol/L | 15.3317 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.421 | 121862.8793 | 291888.9118 | 59.9307 | 38.1
118009 | 2021-04-30 15:03 | 23.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1471 | μmol/L | 15.3317 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.42 | 121850.3995 | 291894.9115 | 59.9307 | 38.1
118019 | 2021-04-30 15:03 | 23.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1395 | μmol/L | 15.3439 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.416 | 121846.8618 | 291896.0247 | 59.9307 | 38.1
118029 | 2021-04-30 15:04 | 24.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1843 | μmol/L | 15.3439 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.414 | 121841.882 | 291899.9804 | 59.9307 | 38.1
118039 | 2021-04-30 15:04 | 24.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1319 | μmol/L | 15.3561 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.412 | 121831.2621 | 291887.3855 | 59.9307 | 38.1
118049 | 2021-04-30 15:04 | 24.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1357 | μmol/L | 15.35 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.414 | 121823.8056 | 291884.4062 | 59.9307 | 38.1
118059 | 2021-04-30 15:05 | 25.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1543 | μmol/L | 15.3561 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.411 | 121811.8372 | 291885.3726 | 59.9307 | 38.1
118069 | 2021-04-30 15:05 | 25.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1804 | μmol/L | 15.35 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.412 | 121806.982 | 291876.7255 | 59.9307 | 38.1
118079 | 2021-04-30 15:05 | 25.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1504 | μmol/L | 15.3622 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.409 | 121799.4509 | 291887.2763 | 59.9307 | 38.1
118089 | 2021-04-30 15:06 | 26.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1914 | μmol/L | 15.3683 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.405 | 121784.726 | 291882.8793 | 59.9307 | 38.1
118099 | 2021-04-30 15:06 | 26.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2586 | μmol/L | 15.3683 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.402 | 121776.9389 | 291900.7346 | 59.9307 | 38.1
118109 | 2021-04-30 15:06 | 26.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1429 | μmol/L | 15.3744 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.405 | 121770.4645 | 291893.8808 | 59.9307 | 38.1
118119 | 2021-04-30 15:07 | 27.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2062 | μmol/L | 15.3805 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.4 | 121761.7172 | 291882.3337 | 59.9307 | 38.1
118129 | 2021-04-30 15:07 | 27.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.251 | μmol/L | 15.3805 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.398 | 121742.5653 | 291887.8096 | 59.9307 | 38.1
118139 | 2021-04-30 15:07 | 27.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2248 | μmol/L | 15.3866 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.397 | 121736.491 | 291876.608 | 59.9307 | 38.1
118149 | 2021-04-30 15:08 | 28.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3592 | μmol/L | 15.3866 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.391 | 121732.8498 | 291880.569 | 59.9307 | 38.1
118159 | 2021-04-30 15:08 | 28.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3554 | μmol/L | 15.3927 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.389 | 121722.4516 | 291878.1773 | 59.9307 | 38.1
118169 | 2021-04-30 15:08 | 28.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1725 | μmol/L | 15.3988 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.395 | 121718.878 | 291898.5509 | 59.9307 | 38.1
118179 | 2021-04-30 15:09 | 29.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2397 | μmol/L | 15.3988 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.392 | 121714.5464 | 291896.6288 | 59.9307 | 38.1
118189 | 2021-04-30 15:09 | 29.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2583 | μmol/L | 15.4049 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.389 | 121702.8877 | 291894.5382 | 59.9307 | 38.1
118199 | 2021-04-30 15:09 | 29.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2322 | μmol/L | 15.411 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.388 | 121691.5131 | 291879.4666 | 59.9307 | 38.1
118209 | 2021-04-30 15:10 | 30.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2956 | μmol/L | 15.4171 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.383 | 121687.215 | 291888.2461 | 59.9307 | 38.1
118219 | 2021-04-30 15:10 | 30.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2695 | μmol/L | 15.4232 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.382 | 121669.9061 | 291884.8002 | 59.9307 | 38.1
118229 | 2021-04-30 15:10 | 30.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1761 | μmol/L | 15.4293 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.384 | 121658.6682 | 291880.7306 | 59.9307 | 38.1
118239 | 2021-04-30 15:11 | 31.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2471 | μmol/L | 15.4232 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.383 | 121667.5394 | 291890.5975 | 59.9307 | 38.1
118249 | 2021-04-30 15:11 | 31.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2657 | μmol/L | 15.4293 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.38 | 121651.6366 | 291874.1233 | 59.9307 | 38.1
118259 | 2021-04-30 15:11 | 31.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2657 | μmol/L | 15.4293 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.38 | 121639.0959 | 291850.3595 | 59.9307 | 38.1
118269 | 2021-04-30 15:12 | 32.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2844 | μmol/L | 15.4354 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.377 | 121640.0645 | 291868.6724 | 59.9307 | 38.1
118279 | 2021-04-30 15:12 | 32.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3292 | μmol/L | 15.4354 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.375 | 121628.6827 | 291863.7867 | 59.9307 | 38.1
118289 | 2021-04-30 15:12 | 32.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2583 | μmol/L | 15.4415 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.376 | 121627.8811 | 291878.8934 | 59.9307 | 38.1
118299 | 2021-04-30 15:13 | 33.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.1874 | μmol/L | 15.4476 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.377 | 121621.0981 | 291875.082 | 59.9307 | 38.1
118309 | 2021-04-30 15:13 | 33.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2769 | μmol/L | 15.4476 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.373 | 121609.741 | 291877.9275 | 59.9307 | 38.1
118319 | 2021-04-30 15:13 | 33.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2956 | μmol/L | 15.4537 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.37 | 121600.3375 | 291868.182 | 59.9307 | 38.1
118329 | 2021-04-30 15:14 | 34.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.318 | μmol/L | 15.4537 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.369 | 121589.8356 | 291870.7763 | 59.9307 | 38.1
118339 | 2021-04-30 15:14 | 34.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2919 | μmol/L | 15.4598 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.368 | 121592.692 | 291863.7968 | 59.9307 | 38.1
118349 | 2021-04-30 15:14 | 34.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3592 | μmol/L | 15.4598 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.365 | 121587.7047 | 291872.2527 | 59.9307 | 38.1
118359 | 2021-04-30 15:15 | 35.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.333 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.364 | 121573.292 | 291873.0404 | 59.9307 | 38.1
118369 | 2021-04-30 15:15 | 35.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3106 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.365 | 121562.9616 | 291864.3666 | 59.9307 | 38.1
118379 | 2021-04-30 15:15 | 35.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3555 | μmol/L | 15.4659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.363 | 121564.4926 | 291874.2531 | 59.9307 | 38.1
118389 | 2021-04-30 15:16 | 36.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3033 | μmol/L | 15.4781 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.361 | 121549.9477 | 291866.9263 | 59.9307 | 38.1
118399 | 2021-04-30 15:16 | 36.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3481 | μmol/L | 15.4781 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.359 | 121546.7462 | 291880.5953 | 59.9307 | 38.1
118409 | 2021-04-30 15:16 | 36.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3033 | μmol/L | 15.4781 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.361 | 121541.6405 | 291866.4286 | 59.9307 | 38.1
118419 | 2021-04-30 15:17 | 37.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3929 | μmol/L | 15.4781 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.357 | 121531.9369 | 291875.9747 | 59.9307 | 38.1
118429 | 2021-04-30 15:17 | 37.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4378 | μmol/L | 15.4781 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.355 | 121519.8665 | 291878.3786 | 59.9307 | 38.1
118439 | 2021-04-30 15:17 | 37.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4826 | μmol/L | 15.4781 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.353 | 121515.3823 | 291881.8767 | 59.9307 | 38.1
118449 | 2021-04-30 15:18 | 38.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3819 | μmol/L | 15.4964 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.351 | 121502.4893 | 291867.6214 | 59.9307 | 38.1
118459 | 2021-04-30 15:18 | 38.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.3856 | μmol/L | 15.4903 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.353 | 121492.5464 | 291875.7265 | 59.9307 | 38.1
118469 | 2021-04-30 15:18 | 38.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.2661 | μmol/L | 15.5025 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.354 | 121495.926 | 291880.394 | 59.9307 | 38.1
118479 | 2021-04-30 15:19 | 39.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4043 | μmol/L | 15.4964 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.35 | 121488.8529 | 291876.9561 | 59.9307 | 38.1
118489 | 2021-04-30 15:19 | 39.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4043 | μmol/L | 15.4964 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.35 | 121491.8572 | 291881.4789 | 59.9307 | 38.1
118499 | 2021-04-30 15:19 | 39.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4194 | μmol/L | 15.5086 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.345 | 121487.3384 | 291888.3129 | 59.9307 | 38.1
118509 | 2021-04-30 15:20 | 40.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4904 | μmol/L | 15.5025 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.344 | 121484.3211 | 291883.2437 | 59.9307 | 38.1
118519 | 2021-04-30 15:20 | 40.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4904 | μmol/L | 15.5025 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.344 | 121476.6488 | 291890.7204 | 59.9307 | 38.1
118529 | 2021-04-30 15:20 | 40.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4418 | μmol/L | 15.5086 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.344 | 121464.3699 | 291872.3556 | 59.9307 | 38.1
118539 | 2021-04-30 15:21 | 41.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5055 | μmol/L | 15.5147 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.339 | 121459.536 | 291879.0624 | 59.9307 | 38.1
118549 | 2021-04-30 15:21 | 41.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5091 | μmol/L | 15.5086 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.341 | 121450.0209 | 291873.8997 | 59.9307 | 38.1
118559 | 2021-04-30 15:21 | 41.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4121 | μmol/L | 15.5208 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.341 | 121455.5402 | 291868.3259 | 59.9307 | 38.1
118569 | 2021-04-30 15:22 | 42.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4382 | μmol/L | 15.5147 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.342 | 121449.8254 | 291885.8805 | 59.9307 | 38.1
118579 | 2021-04-30 15:22 | 42.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4121 | μmol/L | 15.5208 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.341 | 121436.1162 | 291879.8499 | 59.9307 | 38.1
118589 | 2021-04-30 15:22 | 42.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5243 | μmol/L | 15.5208 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.336 | 121432.7447 | 291868.1706 | 59.9307 | 38.1
118599 | 2021-04-30 15:23 | 43.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5018 | μmol/L | 15.5208 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.337 | 121425.9572 | 291867.635 | 59.9307 | 38.1
118609 | 2021-04-30 15:23 | 43.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.4533 | μmol/L | 15.5269 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.337 | 121423.5112 | 291863.8548 | 59.9307 | 38.1
118619 | 2021-04-30 15:23 | 43.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.5018 | μmol/L | 15.5208 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.337 | 121433.7504 | 291883.146 | 59.9307 | 38.1