## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
117312 | 2021-04-30 14:40 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3895 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.275 | 119914.6 | 266527.3823 | 36.4 | 83.1
117322 | 2021-04-30 14:40 | 0.34116 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0893 | μmol/L | 15.0898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.292 | 120021.2508 | 266522.6816 | 36.4 | 83.1
117332 | 2021-04-30 14:40 | 0.67388 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8552 | μmol/L | 15.0837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.304 | 120087.0654 | 266516.2089 | 36.4 | 83.1
117342 | 2021-04-30 14:41 | 1.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7175 | μmol/L | 15.0776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.312 | 120119.3747 | 266527.1779 | 36.4 | 83.1
117352 | 2021-04-30 14:41 | 1.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6388 | μmol/L | 15.0837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.313 | 120133.1429 | 266521.7482 | 36.4 | 83.1
117362 | 2021-04-30 14:41 | 1.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5187 | μmol/L | 15.0837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.318 | 120172.3438 | 266524.1575 | 36.4 | 83.1
117372 | 2021-04-30 14:42 | 2.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2242 | μmol/L | 15.0898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.328 | 120219.6707 | 266522.7343 | 36.4 | 83.1
117382 | 2021-04-30 14:42 | 2.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9539 | μmol/L | 15.0959 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 120270.0536 | 266525.8516 | 36.4 | 83.1
117392 | 2021-04-30 14:42 | 2.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7558 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.343 | 120326.861 | 266517.1845 | 36.4 | 83.1
117402 | 2021-04-30 14:43 | 3.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5883 | μmol/L | 15.1021 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 120352.7124 | 266520.4931 | 36.4 | 83.1
117412 | 2021-04-30 14:43 | 3.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4144 | μmol/L | 15.1082 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.355 | 120366.3838 | 266531.7898 | 36.4 | 83.1
117422 | 2021-04-30 14:43 | 3.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3123 | μmol/L | 15.1143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.357 | 120386.1602 | 266506.2584 | 36.4 | 83.1
117432 | 2021-04-30 14:44 | 4.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2167 | μmol/L | 15.1143 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 120402.7555 | 266515.2402 | 36.4 | 83.1
117442 | 2021-04-30 14:44 | 4.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1081 | μmol/L | 15.1265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 120423.2474 | 266512.7346 | 36.4 | 83.1
117452 | 2021-04-30 14:44 | 4.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0669 | μmol/L | 15.1204 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120427.9585 | 266513.5246 | 36.4 | 83.1
117462 | 2021-04-30 14:45 | 5.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9584 | μmol/L | 15.1326 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120434.3759 | 266510.8761 | 36.4 | 83.1
117472 | 2021-04-30 14:45 | 5.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8326 | μmol/L | 15.1388 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.368 | 120445.983 | 266510.0995 | 36.4 | 83.1
117482 | 2021-04-30 14:45 | 5.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9042 | μmol/L | 15.1388 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120439.5285 | 266505.0901 | 36.4 | 83.1
117492 | 2021-04-30 14:46 | 6.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7958 | μmol/L | 15.151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120444.7864 | 266517.5579 | 36.4 | 83.1
117502 | 2021-04-30 14:46 | 6.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7481 | μmol/L | 15.151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.367 | 120440.6758 | 266513.859 | 36.4 | 83.1
117512 | 2021-04-30 14:46 | 6.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7416 | μmol/L | 15.1571 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120443.2249 | 266510.0216 | 36.4 | 83.1
117522 | 2021-04-30 14:47 | 7.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6397 | μmol/L | 15.1632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.367 | 120449.4629 | 266527.4759 | 36.4 | 83.1
117532 | 2021-04-30 14:47 | 7.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5379 | μmol/L | 15.1694 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.369 | 120451.6819 | 266512.1022 | 36.4 | 83.1
117542 | 2021-04-30 14:47 | 7.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5791 | μmol/L | 15.1755 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120455.6416 | 266519.9188 | 36.4 | 83.1
117552 | 2021-04-30 14:48 | 8.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5791 | μmol/L | 15.1755 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.365 | 120453.3494 | 266512.0847 | 36.4 | 83.1
117562 | 2021-04-30 14:48 | 8.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6203 | μmol/L | 15.1816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 120432.4672 | 266513.3877 | 36.4 | 83.1
117572 | 2021-04-30 14:48 | 8.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6441 | μmol/L | 15.1816 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.36 | 120398.1802 | 266510.9258 | 36.4 | 83.1
117582 | 2021-04-30 14:49 | 9.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9 | μmol/L | 15.1877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.347 | 120352.5303 | 266520.0225 | 36.4 | 83.1
117592 | 2021-04-30 14:49 | 9.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0193 | μmol/L | 15.1877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 120306.4735 | 266509.2256 | 36.4 | 83.1
117602 | 2021-04-30 14:49 | 9.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1975 | μmol/L | 15.1999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.33 | 120241.6467 | 266509.6944 | 36.4 | 83.1
117612 | 2021-04-30 14:50 | 10.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4909 | μmol/L | 15.1938 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.32 | 120181.6347 | 266503.3689 | 36.4 | 83.1
117622 | 2021-04-30 14:50 | 10.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6042 | μmol/L | 15.1999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.313 | 120138.4651 | 266520.8932 | 36.4 | 83.1
117632 | 2021-04-30 14:50 | 10.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6871 | μmol/L | 15.2122 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.305 | 120091.74 | 266523.8698 | 36.4 | 83.1
117642 | 2021-04-30 14:51 | 11.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8309 | μmol/L | 15.2122 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.299 | 120058.6854 | 266500.0276 | 36.4 | 83.1
117652 | 2021-04-30 14:51 | 11.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8245 | μmol/L | 15.2183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.297 | 120034.7694 | 266512.3856 | 36.4 | 83.1
117662 | 2021-04-30 14:51 | 11.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8836 | μmol/L | 15.2305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.29 | 120011.9882 | 266524.4388 | 36.4 | 83.1
117672 | 2021-04-30 14:52 | 12.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0515 | μmol/L | 15.2305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 119997.6105 | 266516.0456 | 36.4 | 83.1
117682 | 2021-04-30 14:52 | 12.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0035 | μmol/L | 15.2305 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.285 | 119981.5904 | 266514.0474 | 36.4 | 83.1
117692 | 2021-04-30 14:52 | 12.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0467 | μmol/L | 15.2305 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.283 | 119980.3251 | 266508.7571 | 36.4 | 83.1
117702 | 2021-04-30 14:53 | 13.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9428 | μmol/L | 15.2428 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 119970.5321 | 266511.7493 | 36.4 | 83.1
117712 | 2021-04-30 14:53 | 13.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9907 | μmol/L | 15.2428 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 119966.3064 | 266504.4264 | 36.4 | 83.1
117722 | 2021-04-30 14:53 | 13.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9556 | μmol/L | 15.2489 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.28 | 119969.9608 | 266504.008 | 36.4 | 83.1
117732 | 2021-04-30 14:54 | 14.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9364 | μmol/L | 15.2489 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 119993.7681 | 266508.0273 | 36.4 | 83.1
117742 | 2021-04-30 14:54 | 14.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7622 | μmol/L | 15.255 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.286 | 119991.8475 | 266493.8059 | 36.4 | 83.1
117752 | 2021-04-30 14:54 | 14.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6057 | μmol/L | 15.2672 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.288 | 120010.5371 | 266505.5447 | 36.4 | 83.1
117762 | 2021-04-30 14:55 | 15.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6249 | μmol/L | 15.2672 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.287 | 120023.4402 | 266504.7466 | 36.4 | 83.1
117772 | 2021-04-30 14:55 | 15.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7207 | μmol/L | 15.2672 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.283 | 120004.1794 | 266491.7127 | 36.4 | 83.1
117782 | 2021-04-30 14:55 | 15.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8342 | μmol/L | 15.2734 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 119952.3814 | 266501.2628 | 36.4 | 83.1
117792 | 2021-04-30 14:56 | 16.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9718 | μmol/L | 15.2795 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 119914.864 | 266507.9841 | 36.4 | 83.1
117802 | 2021-04-30 14:56 | 16.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1158 | μmol/L | 15.2795 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.262 | 119872.7388 | 266519.4565 | 36.4 | 83.1
117812 | 2021-04-30 14:56 | 16.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1335 | μmol/L | 15.2856 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.259 | 119859.6852 | 266509.8965 | 36.4 | 83.1
117822 | 2021-04-30 14:57 | 17.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0792 | μmol/L | 15.2917 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.259 | 119860.1168 | 266514.7148 | 36.4 | 83.1
117832 | 2021-04-30 14:57 | 17.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8922 | μmol/L | 15.3101 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.26 | 119866.9949 | 266504.3914 | 36.4 | 83.1
117842 | 2021-04-30 14:57 | 17.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9768 | μmol/L | 15.2978 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.261 | 119877.6418 | 266512.484 | 36.4 | 83.1
117852 | 2021-04-30 14:58 | 18.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8619 | μmol/L | 15.3162 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.259 | 119866.4705 | 266505.7619 | 36.4 | 83.1
117862 | 2021-04-30 14:58 | 18.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9642 | μmol/L | 15.3101 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.257 | 119876.1723 | 266504.6001 | 36.4 | 83.1
117872 | 2021-04-30 14:58 | 18.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8619 | μmol/L | 15.3162 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.259 | 119863.8367 | 266514.9228 | 36.4 | 83.1
117882 | 2021-04-30 14:59 | 19.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8556 | μmol/L | 15.3223 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.257 | 119859.986 | 266491.7257 | 36.4 | 83.1
117892 | 2021-04-30 14:59 | 19.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8301 | μmol/L | 15.3284 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.256 | 119864.7248 | 266511.4432 | 36.4 | 83.1
117902 | 2021-04-30 14:59 | 19.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6991 | μmol/L | 15.3346 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.259 | 119890.2615 | 266504.9012 | 36.4 | 83.1
117912 | 2021-04-30 15:00 | 20.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4771 | μmol/L | 15.3407 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.266 | 119913.8084 | 266512.2451 | 36.4 | 83.1
117922 | 2021-04-30 15:00 | 20.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.399 | μmol/L | 15.3468 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 119932.4501 | 266516.5792 | 36.4 | 83.1
117932 | 2021-04-30 15:00 | 20.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.332 | μmol/L | 15.3468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.27 | 119952.0814 | 266513.378 | 36.4 | 83.1
117942 | 2021-04-30 15:01 | 21.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3018 | μmol/L | 15.3529 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.269 | 119963.6081 | 266506.8674 | 36.4 | 83.1
117952 | 2021-04-30 15:01 | 21.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.23 | μmol/L | 15.3529 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.272 | 119984.7551 | 266502.3456 | 36.4 | 83.1
117962 | 2021-04-30 15:01 | 21.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1644 | μmol/L | 15.3468 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.277 | 120012.6797 | 266506.5249 | 36.4 | 83.1
117972 | 2021-04-30 15:02 | 22.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9319 | μmol/L | 15.359 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 120024.7623 | 266496.1582 | 36.4 | 83.1
117982 | 2021-04-30 15:02 | 22.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9495 | μmol/L | 15.3651 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.279 | 120042.4452 | 266498.4859 | 36.4 | 83.1
117992 | 2021-04-30 15:02 | 22.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8238 | μmol/L | 15.3713 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.282 | 120046.4388 | 266513.731 | 36.4 | 83.1
118002 | 2021-04-30 15:03 | 23.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.722 | μmol/L | 15.3774 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 120057.7031 | 266510.9785 | 36.4 | 83.1
118012 | 2021-04-30 15:03 | 23.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6679 | μmol/L | 15.3835 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.284 | 120066.9105 | 266498.1478 | 36.4 | 83.1
118022 | 2021-04-30 15:03 | 23.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6742 | μmol/L | 15.3774 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.286 | 120052.3507 | 266503.4864 | 36.4 | 83.1
118032 | 2021-04-30 15:04 | 24.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6125 | μmol/L | 15.3957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.282 | 120045.1535 | 266497.7961 | 36.4 | 83.1
118042 | 2021-04-30 15:04 | 24.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8767 | μmol/L | 15.3896 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.273 | 120029.2364 | 266493.7211 | 36.4 | 83.1
118052 | 2021-04-30 15:04 | 24.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.751 | μmol/L | 15.3957 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.276 | 120007.5568 | 266498.3582 | 36.4 | 83.1
118062 | 2021-04-30 15:05 | 25.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7385 | μmol/L | 15.408 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.272 | 119988.9123 | 266493.8582 | 36.4 | 83.1
118072 | 2021-04-30 15:05 | 25.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.858 | μmol/L | 15.408 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.267 | 119962.4108 | 266481.0316 | 36.4 | 83.1
118082 | 2021-04-30 15:05 | 25.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0479 | μmol/L | 15.4141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.257 | 119912.7254 | 266493.9773 | 36.4 | 83.1
118092 | 2021-04-30 15:06 | 26.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4262 | μmol/L | 15.4141 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.241 | 119791.2344 | 266495.9175 | 36.4 | 83.1
118102 | 2021-04-30 15:06 | 26.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7606 | μmol/L | 15.4202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.225 | 119717.0315 | 266498.3841 | 36.4 | 83.1
118112 | 2021-04-30 15:06 | 26.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9108 | μmol/L | 15.4141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.221 | 119691.4941 | 266494.8876 | 36.4 | 83.1
118122 | 2021-04-30 15:07 | 27.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7194 | μmol/L | 15.4324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.222 | 119698.5263 | 266479.8448 | 36.4 | 83.1
118132 | 2021-04-30 15:07 | 27.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7612 | μmol/L | 15.4386 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.218 | 119696.6449 | 266490.3978 | 36.4 | 83.1
118142 | 2021-04-30 15:07 | 27.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6954 | μmol/L | 15.4324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.223 | 119726.0205 | 266499.3351 | 36.4 | 83.1
118152 | 2021-04-30 15:08 | 28.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4542 | μmol/L | 15.4386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.231 | 119743.4641 | 266484.6799 | 36.4 | 83.1
118162 | 2021-04-30 15:08 | 28.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3761 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.232 | 119781.4622 | 266491.6312 | 36.4 | 83.1
118172 | 2021-04-30 15:08 | 28.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1495 | μmol/L | 15.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.239 | 119806.731 | 266494.2661 | 36.4 | 83.1
118182 | 2021-04-30 15:09 | 29.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0887 | μmol/L | 15.4447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.244 | 119835.1042 | 266487.585 | 36.4 | 83.1
118192 | 2021-04-30 15:09 | 29.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1017 | μmol/L | 15.4508 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.241 | 119835.5245 | 266488.1122 | 36.4 | 83.1
118202 | 2021-04-30 15:09 | 29.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0716 | μmol/L | 15.4569 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.24 | 119805.0554 | 266485.1492 | 36.4 | 83.1
118212 | 2021-04-30 15:10 | 30.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4357 | μmol/L | 15.4569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.225 | 119731.4398 | 266480.8237 | 36.4 | 83.1
118222 | 2021-04-30 15:10 | 30.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4967 | μmol/L | 15.463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.22 | 119711.2495 | 266485.7276 | 36.4 | 83.1
118232 | 2021-04-30 15:10 | 30.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2557 | μmol/L | 15.4692 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.228 | 119738.1362 | 266484.0184 | 36.4 | 83.1
118242 | 2021-04-30 15:11 | 31.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.98 | μmol/L | 15.4814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.235 | 119787.6274 | 266486.8937 | 36.4 | 83.1
118252 | 2021-04-30 15:11 | 31.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9813 | μmol/L | 15.4753 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.237 | 119820.7367 | 266483.7332 | 36.4 | 83.1
118262 | 2021-04-30 15:11 | 31.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8255 | μmol/L | 15.4875 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.239 | 119840.5736 | 266480.9759 | 36.4 | 83.1
118272 | 2021-04-30 15:12 | 32.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7237 | μmol/L | 15.4936 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.241 | 119859.9796 | 266491.0499 | 36.4 | 83.1
118282 | 2021-04-30 15:12 | 32.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7059 | μmol/L | 15.4875 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.244 | 119865.1769 | 266475.8677 | 36.4 | 83.1
118292 | 2021-04-30 15:12 | 32.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6568 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.244 | 119875.6375 | 266475.8035 | 36.4 | 83.1
118302 | 2021-04-30 15:13 | 33.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6281 | μmol/L | 15.4936 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.245 | 119875.1461 | 266473.5512 | 36.4 | 83.1
118312 | 2021-04-30 15:13 | 33.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6568 | μmol/L | 15.4936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.244 | 119876.1369 | 266471.9474 | 36.4 | 83.1
118322 | 2021-04-30 15:13 | 33.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4187 | μmol/L | 15.512 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.247 | 119882.4094 | 266488.7241 | 36.4 | 83.1
118332 | 2021-04-30 15:14 | 34.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4903 | μmol/L | 15.512 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.244 | 119883.6398 | 266480.5292 | 36.4 | 83.1
118342 | 2021-04-30 15:14 | 34.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2571 | μmol/L | 15.5303 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.247 | 119885.0941 | 266487.7223 | 36.4 | 83.1
118352 | 2021-04-30 15:14 | 34.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4603 | μmol/L | 15.5181 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.243 | 119881.7567 | 266476.846 | 36.4 | 83.1
118362 | 2021-04-30 15:15 | 35.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.281 | μmol/L | 15.5303 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.246 | 119886.8927 | 266482.0944 | 36.4 | 83.1
118372 | 2021-04-30 15:15 | 35.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3287 | μmol/L | 15.5303 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.244 | 119894.4129 | 266475.7565 | 36.4 | 83.1
118382 | 2021-04-30 15:15 | 35.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2142 | μmol/L | 15.5303 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.249 | 119885.3858 | 266472.5928 | 36.4 | 83.1
118392 | 2021-04-30 15:16 | 36.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2449 | μmol/L | 15.5426 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.243 | 119879.8351 | 266470.156 | 36.4 | 83.1
118402 | 2021-04-30 15:16 | 36.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4229 | μmol/L | 15.5365 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.238 | 119871.1341 | 266475.0228 | 36.4 | 83.1
118412 | 2021-04-30 15:16 | 36.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2198 | μmol/L | 15.5487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.242 | 119868.396 | 266482.2383 | 36.4 | 83.1
118422 | 2021-04-30 15:17 | 37.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2089 | μmol/L | 15.5548 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.24 | 119864.8911 | 266499.8921 | 36.4 | 83.1
118432 | 2021-04-30 15:17 | 37.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3569 | μmol/L | 15.5548 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.234 | 119835.9815 | 266495.1169 | 36.4 | 83.1
118442 | 2021-04-30 15:17 | 37.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.376 | μmol/L | 15.5548 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.233 | 119820.5376 | 266493.7295 | 36.4 | 83.1
118452 | 2021-04-30 15:18 | 38.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3926 | μmol/L | 15.5671 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.228 | 119790.8318 | 266491.9793 | 36.4 | 83.1
118462 | 2021-04-30 15:18 | 38.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4165 | μmol/L | 15.5671 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.227 | 119784.4853 | 266491.7325 | 36.4 | 83.1
118472 | 2021-04-30 15:18 | 38.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5489 | μmol/L | 15.5732 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.219 | 119761.9294 | 266498.5954 | 36.4 | 83.1
118482 | 2021-04-30 15:19 | 39.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.519 | μmol/L | 15.5793 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.218 | 119766.8441 | 266503.5747 | 36.4 | 83.1
118492 | 2021-04-30 15:19 | 39.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5538 | μmol/L | 15.5732 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.219 | 119742.6664 | 266495.3156 | 36.4 | 83.1
118502 | 2021-04-30 15:19 | 39.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4113 | μmol/L | 15.5915 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.218 | 119752.5945 | 266483.8408 | 36.4 | 83.1
118512 | 2021-04-30 15:20 | 40.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5895 | μmol/L | 15.5854 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.213 | 119729.379 | 266490.6525 | 36.4 | 83.1
118522 | 2021-04-30 15:20 | 40.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.434 | μmol/L | 15.5977 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.215 | 119737.299 | 266488.4695 | 36.4 | 83.1
118532 | 2021-04-30 15:20 | 40.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4591 | μmol/L | 15.5915 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.216 | 119734.8791 | 266486.402 | 36.4 | 83.1
118542 | 2021-04-30 15:21 | 41.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4292 | μmol/L | 15.5977 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.215 | 119742.5495 | 266471.2999 | 36.4 | 83.1
118552 | 2021-04-30 15:21 | 41.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.428 | μmol/L | 15.6038 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.213 | 119739.9381 | 266477.417 | 36.4 | 83.1
118562 | 2021-04-30 15:21 | 41.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4948 | μmol/L | 15.6038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.21 | 119726.5317 | 266481.9546 | 36.4 | 83.1
118572 | 2021-04-30 15:22 | 42.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6383 | μmol/L | 15.6038 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.204 | 119693.4526 | 266480.1317 | 36.4 | 83.1
118582 | 2021-04-30 15:22 | 42.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6741 | μmol/L | 15.616 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.198 | 119663.1041 | 266480.4283 | 36.4 | 83.1
118592 | 2021-04-30 15:22 | 42.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.722 | μmol/L | 15.616 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.196 | 119630.5989 | 266476.8372 | 36.4 | 83.1
118602 | 2021-04-30 15:23 | 43.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8117 | μmol/L | 15.6221 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.19 | 119606.7077 | 266472.0727 | 36.4 | 83.1
118612 | 2021-04-30 15:23 | 43.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8836 | μmol/L | 15.6221 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.187 | 119587.4913 | 266468.1778 | 36.4 | 83.1
118622 | 2021-04-30 15:23 | 43.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.152 | μmol/L | 15.6221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.176 | 119529.4247 | 266484.3961 | 36.4 | 83.1