## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
117314 | 2021-04-30 14:40 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7477 | μmol/L | 15.0311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.806 | 138916.1702 | 289713.1167 | 59.9307 | 49.4
117324 | 2021-04-30 14:40 | 0.33831 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5429 | μmol/L | 15.0188 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.774 | 138680.9883 | 289707.5154 | 59.9307 | 49.4
117334 | 2021-04-30 14:40 | 0.67192 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.8977 | μmol/L | 15.0126 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.76 | 138517.0127 | 289687.6725 | 59.9307 | 49.4
117344 | 2021-04-30 14:41 | 1.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.38 | μmol/L | 15.0126 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.738 | 138375.337 | 289665.992 | 59.9307 | 49.4
117354 | 2021-04-30 14:41 | 1.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7754 | μmol/L | 15.0126 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.72 | 138247.0151 | 289677.7122 | 59.9307 | 49.4
117364 | 2021-04-30 14:41 | 1.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.1228 | μmol/L | 15.0188 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.702 | 138118.6945 | 289670.0041 | 59.9307 | 49.4
117374 | 2021-04-30 14:42 | 2.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.4266 | μmol/L | 15.025 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.686 | 138010.2143 | 289664.3498 | 59.9307 | 49.4
117384 | 2021-04-30 14:42 | 2.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.7136 | μmol/L | 15.025 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.673 | 137880.0255 | 289667.5994 | 59.9307 | 49.4
117394 | 2021-04-30 14:42 | 2.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.9251 | μmol/L | 15.0373 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.659 | 137782.0525 | 289655.3345 | 59.9307 | 49.4
117404 | 2021-04-30 14:43 | 3.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.2839 | μmol/L | 15.0311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.645 | 137678.1222 | 289651.1731 | 59.9307 | 49.4
117414 | 2021-04-30 14:43 | 3.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.4833 | μmol/L | 15.0311 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.636 | 137590.9213 | 289651.8352 | 59.9307 | 49.4
117424 | 2021-04-30 14:43 | 3.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.7132 | μmol/L | 15.0496 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.619 | 137495.502 | 289647.9565 | 59.9307 | 49.4
117434 | 2021-04-30 14:44 | 4.0046 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.9622 | μmol/L | 15.0435 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.61 | 137420.9236 | 289642.8793 | 59.9307 | 49.4
117444 | 2021-04-30 14:44 | 4.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.1354 | μmol/L | 15.0496 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.6 | 137336.3197 | 289650.3072 | 59.9307 | 49.4
117454 | 2021-04-30 14:44 | 4.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.3485 | μmol/L | 15.0619 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.586 | 137273.9825 | 289659.2273 | 59.9307 | 49.4
117464 | 2021-04-30 14:45 | 5.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.4552 | μmol/L | 15.0681 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.579 | 137206.4715 | 289670.5339 | 59.9307 | 49.4
117474 | 2021-04-30 14:45 | 5.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.7051 | μmol/L | 15.0619 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.57 | 137126.4494 | 289639.6571 | 59.9307 | 49.4
117484 | 2021-04-30 14:45 | 5.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.9236 | μmol/L | 15.0681 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.558 | 137069.3237 | 289652.4535 | 59.9307 | 49.4
117494 | 2021-04-30 14:46 | 6.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.0082 | μmol/L | 15.0743 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.552 | 137017.0503 | 289670.4895 | 59.9307 | 49.4
117504 | 2021-04-30 14:46 | 6.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.2047 | μmol/L | 15.0804 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.541 | 136955.7957 | 289660.8871 | 59.9307 | 49.4
117514 | 2021-04-30 14:46 | 6.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.3613 | μmol/L | 15.0804 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.534 | 136884.3654 | 289633.9314 | 59.9307 | 49.4
117524 | 2021-04-30 14:47 | 7.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.4238 | μmol/L | 15.0866 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.529 | 136848.9921 | 289635.7597 | 59.9307 | 49.4
117534 | 2021-04-30 14:47 | 7.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.6431 | μmol/L | 15.0928 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.517 | 136800.3239 | 289638.0741 | 59.9307 | 49.4
117544 | 2021-04-30 14:47 | 7.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.6339 | μmol/L | 15.1051 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.513 | 136747.1804 | 289642.6025 | 59.9307 | 49.4
117554 | 2021-04-30 14:48 | 8.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.8132 | μmol/L | 15.1051 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.505 | 136697.017 | 289640.9637 | 59.9307 | 49.4
117564 | 2021-04-30 14:48 | 8.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.9703 | μmol/L | 15.1051 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.498 | 136655.5227 | 289639.2145 | 59.9307 | 49.4
117574 | 2021-04-30 14:48 | 8.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 260.9789 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.491 | 136610.8641 | 289648.1796 | 59.9307 | 49.4
117584 | 2021-04-30 14:49 | 9.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.0238 | μmol/L | 15.1236 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.489 | 136581.0069 | 289668.3577 | 59.9307 | 49.4
117594 | 2021-04-30 14:49 | 9.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.2306 | μmol/L | 15.1174 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.482 | 136542.8941 | 289655.7484 | 59.9307 | 49.4
117604 | 2021-04-30 14:49 | 9.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.2439 | μmol/L | 15.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.477 | 136506.3853 | 289656.397 | 59.9307 | 49.4
117614 | 2021-04-30 14:50 | 10.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.3068 | μmol/L | 15.1359 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.472 | 136478.9892 | 289651.398 | 59.9307 | 49.4
117624 | 2021-04-30 14:50 | 10.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.4192 | μmol/L | 15.1359 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.467 | 136440.4811 | 289653.7949 | 59.9307 | 49.4
117634 | 2021-04-30 14:50 | 10.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5047 | μmol/L | 15.1421 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.461 | 136398.4155 | 289645.8459 | 59.9307 | 49.4
117644 | 2021-04-30 14:51 | 11.0046 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5451 | μmol/L | 15.1482 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.457 | 136378.0713 | 289638.3954 | 59.9307 | 49.4
117654 | 2021-04-30 14:51 | 11.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5901 | μmol/L | 15.1482 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.455 | 136355.2515 | 289649.6328 | 59.9307 | 49.4
117664 | 2021-04-30 14:51 | 11.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5856 | μmol/L | 15.1544 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.453 | 136332.5951 | 289660.4839 | 59.9307 | 49.4
117674 | 2021-04-30 14:52 | 12.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7207 | μmol/L | 15.1544 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.447 | 136304.5686 | 289660.2211 | 59.9307 | 49.4
117684 | 2021-04-30 14:52 | 12.3378 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7117 | μmol/L | 15.1667 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.443 | 136282.1778 | 289659.0455 | 59.9307 | 49.4
117694 | 2021-04-30 14:52 | 12.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7973 | μmol/L | 15.1729 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.437 | 136260.3126 | 289650.3036 | 59.9307 | 49.4
117704 | 2021-04-30 14:53 | 13.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7207 | μmol/L | 15.1852 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.436 | 136230.887 | 289649.4138 | 59.9307 | 49.4
117714 | 2021-04-30 14:53 | 13.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8153 | μmol/L | 15.1791 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 136209.0201 | 289651.2592 | 59.9307 | 49.4
117724 | 2021-04-30 14:53 | 13.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.901 | μmol/L | 15.1852 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 136193.2295 | 289644.8938 | 59.9307 | 49.4
117734 | 2021-04-30 14:54 | 14.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7568 | μmol/L | 15.1976 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.43 | 136171.1999 | 289650.0386 | 59.9307 | 49.4
117744 | 2021-04-30 14:54 | 14.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9642 | μmol/L | 15.1914 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.423 | 136155.649 | 289653.1795 | 59.9307 | 49.4
117754 | 2021-04-30 14:54 | 14.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7974 | μmol/L | 15.2037 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.426 | 136137.7095 | 289662.0278 | 59.9307 | 49.4
117764 | 2021-04-30 14:55 | 15.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9101 | μmol/L | 15.2037 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.421 | 136122.4117 | 289656.2067 | 59.9307 | 49.4
117774 | 2021-04-30 14:55 | 15.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8109 | μmol/L | 15.216 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.421 | 136100.0577 | 289641.2865 | 59.9307 | 49.4
117784 | 2021-04-30 14:55 | 15.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9463 | μmol/L | 15.216 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.415 | 136092.6182 | 289644.0049 | 59.9307 | 49.4
117794 | 2021-04-30 14:56 | 16.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0591 | μmol/L | 15.216 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.41 | 136065.1788 | 289642.3128 | 59.9307 | 49.4
117804 | 2021-04-30 14:56 | 16.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9644 | μmol/L | 15.2222 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.412 | 136062.1076 | 289662.1666 | 59.9307 | 49.4
117814 | 2021-04-30 14:56 | 16.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9374 | μmol/L | 15.2284 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.411 | 136049.8378 | 289639.6963 | 59.9307 | 49.4
117824 | 2021-04-30 14:57 | 17.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8833 | μmol/L | 15.2407 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.409 | 136035.3559 | 289650.0909 | 59.9307 | 49.4
117834 | 2021-04-30 14:57 | 17.3378 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9285 | μmol/L | 15.2407 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.407 | 136032.3257 | 289664.0238 | 59.9307 | 49.4
117844 | 2021-04-30 14:57 | 17.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0639 | μmol/L | 15.2407 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.401 | 136015.4351 | 289629.5808 | 59.9307 | 49.4
117854 | 2021-04-30 14:58 | 18.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0865 | μmol/L | 15.2407 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.4 | 135998.1126 | 289640.2562 | 59.9307 | 49.4
117864 | 2021-04-30 14:58 | 18.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.028 | μmol/L | 15.2592 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.396 | 135980.6619 | 289641.4316 | 59.9307 | 49.4
117874 | 2021-04-30 14:58 | 18.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9829 | μmol/L | 15.2592 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.398 | 135972.0824 | 289649.2651 | 59.9307 | 49.4
117884 | 2021-04-30 14:59 | 19.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0732 | μmol/L | 15.2592 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.394 | 135967.9105 | 289640.0354 | 59.9307 | 49.4
117894 | 2021-04-30 14:59 | 19.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9289 | μmol/L | 15.2715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.396 | 135953.4359 | 289638.5559 | 59.9307 | 49.4
117904 | 2021-04-30 14:59 | 19.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.947 | μmol/L | 15.2777 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.393 | 135939.9709 | 289648.6735 | 59.9307 | 49.4
117914 | 2021-04-30 15:00 | 20.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0825 | μmol/L | 15.2777 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.387 | 135924.8999 | 289640.8858 | 59.9307 | 49.4
117924 | 2021-04-30 15:00 | 20.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9382 | μmol/L | 15.29 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.389 | 135916.8707 | 289641.6431 | 59.9307 | 49.4
117934 | 2021-04-30 15:00 | 20.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0511 | μmol/L | 15.29 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.384 | 135900.6374 | 289634.0696 | 59.9307 | 49.4
117944 | 2021-04-30 15:01 | 21.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0467 | μmol/L | 15.2962 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.382 | 135894.1494 | 289636.4947 | 59.9307 | 49.4
117954 | 2021-04-30 15:01 | 21.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.952 | μmol/L | 15.3023 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.384 | 135877.3434 | 289617.5404 | 59.9307 | 49.4
117964 | 2021-04-30 15:01 | 21.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0423 | μmol/L | 15.3023 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.38 | 135868.1256 | 289634.7414 | 59.9307 | 49.4
117974 | 2021-04-30 15:02 | 22.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0336 | μmol/L | 15.3147 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.376 | 135852.1914 | 289635.5947 | 59.9307 | 49.4
117984 | 2021-04-30 15:02 | 22.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.984 | μmol/L | 15.3208 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.376 | 135846.9597 | 289628.3504 | 59.9307 | 49.4
117994 | 2021-04-30 15:02 | 22.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0788 | μmol/L | 15.3147 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.374 | 135841.638 | 289646.2722 | 59.9307 | 49.4
118004 | 2021-04-30 15:03 | 23.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9797 | μmol/L | 15.327 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.374 | 135828.4378 | 289645.1993 | 59.9307 | 49.4
118014 | 2021-04-30 15:03 | 23.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.1196 | μmol/L | 15.3208 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.37 | 135815.4253 | 289626.1583 | 59.9307 | 49.4
118024 | 2021-04-30 15:03 | 23.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0657 | μmol/L | 15.3332 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.368 | 135803.7257 | 289641.9058 | 59.9307 | 49.4
118034 | 2021-04-30 15:04 | 24.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.1561 | μmol/L | 15.3332 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.364 | 135795.0472 | 289633.7198 | 59.9307 | 49.4
118044 | 2021-04-30 15:04 | 24.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0796 | μmol/L | 15.3455 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.363 | 135773.3884 | 289619.7226 | 59.9307 | 49.4
118054 | 2021-04-30 15:04 | 24.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9849 | μmol/L | 15.3517 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.365 | 135782.0046 | 289632.3316 | 59.9307 | 49.4
118064 | 2021-04-30 15:05 | 25.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0257 | μmol/L | 15.3578 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.361 | 135764.5155 | 289621.6628 | 59.9307 | 49.4
118074 | 2021-04-30 15:05 | 25.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0214 | μmol/L | 15.364 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.359 | 135749.8446 | 289623.4115 | 59.9307 | 49.4
118084 | 2021-04-30 15:05 | 25.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9762 | μmol/L | 15.364 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.361 | 135742.6224 | 289624.7923 | 59.9307 | 49.4
118094 | 2021-04-30 15:06 | 26.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9493 | μmol/L | 15.3702 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.36 | 135730.9911 | 289606.9635 | 59.9307 | 49.4
118104 | 2021-04-30 15:06 | 26.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0171 | μmol/L | 15.3702 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.357 | 135735.5438 | 289623.2787 | 59.9307 | 49.4
118114 | 2021-04-30 15:06 | 26.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9632 | μmol/L | 15.3825 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.355 | 135724.607 | 289603.8339 | 59.9307 | 49.4
118124 | 2021-04-30 15:07 | 27.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8686 | μmol/L | 15.3887 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.357 | 135721.8615 | 289627.548 | 59.9307 | 49.4
118134 | 2021-04-30 15:07 | 27.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0041 | μmol/L | 15.3887 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.351 | 135703.5066 | 289629.2906 | 59.9307 | 49.4
118144 | 2021-04-30 15:07 | 27.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9589 | μmol/L | 15.3887 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.353 | 135706.5914 | 289630.079 | 59.9307 | 49.4
118154 | 2021-04-30 15:08 | 28.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9729 | μmol/L | 15.401 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.348 | 135686.4787 | 289612.8487 | 59.9307 | 49.4
118164 | 2021-04-30 15:08 | 28.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8331 | μmol/L | 15.4071 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.352 | 135683.2417 | 289633.0322 | 59.9307 | 49.4
118174 | 2021-04-30 15:08 | 28.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9644 | μmol/L | 15.4133 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.344 | 135664.8271 | 289605.1644 | 59.9307 | 49.4
118184 | 2021-04-30 15:09 | 29.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0548 | μmol/L | 15.4133 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.34 | 135656.5532 | 289615.3371 | 59.9307 | 49.4
118194 | 2021-04-30 15:09 | 29.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0138 | μmol/L | 15.4071 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.344 | 135650.415 | 289624.1417 | 59.9307 | 49.4
118204 | 2021-04-30 15:09 | 29.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9332 | μmol/L | 15.4256 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.341 | 135643.8586 | 289615.4227 | 59.9307 | 49.4
118214 | 2021-04-30 15:10 | 30.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9289 | μmol/L | 15.4318 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.339 | 135632.0049 | 289622.3154 | 59.9307 | 49.4
118224 | 2021-04-30 15:10 | 30.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0194 | μmol/L | 15.4318 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.335 | 135622.3971 | 289611.5528 | 59.9307 | 49.4
118234 | 2021-04-30 15:10 | 30.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9741 | μmol/L | 15.4318 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.337 | 135619.2651 | 289624.58 | 59.9307 | 49.4
118244 | 2021-04-30 15:11 | 31.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.943 | μmol/L | 15.4441 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.334 | 135611.2819 | 289633.2785 | 59.9307 | 49.4
118254 | 2021-04-30 15:11 | 31.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9204 | μmol/L | 15.4441 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.335 | 135594.716 | 289622.9397 | 59.9307 | 49.4
118264 | 2021-04-30 15:11 | 31.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9162 | μmol/L | 15.4503 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.333 | 135589.5195 | 289624.7827 | 59.9307 | 49.4
118274 | 2021-04-30 15:12 | 32.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8893 | μmol/L | 15.4565 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.332 | 135569.4789 | 289603.9598 | 59.9307 | 49.4
118284 | 2021-04-30 15:12 | 32.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.0518 | μmol/L | 15.4503 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.327 | 135570.0306 | 289600.082 | 59.9307 | 49.4
118294 | 2021-04-30 15:12 | 32.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8583 | μmol/L | 15.4688 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.329 | 135568.1323 | 289611.8342 | 59.9307 | 49.4
118304 | 2021-04-30 15:13 | 33.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9035 | μmol/L | 15.4688 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.327 | 135552.7337 | 289613.3855 | 59.9307 | 49.4
118314 | 2021-04-30 15:13 | 33.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8498 | μmol/L | 15.4811 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.325 | 135556.5714 | 289620.2716 | 59.9307 | 49.4
118324 | 2021-04-30 15:13 | 33.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9218 | μmol/L | 15.475 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.324 | 135534.5233 | 289620.0295 | 59.9307 | 49.4
118334 | 2021-04-30 15:14 | 34.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.895 | μmol/L | 15.4811 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.323 | 135527.2523 | 289617.0577 | 59.9307 | 49.4
118344 | 2021-04-30 15:14 | 34.3378 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8908 | μmol/L | 15.4873 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.321 | 135525.9495 | 289626.2608 | 59.9307 | 49.4
118354 | 2021-04-30 15:14 | 34.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.936 | μmol/L | 15.4873 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.319 | 135526.0756 | 289629.144 | 59.9307 | 49.4
118364 | 2021-04-30 15:15 | 35.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8908 | μmol/L | 15.4873 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.321 | 135509.4428 | 289623.1559 | 59.9307 | 49.4
118374 | 2021-04-30 15:15 | 35.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8598 | μmol/L | 15.4996 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.318 | 135498.0108 | 289623.4529 | 59.9307 | 49.4
118384 | 2021-04-30 15:15 | 35.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9008 | μmol/L | 15.5058 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.314 | 135493.7163 | 289620.341 | 59.9307 | 49.4
118394 | 2021-04-30 15:16 | 36.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9276 | μmol/L | 15.4996 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.315 | 135484.576 | 289610.1028 | 59.9307 | 49.4
118404 | 2021-04-30 15:16 | 36.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.802 | μmol/L | 15.5181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.314 | 135482.0084 | 289618.156 | 59.9307 | 49.4
118414 | 2021-04-30 15:16 | 36.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8246 | μmol/L | 15.5181 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.313 | 135474.9383 | 289595.2965 | 59.9307 | 49.4
118424 | 2021-04-30 15:17 | 37.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7752 | μmol/L | 15.5243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.313 | 135469.7022 | 289597.9885 | 59.9307 | 49.4
118434 | 2021-04-30 15:17 | 37.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8656 | μmol/L | 15.5243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.309 | 135460.734 | 289611.2468 | 59.9307 | 49.4
118444 | 2021-04-30 15:17 | 37.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9109 | μmol/L | 15.5243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.307 | 135451.7019 | 289603.0369 | 59.9307 | 49.4
118454 | 2021-04-30 15:18 | 38.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.9335 | μmol/L | 15.5243 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.306 | 135443.5745 | 289604.3513 | 59.9307 | 49.4
118464 | 2021-04-30 15:18 | 38.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7627 | μmol/L | 15.5428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.307 | 135447.1011 | 289627.5168 | 59.9307 | 49.4
118474 | 2021-04-30 15:18 | 38.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7853 | μmol/L | 15.5428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.306 | 135432.0845 | 289609.5125 | 59.9307 | 49.4
118484 | 2021-04-30 15:19 | 39.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8305 | μmol/L | 15.5428 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.304 | 135436.3041 | 289613.2793 | 59.9307 | 49.4
118494 | 2021-04-30 15:19 | 39.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.8264 | μmol/L | 15.5489 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.302 | 135420.6647 | 289606.0986 | 59.9307 | 49.4
118504 | 2021-04-30 15:19 | 39.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.777 | μmol/L | 15.5551 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.302 | 135415.9173 | 289612.1777 | 59.9307 | 49.4
118514 | 2021-04-30 15:20 | 40.0044 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7277 | μmol/L | 15.5613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.302 | 135410.7327 | 289604.7912 | 59.9307 | 49.4
118524 | 2021-04-30 15:20 | 40.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7503 | μmol/L | 15.5613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.301 | 135408.8947 | 289616.7841 | 59.9307 | 49.4
118534 | 2021-04-30 15:20 | 40.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.6968 | μmol/L | 15.5736 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.299 | 135401.9769 | 289621.3339 | 59.9307 | 49.4
118544 | 2021-04-30 15:21 | 41.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7153 | μmol/L | 15.5798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.296 | 135401.8725 | 289631.2624 | 59.9307 | 49.4
118554 | 2021-04-30 15:21 | 41.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7646 | μmol/L | 15.5736 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.296 | 135381.9275 | 289626.6133 | 59.9307 | 49.4
118564 | 2021-04-30 15:21 | 41.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7379 | μmol/L | 15.5798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.295 | 135383.9841 | 289650.1934 | 59.9307 | 49.4
118574 | 2021-04-30 15:22 | 42.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.666 | μmol/L | 15.5859 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.296 | 135378.0873 | 289648.7451 | 59.9307 | 49.4
118584 | 2021-04-30 15:22 | 42.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7111 | μmol/L | 15.5859 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.294 | 135377.1339 | 289651.1016 | 59.9307 | 49.4
118594 | 2021-04-30 15:22 | 42.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.7029 | μmol/L | 15.5983 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.29 | 135365.2247 | 289628.86 | 59.9307 | 49.4
118604 | 2021-04-30 15:23 | 43.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.6803 | μmol/L | 15.5983 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.291 | 135358.1486 | 289624.135 | 59.9307 | 49.4
118614 | 2021-04-30 15:23 | 43.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.6762 | μmol/L | 15.6044 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.289 | 135353.7133 | 289645.7178 | 59.9307 | 49.4
118624 | 2021-04-30 15:23 | 43.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 261.5817 | μmol/L | 15.6106 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.291 | 135341.3776 | 289629.3479 | 59.9307 | 49.4