## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
111212 | 2021-04-30 10:31 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.8862 | μmol/L | 16.2341 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.131 | 131946.2463 | 270156.749 | 36.4 | 83.1
111222 | 2021-04-30 10:31 | 0.33337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.9481 | μmol/L | 16.1912 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.144 | 131897.3795 | 270142.4906 | 36.4 | 83.1
111232 | 2021-04-30 10:31 | 0.66614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0867 | μmol/L | 16.1423 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.156 | 131867.0195 | 270130.7335 | 36.4 | 83.1
111242 | 2021-04-30 10:32 | 0.99966 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1075 | μmol/L | 16.0933 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.173 | 131900.0426 | 270110.4636 | 36.4 | 83.1
111252 | 2021-04-30 10:32 | 1.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.176 | μmol/L | 16.0444 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.188 | 131943.8499 | 270079.2159 | 36.4 | 83.1
111262 | 2021-04-30 10:32 | 1.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2392 | μmol/L | 16.0015 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.201 | 132000.8041 | 270058.5816 | 36.4 | 83.1
111272 | 2021-04-30 10:33 | 1.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2905 | μmol/L | 15.9465 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.219 | 132070.0081 | 270039.636 | 36.4 | 83.1
111282 | 2021-04-30 10:33 | 2.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2185 | μmol/L | 15.8975 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.24 | 132112.293 | 270028.2687 | 36.4 | 83.1
111292 | 2021-04-30 10:33 | 2.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2119 | μmol/L | 15.8547 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.256 | 132160.1753 | 269997.1609 | 36.4 | 83.1
111302 | 2021-04-30 10:34 | 2.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2116 | μmol/L | 15.8057 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.274 | 132213.9503 | 269974.1887 | 36.4 | 83.1
111312 | 2021-04-30 10:34 | 3.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1645 | μmol/L | 15.7568 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.294 | 132278.7918 | 269948.074 | 36.4 | 83.1
111322 | 2021-04-30 10:34 | 3.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3656 | μmol/L | 15.6956 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.308 | 132338.729 | 269941.93 | 36.4 | 83.1
111332 | 2021-04-30 10:35 | 3.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2959 | μmol/L | 15.6466 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.329 | 132393.3017 | 269911.919 | 36.4 | 83.1
111342 | 2021-04-30 10:35 | 4.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2616 | μmol/L | 15.6099 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.344 | 132441.0432 | 269896.9089 | 36.4 | 83.1
111352 | 2021-04-30 10:35 | 4.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1456 | μmol/L | 15.5609 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.367 | 132507.741 | 269873.9363 | 36.4 | 83.1
111362 | 2021-04-30 10:36 | 4.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1714 | μmol/L | 15.512 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.384 | 132569.3424 | 269857.916 | 36.4 | 83.1
111372 | 2021-04-30 10:36 | 5.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2211 | μmol/L | 15.463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.4 | 132621.4834 | 269834.4889 | 36.4 | 83.1
111382 | 2021-04-30 10:36 | 5.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2885 | μmol/L | 15.4202 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.413 | 132692.5677 | 269818.3885 | 36.4 | 83.1
111392 | 2021-04-30 10:37 | 5.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3218 | μmol/L | 15.3651 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.432 | 132744.9315 | 269796.8002 | 36.4 | 83.1
111402 | 2021-04-30 10:37 | 6.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2831 | μmol/L | 15.3346 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.445 | 132800.0124 | 269777.8732 | 36.4 | 83.1
111412 | 2021-04-30 10:37 | 6.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3642 | μmol/L | 15.2795 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.462 | 132862.7512 | 269750.3507 | 36.4 | 83.1
111422 | 2021-04-30 10:38 | 7 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2085 | μmol/L | 15.2489 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.48 | 132913.0985 | 269741.2666 | 36.4 | 83.1
111432 | 2021-04-30 10:38 | 7.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.254 | μmol/L | 15.2061 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.494 | 132981.5228 | 269719.2605 | 36.4 | 83.1
111442 | 2021-04-30 10:38 | 7.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3768 | μmol/L | 15.1571 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.507 | 133033.0711 | 269693.4695 | 36.4 | 83.1
111452 | 2021-04-30 10:39 | 7.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3693 | μmol/L | 15.1204 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.521 | 133092.6904 | 269673.7754 | 36.4 | 83.1
111462 | 2021-04-30 10:39 | 8.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2616 | μmol/L | 15.0898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.537 | 133146.527 | 269654.3206 | 36.4 | 83.1
111472 | 2021-04-30 10:39 | 8.6666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2547 | μmol/L | 15.0531 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.551 | 133196.9424 | 269640.1657 | 36.4 | 83.1
111482 | 2021-04-30 10:40 | 9.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2547 | μmol/L | 15.0103 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.567 | 133253.6773 | 269617.3586 | 36.4 | 83.1
111492 | 2021-04-30 10:40 | 9.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2181 | μmol/L | 14.9797 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.58 | 133302.2066 | 269595.9052 | 36.4 | 83.1
111502 | 2021-04-30 10:40 | 9.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3828 | μmol/L | 14.9369 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.589 | 133346.373 | 269586.2079 | 36.4 | 83.1
111512 | 2021-04-30 10:41 | 9.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2295 | μmol/L | 14.9063 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.607 | 133396.9415 | 269557.3626 | 36.4 | 83.1
111522 | 2021-04-30 10:41 | 10.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2941 | μmol/L | 14.8696 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.618 | 133436.2605 | 269550.2116 | 36.4 | 83.1
111532 | 2021-04-30 10:41 | 10.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3424 | μmol/L | 14.8268 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.632 | 133478.0617 | 269531.0519 | 36.4 | 83.1
111542 | 2021-04-30 10:42 | 11 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3233 | μmol/L | 14.8023 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.642 | 133525.7972 | 269516.5607 | 36.4 | 83.1
111552 | 2021-04-30 10:42 | 11.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3184 | μmol/L | 14.7656 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.656 | 133560.0306 | 269498.6178 | 36.4 | 83.1
111562 | 2021-04-30 10:42 | 11.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3464 | μmol/L | 14.7411 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.664 | 133606.8163 | 269483.7067 | 36.4 | 83.1
111572 | 2021-04-30 10:43 | 11.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3418 | μmol/L | 14.7044 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.678 | 133638.8226 | 269457.4535 | 36.4 | 83.1
111582 | 2021-04-30 10:43 | 12.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3467 | μmol/L | 14.6799 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.687 | 133682.9033 | 269447.9587 | 36.4 | 83.1
111592 | 2021-04-30 10:43 | 12.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3822 | μmol/L | 14.6494 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.697 | 133716.8228 | 269433.6047 | 36.4 | 83.1
111602 | 2021-04-30 10:44 | 12.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3244 | μmol/L | 14.6188 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.711 | 133744.0821 | 269407.1756 | 36.4 | 83.1
111612 | 2021-04-30 10:44 | 13.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3836 | μmol/L | 14.5882 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.72 | 133785.1724 | 269395.6515 | 36.4 | 83.1
111622 | 2021-04-30 10:44 | 13.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2956 | μmol/L | 14.5637 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.733 | 133819.2807 | 269379.0559 | 36.4 | 83.1
111632 | 2021-04-30 10:45 | 13.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3712 | μmol/L | 14.5392 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.739 | 133843.298 | 269366.7629 | 36.4 | 83.1
111642 | 2021-04-30 10:45 | 14.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3374 | μmol/L | 14.5087 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.752 | 133867.832 | 269333.854 | 36.4 | 83.1
111652 | 2021-04-30 10:45 | 14.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.39 | μmol/L | 14.4842 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.759 | 133898.434 | 269317.8224 | 36.4 | 83.1
111662 | 2021-04-30 10:46 | 14.9999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4266 | μmol/L | 14.4536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.769 | 133927.6296 | 269310.4621 | 36.4 | 83.1
111672 | 2021-04-30 10:46 | 15.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3785 | μmol/L | 14.4353 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.778 | 133955.7619 | 269292.2361 | 36.4 | 83.1
111682 | 2021-04-30 10:46 | 15.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2839 | μmol/L | 14.4169 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.789 | 133980.5608 | 269283.5728 | 36.4 | 83.1
111692 | 2021-04-30 10:47 | 15.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3909 | μmol/L | 14.3863 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.796 | 134006.3728 | 269255.2539 | 36.4 | 83.1
111702 | 2021-04-30 10:47 | 16.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3506 | μmol/L | 14.3619 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.807 | 134034.7612 | 269241.2236 | 36.4 | 83.1
111712 | 2021-04-30 10:47 | 16.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3963 | μmol/L | 14.3435 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.812 | 134054.8987 | 269230.175 | 36.4 | 83.1
111722 | 2021-04-30 10:48 | 16.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4337 | μmol/L | 14.3129 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.822 | 134080.8908 | 269220.7373 | 36.4 | 83.1
111732 | 2021-04-30 10:48 | 17.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4095 | μmol/L | 14.2946 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.83 | 134095.6475 | 269194.6105 | 36.4 | 83.1
111742 | 2021-04-30 10:48 | 17.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4396 | μmol/L | 14.2701 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.838 | 134110.6253 | 269182.0536 | 36.4 | 83.1
111752 | 2021-04-30 10:49 | 17.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4932 | μmol/L | 14.2456 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.845 | 134131.5738 | 269177.4668 | 36.4 | 83.1
111762 | 2021-04-30 10:49 | 18.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3684 | μmol/L | 14.2334 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.855 | 134151.208 | 269147.0412 | 36.4 | 83.1
111772 | 2021-04-30 10:49 | 18.6666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4687 | μmol/L | 14.2089 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.86 | 134168.9968 | 269147.4795 | 36.4 | 83.1
111782 | 2021-04-30 10:50 | 18.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.445 | μmol/L | 14.1906 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.868 | 134181.3023 | 269129.2502 | 36.4 | 83.1
111792 | 2021-04-30 10:50 | 19.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4602 | μmol/L | 14.1784 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.872 | 134221.4504 | 269118.9849 | 36.4 | 83.1
111802 | 2021-04-30 10:50 | 19.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4133 | μmol/L | 14.16 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.881 | 134240.325 | 269107.2126 | 36.4 | 83.1
111812 | 2021-04-30 10:51 | 20 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4596 | μmol/L | 14.1417 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.886 | 134265.2873 | 269081.3952 | 36.4 | 83.1
111822 | 2021-04-30 10:51 | 20.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4904 | μmol/L | 14.1172 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.894 | 134283.948 | 269067.6914 | 36.4 | 83.1
111832 | 2021-04-30 10:51 | 20.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3971 | μmol/L | 14.0988 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.905 | 134303.2246 | 269063.6633 | 36.4 | 83.1
111842 | 2021-04-30 10:52 | 21.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3582 | μmol/L | 14.0927 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.909 | 134317.9177 | 269055.46 | 36.4 | 83.1
111852 | 2021-04-30 10:52 | 21.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4591 | μmol/L | 14.0683 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.914 | 134328.2288 | 269012.8585 | 36.4 | 83.1
111862 | 2021-04-30 10:52 | 21.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5057 | μmol/L | 14.0499 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.919 | 134351.181 | 269024.4363 | 36.4 | 83.1
111872 | 2021-04-30 10:53 | 21.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4748 | μmol/L | 14.0377 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.925 | 134366.3372 | 269016.3724 | 36.4 | 83.1
111882 | 2021-04-30 10:53 | 22.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3972 | μmol/L | 14.0255 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.933 | 134363.987 | 268990.3387 | 36.4 | 83.1
111892 | 2021-04-30 10:53 | 22.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4207 | μmol/L | 14.0071 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.939 | 134384.9047 | 268972.2622 | 36.4 | 83.1
111902 | 2021-04-30 10:54 | 22.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4675 | μmol/L | 13.9888 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.944 | 134387.0395 | 268964.9653 | 36.4 | 83.1
111912 | 2021-04-30 10:54 | 23.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4288 | μmol/L | 13.9826 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.948 | 134399.9011 | 268954.5565 | 36.4 | 83.1
111922 | 2021-04-30 10:54 | 23.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3515 | μmol/L | 13.9704 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.956 | 134403.1347 | 268930.8565 | 36.4 | 83.1
111932 | 2021-04-30 10:55 | 23.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4682 | μmol/L | 13.9521 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.958 | 134425.235 | 268931.9206 | 36.4 | 83.1
111942 | 2021-04-30 10:55 | 24.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.492 | μmol/L | 13.9337 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.964 | 134433.3603 | 268902.1607 | 36.4 | 83.1
111952 | 2021-04-30 10:55 | 24.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4846 | μmol/L | 13.9215 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.969 | 134436.9368 | 268885.0155 | 36.4 | 83.1
111962 | 2021-04-30 10:56 | 24.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4772 | μmol/L | 13.9093 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.974 | 134450.0723 | 268880.8387 | 36.4 | 83.1
111972 | 2021-04-30 10:56 | 25.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4153 | μmol/L | 13.9031 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.979 | 134461.2245 | 268854.8466 | 36.4 | 83.1
111982 | 2021-04-30 10:56 | 25.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.517 | μmol/L | 13.8787 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.984 | 134465.0663 | 268848.1718 | 36.4 | 83.1
111992 | 2021-04-30 10:57 | 26 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4319 | μmol/L | 13.8726 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.99 | 134467.6656 | 268826.0233 | 36.4 | 83.1
112002 | 2021-04-30 10:57 | 26.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3934 | μmol/L | 13.8664 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.994 | 134480.4365 | 268822.5692 | 36.4 | 83.1
112012 | 2021-04-30 10:57 | 26.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5105 | μmol/L | 13.8481 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.996 | 134483.8988 | 268797.8409 | 36.4 | 83.1
112022 | 2021-04-30 10:58 | 27 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5578 | μmol/L | 13.8297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.001 | 134498.2894 | 268803.7094 | 36.4 | 83.1
112032 | 2021-04-30 10:58 | 27.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.488 | μmol/L | 13.8297 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.004 | 134504.7841 | 268796.3842 | 36.4 | 83.1
112042 | 2021-04-30 10:58 | 27.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5122 | μmol/L | 13.8114 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.01 | 134508.0947 | 268770.8818 | 36.4 | 83.1
112052 | 2021-04-30 10:59 | 27.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5748 | μmol/L | 13.7992 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.012 | 134507.8573 | 268759.6977 | 36.4 | 83.1
112062 | 2021-04-30 10:59 | 28.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4353 | μmol/L | 13.7992 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.018 | 134515.0022 | 268757.773 | 36.4 | 83.1
112072 | 2021-04-30 10:59 | 28.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4515 | μmol/L | 13.7869 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.022 | 134512.4032 | 268733.813 | 36.4 | 83.1
112082 | 2021-04-30 11:00 | 29.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4131 | μmol/L | 13.7808 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.026 | 134524.3624 | 268718.5355 | 36.4 | 83.1
112092 | 2021-04-30 11:00 | 29.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5071 | μmol/L | 13.7625 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.029 | 134530.1679 | 268713.149 | 36.4 | 83.1
112102 | 2021-04-30 11:00 | 29.6667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5385 | μmol/L | 13.7564 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.03 | 134528.2141 | 268706.1725 | 36.4 | 83.1
112112 | 2021-04-30 11:01 | 29.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5082 | μmol/L | 13.7441 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.036 | 134523.6062 | 268697.8388 | 36.4 | 83.1
112122 | 2021-04-30 11:01 | 30.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4234 | μmol/L | 13.738 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.042 | 134539.9897 | 268685.3629 | 36.4 | 83.1
112132 | 2021-04-30 11:01 | 30.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4316 | μmol/L | 13.7319 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.044 | 134543.5434 | 268683.3355 | 36.4 | 83.1
112142 | 2021-04-30 11:02 | 30.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5408 | μmol/L | 13.7197 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.044 | 134563.7016 | 268680.5191 | 36.4 | 83.1
112152 | 2021-04-30 11:02 | 31.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4943 | μmol/L | 13.7197 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.046 | 134556.1236 | 268661.6297 | 36.4 | 83.1
112162 | 2021-04-30 11:02 | 31.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5107 | μmol/L | 13.7074 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.05 | 134573.9901 | 268650.9735 | 36.4 | 83.1
112172 | 2021-04-30 11:03 | 32 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4027 | μmol/L | 13.7013 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.057 | 134576.6715 | 268650.8849 | 36.4 | 83.1
112182 | 2021-04-30 11:03 | 32.3331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4888 | μmol/L | 13.6891 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.058 | 134584.3874 | 268636.1628 | 36.4 | 83.1
112192 | 2021-04-30 11:03 | 32.6666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3344 | μmol/L | 13.683 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.067 | 134591.5309 | 268632.2707 | 36.4 | 83.1
112202 | 2021-04-30 11:04 | 32.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4437 | μmol/L | 13.6707 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.067 | 134602.812 | 268623.7772 | 36.4 | 83.1
112212 | 2021-04-30 11:04 | 33.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3591 | μmol/L | 13.6646 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.073 | 134596.1246 | 268605.8035 | 36.4 | 83.1
112222 | 2021-04-30 11:04 | 33.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4137 | μmol/L | 13.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.073 | 134609.5581 | 268601.4844 | 36.4 | 83.1
112232 | 2021-04-30 11:05 | 34.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3673 | μmol/L | 13.6585 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.075 | 134621.6207 | 268606.0319 | 36.4 | 83.1
112242 | 2021-04-30 11:05 | 34.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3059 | μmol/L | 13.6524 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.08 | 134617.2382 | 268577.5715 | 36.4 | 83.1
112252 | 2021-04-30 11:05 | 34.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2446 | μmol/L | 13.6463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.085 | 134623.9743 | 268569.5819 | 36.4 | 83.1
112262 | 2021-04-30 11:06 | 35.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3142 | μmol/L | 13.6463 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.082 | 134621.9031 | 268567.5178 | 36.4 | 83.1
112272 | 2021-04-30 11:06 | 35.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2926 | μmol/L | 13.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.09 | 134639.169 | 268549.4192 | 36.4 | 83.1
112282 | 2021-04-30 11:06 | 35.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2926 | μmol/L | 13.6279 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.09 | 134640.7146 | 268551.8298 | 36.4 | 83.1
112292 | 2021-04-30 11:07 | 35.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.324 | μmol/L | 13.6218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.091 | 134621.1035 | 268533.1708 | 36.4 | 83.1
112302 | 2021-04-30 11:07 | 36.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2859 | μmol/L | 13.6157 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.095 | 134633.9013 | 268519.4138 | 36.4 | 83.1
112312 | 2021-04-30 11:07 | 36.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.271 | μmol/L | 13.6096 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.098 | 134628.8086 | 268513.1936 | 36.4 | 83.1
112322 | 2021-04-30 11:08 | 37 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2246 | μmol/L | 13.6096 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.1 | 134636.0612 | 268497.2855 | 36.4 | 83.1
112332 | 2021-04-30 11:08 | 37.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3108 | μmol/L | 13.5974 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.101 | 134645.9058 | 268491.2569 | 36.4 | 83.1
112342 | 2021-04-30 11:08 | 37.6665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1634 | μmol/L | 13.6035 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.105 | 134643.8483 | 268492.5966 | 36.4 | 83.1
112352 | 2021-04-30 11:09 | 37.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2495 | μmol/L | 13.5912 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.106 | 134641.3305 | 268482.4094 | 36.4 | 83.1
112362 | 2021-04-30 11:09 | 38.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.18 | μmol/L | 13.5912 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.109 | 134653.5206 | 268486.7622 | 36.4 | 83.1
112372 | 2021-04-30 11:09 | 38.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3209 | μmol/L | 13.5729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.11 | 134646.9418 | 268457.2168 | 36.4 | 83.1
112382 | 2021-04-30 11:10 | 39 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3441 | μmol/L | 13.5729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.109 | 134653.0892 | 268470.3294 | 36.4 | 83.1
112392 | 2021-04-30 11:10 | 39.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2513 | μmol/L | 13.5729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.113 | 134638.3195 | 268445.2953 | 36.4 | 83.1
112402 | 2021-04-30 11:10 | 39.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2597 | μmol/L | 13.5668 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.115 | 134635.7161 | 268434.2985 | 36.4 | 83.1
112412 | 2021-04-30 11:11 | 39.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2448 | μmol/L | 13.5607 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.118 | 134636.1086 | 268421.9488 | 36.4 | 83.1
112422 | 2021-04-30 11:11 | 40.3333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1521 | μmol/L | 13.5607 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.122 | 134628.1531 | 268420.6528 | 36.4 | 83.1
112432 | 2021-04-30 11:11 | 40.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3311 | μmol/L | 13.5484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.119 | 134622.3614 | 268405.0892 | 36.4 | 83.1
112442 | 2021-04-30 11:12 | 40.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.192 | μmol/L | 13.5484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.125 | 134631.242 | 268416.4263 | 36.4 | 83.1
112452 | 2021-04-30 11:12 | 41.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1141 | μmol/L | 13.5545 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.126 | 134631.3185 | 268383.4264 | 36.4 | 83.1
112462 | 2021-04-30 11:12 | 41.6663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1457 | μmol/L | 13.5484 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.127 | 134616.3079 | 268375.0366 | 36.4 | 83.1
112472 | 2021-04-30 11:13 | 41.9998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.135 | μmol/L | 13.5423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.13 | 134616.5366 | 268378.7912 | 36.4 | 83.1
112482 | 2021-04-30 11:13 | 42.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1624 | μmol/L | 13.5362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.131 | 134603.4548 | 268371.217 | 36.4 | 83.1
112492 | 2021-04-30 11:13 | 42.6666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1708 | μmol/L | 13.5301 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.133 | 134612.1359 | 268361.1676 | 36.4 | 83.1
112502 | 2021-04-30 11:14 | 42.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.0929 | μmol/L | 13.5362 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.134 | 134613.3347 | 268374.5878 | 36.4 | 83.1
112512 | 2021-04-30 11:14 | 43.3332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1097 | μmol/L | 13.524 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 23.138 | 134616.946 | 268333.8397 | 36.4 | 83.1