## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:16

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
111213 | 2021-04-30 10:31 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.3977 | μmol/L | 16.3755 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.866 | 102020.8305 | 296218.3032 | 30.45 | 114.2
111223 | 2021-04-30 10:31 | 0.32592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.6855 | μmol/L | 16.3448 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.863 | 101971.0282 | 296198.1311 | 30.45 | 114.2
111233 | 2021-04-30 10:31 | 0.65963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9115 | μmol/L | 16.3141 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.863 | 101955.3638 | 296170.0613 | 30.45 | 114.2
111243 | 2021-04-30 10:32 | 0.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.1548 | μmol/L | 16.2896 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.86 | 101917.0983 | 296161.7658 | 30.45 | 114.2
111253 | 2021-04-30 10:32 | 1.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5687 | μmol/L | 16.2589 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.851 | 101869.7525 | 296153.0718 | 30.45 | 114.2
111263 | 2021-04-30 10:32 | 1.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5627 | μmol/L | 16.2343 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.86 | 101838.4924 | 296121.7928 | 30.45 | 114.2
111273 | 2021-04-30 10:33 | 1.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.894 | μmol/L | 16.2036 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.855 | 101803.318 | 296092.8293 | 30.45 | 114.2
111283 | 2021-04-30 10:33 | 2.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9753 | μmol/L | 16.1729 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.862 | 101793.9009 | 296086.3022 | 30.45 | 114.2
111293 | 2021-04-30 10:33 | 2.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1194 | μmol/L | 16.1422 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.866 | 101782.4221 | 296061.9109 | 30.45 | 114.2
111303 | 2021-04-30 10:34 | 2.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3928 | μmol/L | 16.1054 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.866 | 101758.1642 | 296033.356 | 30.45 | 114.2
111313 | 2021-04-30 10:34 | 3.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5164 | μmol/L | 16.0747 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.871 | 101742.427 | 296005.9773 | 30.45 | 114.2
111323 | 2021-04-30 10:34 | 3.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.6401 | μmol/L | 16.044 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.876 | 101753.4702 | 295991.8688 | 30.45 | 114.2
111333 | 2021-04-30 10:35 | 3.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7013 | μmol/L | 16.0133 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.884 | 101758.6454 | 295948.1088 | 30.45 | 114.2
111343 | 2021-04-30 10:35 | 4.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7495 | μmol/L | 15.9704 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.897 | 101778.5185 | 295943.2805 | 30.45 | 114.2
111353 | 2021-04-30 10:35 | 4.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.807 | μmol/L | 15.9458 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.903 | 101789.6512 | 295908.6383 | 30.45 | 114.2
111363 | 2021-04-30 10:36 | 4.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8307 | μmol/L | 15.909 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.915 | 101797.3349 | 295896.3496 | 30.45 | 114.2
111373 | 2021-04-30 10:36 | 5.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9592 | μmol/L | 15.8722 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.922 | 101812.0295 | 295870.1593 | 30.45 | 114.2
111383 | 2021-04-30 10:36 | 5.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1088 | μmol/L | 15.8353 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.928 | 101832.13 | 295852.1148 | 30.45 | 114.2
111393 | 2021-04-30 10:37 | 5.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.108 | μmol/L | 15.8046 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.939 | 101842.087 | 295817.4381 | 30.45 | 114.2
111403 | 2021-04-30 10:37 | 6.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.233 | μmol/L | 15.774 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.944 | 101867.6738 | 295805.9965 | 30.45 | 114.2
111413 | 2021-04-30 10:37 | 6.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2365 | μmol/L | 15.7371 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.957 | 101901.9722 | 295778.8394 | 30.45 | 114.2
111423 | 2021-04-30 10:38 | 6.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.299 | μmol/L | 15.7064 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.965 | 101911.2779 | 295758.0815 | 30.45 | 114.2
111433 | 2021-04-30 10:38 | 7.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4076 | μmol/L | 15.6696 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.973 | 101933.8766 | 295734.3612 | 30.45 | 114.2
111443 | 2021-04-30 10:38 | 7.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5582 | μmol/L | 15.6328 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.979 | 101950.6541 | 295707.2233 | 30.45 | 114.2
111453 | 2021-04-30 10:39 | 7.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4912 | μmol/L | 15.6082 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.991 | 101967.9081 | 295692.4706 | 30.45 | 114.2
111463 | 2021-04-30 10:39 | 8.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5752 | μmol/L | 15.5776 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.998 | 101985.8027 | 295659.8299 | 30.45 | 114.2
111473 | 2021-04-30 10:39 | 8.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5754 | μmol/L | 15.5469 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.009 | 102010.5569 | 295649.7119 | 30.45 | 114.2
111483 | 2021-04-30 10:40 | 8.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5968 | μmol/L | 15.5162 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.019 | 102029.4106 | 295627.6739 | 30.45 | 114.2
111493 | 2021-04-30 10:40 | 9.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.593 | μmol/L | 15.4916 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.028 | 102042.3244 | 295608.0745 | 30.45 | 114.2
111503 | 2021-04-30 10:40 | 9.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7402 | μmol/L | 15.4609 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.032 | 102043.6963 | 295590.2761 | 30.45 | 114.2
111513 | 2021-04-30 10:41 | 9.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8038 | μmol/L | 15.4303 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.04 | 102074.6619 | 295562.3358 | 30.45 | 114.2
111523 | 2021-04-30 10:41 | 10.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6957 | μmol/L | 15.4057 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.054 | 102092.4844 | 295538.9324 | 30.45 | 114.2
111533 | 2021-04-30 10:41 | 10.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7176 | μmol/L | 15.375 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.064 | 102124.3212 | 295523.4842 | 30.45 | 114.2
111543 | 2021-04-30 10:42 | 10.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8488 | μmol/L | 15.3382 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.071 | 102147.9898 | 295510.5665 | 30.45 | 114.2
111553 | 2021-04-30 10:42 | 11.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8456 | μmol/L | 15.3137 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.08 | 102175.4917 | 295466.1853 | 30.45 | 114.2
111563 | 2021-04-30 10:42 | 11.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7887 | μmol/L | 15.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.096 | 102209.3902 | 295463.9411 | 30.45 | 114.2
111573 | 2021-04-30 10:43 | 11.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6558 | μmol/L | 15.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.109 | 102251.6871 | 295435.9578 | 30.45 | 114.2
111583 | 2021-04-30 10:43 | 12.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5993 | μmol/L | 15.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.125 | 102296.5511 | 295413.042 | 30.45 | 114.2
111593 | 2021-04-30 10:43 | 12.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4668 | μmol/L | 15.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.138 | 102337.0012 | 295397.5737 | 30.45 | 114.2
111603 | 2021-04-30 10:44 | 12.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4224 | μmol/L | 15.1786 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.149 | 102375.3183 | 295374.1316 | 30.45 | 114.2
111613 | 2021-04-30 10:44 | 13.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2785 | μmol/L | 15.148 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.167 | 102408.0017 | 295346.6832 | 30.45 | 114.2
111623 | 2021-04-30 10:44 | 13.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.246 | μmol/L | 15.1357 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.173 | 102442.3691 | 295326.2773 | 30.45 | 114.2
111633 | 2021-04-30 10:45 | 13.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1603 | μmol/L | 15.1111 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.186 | 102475.7069 | 295320.5008 | 30.45 | 114.2
111643 | 2021-04-30 10:45 | 14.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.0701 | μmol/L | 15.0927 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.197 | 102488.7497 | 295300.1096 | 30.45 | 114.2
111653 | 2021-04-30 10:45 | 14.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1466 | μmol/L | 15.0743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.2 | 102520.9484 | 295273.6417 | 30.45 | 114.2
111663 | 2021-04-30 10:46 | 14.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9941 | μmol/L | 15.0559 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.214 | 102557.1354 | 295259.3701 | 30.45 | 114.2
111673 | 2021-04-30 10:46 | 15.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8418 | μmol/L | 15.0375 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.228 | 102577.5484 | 295235.5563 | 30.45 | 114.2
111683 | 2021-04-30 10:46 | 15.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8352 | μmol/L | 15.0191 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.235 | 102595.9723 | 295217.8815 | 30.45 | 114.2
111693 | 2021-04-30 10:47 | 15.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.891 | μmol/L | 15.0007 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.239 | 102619.0193 | 295199.2428 | 30.45 | 114.2
111703 | 2021-04-30 10:47 | 16.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7853 | μmol/L | 14.9761 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.253 | 102641.7377 | 295182.7412 | 30.45 | 114.2
111713 | 2021-04-30 10:47 | 16.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8668 | μmol/L | 14.9516 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.258 | 102661.7168 | 295157.4303 | 30.45 | 114.2
111723 | 2021-04-30 10:48 | 16.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7309 | μmol/L | 14.9393 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.269 | 102689.5783 | 295153.7347 | 30.45 | 114.2
111733 | 2021-04-30 10:48 | 17.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7246 | μmol/L | 14.9209 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.276 | 102715.8436 | 295130.9502 | 30.45 | 114.2
111743 | 2021-04-30 10:48 | 17.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.573 | μmol/L | 14.9025 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.29 | 102741.1419 | 295116.4844 | 30.45 | 114.2
111753 | 2021-04-30 10:49 | 17.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4631 | μmol/L | 14.8841 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.302 | 102776.528 | 295093.2321 | 30.45 | 114.2
111763 | 2021-04-30 10:49 | 18.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5033 | μmol/L | 14.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.309 | 102795.3102 | 295072.7621 | 30.45 | 114.2
111773 | 2021-04-30 10:49 | 18.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4972 | μmol/L | 14.8411 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.316 | 102808.4881 | 295058.0522 | 30.45 | 114.2
111783 | 2021-04-30 10:50 | 18.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4705 | μmol/L | 14.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.324 | 102827.7725 | 295051.0156 | 30.45 | 114.2
111793 | 2021-04-30 10:50 | 19.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.423 | μmol/L | 14.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.333 | 102851.0248 | 295039.0999 | 30.45 | 114.2
111803 | 2021-04-30 10:50 | 19.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4743 | μmol/L | 14.792 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.335 | 102869.6034 | 295024.33 | 30.45 | 114.2
111813 | 2021-04-30 10:51 | 19.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3442 | μmol/L | 14.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.348 | 102894.7908 | 295005.0939 | 30.45 | 114.2
111823 | 2021-04-30 10:51 | 20.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1422 | μmol/L | 14.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.36 | 102905.0069 | 294993.4648 | 30.45 | 114.2
111833 | 2021-04-30 10:51 | 20.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.2398 | μmol/L | 14.7491 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.362 | 102935.1709 | 294973.2979 | 30.45 | 114.2
111843 | 2021-04-30 10:52 | 20.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.2291 | μmol/L | 14.7368 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.367 | 102953.3413 | 294954.4457 | 30.45 | 114.2
111853 | 2021-04-30 10:52 | 21.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1821 | μmol/L | 14.7184 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.376 | 102968.087 | 294929.1941 | 30.45 | 114.2
111863 | 2021-04-30 10:52 | 21.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.2642 | μmol/L | 14.6939 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.381 | 102987.6885 | 294908.1118 | 30.45 | 114.2
111873 | 2021-04-30 10:53 | 21.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1244 | μmol/L | 14.6877 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.39 | 103008.2382 | 294900.7893 | 30.45 | 114.2
111883 | 2021-04-30 10:53 | 22.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1552 | μmol/L | 14.6755 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.393 | 103019.9171 | 294879.4307 | 30.45 | 114.2
111893 | 2021-04-30 10:53 | 22.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.129 | μmol/L | 14.6571 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.401 | 103036.1809 | 294865.2943 | 30.45 | 114.2
111903 | 2021-04-30 10:54 | 22.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9894 | μmol/L | 14.6509 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.41 | 103057.1475 | 294849.8503 | 30.45 | 114.2
111913 | 2021-04-30 10:54 | 23.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.046 | μmol/L | 14.6325 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.414 | 103078.473 | 294824.5403 | 30.45 | 114.2
111923 | 2021-04-30 10:54 | 23.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9735 | μmol/L | 14.6202 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.422 | 103092.0072 | 294812.1619 | 30.45 | 114.2
111933 | 2021-04-30 10:55 | 23.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9218 | μmol/L | 14.608 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.429 | 103111.7634 | 294798.2875 | 30.45 | 114.2
111943 | 2021-04-30 10:55 | 24.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0197 | μmol/L | 14.5896 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.431 | 103117.1774 | 294781.9883 | 30.45 | 114.2
111953 | 2021-04-30 10:55 | 24.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0145 | μmol/L | 14.5712 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.438 | 103133.7507 | 294769.8831 | 30.45 | 114.2
111963 | 2021-04-30 10:56 | 24.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9835 | μmol/L | 14.5589 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.444 | 103150.9915 | 294748.514 | 30.45 | 114.2
111973 | 2021-04-30 10:56 | 25.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9525 | μmol/L | 14.5466 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.45 | 103164.1373 | 294745.6489 | 30.45 | 114.2
111983 | 2021-04-30 10:56 | 25.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.968 | μmol/L | 14.5282 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.456 | 103161.0951 | 294707.3563 | 30.45 | 114.2
111993 | 2021-04-30 10:57 | 25.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9217 | μmol/L | 14.5098 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.465 | 103183.6383 | 294703.1509 | 30.45 | 114.2
112003 | 2021-04-30 10:57 | 26.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8598 | μmol/L | 14.5098 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.468 | 103199.1238 | 294699.1491 | 30.45 | 114.2
112013 | 2021-04-30 10:57 | 26.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9167 | μmol/L | 14.4914 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.472 | 103205.1719 | 294669.2796 | 30.45 | 114.2
112023 | 2021-04-30 10:58 | 26.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0201 | μmol/L | 14.4669 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.476 | 103212.5048 | 294643.1664 | 30.45 | 114.2
112033 | 2021-04-30 10:58 | 27.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9634 | μmol/L | 14.4607 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.481 | 103225.4274 | 294648.3923 | 30.45 | 114.2
112043 | 2021-04-30 10:58 | 27.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.948 | μmol/L | 14.4546 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.484 | 103233.5214 | 294629.74 | 30.45 | 114.2
112053 | 2021-04-30 10:59 | 27.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0103 | μmol/L | 14.43 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.49 | 103244.2493 | 294616.4474 | 30.45 | 114.2
112063 | 2021-04-30 10:59 | 28.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8453 | μmol/L | 14.43 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.498 | 103252.2488 | 294607.8709 | 30.45 | 114.2
112073 | 2021-04-30 10:59 | 28.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.923 | μmol/L | 14.4116 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.501 | 103259.5225 | 294579.3015 | 30.45 | 114.2
112083 | 2021-04-30 11:00 | 28.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.016 | μmol/L | 14.3994 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.501 | 103268.8916 | 294576.5069 | 30.45 | 114.2
112093 | 2021-04-30 11:00 | 29.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9442 | μmol/L | 14.3871 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.509 | 103273.6911 | 294566.467 | 30.45 | 114.2
112103 | 2021-04-30 11:00 | 29.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.996 | μmol/L | 14.3748 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.511 | 103280.4429 | 294540.6507 | 30.45 | 114.2
112113 | 2021-04-30 11:01 | 29.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9189 | μmol/L | 14.3687 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.517 | 103289.3597 | 294520.2402 | 30.45 | 114.2
112123 | 2021-04-30 11:01 | 30.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9967 | μmol/L | 14.3503 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.52 | 103300.6791 | 294506.0241 | 30.45 | 114.2
112133 | 2021-04-30 11:01 | 30.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9608 | μmol/L | 14.3441 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.524 | 103304.4668 | 294489.8637 | 30.45 | 114.2
112143 | 2021-04-30 11:02 | 30.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9868 | μmol/L | 14.338 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.525 | 103309.5057 | 294492.7132 | 30.45 | 114.2
112153 | 2021-04-30 11:02 | 31.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8944 | μmol/L | 14.3257 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.534 | 103313.0413 | 294481.0576 | 30.45 | 114.2
112163 | 2021-04-30 11:02 | 31.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.967 | μmol/L | 14.3135 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.535 | 103330.4434 | 294464.1064 | 30.45 | 114.2
112173 | 2021-04-30 11:03 | 31.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9625 | μmol/L | 14.2951 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.542 | 103333.8629 | 294451.4735 | 30.45 | 114.2
112183 | 2021-04-30 11:03 | 32.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9939 | μmol/L | 14.2828 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.545 | 103345.775 | 294441.9032 | 30.45 | 114.2
112193 | 2021-04-30 11:03 | 32.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0405 | μmol/L | 14.2767 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.545 | 103341.223 | 294425.1661 | 30.45 | 114.2
112203 | 2021-04-30 11:04 | 32.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0307 | μmol/L | 14.2644 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.55 | 103342.9305 | 294422.443 | 30.45 | 114.2
112213 | 2021-04-30 11:04 | 33.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0307 | μmol/L | 14.2644 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.55 | 103361.0553 | 294411.2618 | 30.45 | 114.2
112223 | 2021-04-30 11:04 | 33.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0828 | μmol/L | 14.2521 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.552 | 103357.087 | 294397.7951 | 30.45 | 114.2
112233 | 2021-04-30 11:05 | 33.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9906 | μmol/L | 14.2399 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.561 | 103369.2636 | 294380.663 | 30.45 | 114.2
112243 | 2021-04-30 11:05 | 34.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.97 | μmol/L | 14.2399 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.562 | 103373.7182 | 294362.103 | 30.45 | 114.2
112253 | 2021-04-30 11:05 | 34.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.996 | μmol/L | 14.2337 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.563 | 103378.0086 | 294357.5637 | 30.45 | 114.2
112263 | 2021-04-30 11:06 | 34.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9603 | μmol/L | 14.2276 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.567 | 103379.9758 | 294348.6219 | 30.45 | 114.2
112273 | 2021-04-30 11:06 | 35.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.033 | μmol/L | 14.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.568 | 103382.944 | 294335.9526 | 30.45 | 114.2
112283 | 2021-04-30 11:06 | 35.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.7696 | μmol/L | 14.2337 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.574 | 103382.2046 | 294330.1288 | 30.45 | 114.2
112293 | 2021-04-30 11:07 | 35.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9246 | μmol/L | 14.2214 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.571 | 103398.5584 | 294323.84 | 30.45 | 114.2
112303 | 2021-04-30 11:07 | 36.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6927 | μmol/L | 14.2276 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.58 | 103397.6739 | 294304.879 | 30.45 | 114.2
112313 | 2021-04-30 11:07 | 36.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8065 | μmol/L | 14.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.579 | 103404.3725 | 294289.1284 | 30.45 | 114.2
112323 | 2021-04-30 11:08 | 36.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6776 | μmol/L | 14.2214 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.583 | 103395.2382 | 294279.1099 | 30.45 | 114.2
112333 | 2021-04-30 11:08 | 37.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6831 | μmol/L | 14.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.585 | 103408.3597 | 294264.6243 | 30.45 | 114.2
112343 | 2021-04-30 11:08 | 37.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.642 | μmol/L | 14.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.587 | 103409.9915 | 294264.7893 | 30.45 | 114.2
112353 | 2021-04-30 11:09 | 37.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5392 | μmol/L | 14.2153 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.592 | 103415.436 | 294242.1292 | 30.45 | 114.2
112363 | 2021-04-30 11:09 | 38.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4625 | μmol/L | 14.2092 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.598 | 103419.4032 | 294236.0677 | 30.45 | 114.2
112373 | 2021-04-30 11:09 | 38.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5967 | μmol/L | 14.1969 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.596 | 103418.4365 | 294220.4741 | 30.45 | 114.2
112383 | 2021-04-30 11:10 | 38.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5967 | μmol/L | 14.1969 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.596 | 103432.5575 | 294204.8532 | 30.45 | 114.2
112393 | 2021-04-30 11:10 | 39.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5611 | μmol/L | 14.1908 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.6 | 103421.9367 | 294203.6653 | 30.45 | 114.2
112403 | 2021-04-30 11:10 | 39.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5255 | μmol/L | 14.1846 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.604 | 103437.5699 | 294196.3409 | 30.45 | 114.2
112413 | 2021-04-30 11:11 | 39.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5981 | μmol/L | 14.1724 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.605 | 103442.2321 | 294177.3553 | 30.45 | 114.2
112423 | 2021-04-30 11:11 | 40.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4899 | μmol/L | 14.1785 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.608 | 103448.0413 | 294189.9981 | 30.45 | 114.2
112433 | 2021-04-30 11:11 | 40.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5625 | μmol/L | 14.1662 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.609 | 103441.233 | 294161.6052 | 30.45 | 114.2
112443 | 2021-04-30 11:12 | 40.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4598 | μmol/L | 14.1662 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.614 | 103448.6531 | 294151.1239 | 30.45 | 114.2
112453 | 2021-04-30 11:12 | 41.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5119 | μmol/L | 14.154 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.616 | 103445.1952 | 294121.9116 | 30.45 | 114.2
112463 | 2021-04-30 11:12 | 41.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5585 | μmol/L | 14.1478 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.616 | 103437.3673 | 294127.8664 | 30.45 | 114.2
112473 | 2021-04-30 11:13 | 41.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4558 | μmol/L | 14.1478 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.621 | 103444.4285 | 294119.5436 | 30.45 | 114.2
112483 | 2021-04-30 11:13 | 42.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6107 | μmol/L | 14.1356 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.618 | 103446.8408 | 294106.7499 | 30.45 | 114.2
112493 | 2021-04-30 11:13 | 42.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5957 | μmol/L | 14.1294 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.621 | 103442.9552 | 294090.9195 | 30.45 | 114.2
112503 | 2021-04-30 11:14 | 42.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5135 | μmol/L | 14.1294 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.625 | 103447.5874 | 294089.5249 | 30.45 | 114.2
112513 | 2021-04-30 11:14 | 43.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5657 | μmol/L | 14.1172 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.627 | 103452.1829 | 294084.4376 | 30.45 | 114.2