## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
117316 | 2021-04-30 14:40 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.3181 | μmol/L | 15.35 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 123241.7769 | 264333.2596 | 26.25 | 74
117326 | 2021-04-30 14:40 | 0.33879 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.1796 | μmol/L | 15.3196 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 123027.1164 | 264326.8804 | 26.25 | 74
117336 | 2021-04-30 14:40 | 0.67267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.7644 | μmol/L | 15.3074 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.617 | 122880.5005 | 264322.9413 | 26.25 | 74
117346 | 2021-04-30 14:41 | 1.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1018 | μmol/L | 15.3014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.604 | 122778.7935 | 264330.8497 | 26.25 | 74
117356 | 2021-04-30 14:41 | 1.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.248 | μmol/L | 15.3135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.593 | 122710.1049 | 264328.2675 | 26.25 | 74
117366 | 2021-04-30 14:41 | 1.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5018 | μmol/L | 15.3014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.586 | 122660.3982 | 264337.5785 | 26.25 | 74
117376 | 2021-04-30 14:42 | 2.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3277 | μmol/L | 15.3257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.585 | 122624.2865 | 264335.0883 | 26.25 | 74
117386 | 2021-04-30 14:42 | 2.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5056 | μmol/L | 15.3257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.577 | 122580.2078 | 264314.1956 | 26.25 | 74
117396 | 2021-04-30 14:42 | 2.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4833 | μmol/L | 15.3257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.578 | 122557.0616 | 264328.4327 | 26.25 | 74
117406 | 2021-04-30 14:43 | 3.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5455 | μmol/L | 15.3318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.573 | 122510.1343 | 264310.7007 | 26.25 | 74
117416 | 2021-04-30 14:43 | 3.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7059 | μmol/L | 15.3257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.568 | 122484.6368 | 264322.2334 | 26.25 | 74
117426 | 2021-04-30 14:43 | 3.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7904 | μmol/L | 15.3318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.562 | 122453.4089 | 264317.3083 | 26.25 | 74
117436 | 2021-04-30 14:44 | 4.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8527 | μmol/L | 15.3379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.557 | 122436.1913 | 264307.2538 | 26.25 | 74
117446 | 2021-04-30 14:44 | 4.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0133 | μmol/L | 15.3318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.552 | 122403.4756 | 264304.971 | 26.25 | 74
117456 | 2021-04-30 14:44 | 4.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9418 | μmol/L | 15.3379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.553 | 122378.6986 | 264311.1439 | 26.25 | 74
117466 | 2021-04-30 14:45 | 5.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8836 | μmol/L | 15.3561 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.549 | 122359.0841 | 264311.1365 | 26.25 | 74
117476 | 2021-04-30 14:45 | 5.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0219 | μmol/L | 15.35 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.545 | 122335.7562 | 264320.7669 | 26.25 | 74
117486 | 2021-04-30 14:45 | 5.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9236 | μmol/L | 15.3622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.545 | 122312.3575 | 264321.9537 | 26.25 | 74
117496 | 2021-04-30 14:46 | 6.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.062 | μmol/L | 15.3561 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.541 | 122286.5726 | 264326.0373 | 26.25 | 74
117506 | 2021-04-30 14:46 | 6.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1244 | μmol/L | 15.3622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.536 | 122271.1656 | 264320.6714 | 26.25 | 74
117516 | 2021-04-30 14:46 | 6.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.169 | μmol/L | 15.3622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.534 | 122249.6434 | 264323.7434 | 26.25 | 74
117526 | 2021-04-30 14:47 | 7.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1377 | μmol/L | 15.3744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.531 | 122244.19 | 264313.2546 | 26.25 | 74
117536 | 2021-04-30 14:47 | 7.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2046 | μmol/L | 15.3744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.528 | 122232.6821 | 264321.1457 | 26.25 | 74
117546 | 2021-04-30 14:47 | 7.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1778 | μmol/L | 15.3805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.527 | 122211.8228 | 264322.1761 | 26.25 | 74
117556 | 2021-04-30 14:48 | 8.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1555 | μmol/L | 15.3805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.528 | 122201.3655 | 264312.207 | 26.25 | 74
117566 | 2021-04-30 14:48 | 8.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2001 | μmol/L | 15.3805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.526 | 122190.6318 | 264304.9455 | 26.25 | 74
117576 | 2021-04-30 14:48 | 8.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3565 | μmol/L | 15.3805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 122186.3807 | 264314.9115 | 26.25 | 74
117586 | 2021-04-30 14:49 | 9.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2626 | μmol/L | 15.3866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122181.7166 | 264315.3819 | 26.25 | 74
117596 | 2021-04-30 14:49 | 9.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1688 | μmol/L | 15.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 122165.661 | 264315.1946 | 26.25 | 74
117606 | 2021-04-30 14:49 | 9.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0258 | μmol/L | 15.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.525 | 122157.2049 | 264321.1849 | 26.25 | 74
117616 | 2021-04-30 14:50 | 10.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1911 | μmol/L | 15.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 122153.1369 | 264304.6458 | 26.25 | 74
117626 | 2021-04-30 14:50 | 10.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0704 | μmol/L | 15.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 122154.5632 | 264312.3795 | 26.25 | 74
117636 | 2021-04-30 14:50 | 10.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0168 | μmol/L | 15.417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122145.1592 | 264319.4533 | 26.25 | 74
117646 | 2021-04-30 14:51 | 11.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9945 | μmol/L | 15.417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 122150.0136 | 264318.4008 | 26.25 | 74
117656 | 2021-04-30 14:51 | 11.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0659 | μmol/L | 15.4109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122145.3847 | 264313.8428 | 26.25 | 74
117666 | 2021-04-30 14:51 | 11.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0615 | μmol/L | 15.417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 122146.7031 | 264317.3652 | 26.25 | 74
117676 | 2021-04-30 14:52 | 12.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0168 | μmol/L | 15.417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122145.505 | 264311.6148 | 26.25 | 74
117686 | 2021-04-30 14:52 | 12.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9186 | μmol/L | 15.4292 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122152.4135 | 264311.2289 | 26.25 | 74
117696 | 2021-04-30 14:52 | 12.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9141 | μmol/L | 15.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 122147.2002 | 264312.9089 | 26.25 | 74
117706 | 2021-04-30 14:53 | 13.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8695 | μmol/L | 15.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122148.4104 | 264318.7786 | 26.25 | 74
117716 | 2021-04-30 14:53 | 13.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8695 | μmol/L | 15.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122135.9174 | 264317.5308 | 26.25 | 74
117726 | 2021-04-30 14:53 | 13.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8873 | μmol/L | 15.4413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122145.8977 | 264324.3228 | 26.25 | 74
117736 | 2021-04-30 14:54 | 14.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8159 | μmol/L | 15.4474 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 122151.993 | 264320.1502 | 26.25 | 74
117746 | 2021-04-30 14:54 | 14.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7713 | μmol/L | 15.4474 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122150.2758 | 264321.3568 | 26.25 | 74
117756 | 2021-04-30 14:54 | 14.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7223 | μmol/L | 15.4535 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122142.8487 | 264310.5551 | 26.25 | 74
117766 | 2021-04-30 14:55 | 15.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7401 | μmol/L | 15.4596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122148.7592 | 264323.6047 | 26.25 | 74
117776 | 2021-04-30 14:55 | 15.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7133 | μmol/L | 15.4596 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.519 | 122146.6231 | 264306.7976 | 26.25 | 74
117786 | 2021-04-30 14:55 | 15.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.642 | μmol/L | 15.4657 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122149.8865 | 264310.4927 | 26.25 | 74
117796 | 2021-04-30 14:56 | 16.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6866 | μmol/L | 15.4657 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122144.3063 | 264306.8588 | 26.25 | 74
117806 | 2021-04-30 14:56 | 16.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6465 | μmol/L | 15.4657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122143.4011 | 264309.326 | 26.25 | 74
117816 | 2021-04-30 14:56 | 16.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5485 | μmol/L | 15.4779 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122144.3347 | 264297.8324 | 26.25 | 74
117826 | 2021-04-30 14:57 | 17.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5395 | μmol/L | 15.4839 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122147.5288 | 264321.9603 | 26.25 | 74
117836 | 2021-04-30 14:57 | 17.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.495 | μmol/L | 15.4839 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122156.8282 | 264319.7151 | 26.25 | 74
117846 | 2021-04-30 14:57 | 17.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4772 | μmol/L | 15.4839 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122152.1857 | 264321.2853 | 26.25 | 74
117856 | 2021-04-30 14:58 | 18.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4015 | μmol/L | 15.49 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.522 | 122152.2681 | 264334.278 | 26.25 | 74
117866 | 2021-04-30 14:58 | 18.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4282 | μmol/L | 15.49 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122157.3684 | 264343.8184 | 26.25 | 74
117876 | 2021-04-30 14:58 | 18.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.602 | μmol/L | 15.4961 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.511 | 122109.4585 | 264332.0084 | 26.25 | 74
117886 | 2021-04-30 14:59 | 19.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4504 | μmol/L | 15.4657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 121925.0424 | 264332.8384 | 26.25 | 74
117896 | 2021-04-30 14:59 | 19.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3568 | μmol/L | 15.5022 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.475 | 121869.9989 | 264337.0532 | 26.25 | 74
117906 | 2021-04-30 14:59 | 19.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4374 | μmol/L | 15.5083 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.469 | 121839.4343 | 264339.0903 | 26.25 | 74
117916 | 2021-04-30 15:00 | 20.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3435 | μmol/L | 15.5144 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.471 | 121830.4435 | 264333.7233 | 26.25 | 74
117926 | 2021-04-30 15:00 | 20.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.4556 | μmol/L | 15.5205 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.464 | 121828.7335 | 264329.2363 | 26.25 | 74
117936 | 2021-04-30 15:00 | 20.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3393 | μmol/L | 15.5265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.467 | 121832.595 | 264337.4984 | 26.25 | 74
117946 | 2021-04-30 15:01 | 21.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2946 | μmol/L | 15.5265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.469 | 121831.4562 | 264343.4096 | 26.25 | 74
117956 | 2021-04-30 15:01 | 21.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3884 | μmol/L | 15.5205 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.467 | 121827.3764 | 264316.4206 | 26.25 | 74
117966 | 2021-04-30 15:01 | 21.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.3169 | μmol/L | 15.5265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.468 | 121840.5011 | 264333.8239 | 26.25 | 74
117976 | 2021-04-30 15:02 | 22.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.2722 | μmol/L | 15.5265 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.47 | 121849.9743 | 264331.4683 | 26.25 | 74
117986 | 2021-04-30 15:02 | 22.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.1026 | μmol/L | 15.5448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.471 | 121851.3323 | 264335.5023 | 26.25 | 74
117996 | 2021-04-30 15:02 | 22.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.174 | μmol/L | 15.5387 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.47 | 121853.0489 | 264329.5236 | 26.25 | 74
118006 | 2021-04-30 15:03 | 23.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0132 | μmol/L | 15.5448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.475 | 121872.1057 | 264327.0324 | 26.25 | 74
118016 | 2021-04-30 15:03 | 23.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 262.0356 | μmol/L | 15.5448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.474 | 121873.3094 | 264332.3545 | 26.25 | 74
118026 | 2021-04-30 15:03 | 23.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.9596 | μmol/L | 15.5509 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.475 | 121891.7752 | 264318.1732 | 26.25 | 74
118036 | 2021-04-30 15:04 | 24.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.866 | μmol/L | 15.557 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.477 | 121889.7408 | 264320.9999 | 26.25 | 74
118046 | 2021-04-30 15:04 | 24.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.8438 | μmol/L | 15.5631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.476 | 121897.3639 | 264325.9172 | 26.25 | 74
118056 | 2021-04-30 15:04 | 24.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.6653 | μmol/L | 15.5631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 121911.5082 | 264314.9372 | 26.25 | 74
118066 | 2021-04-30 15:05 | 25.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7322 | μmol/L | 15.5631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.481 | 121923.7034 | 264314.6463 | 26.25 | 74
118076 | 2021-04-30 15:05 | 25.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.7055 | μmol/L | 15.5691 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.48 | 121929.7381 | 264320.9177 | 26.25 | 74
118086 | 2021-04-30 15:05 | 25.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5674 | μmol/L | 15.5752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 121931.343 | 264324.0315 | 26.25 | 74
118096 | 2021-04-30 15:06 | 26.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.5674 | μmol/L | 15.5752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 121948.3229 | 264319.5895 | 26.25 | 74
118106 | 2021-04-30 15:06 | 26.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.4293 | μmol/L | 15.5813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 121960.9088 | 264312.4745 | 26.25 | 74
118116 | 2021-04-30 15:06 | 26.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.3803 | μmol/L | 15.5874 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.488 | 121965.6895 | 264317.2544 | 26.25 | 74
118126 | 2021-04-30 15:07 | 27.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.2644 | μmol/L | 15.5874 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.493 | 121983.7313 | 264324.1292 | 26.25 | 74
118136 | 2021-04-30 15:07 | 27.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1533 | μmol/L | 15.5935 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.496 | 121992.0825 | 264312.5415 | 26.25 | 74
118146 | 2021-04-30 15:07 | 27.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1756 | μmol/L | 15.5935 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.495 | 122012.6862 | 264300.2835 | 26.25 | 74
118156 | 2021-04-30 15:08 | 28.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 261.1045 | μmol/L | 15.5996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.496 | 122026.543 | 264308.6577 | 26.25 | 74
118166 | 2021-04-30 15:08 | 28.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.9222 | μmol/L | 15.6057 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.502 | 122055.7393 | 264314.8132 | 26.25 | 74
118176 | 2021-04-30 15:08 | 28.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.8511 | μmol/L | 15.6117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.503 | 122061.7386 | 264314.6108 | 26.25 | 74
118186 | 2021-04-30 15:09 | 29.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.8289 | μmol/L | 15.6117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.504 | 122073.1111 | 264316.165 | 26.25 | 74
118196 | 2021-04-30 15:09 | 29.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.669 | μmol/L | 15.6178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.509 | 122093.7854 | 264316.5286 | 26.25 | 74
118206 | 2021-04-30 15:09 | 29.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.6512 | μmol/L | 15.6117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.512 | 122106.0767 | 264314.7166 | 26.25 | 74
118216 | 2021-04-30 15:10 | 30.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.5802 | μmol/L | 15.6178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.513 | 122142.8295 | 264327.6017 | 26.25 | 74
118226 | 2021-04-30 15:10 | 30.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.4649 | μmol/L | 15.6239 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.516 | 122143.0993 | 264333.3086 | 26.25 | 74
118236 | 2021-04-30 15:10 | 30.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.4162 | μmol/L | 15.63 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.516 | 122162.9626 | 264327.8323 | 26.25 | 74
118246 | 2021-04-30 15:11 | 31.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.3718 | μmol/L | 15.63 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122172.5787 | 264312.5964 | 26.25 | 74
118256 | 2021-04-30 15:11 | 31.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.3275 | μmol/L | 15.63 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122173.4002 | 264316.2932 | 26.25 | 74
118266 | 2021-04-30 15:11 | 31.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.1591 | μmol/L | 15.6422 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.523 | 122196.3585 | 264304.6027 | 26.25 | 74
118276 | 2021-04-30 15:12 | 32.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9778 | μmol/L | 15.6544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.527 | 122204.3636 | 264319.1808 | 26.25 | 74
118286 | 2021-04-30 15:12 | 32.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.075 | μmol/L | 15.6422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.527 | 122213.3836 | 264322.0064 | 26.25 | 74
118296 | 2021-04-30 15:12 | 32.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260.0529 | μmol/L | 15.6422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.528 | 122215.541 | 264309.5534 | 26.25 | 74
118306 | 2021-04-30 15:13 | 33.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 260 | μmol/L | 15.6544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.526 | 122228.4154 | 264310.4742 | 26.25 | 74
118316 | 2021-04-30 15:13 | 33.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9114 | μmol/L | 15.6544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.53 | 122234.3145 | 264313.7928 | 26.25 | 74
118326 | 2021-04-30 15:13 | 33.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8671 | μmol/L | 15.6544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.532 | 122239.2703 | 264316.0888 | 26.25 | 74
118336 | 2021-04-30 15:14 | 34.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7698 | μmol/L | 15.6604 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.534 | 122230.2896 | 264300.8696 | 26.25 | 74
118346 | 2021-04-30 15:14 | 34.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7657 | μmol/L | 15.6726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.53 | 122243.6471 | 264309.136 | 26.25 | 74
118356 | 2021-04-30 15:14 | 34.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.9204 | μmol/L | 15.6665 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.525 | 122241.1793 | 264307.7231 | 26.25 | 74
118366 | 2021-04-30 15:15 | 35.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7436 | μmol/L | 15.6726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.531 | 122246.6849 | 264320.0206 | 26.25 | 74
118376 | 2021-04-30 15:15 | 35.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8099 | μmol/L | 15.6726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.528 | 122231.715 | 264309.035 | 26.25 | 74
118386 | 2021-04-30 15:15 | 35.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8275 | μmol/L | 15.6726 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.527 | 122229.8257 | 264312.7651 | 26.25 | 74
118396 | 2021-04-30 15:16 | 36.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.8014 | μmol/L | 15.6848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.524 | 122221.4791 | 264312.8337 | 26.25 | 74
118406 | 2021-04-30 15:16 | 36.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7571 | μmol/L | 15.6848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.526 | 122222.4098 | 264308.6281 | 26.25 | 74
118416 | 2021-04-30 15:16 | 36.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7792 | μmol/L | 15.6848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.525 | 122214.3922 | 264313.2714 | 26.25 | 74
118426 | 2021-04-30 15:17 | 37.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7528 | μmol/L | 15.6909 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.524 | 122205.5254 | 264322.7163 | 26.25 | 74
118436 | 2021-04-30 15:17 | 37.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6822 | μmol/L | 15.697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.525 | 122199.078 | 264312.1289 | 26.25 | 74
118446 | 2021-04-30 15:17 | 37.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7707 | μmol/L | 15.697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122204.3139 | 264322.8105 | 26.25 | 74
118456 | 2021-04-30 15:18 | 38.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.7 | μmol/L | 15.703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 122193.1707 | 264318.6686 | 26.25 | 74
118466 | 2021-04-30 15:18 | 38.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6515 | μmol/L | 15.7091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 122186.19 | 264319.6595 | 26.25 | 74
118476 | 2021-04-30 15:18 | 38.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6736 | μmol/L | 15.7091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.521 | 122195.6682 | 264323.3187 | 26.25 | 74
118486 | 2021-04-30 15:19 | 39.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6957 | μmol/L | 15.7091 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.52 | 122188.4195 | 264331.1892 | 26.25 | 74
118496 | 2021-04-30 15:19 | 39.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5324 | μmol/L | 15.7213 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 122186.6476 | 264316.1079 | 26.25 | 74
118506 | 2021-04-30 15:19 | 39.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5945 | μmol/L | 15.7274 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122177.8949 | 264316.3202 | 26.25 | 74
118516 | 2021-04-30 15:20 | 40.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6651 | μmol/L | 15.7213 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.517 | 122183.6811 | 264323.3892 | 26.25 | 74
118526 | 2021-04-30 15:20 | 40.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.6651 | μmol/L | 15.7213 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.517 | 122177.0993 | 264312.4686 | 26.25 | 74
118536 | 2021-04-30 15:20 | 40.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.546 | μmol/L | 15.7335 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.518 | 122182.1368 | 264330.7829 | 26.25 | 74
118546 | 2021-04-30 15:21 | 41.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5857 | μmol/L | 15.7335 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.516 | 122175.032 | 264315.1947 | 26.25 | 74
118556 | 2021-04-30 15:21 | 41.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5109 | μmol/L | 15.7457 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.515 | 122158.7546 | 264318.5045 | 26.25 | 74
118566 | 2021-04-30 15:21 | 41.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.586 | μmol/L | 15.7396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.514 | 122166.5911 | 264319.2625 | 26.25 | 74
118576 | 2021-04-30 15:22 | 42.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5112 | μmol/L | 15.7517 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.513 | 122166.7796 | 264319.6042 | 26.25 | 74
118586 | 2021-04-30 15:22 | 42.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5509 | μmol/L | 15.7517 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.511 | 122161.3083 | 264306.1351 | 26.25 | 74
118596 | 2021-04-30 15:22 | 42.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5066 | μmol/L | 15.7517 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.513 | 122152.7659 | 264325.7758 | 26.25 | 74
118606 | 2021-04-30 15:23 | 43.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5291 | μmol/L | 15.7578 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.51 | 122141.3612 | 264310.2744 | 26.25 | 74
118616 | 2021-04-30 15:23 | 43.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5027 | μmol/L | 15.7639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.509 | 122131.0305 | 264328.1319 | 26.25 | 74
118626 | 2021-04-30 15:23 | 43.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 259.5909 | μmol/L | 15.7578 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.507 | 122127.771 | 264341.0903 | 26.25 | 74