## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112518 | 2021-04-30 11:23 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.3701 | μmol/L | 13.4683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.53 | 145772.4148 | 270571.8815 | 33.25 | 75.7
112528 | 2021-04-30 11:23 | 0.34135 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.4235 | μmol/L | 13.4621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.487 | 145430.2705 | 270570.2926 | 33.25 | 75.7
112538 | 2021-04-30 11:23 | 0.67441 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 274.3646 | μmol/L | 13.456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 145118.4055 | 270542.5789 | 33.25 | 75.7
112548 | 2021-04-30 11:24 | 1.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.139 | μmol/L | 13.456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.416 | 144879.2992 | 270530.5247 | 33.25 | 75.7
112558 | 2021-04-30 11:24 | 1.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.869 | μmol/L | 13.456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.385 | 144640.8441 | 270531.2403 | 33.25 | 75.7
112568 | 2021-04-30 11:24 | 1.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.5008 | μmol/L | 13.4621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.356 | 144428.5622 | 270517.3783 | 33.25 | 75.7
112578 | 2021-04-30 11:25 | 2.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 277.0516 | μmol/L | 13.456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.335 | 144241.8447 | 270515.2916 | 33.25 | 75.7
112588 | 2021-04-30 11:25 | 2.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 277.4491 | μmol/L | 13.4621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.316 | 144081.9224 | 270498.0434 | 33.25 | 75.7
112598 | 2021-04-30 11:25 | 2.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 277.907 | μmol/L | 13.456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.299 | 143943.3716 | 270489.6026 | 33.25 | 75.7
112608 | 2021-04-30 11:26 | 3.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 278.342 | μmol/L | 13.4499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 143823.1264 | 270478.8456 | 33.25 | 75.7
112618 | 2021-04-30 11:26 | 3.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 278.5925 | μmol/L | 13.4621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.268 | 143710.756 | 270471.3468 | 33.25 | 75.7
112628 | 2021-04-30 11:26 | 3.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 278.8015 | μmol/L | 13.4683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.257 | 143612.5052 | 270445.889 | 33.25 | 75.7
112638 | 2021-04-30 11:27 | 4.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 279.1664 | μmol/L | 13.4621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.244 | 143520.571 | 270453.0195 | 33.25 | 75.7
112648 | 2021-04-30 11:27 | 4.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 279.2801 | μmol/L | 13.4683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.237 | 143435.8646 | 270440.8321 | 33.25 | 75.7
112658 | 2021-04-30 11:27 | 4.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 279.5379 | μmol/L | 13.4744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.224 | 143351.5094 | 270420.4849 | 33.25 | 75.7
112668 | 2021-04-30 11:28 | 5.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 279.6638 | μmol/L | 13.4683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.221 | 143213.9091 | 270409.3648 | 33.25 | 75.7
112678 | 2021-04-30 11:28 | 5.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 279.8499 | μmol/L | 13.4744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.211 | 142920.2514 | 270403.4808 | 33.25 | 75.7
112688 | 2021-04-30 11:28 | 5.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.0422 | μmol/L | 13.4744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.203 | 142851.4783 | 270400.4812 | 33.25 | 75.7
112698 | 2021-04-30 11:29 | 6.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.0603 | μmol/L | 13.4805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.2 | 142798.9476 | 270383.1264 | 33.25 | 75.7
112708 | 2021-04-30 11:29 | 6.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.1446 | μmol/L | 13.4928 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.192 | 142747.7254 | 270392.4675 | 33.25 | 75.7
112718 | 2021-04-30 11:29 | 6.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.2708 | μmol/L | 13.4866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.189 | 142702.7706 | 270374.2754 | 33.25 | 75.7
112728 | 2021-04-30 11:30 | 7.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.3912 | μmol/L | 13.4866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.184 | 142656.3232 | 270368.7367 | 33.25 | 75.7
112738 | 2021-04-30 11:30 | 7.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.4816 | μmol/L | 13.4928 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.178 | 142624.4513 | 270356.4055 | 33.25 | 75.7
112748 | 2021-04-30 11:30 | 7.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5839 | μmol/L | 13.4866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.176 | 142580.443 | 270354.1599 | 33.25 | 75.7
112758 | 2021-04-30 11:31 | 8.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5239 | μmol/L | 13.4989 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.174 | 142550.3092 | 270344.2119 | 33.25 | 75.7
112768 | 2021-04-30 11:31 | 8.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5903 | μmol/L | 13.505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.169 | 142525.8529 | 270334.6763 | 33.25 | 75.7
112778 | 2021-04-30 11:31 | 8.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.765 | μmol/L | 13.4989 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.164 | 142493.1931 | 270328.3062 | 33.25 | 75.7
112788 | 2021-04-30 11:32 | 9.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.735 | μmol/L | 13.505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.163 | 142461.46 | 270316.6279 | 33.25 | 75.7
112798 | 2021-04-30 11:32 | 9.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7473 | μmol/L | 13.5172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.158 | 142441.3103 | 270310.7832 | 33.25 | 75.7
112808 | 2021-04-30 11:32 | 9.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8256 | μmol/L | 13.5111 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.157 | 142408.0007 | 270304.438 | 33.25 | 75.7
112818 | 2021-04-30 11:33 | 10.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7956 | μmol/L | 13.5172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.156 | 142388.784 | 270287.0862 | 33.25 | 75.7
112828 | 2021-04-30 11:33 | 10.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7897 | μmol/L | 13.5234 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.154 | 142370.5076 | 270290.2426 | 33.25 | 75.7
112838 | 2021-04-30 11:33 | 10.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8138 | μmol/L | 13.5234 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.153 | 142356.8227 | 270289.0632 | 33.25 | 75.7
112848 | 2021-04-30 11:34 | 11.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7897 | μmol/L | 13.5234 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.154 | 142335.2879 | 270274.2255 | 33.25 | 75.7
112858 | 2021-04-30 11:34 | 11.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7779 | μmol/L | 13.5356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.15 | 142304.4866 | 270263.8607 | 33.25 | 75.7
112868 | 2021-04-30 11:34 | 11.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7962 | μmol/L | 13.5417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.147 | 142295.0566 | 270258.4837 | 33.25 | 75.7
112878 | 2021-04-30 11:35 | 12.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8986 | μmol/L | 13.5356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.145 | 142274.9188 | 270258.9345 | 33.25 | 75.7
112888 | 2021-04-30 11:35 | 12.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7962 | μmol/L | 13.5417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.147 | 142263.8001 | 270239.4882 | 33.25 | 75.7
112898 | 2021-04-30 11:35 | 12.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.9411 | μmol/L | 13.5417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.141 | 142251.1636 | 270241.2844 | 33.25 | 75.7
112908 | 2021-04-30 11:36 | 13.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.9111 | μmol/L | 13.5479 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.14 | 142237.3856 | 270234.6453 | 33.25 | 75.7
112918 | 2021-04-30 11:36 | 13.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8869 | μmol/L | 13.5479 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.141 | 142215.0593 | 270229.8144 | 33.25 | 75.7
112928 | 2021-04-30 11:36 | 13.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.9352 | μmol/L | 13.5479 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.139 | 142200.1138 | 270223.3174 | 33.25 | 75.7
112938 | 2021-04-30 11:37 | 14.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.9052 | μmol/L | 13.554 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.138 | 142185.8517 | 270202.8372 | 33.25 | 75.7
112948 | 2021-04-30 11:37 | 14.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.9294 | μmol/L | 13.554 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.137 | 142167.1948 | 270201.2745 | 33.25 | 75.7
112958 | 2021-04-30 11:37 | 14.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7911 | μmol/L | 13.5724 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.136 | 142151.346 | 270190.3392 | 33.25 | 75.7
112968 | 2021-04-30 11:38 | 15.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8153 | μmol/L | 13.5724 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.135 | 142139.0891 | 270190.6971 | 33.25 | 75.7
112978 | 2021-04-30 11:38 | 15.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8819 | μmol/L | 13.5785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.13 | 142121.8828 | 270184.5265 | 33.25 | 75.7
112988 | 2021-04-30 11:38 | 15.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8577 | μmol/L | 13.5785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.131 | 142111.5711 | 270172.3605 | 33.25 | 75.7
112998 | 2021-04-30 11:39 | 16.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8278 | μmol/L | 13.5846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.13 | 142105.8554 | 270170.2241 | 33.25 | 75.7
113008 | 2021-04-30 11:39 | 16.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.8519 | μmol/L | 13.5846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.129 | 142081.8399 | 270160.6445 | 33.25 | 75.7
113018 | 2021-04-30 11:39 | 16.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7978 | μmol/L | 13.5907 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.129 | 142070.7502 | 270166.0234 | 33.25 | 75.7
113028 | 2021-04-30 11:40 | 17.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7379 | μmol/L | 13.603 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.127 | 142072.5959 | 270164.2092 | 33.25 | 75.7
113038 | 2021-04-30 11:40 | 17.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.9186 | μmol/L | 13.5907 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.124 | 142053.2057 | 270140.943 | 33.25 | 75.7
113048 | 2021-04-30 11:40 | 17.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7679 | μmol/L | 13.5968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.128 | 142039.5064 | 270151.2774 | 33.25 | 75.7
113058 | 2021-04-30 11:41 | 18.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7379 | μmol/L | 13.603 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.127 | 142032.7834 | 270152.4116 | 33.25 | 75.7
113068 | 2021-04-30 11:41 | 18.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6298 | μmol/L | 13.6152 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.127 | 142024.0278 | 270137.0918 | 33.25 | 75.7
113078 | 2021-04-30 11:41 | 18.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6723 | μmol/L | 13.6213 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.123 | 142006.7511 | 270131.4477 | 33.25 | 75.7
113088 | 2021-04-30 11:42 | 19.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7206 | μmol/L | 13.6213 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.121 | 141997.2401 | 270124.5646 | 33.25 | 75.7
113098 | 2021-04-30 11:42 | 19.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6666 | μmol/L | 13.6275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.121 | 141983.0776 | 270124.9681 | 33.25 | 75.7
113108 | 2021-04-30 11:42 | 19.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6666 | μmol/L | 13.6275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.121 | 141975.7712 | 270121.9415 | 33.25 | 75.7
113118 | 2021-04-30 11:43 | 20.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6125 | μmol/L | 13.6336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.121 | 141972.8423 | 270108.5218 | 33.25 | 75.7
113128 | 2021-04-30 11:43 | 20.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.7332 | μmol/L | 13.6336 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 141957.9666 | 270119.4027 | 33.25 | 75.7
113138 | 2021-04-30 11:43 | 20.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6309 | μmol/L | 13.6397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.118 | 141940.99 | 270100.3481 | 33.25 | 75.7
113148 | 2021-04-30 11:44 | 21.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6493 | μmol/L | 13.6458 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.115 | 141930.1812 | 270094.909 | 33.25 | 75.7
113158 | 2021-04-30 11:44 | 21.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6792 | μmol/L | 13.6397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.116 | 141924.6336 | 270092.2621 | 33.25 | 75.7
113168 | 2021-04-30 11:44 | 21.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5654 | μmol/L | 13.6581 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.114 | 141907.5785 | 270082.6795 | 33.25 | 75.7
113178 | 2021-04-30 11:45 | 22.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6919 | μmol/L | 13.652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.111 | 141896.0642 | 270075.478 | 33.25 | 75.7
113188 | 2021-04-30 11:45 | 22.341 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6137 | μmol/L | 13.6581 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.112 | 141886.3956 | 270075.9631 | 33.25 | 75.7
113198 | 2021-04-30 11:45 | 22.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6023 | μmol/L | 13.6703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.108 | 141875.2354 | 270073.2876 | 33.25 | 75.7
113208 | 2021-04-30 11:46 | 23.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6264 | μmol/L | 13.6703 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.107 | 141859.6639 | 270075.5862 | 33.25 | 75.7
113218 | 2021-04-30 11:46 | 23.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5241 | μmol/L | 13.6765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.109 | 141852.7384 | 270062.674 | 33.25 | 75.7
113228 | 2021-04-30 11:46 | 23.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5724 | μmol/L | 13.6765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.107 | 141840.968 | 270057.2584 | 33.25 | 75.7
113238 | 2021-04-30 11:47 | 24.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.4886 | μmol/L | 13.6887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.106 | 141825.1937 | 270047.7438 | 33.25 | 75.7
113248 | 2021-04-30 11:47 | 24.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.669 | μmol/L | 13.6765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.103 | 141816.1529 | 270049.2761 | 33.25 | 75.7
113258 | 2021-04-30 11:47 | 24.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.6334 | μmol/L | 13.6887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.1 | 141796.1768 | 270033.8941 | 33.25 | 75.7
113268 | 2021-04-30 11:48 | 25.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5795 | μmol/L | 13.6948 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.1 | 141789.6193 | 270042.5005 | 33.25 | 75.7
113278 | 2021-04-30 11:48 | 25.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5013 | μmol/L | 13.7009 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.101 | 141780.8739 | 270030.7746 | 33.25 | 75.7
113288 | 2021-04-30 11:48 | 25.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5496 | μmol/L | 13.7009 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.099 | 141762.0325 | 270018.8071 | 33.25 | 75.7
113298 | 2021-04-30 11:49 | 26.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 280.5923 | μmol/L | 13.7071 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.095 | 141752.5718 | 270023.8671 | 33.25 | 75.7