## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112519 | 2021-04-30 11:23 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1633 | μmol/L | 13.4533 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.966 | 129090.3321 | 293761.3739 | 59.9307 | 38.1
112529 | 2021-04-30 11:23 | 0.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.707 | μmol/L | 13.4472 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.944 | 128897.3561 | 293753.7364 | 59.9307 | 38.1
112539 | 2021-04-30 11:23 | 0.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 263.2914 | μmol/L | 13.4472 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.918 | 128694.3276 | 293740.6651 | 59.9307 | 38.1
112549 | 2021-04-30 11:24 | 1.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.1766 | μmol/L | 13.4411 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.881 | 128459.065 | 293725.37 | 59.9307 | 38.1
112559 | 2021-04-30 11:24 | 1.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 264.7876 | μmol/L | 13.4411 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.854 | 128247.3468 | 293728.0004 | 59.9307 | 38.1
112569 | 2021-04-30 11:24 | 1.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 265.4514 | μmol/L | 13.435 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.827 | 128063.839 | 293718.4993 | 59.9307 | 38.1
112579 | 2021-04-30 11:25 | 2.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 265.9576 | μmol/L | 13.4289 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.807 | 127898.6728 | 293698.719 | 59.9307 | 38.1
112589 | 2021-04-30 11:25 | 2.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 266.4193 | μmol/L | 13.4228 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.789 | 127758.6105 | 293681.5877 | 59.9307 | 38.1
112599 | 2021-04-30 11:25 | 2.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 266.7447 | μmol/L | 13.4167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.777 | 127655.1238 | 293682.0339 | 59.9307 | 38.1
112609 | 2021-04-30 11:26 | 3.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.0422 | μmol/L | 13.4167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.764 | 127562.5552 | 293671.1403 | 59.9307 | 38.1
112619 | 2021-04-30 11:26 | 3.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.317 | μmol/L | 13.4167 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.752 | 127475.1283 | 293657.9421 | 59.9307 | 38.1
112629 | 2021-04-30 11:26 | 3.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.529 | μmol/L | 13.4106 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.745 | 127399.6531 | 293630.2773 | 59.9307 | 38.1
112639 | 2021-04-30 11:27 | 4.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8616 | μmol/L | 13.3984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.735 | 127333.5353 | 293648.5697 | 59.9307 | 38.1
112649 | 2021-04-30 11:27 | 4.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9765 | μmol/L | 13.3984 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.73 | 127265.5066 | 293625.9626 | 59.9307 | 38.1
112659 | 2021-04-30 11:27 | 4.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2867 | μmol/L | 13.3862 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.721 | 127205.5695 | 293626.1061 | 59.9307 | 38.1
112669 | 2021-04-30 11:28 | 5.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5512 | μmol/L | 13.374 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.714 | 127078.2815 | 293614.4533 | 59.9307 | 38.1
112679 | 2021-04-30 11:28 | 5.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6609 | μmol/L | 13.3801 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.707 | 126906.9322 | 293583.1782 | 59.9307 | 38.1
112689 | 2021-04-30 11:28 | 5.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7587 | μmol/L | 13.374 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.705 | 126859.3678 | 293579.2069 | 59.9307 | 38.1
112699 | 2021-04-30 11:29 | 6.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.972 | μmol/L | 13.3679 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.698 | 126823.3865 | 293584.9626 | 59.9307 | 38.1
112709 | 2021-04-30 11:29 | 6.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.093 | μmol/L | 13.3618 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.695 | 126789.1639 | 293566.1779 | 59.9307 | 38.1
112719 | 2021-04-30 11:29 | 6.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0699 | μmol/L | 13.3618 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.696 | 126750.2856 | 293538.5916 | 59.9307 | 38.1
112729 | 2021-04-30 11:30 | 7.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.3122 | μmol/L | 13.3496 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.69 | 126733.2306 | 293557.4535 | 59.9307 | 38.1
112739 | 2021-04-30 11:30 | 7.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.526 | μmol/L | 13.3435 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.683 | 126702.6773 | 293550.8487 | 59.9307 | 38.1
112749 | 2021-04-30 11:30 | 7.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5084 | μmol/L | 13.3374 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.686 | 126674.6965 | 293531.4893 | 59.9307 | 38.1
112759 | 2021-04-30 11:31 | 8.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5028 | μmol/L | 13.3435 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.684 | 126656.7104 | 293521.9978 | 59.9307 | 38.1
112769 | 2021-04-30 11:31 | 8.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6992 | μmol/L | 13.3314 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.68 | 126627.0429 | 293507.1498 | 59.9307 | 38.1
112779 | 2021-04-30 11:31 | 8.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6705 | μmol/L | 13.3374 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.679 | 126602.7478 | 293509.6597 | 59.9307 | 38.1
112789 | 2021-04-30 11:32 | 9.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.7455 | μmol/L | 13.3314 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.678 | 126590.3855 | 293503.1997 | 59.9307 | 38.1
112799 | 2021-04-30 11:32 | 9.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.7959 | μmol/L | 13.3314 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.676 | 126569.1552 | 293496.5778 | 59.9307 | 38.1
112809 | 2021-04-30 11:32 | 9.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.867 | μmol/L | 13.3253 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.675 | 126550.614 | 293470.9973 | 59.9307 | 38.1
112819 | 2021-04-30 11:33 | 10.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.9421 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.674 | 126536.8599 | 293481.2751 | 59.9307 | 38.1
112829 | 2021-04-30 11:33 | 10.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.9885 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.672 | 126520.3068 | 293485.7593 | 59.9307 | 38.1
112839 | 2021-04-30 11:33 | 10.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.0293 | μmol/L | 13.3253 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.668 | 126505.6503 | 293463.8109 | 59.9307 | 38.1
112849 | 2021-04-30 11:34 | 11.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.0293 | μmol/L | 13.3253 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.668 | 126491.091 | 293457.924 | 59.9307 | 38.1
112859 | 2021-04-30 11:34 | 11.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.1101 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.669 | 126462.6838 | 293452.0501 | 59.9307 | 38.1
112869 | 2021-04-30 11:34 | 11.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.2317 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.666 | 126458.2866 | 293436.9881 | 59.9307 | 38.1
112879 | 2021-04-30 11:35 | 12.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.1277 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.666 | 126435.9809 | 293431.5276 | 59.9307 | 38.1
112889 | 2021-04-30 11:35 | 12.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.2782 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.664 | 126426.0173 | 293425.2843 | 59.9307 | 38.1
112899 | 2021-04-30 11:35 | 12.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3246 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.662 | 126407.9567 | 293416.3248 | 59.9307 | 38.1
112909 | 2021-04-30 11:36 | 13.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.2782 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.664 | 126411.4565 | 293410.5988 | 59.9307 | 38.1
112919 | 2021-04-30 11:36 | 13.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3286 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.662 | 126395.7204 | 293410.7928 | 59.9307 | 38.1
112929 | 2021-04-30 11:36 | 13.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.371 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.66 | 126377.9684 | 293391.9372 | 59.9307 | 38.1
112939 | 2021-04-30 11:37 | 14.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3054 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.663 | 126368.9081 | 293397.0798 | 59.9307 | 38.1
112949 | 2021-04-30 11:37 | 14.3353 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3751 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.66 | 126349.5595 | 293364.8361 | 59.9307 | 38.1
112959 | 2021-04-30 11:37 | 14.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3751 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.66 | 126351.5619 | 293363.0707 | 59.9307 | 38.1
112969 | 2021-04-30 11:38 | 15.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4639 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.656 | 126336.8224 | 293361.3554 | 59.9307 | 38.1
112979 | 2021-04-30 11:38 | 15.3353 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3518 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.661 | 126325.8372 | 293359.178 | 59.9307 | 38.1
112989 | 2021-04-30 11:38 | 15.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3654 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.658 | 126312.0711 | 293359.9015 | 59.9307 | 38.1
112999 | 2021-04-30 11:39 | 16.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3518 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.661 | 126303.8658 | 293333.6776 | 59.9307 | 38.1
113009 | 2021-04-30 11:39 | 16.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3422 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.659 | 126294.2271 | 293340.0358 | 59.9307 | 38.1
113019 | 2021-04-30 11:39 | 16.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4447 | μmol/L | 13.307 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.657 | 126281.7229 | 293322.7896 | 59.9307 | 38.1
113029 | 2021-04-30 11:40 | 17.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4639 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.656 | 126276.5119 | 293325.4455 | 59.9307 | 38.1
113039 | 2021-04-30 11:40 | 17.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4639 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.656 | 126265.5042 | 293316.6478 | 59.9307 | 38.1
113049 | 2021-04-30 11:40 | 17.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5104 | μmol/L | 13.307 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.654 | 126259.5892 | 293301.3501 | 59.9307 | 38.1
113059 | 2021-04-30 11:41 | 18.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4815 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.653 | 126253.1836 | 293307.5466 | 59.9307 | 38.1
113069 | 2021-04-30 11:41 | 18.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4583 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.654 | 126238.8084 | 293295.3264 | 59.9307 | 38.1
113079 | 2021-04-30 11:41 | 18.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.528 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.651 | 126230.4531 | 293282.992 | 59.9307 | 38.1
113089 | 2021-04-30 11:42 | 19.002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4815 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.653 | 126222.5111 | 293282.6397 | 59.9307 | 38.1
113099 | 2021-04-30 11:42 | 19.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4119 | μmol/L | 13.3131 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.656 | 126214.6788 | 293273.7262 | 59.9307 | 38.1
113109 | 2021-04-30 11:42 | 19.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4527 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.652 | 126212.439 | 293286.1087 | 59.9307 | 38.1
113119 | 2021-04-30 11:43 | 20.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5224 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.649 | 126189.9797 | 293259.7369 | 59.9307 | 38.1
113129 | 2021-04-30 11:43 | 20.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5456 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.648 | 126187.805 | 293266.4922 | 59.9307 | 38.1
113139 | 2021-04-30 11:43 | 20.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4238 | μmol/L | 13.3253 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.651 | 126184.1709 | 293269.5091 | 59.9307 | 38.1
113149 | 2021-04-30 11:44 | 21.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4744 | μmol/L | 13.3253 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.649 | 126172.137 | 293244.2698 | 59.9307 | 38.1
113159 | 2021-04-30 11:44 | 21.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5921 | μmol/L | 13.3192 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.646 | 126164.1816 | 293232.6105 | 59.9307 | 38.1
113169 | 2021-04-30 11:44 | 21.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4238 | μmol/L | 13.3253 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.651 | 126152.7852 | 293248.2805 | 59.9307 | 38.1
113179 | 2021-04-30 11:45 | 22.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5112 | μmol/L | 13.3314 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.645 | 126145.2161 | 293245.6902 | 59.9307 | 38.1
113189 | 2021-04-30 11:45 | 22.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.54 | μmol/L | 13.3253 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.646 | 126140.3354 | 293252.0051 | 59.9307 | 38.1
113199 | 2021-04-30 11:45 | 22.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5385 | μmol/L | 13.3314 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.644 | 126131.4507 | 293232.6557 | 59.9307 | 38.1
113209 | 2021-04-30 11:46 | 23.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5112 | μmol/L | 13.3314 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.645 | 126131.7942 | 293247.9409 | 59.9307 | 38.1
113219 | 2021-04-30 11:46 | 23.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5809 | μmol/L | 13.3314 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.642 | 126122.3251 | 293234.4086 | 59.9307 | 38.1
113229 | 2021-04-30 11:46 | 23.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.504 | μmol/L | 13.3435 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.641 | 126108.311 | 293221.8253 | 59.9307 | 38.1
113239 | 2021-04-30 11:47 | 24.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4768 | μmol/L | 13.3435 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.642 | 126100.7308 | 293216.8483 | 59.9307 | 38.1
113249 | 2021-04-30 11:47 | 24.3353 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5056 | μmol/L | 13.3374 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.643 | 126096.7524 | 293213.3993 | 59.9307 | 38.1
113259 | 2021-04-30 11:47 | 24.6682 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5288 | μmol/L | 13.3374 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.642 | 126079.8473 | 293201.6121 | 59.9307 | 38.1
113269 | 2021-04-30 11:48 | 25.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5697 | μmol/L | 13.3435 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.638 | 126086.108 | 293212.4032 | 59.9307 | 38.1
113279 | 2021-04-30 11:48 | 25.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.4656 | μmol/L | 13.3557 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.638 | 126073.5449 | 293201.6858 | 59.9307 | 38.1
113289 | 2021-04-30 11:48 | 25.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.5874 | μmol/L | 13.3496 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.635 | 126063.5916 | 293186.4517 | 59.9307 | 38.1
113299 | 2021-04-30 11:49 | 26.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.3671 | μmol/L | 13.3618 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.64 | 126053.9385 | 293197.9695 | 59.9307 | 38.1