## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112520 | 2021-04-30 11:23 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.2824 | μmol/L | 13.4292 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.184 | 105673.1045 | 212361.318 | 27.3 | 43.4
112530 | 2021-04-30 11:23 | 0.34132 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 297.7876 | μmol/L | 13.4109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.171 | 105577.4779 | 212358.1407 | 27.3 | 43.4
112540 | 2021-04-30 11:23 | 0.67471 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1766 | μmol/L | 13.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.158 | 105476.4487 | 212354.8636 | 27.3 | 43.4
112550 | 2021-04-30 11:24 | 1.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.6758 | μmol/L | 13.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.143 | 105370.4243 | 212343.5363 | 27.3 | 43.4
112560 | 2021-04-30 11:24 | 1.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.084 | μmol/L | 13.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.127 | 105270.5292 | 212334.8485 | 27.3 | 43.4
112570 | 2021-04-30 11:24 | 1.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.5696 | μmol/L | 13.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.108 | 105146.3396 | 212337.2534 | 27.3 | 43.4
112580 | 2021-04-30 11:25 | 2.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.1331 | μmol/L | 13.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.086 | 105026.5308 | 212330.0908 | 27.3 | 43.4
112590 | 2021-04-30 11:25 | 2.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.68 | μmol/L | 13.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.067 | 104912.3749 | 212324.1784 | 27.3 | 43.4
112600 | 2021-04-30 11:25 | 2.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.125 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.052 | 104811.0367 | 212315.9818 | 27.3 | 43.4
112610 | 2021-04-30 11:26 | 3.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.5297 | μmol/L | 13.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.034 | 104717.9948 | 212314.2246 | 27.3 | 43.4
112620 | 2021-04-30 11:26 | 3.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.9504 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.02 | 104634.1498 | 212313.0768 | 27.3 | 43.4
112630 | 2021-04-30 11:26 | 3.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 302.1831 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.011 | 104548.6344 | 212293.1403 | 27.3 | 43.4
112640 | 2021-04-30 11:27 | 4.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 302.6049 | μmol/L | 13.3743 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.997 | 104482.3338 | 212283.8336 | 27.3 | 43.4
112650 | 2021-04-30 11:27 | 4.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 302.9237 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.987 | 104412.1497 | 212290.4054 | 27.3 | 43.4
112660 | 2021-04-30 11:27 | 4.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 303.0794 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.981 | 104351.8814 | 212279.8989 | 27.3 | 43.4
112670 | 2021-04-30 11:28 | 5.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 303.3651 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.97 | 104326.5063 | 212266.8439 | 27.3 | 43.4
112680 | 2021-04-30 11:28 | 5.3411 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 303.6251 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.96 | 104271.3898 | 212257.4216 | 27.3 | 43.4
112690 | 2021-04-30 11:28 | 5.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 303.8854 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.95 | 104218.6535 | 212263.444 | 27.3 | 43.4
112700 | 2021-04-30 11:29 | 6.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.0157 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.945 | 104164.5228 | 212253.1844 | 27.3 | 43.4
112710 | 2021-04-30 11:29 | 6.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.3178 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.938 | 104104.466 | 212247.5305 | 27.3 | 43.4
112720 | 2021-04-30 11:29 | 6.6747 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.4928 | μmol/L | 13.3621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 104071.1766 | 212248.6981 | 27.3 | 43.4
112730 | 2021-04-30 11:30 | 7.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.7356 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.922 | 104016.9222 | 212236.2457 | 27.3 | 43.4
112740 | 2021-04-30 11:30 | 7.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.9001 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.918 | 103982.1061 | 212226.8899 | 27.3 | 43.4
112750 | 2021-04-30 11:30 | 7.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.997 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.912 | 103952.5609 | 212224.5413 | 27.3 | 43.4
112760 | 2021-04-30 11:31 | 8.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.1541 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.906 | 103922.1457 | 212216.3962 | 27.3 | 43.4
112770 | 2021-04-30 11:31 | 8.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.285 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.901 | 103891.2554 | 212209.862 | 27.3 | 43.4
112780 | 2021-04-30 11:31 | 8.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.4761 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.896 | 103867.0168 | 212206.753 | 27.3 | 43.4
112790 | 2021-04-30 11:32 | 9.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.5023 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.895 | 103838.4841 | 212218.0522 | 27.3 | 43.4
112800 | 2021-04-30 11:32 | 9.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.7197 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.889 | 103823.2241 | 212212.3176 | 27.3 | 43.4
112810 | 2021-04-30 11:32 | 9.6746 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.5809 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.892 | 103800.0086 | 212199.1938 | 27.3 | 43.4
112820 | 2021-04-30 11:33 | 10.0077 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.8509 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.884 | 103771.568 | 212201.7876 | 27.3 | 43.4
112830 | 2021-04-30 11:33 | 10.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.9297 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.881 | 103757.9293 | 212193.8211 | 27.3 | 43.4
112840 | 2021-04-30 11:33 | 10.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.8696 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.881 | 103741.5371 | 212187.7643 | 27.3 | 43.4
112850 | 2021-04-30 11:34 | 11.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.956 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.88 | 103725.9059 | 212188.8901 | 27.3 | 43.4
112860 | 2021-04-30 11:34 | 11.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.9297 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.881 | 103697.8002 | 212179.2219 | 27.3 | 43.4
112870 | 2021-04-30 11:34 | 11.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.9483 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.878 | 103683.6844 | 212174.607 | 27.3 | 43.4
112880 | 2021-04-30 11:35 | 12.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2001 | μmol/L | 13.3377 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.873 | 103678.7264 | 212161.7591 | 27.3 | 43.4
112890 | 2021-04-30 11:35 | 12.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1662 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.872 | 103660.2671 | 212167.3953 | 27.3 | 43.4
112900 | 2021-04-30 11:35 | 12.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1738 | μmol/L | 13.3377 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.874 | 103643.5819 | 212161.7854 | 27.3 | 43.4
112910 | 2021-04-30 11:36 | 13.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1323 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.871 | 103632.5982 | 212158.981 | 27.3 | 43.4
112920 | 2021-04-30 11:36 | 13.3414 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2976 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.867 | 103627.9907 | 212158.4296 | 27.3 | 43.4
112930 | 2021-04-30 11:36 | 13.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4105 | μmol/L | 13.3377 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.865 | 103611.581 | 212145.4479 | 27.3 | 43.4
112940 | 2021-04-30 11:37 | 14.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4708 | μmol/L | 13.3316 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.865 | 103601.7938 | 212154.8521 | 27.3 | 43.4
112950 | 2021-04-30 11:37 | 14.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5421 | μmol/L | 13.3377 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.86 | 103586.4719 | 212147.2724 | 27.3 | 43.4
112960 | 2021-04-30 11:37 | 14.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2374 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.867 | 103577.8432 | 212138.5863 | 27.3 | 43.4
112970 | 2021-04-30 11:38 | 15.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3765 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.864 | 103571.5252 | 212132.2195 | 27.3 | 43.4
112980 | 2021-04-30 11:38 | 15.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3613 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.86 | 103556.2539 | 212121.9015 | 27.3 | 43.4
112990 | 2021-04-30 11:38 | 15.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3613 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.86 | 103546.152 | 212129.4029 | 27.3 | 43.4
113000 | 2021-04-30 11:39 | 16.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4555 | μmol/L | 13.3438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.861 | 103543.8344 | 212124.9814 | 27.3 | 43.4
113010 | 2021-04-30 11:39 | 16.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5005 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.857 | 103530.5316 | 212130.1175 | 27.3 | 43.4
113020 | 2021-04-30 11:39 | 16.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4742 | μmol/L | 13.3499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.858 | 103520.8458 | 212117.3877 | 27.3 | 43.4
113030 | 2021-04-30 11:40 | 17.0074 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4666 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.856 | 103514.619 | 212117.7023 | 27.3 | 43.4
113040 | 2021-04-30 11:40 | 17.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4402 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.857 | 103496.1749 | 212110.5106 | 27.3 | 43.4
113050 | 2021-04-30 11:40 | 17.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4929 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.855 | 103505.0767 | 212107.5881 | 27.3 | 43.4
113060 | 2021-04-30 11:41 | 18.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.459 | μmol/L | 13.3621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.854 | 103504.66 | 212106.1504 | 27.3 | 43.4
113070 | 2021-04-30 11:41 | 18.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3461 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.856 | 103493.217 | 212104.5381 | 27.3 | 43.4
113080 | 2021-04-30 11:41 | 18.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5982 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.851 | 103485.0232 | 212106.2827 | 27.3 | 43.4
113090 | 2021-04-30 11:42 | 19.0079 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4326 | μmol/L | 13.3621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.855 | 103482.7447 | 212110.4787 | 27.3 | 43.4
113100 | 2021-04-30 11:42 | 19.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4139 | μmol/L | 13.356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.858 | 103478.4631 | 212105.1834 | 27.3 | 43.4
113110 | 2021-04-30 11:42 | 19.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4063 | μmol/L | 13.3621 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.856 | 103471.3877 | 212085.6962 | 27.3 | 43.4
113120 | 2021-04-30 11:43 | 20.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3987 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.854 | 103461.4751 | 212088.621 | 27.3 | 43.4
113130 | 2021-04-30 11:43 | 20.3409 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.504 | μmol/L | 13.3682 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 103454.8097 | 212089.2789 | 27.3 | 43.4
113140 | 2021-04-30 11:43 | 20.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4174 | μmol/L | 13.3743 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.851 | 103449.7586 | 212084.6472 | 27.3 | 43.4
113150 | 2021-04-30 11:44 | 21.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3122 | μmol/L | 13.3743 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.855 | 103446.004 | 212089.2477 | 27.3 | 43.4
113160 | 2021-04-30 11:44 | 21.3412 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4099 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.849 | 103440.2626 | 212076.78 | 27.3 | 43.4
113170 | 2021-04-30 11:44 | 21.6741 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2783 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.854 | 103424.7632 | 212077.4696 | 27.3 | 43.4
113180 | 2021-04-30 11:45 | 22.008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3309 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.852 | 103420.6766 | 212071.7153 | 27.3 | 43.4
113190 | 2021-04-30 11:45 | 22.341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4023 | μmol/L | 13.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 103415.6098 | 212067.5585 | 27.3 | 43.4
113200 | 2021-04-30 11:45 | 22.6742 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3158 | μmol/L | 13.3926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.848 | 103412.5654 | 212063.1149 | 27.3 | 43.4
113210 | 2021-04-30 11:46 | 23.0081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3835 | μmol/L | 13.3804 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 103409.8085 | 212063.1572 | 27.3 | 43.4
113220 | 2021-04-30 11:46 | 23.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3233 | μmol/L | 13.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.85 | 103410.3644 | 212065.9979 | 27.3 | 43.4
113230 | 2021-04-30 11:46 | 23.6744 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3082 | μmol/L | 13.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.846 | 103407.2192 | 212058.8312 | 27.3 | 43.4
113240 | 2021-04-30 11:47 | 24.0076 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2293 | μmol/L | 13.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.849 | 103397.8335 | 212056.8591 | 27.3 | 43.4
113250 | 2021-04-30 11:47 | 24.3413 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1691 | μmol/L | 13.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.849 | 103385.5292 | 212050.6726 | 27.3 | 43.4
113260 | 2021-04-30 11:47 | 24.6743 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3082 | μmol/L | 13.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.846 | 103381.4024 | 212041.0563 | 27.3 | 43.4
113270 | 2021-04-30 11:48 | 25.008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3082 | μmol/L | 13.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.846 | 103374.6194 | 212049.6806 | 27.3 | 43.4
113280 | 2021-04-30 11:48 | 25.3408 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1465 | μmol/L | 13.4231 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.843 | 103373.6894 | 212046.9667 | 27.3 | 43.4
113290 | 2021-04-30 11:48 | 25.6745 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2819 | μmol/L | 13.3987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.847 | 103365.777 | 212047.911 | 27.3 | 43.4
113300 | 2021-04-30 11:49 | 26.0078 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.327 | μmol/L | 13.4048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.843 | 103362.6415 | 212032.5564 | 27.3 | 43.4