## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112523 | 2021-04-30 11:23 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.9791 | μmol/L | 13.3627 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.273 | 100366.9298 | 293822.6609 | 30.45 | 114.2
112533 | 2021-04-30 11:23 | 0.33263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.7985 | μmol/L | 13.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.256 | 100189.7012 | 293813.3687 | 30.45 | 114.2
112543 | 2021-04-30 11:23 | 0.66587 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.3864 | μmol/L | 13.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.236 | 100074.8323 | 293828.508 | 30.45 | 114.2
112553 | 2021-04-30 11:24 | 0.99905 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7657 | μmol/L | 13.2829 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.221 | 99953.3872 | 293808.3697 | 30.45 | 114.2
112563 | 2021-04-30 11:24 | 1.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.1994 | μmol/L | 13.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.199 | 99839.6179 | 293818.4998 | 30.45 | 114.2
112573 | 2021-04-30 11:24 | 1.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.6463 | μmol/L | 13.2829 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.181 | 99708.5272 | 293784.9702 | 30.45 | 114.2
112583 | 2021-04-30 11:25 | 1.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.0879 | μmol/L | 13.2829 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.161 | 99602.9302 | 293784.8975 | 30.45 | 114.2
112593 | 2021-04-30 11:25 | 2.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.6031 | μmol/L | 13.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.14 | 99476.0581 | 293776.9331 | 30.45 | 114.2
112603 | 2021-04-30 11:25 | 2.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0689 | μmol/L | 13.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.119 | 99290.849 | 293769.0487 | 30.45 | 114.2
112613 | 2021-04-30 11:26 | 2.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4022 | μmol/L | 13.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.104 | 99181.3748 | 293753.6263 | 30.45 | 114.2
112623 | 2021-04-30 11:26 | 3.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8597 | μmol/L | 13.2645 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.088 | 99086.6133 | 293743.4201 | 30.45 | 114.2
112633 | 2021-04-30 11:26 | 3.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.2612 | μmol/L | 13.2645 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.07 | 98993.5638 | 293734.212 | 30.45 | 114.2
112643 | 2021-04-30 11:27 | 3.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.5963 | μmol/L | 13.2645 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.055 | 98910.2587 | 293713.8468 | 30.45 | 114.2
112653 | 2021-04-30 11:27 | 4.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9443 | μmol/L | 13.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.044 | 98819.468 | 293711.1858 | 30.45 | 114.2
112663 | 2021-04-30 11:27 | 4.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2866 | μmol/L | 13.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.031 | 98755.5397 | 293702.6481 | 30.45 | 114.2
112673 | 2021-04-30 11:28 | 4.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5722 | μmol/L | 13.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.016 | 98709.93 | 293684.2777 | 30.45 | 114.2
112683 | 2021-04-30 11:28 | 5.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8317 | μmol/L | 13.24 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.009 | 98622.6828 | 293671.5271 | 30.45 | 114.2
112693 | 2021-04-30 11:28 | 5.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1016 | μmol/L | 13.24 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.997 | 98553.9735 | 293668.1814 | 30.45 | 114.2
112703 | 2021-04-30 11:29 | 5.9988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.3105 | μmol/L | 13.2339 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.99 | 98498.7261 | 293657.9608 | 30.45 | 114.2
112713 | 2021-04-30 11:29 | 6.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.5871 | μmol/L | 13.2277 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.98 | 98446.4618 | 293645.5697 | 30.45 | 114.2
112723 | 2021-04-30 11:29 | 6.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.8642 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.97 | 98397.4969 | 293643.2737 | 30.45 | 114.2
112733 | 2021-04-30 11:30 | 6.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 265.0676 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.961 | 98353.0546 | 293626.43 | 30.45 | 114.2
112743 | 2021-04-30 11:30 | 7.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 265.2485 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.953 | 98315.3574 | 293625.9938 | 30.45 | 114.2
112753 | 2021-04-30 11:30 | 7.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 265.5037 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.944 | 98263.4559 | 293619.3406 | 30.45 | 114.2
112763 | 2021-04-30 11:31 | 7.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 265.5263 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.943 | 98227.4985 | 293602.1932 | 30.45 | 114.2
112773 | 2021-04-30 11:31 | 8.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 265.7303 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.934 | 98193.7531 | 293593.3976 | 30.45 | 114.2
112783 | 2021-04-30 11:31 | 8.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 265.9406 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.927 | 98154.9321 | 293594.6842 | 30.45 | 114.2
112793 | 2021-04-30 11:32 | 8.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.0996 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.92 | 98123.0441 | 293580.8944 | 30.45 | 114.2
112803 | 2021-04-30 11:32 | 9.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.1057 | μmol/L | 13.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.922 | 98097.028 | 293563.8264 | 30.45 | 114.2
112813 | 2021-04-30 11:32 | 9.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.1616 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.915 | 98070.0011 | 293555.8661 | 30.45 | 114.2
112823 | 2021-04-30 11:33 | 9.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.3723 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.908 | 98039.5017 | 293543.2605 | 30.45 | 114.2
112833 | 2021-04-30 11:33 | 10.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.4922 | μmol/L | 13.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.905 | 98020.507 | 293532.0098 | 30.45 | 114.2
112843 | 2021-04-30 11:33 | 10.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.486 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.903 | 97987.8434 | 293530.1949 | 30.45 | 114.2
112853 | 2021-04-30 11:34 | 10.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.5998 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.898 | 97967.6693 | 293529.9951 | 30.45 | 114.2
112863 | 2021-04-30 11:34 | 11.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.6681 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.895 | 97953.6615 | 293520.8906 | 30.45 | 114.2
112873 | 2021-04-30 11:34 | 11.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.697 | μmol/L | 13.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.896 | 97925.3541 | 293505.8047 | 30.45 | 114.2
112883 | 2021-04-30 11:35 | 11.9993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.8732 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.886 | 97913.32 | 293492.3521 | 30.45 | 114.2
112893 | 2021-04-30 11:35 | 12.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.9249 | μmol/L | 13.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.886 | 97890.3432 | 293497.901 | 30.45 | 114.2
112903 | 2021-04-30 11:35 | 12.6661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.9705 | μmol/L | 13.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.884 | 97866.0516 | 293480.5645 | 30.45 | 114.2
112913 | 2021-04-30 11:36 | 12.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 266.9477 | μmol/L | 13.2032 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.885 | 97856.6509 | 293470.7694 | 30.45 | 114.2
112923 | 2021-04-30 11:36 | 13.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.0328 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.879 | 97839.7797 | 293452.7751 | 30.45 | 114.2
112933 | 2021-04-30 11:36 | 13.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.0556 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.878 | 97804.2179 | 293460.3908 | 30.45 | 114.2
112943 | 2021-04-30 11:37 | 13.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.0723 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.875 | 97787.4056 | 293448.6669 | 30.45 | 114.2
112953 | 2021-04-30 11:37 | 14.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.2153 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.871 | 97786.4081 | 293442.3667 | 30.45 | 114.2
112963 | 2021-04-30 11:37 | 14.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.0951 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.874 | 97767.9676 | 293435.2528 | 30.45 | 114.2
112973 | 2021-04-30 11:38 | 14.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.261 | μmol/L | 13.2093 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.869 | 97749.5414 | 293429.7241 | 30.45 | 114.2
112983 | 2021-04-30 11:38 | 15.3329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.1407 | μmol/L | 13.2155 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.872 | 97737.5634 | 293425.2864 | 30.45 | 114.2
112993 | 2021-04-30 11:38 | 15.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.1118 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.871 | 97722.2258 | 293413.2366 | 30.45 | 114.2
113003 | 2021-04-30 11:39 | 15.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.1803 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.868 | 97718.149 | 293422.1293 | 30.45 | 114.2
113013 | 2021-04-30 11:39 | 16.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3401 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.861 | 97698.0549 | 293412.5206 | 30.45 | 114.2
113023 | 2021-04-30 11:39 | 16.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.2488 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.865 | 97691.787 | 293404.3439 | 30.45 | 114.2
113033 | 2021-04-30 11:40 | 16.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3858 | μmol/L | 13.2216 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.859 | 97682.0561 | 293400.4445 | 30.45 | 114.2
113043 | 2021-04-30 11:40 | 17.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3568 | μmol/L | 13.2277 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.858 | 97668.5818 | 293388.4769 | 30.45 | 114.2
113053 | 2021-04-30 11:40 | 17.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.2822 | μmol/L | 13.2339 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.859 | 97652.3226 | 293382.6513 | 30.45 | 114.2
113063 | 2021-04-30 11:41 | 17.9988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4025 | μmol/L | 13.2277 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.856 | 97647.9948 | 293379.3216 | 30.45 | 114.2
113073 | 2021-04-30 11:41 | 18.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3964 | μmol/L | 13.2339 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.854 | 97637.8065 | 293373.9305 | 30.45 | 114.2
113083 | 2021-04-30 11:41 | 18.6657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3446 | μmol/L | 13.24 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.854 | 97625.9509 | 293355.0546 | 30.45 | 114.2
113093 | 2021-04-30 11:42 | 18.9989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3614 | μmol/L | 13.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.851 | 97605.8415 | 293355.7002 | 30.45 | 114.2
113103 | 2021-04-30 11:42 | 19.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4132 | μmol/L | 13.24 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.851 | 97600.4951 | 293351.6746 | 30.45 | 114.2
113113 | 2021-04-30 11:42 | 19.666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.43 | μmol/L | 13.2461 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.848 | 97587.3705 | 293338.1132 | 30.45 | 114.2
113123 | 2021-04-30 11:43 | 19.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4467 | μmol/L | 13.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.845 | 97577.684 | 293334.9254 | 30.45 | 114.2
113133 | 2021-04-30 11:43 | 20.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.5153 | μmol/L | 13.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.842 | 97566.013 | 293327.1008 | 30.45 | 114.2
113143 | 2021-04-30 11:43 | 20.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4696 | μmol/L | 13.2523 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.844 | 97560.9328 | 293320.126 | 30.45 | 114.2
113153 | 2021-04-30 11:44 | 20.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4635 | μmol/L | 13.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.842 | 97545.8876 | 293319.1919 | 30.45 | 114.2
113163 | 2021-04-30 11:44 | 21.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4614 | μmol/L | 13.2645 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.84 | 97538.2328 | 293313.0237 | 30.45 | 114.2
113173 | 2021-04-30 11:44 | 21.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4864 | μmol/L | 13.2584 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.841 | 97528.049 | 293306.1064 | 30.45 | 114.2
113183 | 2021-04-30 11:45 | 21.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.3828 | μmol/L | 13.2707 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.841 | 97519.4843 | 293301.342 | 30.45 | 114.2
113193 | 2021-04-30 11:45 | 22.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4346 | μmol/L | 13.2645 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.841 | 97499.6765 | 293286.4725 | 30.45 | 114.2
113203 | 2021-04-30 11:45 | 22.6662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.6115 | μmol/L | 13.2707 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.831 | 97490.085 | 293291.8976 | 30.45 | 114.2
113213 | 2021-04-30 11:46 | 22.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.5368 | μmol/L | 13.2768 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.832 | 97492.3841 | 293290.4337 | 30.45 | 114.2
113223 | 2021-04-30 11:46 | 23.3328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4622 | μmol/L | 13.2829 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.833 | 97476.7711 | 293275.1956 | 30.45 | 114.2
113233 | 2021-04-30 11:46 | 23.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.5079 | μmol/L | 13.2829 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.831 | 97459.2521 | 293266.5313 | 30.45 | 114.2
113243 | 2021-04-30 11:47 | 23.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4272 | μmol/L | 13.2952 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.83 | 97454.1141 | 293270.6674 | 30.45 | 114.2
113253 | 2021-04-30 11:47 | 24.3326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.5019 | μmol/L | 13.2891 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.829 | 97457.2066 | 293259.9501 | 30.45 | 114.2
113263 | 2021-04-30 11:47 | 24.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.5187 | μmol/L | 13.2952 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.826 | 97435.4964 | 293261.807 | 30.45 | 114.2
113273 | 2021-04-30 11:48 | 24.9994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4152 | μmol/L | 13.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.826 | 97424.5205 | 293254.6653 | 30.45 | 114.2
113283 | 2021-04-30 11:48 | 25.3327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4838 | μmol/L | 13.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.823 | 97428.854 | 293252.4536 | 30.45 | 114.2
113293 | 2021-04-30 11:48 | 25.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.4609 | μmol/L | 13.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.824 | 97412.4224 | 293246.9452 | 30.45 | 114.2
113303 | 2021-04-30 11:49 | 25.9995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 267.5753 | μmol/L | 13.3075 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.819 | 97411.9223 | 293232.6638 | 30.45 | 114.2