## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112524 | 2021-04-30 11:23 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.0666 | μmol/L | 13.3303 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 23.006 | 129985.6124 | 291197.186 | 59.9307 | 49.4
112534 | 2021-04-30 11:23 | 0.32571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.9092 | μmol/L | 13.2995 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.98 | 129801.5666 | 291192.3227 | 59.9307 | 49.4
112544 | 2021-04-30 11:23 | 0.65942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.4289 | μmol/L | 13.2995 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.957 | 129622.5694 | 291192.2081 | 59.9307 | 49.4
112554 | 2021-04-30 11:24 | 0.99241 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.9172 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.94 | 129469.9394 | 291180.9109 | 59.9307 | 49.4
112564 | 2021-04-30 11:24 | 1.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.3584 | μmol/L | 13.2995 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.916 | 129312.4994 | 291175.4177 | 59.9307 | 49.4
112574 | 2021-04-30 11:24 | 1.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.008 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.892 | 129149.5868 | 291157.3893 | 59.9307 | 49.4
112584 | 2021-04-30 11:25 | 1.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.3957 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.875 | 129016.4237 | 291168.7788 | 59.9307 | 49.4
112594 | 2021-04-30 11:25 | 2.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9899 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.849 | 128859.3672 | 291139.0174 | 59.9307 | 49.4
112604 | 2021-04-30 11:25 | 2.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.3105 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.835 | 128724.2964 | 291120.4851 | 59.9307 | 49.4
112614 | 2021-04-30 11:26 | 2.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.782 | μmol/L | 13.2748 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.819 | 128594.7726 | 291108.7378 | 59.9307 | 49.4
112624 | 2021-04-30 11:26 | 3.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.0974 | μmol/L | 13.281 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.803 | 128489.892 | 291115.1922 | 59.9307 | 49.4
112634 | 2021-04-30 11:26 | 3.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.4553 | μmol/L | 13.2687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.792 | 128387.7749 | 291107.9263 | 59.9307 | 49.4
112644 | 2021-04-30 11:27 | 3.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.8409 | μmol/L | 13.2748 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.773 | 128282.6913 | 291080.3326 | 59.9307 | 49.4
112654 | 2021-04-30 11:27 | 4.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.0781 | μmol/L | 13.2687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.765 | 128193.2454 | 291080.6847 | 59.9307 | 49.4
112664 | 2021-04-30 11:27 | 4.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.3618 | μmol/L | 13.2625 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.755 | 128114.7783 | 291066.1074 | 59.9307 | 49.4
112674 | 2021-04-30 11:28 | 4.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.5406 | μmol/L | 13.2687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.745 | 128035.1509 | 291053.0542 | 59.9307 | 49.4
112684 | 2021-04-30 11:28 | 5.3256 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.8248 | μmol/L | 13.2625 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.735 | 127964.1509 | 291061.5431 | 59.9307 | 49.4
112694 | 2021-04-30 11:28 | 5.6588 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.0862 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.726 | 127904.4447 | 291055.595 | 59.9307 | 49.4
112704 | 2021-04-30 11:29 | 5.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.2719 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.718 | 127837.1315 | 291042.7182 | 59.9307 | 49.4
112714 | 2021-04-30 11:29 | 6.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.3585 | μmol/L | 13.2625 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.712 | 127794.2845 | 291034.6751 | 59.9307 | 49.4
112724 | 2021-04-30 11:29 | 6.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.6268 | μmol/L | 13.2502 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.705 | 127731.7428 | 291019.4842 | 59.9307 | 49.4
112734 | 2021-04-30 11:30 | 6.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7199 | μmol/L | 13.2502 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.701 | 127691.996 | 291006.9892 | 59.9307 | 49.4
112744 | 2021-04-30 11:30 | 7.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8595 | μmol/L | 13.2502 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.695 | 127637.9855 | 290991.8732 | 59.9307 | 49.4
112754 | 2021-04-30 11:30 | 7.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0754 | μmol/L | 13.244 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.688 | 127596.8405 | 291000.949 | 59.9307 | 49.4
112764 | 2021-04-30 11:31 | 7.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0628 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.684 | 127559.7075 | 290993.1567 | 59.9307 | 49.4
112774 | 2021-04-30 11:31 | 8.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.1857 | μmol/L | 13.2502 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.681 | 127523.1471 | 290998.7891 | 59.9307 | 49.4
112784 | 2021-04-30 11:31 | 8.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.4019 | μmol/L | 13.244 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.674 | 127483.55 | 290986.5147 | 59.9307 | 49.4
112794 | 2021-04-30 11:32 | 8.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.296 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.674 | 127451.8754 | 290973.8013 | 59.9307 | 49.4
112804 | 2021-04-30 11:32 | 9.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.436 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.668 | 127419.6337 | 290972.6321 | 59.9307 | 49.4
112814 | 2021-04-30 11:32 | 9.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.4423 | μmol/L | 13.2502 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.67 | 127395.31 | 290971.251 | 59.9307 | 49.4
112824 | 2021-04-30 11:33 | 9.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.5294 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.664 | 127354.2175 | 290960.001 | 59.9307 | 49.4
112834 | 2021-04-30 11:33 | 10.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.5528 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.663 | 127334.9696 | 290960.9392 | 59.9307 | 49.4
112844 | 2021-04-30 11:33 | 10.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.6462 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.659 | 127302.7284 | 290945.0047 | 59.9307 | 49.4
112854 | 2021-04-30 11:34 | 10.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.7864 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.653 | 127279.9511 | 290925.0227 | 59.9307 | 49.4
112864 | 2021-04-30 11:34 | 11.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.7864 | μmol/L | 13.2564 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.653 | 127259.5993 | 290929.6465 | 59.9307 | 49.4
112874 | 2021-04-30 11:34 | 11.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.8036 | μmol/L | 13.2625 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.65 | 127241.5537 | 290920.2647 | 59.9307 | 49.4
112884 | 2021-04-30 11:35 | 11.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.8737 | μmol/L | 13.2625 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.647 | 127214.217 | 290925.6185 | 59.9307 | 49.4
112894 | 2021-04-30 11:35 | 12.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.8674 | μmol/L | 13.2687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.645 | 127185.9193 | 290916.9922 | 59.9307 | 49.4
112904 | 2021-04-30 11:35 | 12.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9907 | μmol/L | 13.2625 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.642 | 127172.9479 | 290899.7043 | 59.9307 | 49.4
112914 | 2021-04-30 11:36 | 12.9922 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.961 | μmol/L | 13.2687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.641 | 127157.3834 | 290906.947 | 59.9307 | 49.4
112924 | 2021-04-30 11:36 | 13.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0547 | μmol/L | 13.2687 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.637 | 127143.4657 | 290907.3905 | 59.9307 | 49.4
112934 | 2021-04-30 11:36 | 13.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.025 | μmol/L | 13.2748 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.636 | 127117.1432 | 290884.6874 | 59.9307 | 49.4
112944 | 2021-04-30 11:37 | 13.9922 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.025 | μmol/L | 13.2748 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.636 | 127105.1325 | 290878.8357 | 59.9307 | 49.4
112954 | 2021-04-30 11:37 | 14.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.025 | μmol/L | 13.2748 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.636 | 127088.3964 | 290877.7001 | 59.9307 | 49.4
112964 | 2021-04-30 11:37 | 14.6588 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9891 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.633 | 127069.3531 | 290883.5573 | 59.9307 | 49.4
112974 | 2021-04-30 11:38 | 14.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9891 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.633 | 127056.2559 | 290854.2249 | 59.9307 | 49.4
112984 | 2021-04-30 11:38 | 15.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0359 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.631 | 127047.0709 | 290864.4907 | 59.9307 | 49.4
112994 | 2021-04-30 11:38 | 15.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0297 | μmol/L | 13.2933 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.629 | 127040.414 | 290855.7152 | 59.9307 | 49.4
113004 | 2021-04-30 11:39 | 15.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9829 | μmol/L | 13.2933 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.631 | 127018.3113 | 290854.7043 | 59.9307 | 49.4
113014 | 2021-04-30 11:39 | 16.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.1061 | μmol/L | 13.2872 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.628 | 127004.8332 | 290849.1644 | 59.9307 | 49.4
113024 | 2021-04-30 11:39 | 16.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0703 | μmol/L | 13.2995 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.625 | 126997.8123 | 290835.3715 | 59.9307 | 49.4
113034 | 2021-04-30 11:40 | 16.9922 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9766 | μmol/L | 13.2995 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.629 | 126981.7572 | 290836.3016 | 59.9307 | 49.4
113044 | 2021-04-30 11:40 | 17.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.164 | μmol/L | 13.2995 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.621 | 126968.4081 | 290830.4148 | 59.9307 | 49.4
113054 | 2021-04-30 11:40 | 17.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0344 | μmol/L | 13.3118 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.622 | 126957.4396 | 290819.513 | 59.9307 | 49.4
113064 | 2021-04-30 11:41 | 17.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0578 | μmol/L | 13.3118 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.621 | 126944.3691 | 290835.9573 | 59.9307 | 49.4
113074 | 2021-04-30 11:41 | 18.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9814 | μmol/L | 13.318 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.622 | 126936.9523 | 290805.6604 | 59.9307 | 49.4
113084 | 2021-04-30 11:41 | 18.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.075 | μmol/L | 13.318 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.618 | 126911.7123 | 290804.5711 | 59.9307 | 49.4
113094 | 2021-04-30 11:42 | 18.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.1984 | μmol/L | 13.3118 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.615 | 126909.6862 | 290797.0958 | 59.9307 | 49.4
113104 | 2021-04-30 11:42 | 19.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0454 | μmol/L | 13.3241 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.617 | 126888.1695 | 290797.2743 | 59.9307 | 49.4
113114 | 2021-04-30 11:42 | 19.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.1157 | μmol/L | 13.3241 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.614 | 126876.7071 | 290783.5343 | 59.9307 | 49.4
113124 | 2021-04-30 11:43 | 19.9922 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0096 | μmol/L | 13.3365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.614 | 126873.1108 | 290785.4822 | 59.9307 | 49.4
113134 | 2021-04-30 11:43 | 20.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0799 | μmol/L | 13.3365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.611 | 126851.0426 | 290789.2648 | 59.9307 | 49.4
113144 | 2021-04-30 11:43 | 20.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9738 | μmol/L | 13.3488 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.611 | 126839.4387 | 290766.8668 | 59.9307 | 49.4
113154 | 2021-04-30 11:44 | 20.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0503 | μmol/L | 13.3426 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.61 | 126835.484 | 290761.8567 | 59.9307 | 49.4
113164 | 2021-04-30 11:44 | 21.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0207 | μmol/L | 13.3488 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.609 | 126816.2645 | 290768.3509 | 59.9307 | 49.4
113174 | 2021-04-30 11:44 | 21.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.091 | μmol/L | 13.3488 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.606 | 126804.2242 | 290762.1992 | 59.9307 | 49.4
113184 | 2021-04-30 11:45 | 21.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9554 | μmol/L | 13.3673 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.605 | 126784.9059 | 290752.4181 | 59.9307 | 49.4
113194 | 2021-04-30 11:45 | 22.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0725 | μmol/L | 13.3673 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.6 | 126781.1355 | 290757.9318 | 59.9307 | 49.4
113204 | 2021-04-30 11:45 | 22.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9258 | μmol/L | 13.3734 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.604 | 126763.7757 | 290737.9159 | 59.9307 | 49.4
113214 | 2021-04-30 11:46 | 22.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9197 | μmol/L | 13.3796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.602 | 126746.6724 | 290743.0771 | 59.9307 | 49.4
113224 | 2021-04-30 11:46 | 23.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0368 | μmol/L | 13.3796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.597 | 126735.8439 | 290739.1151 | 59.9307 | 49.4
113234 | 2021-04-30 11:46 | 23.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0133 | μmol/L | 13.3796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.598 | 126721.085 | 290752.9396 | 59.9307 | 49.4
113244 | 2021-04-30 11:47 | 23.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9838 | μmol/L | 13.3857 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.597 | 126711.1374 | 290736.7878 | 59.9307 | 49.4
113254 | 2021-04-30 11:47 | 24.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0836 | μmol/L | 13.3796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.595 | 126698.855 | 290737.2163 | 59.9307 | 49.4
113264 | 2021-04-30 11:47 | 24.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9013 | μmol/L | 13.3981 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.596 | 126688.8099 | 290739.4465 | 59.9307 | 49.4
113274 | 2021-04-30 11:48 | 24.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.8952 | μmol/L | 13.4042 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.594 | 126679.5368 | 290712.7583 | 59.9307 | 49.4
113284 | 2021-04-30 11:48 | 25.3254 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0357 | μmol/L | 13.4042 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.588 | 126670.2977 | 290740.361 | 59.9307 | 49.4
113294 | 2021-04-30 11:48 | 25.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.0591 | μmol/L | 13.4042 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.587 | 126645.7522 | 290718.8758 | 59.9307 | 49.4
113304 | 2021-04-30 11:49 | 25.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.9766 | μmol/L | 13.4165 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.586 | 126640.425 | 290719.0248 | 59.9307 | 49.4